SPECIFICATION OF MATERIAL

| Pictures | Description | Quantity |
| --- | --- | --- |
|  | -Smart LED lights 600/600 48watts (3000k-4000k-6000k) | 200 |
|  | -LED GU10 down lights | 70 |
|  | -Mesmerize Meta D/L RCD LED 24w 6500k 2300LM -200mm ML-MT-R200-24w-65k | 50 |
|  | -PIOLED LIGHTING -T5 4FT 18w LED Tube -1600LM 6000k 2411W2 | 200 |