Detailed Specification : WATER TESTING EQUIPMENT

| Items Name | Description | UOM | Quantity |
| --- | --- | --- | --- |
| - IBOR51100033 | BUFFER SOLUTION PH 4,01 250ML NIST CERTIFIED | Each | 4 |
| - IBOR51100043 | BUFFER SOLUTION PH 7,00 250ML NIST CERTIFIED | Each | 4 |
| - IBOR51100633 | CONDUCTIVITY SOLUTION 1413 US/CM 500ML NIST CERTIFIED | Each | 4 |
| - BOR51100643 | CONDUCTIVITY SOLUTION 12.88 MS/CM 500ML NIST CERTIFIED | Each | 4 |
| - IBOR32208053 | SOLUTION STORAGE XS SENSOR 500ML | Each | 4 |
| - CSCS1366C | WATER DEIONISED 2L | Each | 4 |