{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":44,"n_cols":4,"rows_kept":44}
["EQUIP-\nMENT","SAP No.","DESCRIPTION","TYPE"]
["Joint kit",168307,"JOINT KIT 3C 132kV \n400SQ CU OF STOP","OIL"]
["Sealing \nEnd",168322,"SEALING END 88kV \n1000SQ AL OF","OIL"]
["Joint kit",168386,"JOINT KIT 3C 132kV \n400SQ CU OF","OIL"]
["Joint kit",168692,"JOINT KIT 3C 88kV \n500SQ AL OF","OIL"]
["Joint kit",168693,"JOINT KIT 3C 88kV \n500SQ AL OF STOP","OIL"]
["Joint kit",168914,"JOINT KIT 3C 44kV \n400SQ AL OF STOP ","OIL"]
["Sealing \nEnd",169009,"SEALING END 44kV \n400SQ AL OF ","OIL"]
["Joint kit",169010,"JOINT KIT 3C 44kV \n400SQ AL OF ","OIL"]
["Term Kit",169016,"TERM KIT 1C 44kV \n1000SQ CU XLPE","XLPE"]
["Joint kit",169144,"JOINT KIT 1C 88kV \n1000SQAL OF STOP D2871","OIL"]
["Sealing End",169158,"SEALING END 88kV \n500SQ AL OF","OIL"]
["Joint kit",169163,"JOINT KIT 1C 44kV 1\n000SQ CU XLPE STR","XLPE"]
["Joint kit",169164,"JOINT KIT 1C 88kV \n1000SQ AL OF ","OIL"]
["Joint kit",169166,"JOINT KIT 3C 88kV \n500SQ AL OF TRIF ","OIL"]
["Joint kit",169172,"JOINT KIT 3C 44kV \n400SQ AL OF TRIF ","OIL"]
["Term Kit",186906,"TERM KIT 1C 88-132kV \n500SQ. XLPE INLAND","XLPE"]
["Term Kit",186907,"TERM KIT 1C 88-132kV \n1000SQ. XLPE INLAND","XLPE"]
["Joint kit",186914,"JOINT KIT 1C 44-66kV \n1000SQXLPESTR","XLPE"]
["Joint kit",186920,"JOINT KIT 1C 88-132kV \n500SQ. XLPE STR.","XLPE"]
["Joint kit",186921,"JOINT KIT 1C 88-132kV \n500SQ. XLPE S/INT.","XLPE"]
["Joint kit",186922,"JOINT KIT 1C 88-132kV \n1000SQ. XLPE STR.","XLPE"]
["Joint kit",186923,"JOINT KIT 1C 88-132kV \n1000SQ XLPE S/INT","XLPE"]
["Joint kit",190094,"JOINT KIT 1C 44kV \n1000SQ CU XLPE S/INT","XLPE"]
["Joint kit",190225,"JOINT KIT 1C 44kV \n400SQ CU XLPE STR","XLPE"]
["Joint kit",190226,"JOINT KIT 1C 44kV \n400SQ CU XLPE S/INT","XLPE"]
["Term Kit",190227,"TERM KIT 1C 44kV \n400SQ CU XLPE NSS ","XLPE"]
["Joint kit",193945,"JOINT KIT 3C 132kV \n400SQ CU OF TRIF ","OIL"]
["Sealing End",193949,"SEALING END 132kV \n400SQ CU OF ","OIL"]
["Term Kit",206081,"KIT TERM:1C 44-66KV \n500SQ XLPE CSTLD8072","XLPE"]
["Term Kit",206082,"TERM KIT 1C 44-66kV \n1000SQ. XLPE COASTAL","XLPE"]
["Term Kit",206083,"KIT TERM:1;INSULATED CABLE;\n500 MM2;400","XLPE"]
["Term Kit",206084,"KIT TERM:1;INSULATED CABLE;\n400 MM2;400","XLPE"]
["Joint kit",215744,"JOINT KIT 1C 44kV \n500SQXLPESTRHS/CSD8071","XLPE"]
["Joint kit",215745,"JOINT KIT 1C44kV \n500SQ XLPE S/INTHS/CSD8071","XLPE"]
["Term Kit",215746,"TERM KIT 1C 44kV \n500SQ XLPE NSS","XLPE"]
["Term Kit",215747,"TERM KIT 1C 44kV \n1000SQ XLPE NSS D8072","XLPE"]
["Joint kit",215748,"JOINT KIT 1C 44kV\n1000SQ XLPE STRHS/CSD8071","XLPE"]
["Joint kit",215750,"JOINT KIT 1C44kV \n1000SQ XLPE S/INTHS/CD8071","XLPE"]
["Term Kit",227509,"TERM KIT 1C 88kV \n1000SQ AL XLPE SF6","XLPE"]
["Term Kit",227510,"TERM KIT 1C 88kV \n1000SQ CU XLPE SF6","XLPE"]
["Term Kit",227511,"TERM KIT 1C 132kV \n400SQ CU EPR SF6","EPR"]
["Term Kit",232925,"KIT TERM:1C 88-132KV \n1000SQ; XLPE; SF6","XLPE"]
["Joint kit",606808,"KIT,CABLE JOINT:44KV; 1C; \n400; OF","OIL"]