# RFB 3287-2026

# Questions and Answers Pack

SITA SOC Ltd, 459 Tsitsa Street, Erasmuskloof, Pretoria, South Africa • PO Box 26100, Monument Park, 0105, South Africa Tel: +27 12 482 3000 • Fax +27 12 367 5151 • Reg. No 1999/001899/30 •

www.sita.co.za

RFB 3287-2026: PROVISION OF HEATING, VENTILATION, AND AIR CONDITIONING (HVAC) EQUIPMENT MAINTENANCE CONTRACT FOR SITA PIETERMARITZBURG DATA CENTRE FOR A PERIOD OF THIRTY-SIX (36) MONTHS.

| Questions | Answers |
| --- | --- |
| What is the Model number for the cooling towers? | VXI 145-3 |
| Kindly share HVAC drawings | Drawings attached |