Appendix B- Technical evaluation

The minimum weighted final score (threshold) required for a tender to be considered from a technical perspective is 75%.

| REQUIREMENTS |  | SUPPLIER TO PROVIDE PROOF AS FOLLOWS: | WEIGHT % |
| --- | --- | --- | --- |
| Turnaround time | Supplier to indicate the turnaround time of 48hr after receiving the PO on the company letterhead. | - 48hrs turn-around time = 15% - 72hrs turn-around time = 5% - More than 72hr turn-around time= 0% | 15% |
| Spares to be used must be from the original equipment manufacture | Confirm on the company letterhead that the supplier is an OEM or will supply directly from the OEM. | - Confirmation = 20% - No confirmation = 0% | 20% |
| The supplier must have a track record of a minimum of 3 years in supplying service, maintenance, consumables and spares for laboratory glassware washer. | Supplier to submit a reference letter/s from previous customers where similar service was provided indicating at least 3 years’ experience. | - 3 years’ experience =20% - 2 years’ experience =15% - Less than 2 years’ experience =0% | 20% |
| Supplier must provide a guarantee that the detergent/consumables will not have less than 3years shelf life/expiry date from date of PO issue and a confirmation that they will be supplied with a COA. | Supplier to indicate the shelf life of detergent/Consumables on the company letterhead and provide an example a of COA. | - Shelf life of 3 yrs and example of COA = 15% - Shelf life of 3 yrs and no example of COA = 10% - An example of COA only = 10% - Shelf life of less than 3yrs and no example of COA = 0% | 15% |
| Supplier must have knowledge and understanding of servicing and maintaining MIELE Professional PG 8583 and G7883C. | Supplier to provide proof competency for servicing and maintaining MIELE Professional PG 8583 and G7883C. | - Proof of competency = 15% - No proof of competency = 0% | 15% |
| Supplier to be able to deliver services to all three (3) PS laboratories as indicated on tender. | Supplier to commit on company letterhead that they will be able to deliver services to all 3 PS laboratories. | - Delivery to 3 laboratories = 15% - Delivery to 2 laboratories = 10% - Delivery to 1 laboratory = 5% | 15% |
|  |  | Total | 100% |
| THRESHOLD: 75% |  |  |  |