{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Annexure A"],"not_rendered":{"defined_names":2},"read":"whole","date_system":"1900"}

{"sheet":"Annexure A","index":0,"n_rows":117,"n_cols":20,"rows_kept":117,"merged":[[1,1,1,19],[2,10,2,15],[2,16,2,17],[2,18,2,19],[3,5,3,6],[3,10,3,15],[6,1,6,2],[7,2,7,4],[8,2,8,4],[9,2,9,4],[10,2,10,4],[11,2,11,4],[12,2,12,4],[13,2,13,4],[15,2,15,4]]}
[]
[null,"GT/GDH/040/2026_ANNEXURE A: SPECIFICATION / PRICING SCHEDULE\nTHE SUPPLY AND DELIVERY OF OPTICAL ASSISTIVE DEVICES TO THE GAUTENG DEPARTMENT OF HEALTH INSTITUTIONS FOR THE PERIOD OF THREE YEARS"]
[{"$nulls":10},"PROVIDE A COST BREAKDOWN AS A PERCENTAGE OF TOTAL UNIT PRICE",{"$nulls":7},"IS PRODUCT IMPORTED OR MANUFACURED LOCALLY?"]
[{"$nulls":5},"MANDATORY FIELDS TO COMPLETE",{"$nulls":4},"COST BREAKDOWN (PER ITEM)",{"$nulls":5},"RULING DATE"]
[null,"ITEM NO","SAP NO","ITEM DESCRIPTION","UNIT OF MEASURE","TENDER PRICE/UNIT","COMPLY YES / NO","STATE PACKAGING /BOX QUANTITY","BRAND","LEAD TIME (DAYS)","DIRECT MATEIRAL: % IMPORTED","DIRECT MATERIAL: % LOCAL CONTENT","%DIRECT LABOUR","% TRANSPORT","% OTHER OVERHEADS AND %PROFITS","%TOTAL","RATE OF EXCHANGE","ADJUSTMENT FREQUENCY","IMPORTED","LOCALLY MANUFACTURED"]
[null,"OPTICAL ASSISTIVE DEVICES"]
[null,"ABBREVIATIONS"]
[null,"PSSP","Public Service Spectacle Packages"]
[null,"RGP","Rigid Gas Permeable"]
[null,"ZYL","Zylonite or cellulose acetate plastic"]
[null,"BILATERAL","Both Eyes"]
[null,"BINOCULAR","Both Eyes"]
[null,"MONOCULAR ","One Eye"]
[null,"BC","Base Curve"]
[null,"HRI","High Refractive Index"]
[null,"DIA","Diameter"]
[null,"SINGLE VISION PACKAGE (with or without fixed tint)"]
[null,"PUBLIC SERVICE SPECTACLE PACKAGES (COMPLETE INCLUDING HARD CASE AND A CLOTH- FRAME+ CR-39/ORGANIC LENSES) WITH OR WITHOUT FIXED TINT."]
[null,"ITEM 1",116890,"PSSP SINGLE VISION(Standard) with Zyl Frame : RANGE:SPH +4.00D/-6.00D Cyl  ≤ - 2.00DC","Each"]
[null,"ITEM 2",116892,"PSSP SINGLE VISION(Standard) with Metal Frame :  RANGE:SPH +4.00D/-6.00D Cyl ≤ -2.00DC","Each"]
[null,"ITEM 3",116895,"PSSP SINGLE VISION(Surfaced HRI) with Zyl Frame :                                                                                          RANGE:SPH >+4.00/ -6.00 Cyl > - 2.00DC to -6.00 DC. ","Each"]
[null,"ITEM 4",116897,"PSSP SINGLE VISION(Surfaced HRI ) with Metal Frame:                                                                           RANGE:SPH >+4.00/ -6.00 Cyl > - 2.00DC  to -6.00 DC.","Each"]
[null,"BIFOCALS PACKAGE (with or without fixed tint)"]
[null,"PUBLIC SERVICE SPECTACLE PACKAGES (COMPLETE- FRAME+ CR-39/ORGANIC LENSES) INCLUDING HARD CASE AD CLOTH."]
[null,"ITEM 5",116899,"PSSP BIFOCALS (Flat Top) with Zyl Frame :                                                                                                   RANGE:SPH +4.00/ -6.00 Cyl ≤ - 2.00DC (+1.50 to +3.50)","Each"]
[null,"ITEM 6",116900,"PSSP BIFOCALS (Flat Top) with Metal Frame                                                                                         RANGE:SPH +4.00/ -6.00 Cyl ≤ - 2.00DC (+1.50 to +3.50)","Each"]
[null,"ITEM 7","NEW ","PSSP BIFOCALS (Flat Top surfaced HRI) with Zyl Frame                                                                                            RANGE:SPH >+4.00/ -6.00 Cyl > - 2.00DC (+1.50 to +3.50)","Each"]
[null,"ITEM 8","NEW ","PSSP BIFOCALS (Flat Top surfaced HRI) with Metal Frame                                                                                          RANGE:SPH >+4.00/ -6.00 Cyl > - 2.00DC (+1.50 to +3.50)","Each"]
[null,"SPECTACLES FRAME + LENSES PACKAGE (READY MADE) Dioptric powers from 1.00D"]
[null,"ITEM 9",116919,"Spectacles (UNISEX FRAME)    Bilateral CR 39, scratch resistant lenses from  +1.00D to + 4.00D in 0.50D steps                                                                                                                                                                                                                                                                                                                                                                                                                                          ","Each"]
[null,"ITEM 10",116920,"Spectacles (UNISEX FRAME) Bilateral CR 39, scratch resistant lenses from  +8.00D to + 18.00D in 0.50D steps                                                                                                                                                                                                                                                                                                                                                                                                                                         ","Each"]
[null,"BLANK UNCUT SINGLE VISION CR39 ORGANIC LENSES"]
[null,"ITEM 11","NEW ","PSSP SINGLE VISION(Standard) with Zyl Frame:  RANGE:SPH +4.00D/-6.00D Cyl  ≤ - 2.00DC","Each"]
[null,"ITEM 12","NEW ","PSSP SINGLE VISION(Standard) with Metal Frame :  RANGE:SPH +4.00D/-6.00D Cyl ≤ -2.00DC","Each"]
[null,"BLANK UNCUT BIFOCAL CR39 ORGANIC LENSES"]
[null,"ITEM 13","NEW ","PSSP BIFOCALS (Flat Top) with Zyl Frame :                                                                                                   RANGE:SPH +4.00/ -6.00 Cyl ≤ - 2.00DC (+1.50 to +3.50)","Each"]
[null,"ITEM 14","NEW ","PSSP BIFOCALS (Flat Top) with Metal Frame:                                                                                         RANGE:SPH +4.00/ -6.00 Cyl ≤ - 2.00DC (+1.50 to +3.50)","Each"]
[null,"BINOCULAR VISION DEVICES"]
[null,"ITEM 15","NEW ","Loose prisms (with different dioptric power)","Each"]
[null,"ITEM 16","NEW ","Prism bar (with different dioptric power)","Each"]
[null,"ITEM 17","NEW ","Fresnel Prism lenses (Stick-ons)","Each"]
[null,"ITEM 18","NEW ","Frosted lenses ","Each"]
[null,"CONTACT LENSES (HARD AND SCLERAL) INCLUDING CONTACT LENS CASE "]
[null,"ITEM 19",116923,"HARD CONTACT LENS  :  RGP,  Powers Sph Pl to +/- 10.00D, Cyl <-10.00 DIAMETER AND BASE CURVE RANGE :PER PRACTITIONER’S ORDER","Each"]
[null,"ITEM 19.1",117299,"Contact lens case (different case size) ","Each"]
[null,"ITEM 19.2",117301,"Trial lens set (hard):  RGP,  Powers Sph Pl to +/- 10.00D, Cyl <-10.00 DIAMETER AND BASE CURVE RANGE :PER PRACTITIONER’S ORDER","Each"]
[null,"ITEM 19.3",117302,"Cleaning solution for hard content lenses (120ml -250ml )","Each"]
[null,"ITEM 19.4",117304,"Soaking solution for hard contact lenses(120ml to 250ml)","Each"]
[null,"ITEM 20","NEW ","SCLERAL CONTACT LENS: RGP in any Dioptric power , DIAMETER AND BASE CURVE RANGE; SAG HEIGHT, STANDARD OPEN/ LIMBUS :PER PRACTITIONER’S ORDER with X2 EXCHANGE","Each"]
[null,"ITEM 20.1","NEW ","Contact lens case (Scleral)","Each"]
[null,"ITEM 20.2","NEW ","scleral contact lens Plungers (insertion and removal)","Each"]
[null,"ITEM 20.3","NEW ","Trial lens set (scleral) RGP in any Dioptric power , DIAMETER AND BASE CURVE RANGE; SAG HEIGHT, STANDARD OPEN/ LIMBUS :PER PRACTITIONER’S ORDER with X2 EXCHANGE","Each"]
[null,"ITEM 20.4","NEW ","0.9% SALINE SOLUTION (PRESERVATIVE FREE)","Each"]
[null,"LOW VISION DEVICES"]
[null,"ITEM 21","NEW ","LOW VISION DIAGNOSTIC TOOLS (STATER PACK) COMPRISING OF THE FOLLOWING:\n1.Near acuity charts  in Sloan letters.\n2.Near Symbol Amino- Domina cards.\n3.Lea Symbols low contrast Flip chart.\n4.LV Fixation targets/ confratation test arc perimetry.\n5.Continous text reading card.\n6.Cross cylinder +/- 1.00B.\n7.Lens rack for Retinoscopy.\n8.Tumbling E and Landolt C near card.\n9. Hide low contrast face test - 2 sided.\n10. LOGMAR test charts sloan letters for distance.\n11.LOGMAR test charts in numbers for distance.\n12.LOGMAR test charts in tumbling E for distance.\n13. Flip cards in Sloan letters for distance.\n14. Flip cards in numbers for distance.\n15. LEA numbers Low contrast flipchart.\n16.Single symbol book (10 feet, 3meter).\n17.Crowded symbol book (10 feet, 3meter)\n18.Panel D16 Quantitive Color vision test.\n19. Ishihara colour vision test.\n20. Low vision optical diagnostic testing kit (near).\n21. Low vision  optical diagnostic testing kit (distance)","Pack"]
[null,"ITEM 22","NEW","Ultraviolet Shields- UV  filters which fit over prescription spectacles- absorbs ultra violet radiation to 400 nm","Each"]
[null,"ITEM 23",null,"LOW VISION DEVICES"]
[null,"ITEM 23.1","NEW ","Near acuity charts  in Sloan letters","Each"]
[null,"ITEM 23.2","NEW ","Near Symbol Amino- Domina cards","Each"]
[null,"ITEM 23.3","NEW ","Lea Symbols low contrast Flip chart","Each"]
[null,"ITEM 23.4","NEW ","SNELLEN chart ( Illeterate or Literate)","Each"]
[null,"ITEM 23.5","NEW ","LV Fixation targets/ confrontation test arc perimetry ","Each"]
[null,"ITEM 23.6","NEW ","Continous text reading card","Each"]
[null,"ITEM 23.7","NEW ","Cross cylinder +/- 1.00B","Each"]
[null,"ITEM 23.8","NEW ","Lens rack for Retinoscopy ","Each"]
[null,"ITEM 23.9","NEW ","Tumbling E and Landolt C near card","Each"]
[null,"ITEM 23.10","NEW ","Hide low contrast face test - 2 sided ","Each"]
[null,"ITEM 23.11","NEW ","LOGMAR test charts sloan letters for distance ","Each"]
[null,"ITEM 23.12","NEW ","LOGMAR test charts in numbers for distance ","Each"]
[null,"ITEM 23.13","NEW ","LOGMAR test charts in tumbling E for distance ","Each"]
[null,"ITEM 23.14","NEW ","Flip cards in Sloan letters for distance","Each"]
[null,"ITEM 23.15","NEW ","Flip cards in numbers for distance","Each"]
[null,"ITEM 23.16","NEW ","Flip cards in tumbling E for distance","Each"]
[null,"ITEM 23.17","NEW ","Near acuity charts in numbers ","Each"]
[null,"ITEM 23.18","NEW ","Near acuity charts tumbling E","Each"]
[null,"ITEM 23.19","NEW ","LEA numbers Low contrast flipchart","Each"]
[null,"ITEM 23.20","NEW ","Single symbol book (10 feet, 3meter)","Each"]
[null,"ITEM 23.21","NEW ","Crowded symbol book (10 feet, 3meter)","Each"]
[null,"ITEM 23.22","NEW ","Panel D16 Quantitive Color vision test ","Each"]
[null,"ITEM 23.23","NEW ","Ishihara colour vision test","Each"]
[null,"ITEM 23.24","NEW ","Complete Telescope testing kit (with different magnification)","Each"]
[null,"ITEM 23.25","NEW ","Complete magnifiers testing kit (Illuminated/ non Illuminated)","Each"]
[null,"ITEM 24",null,"MAGNIFIERS"]
[null,"ITEM 24.1","NEW ","Handheld magnifier (different power ranges)","Each"]
[null,"ITEM 24.2","NEW ","Illuminated Handheld magnifier (different power ranges)","Each"]
[null,"ITEM 24.3","NEW ","Stand magnifier (different power ranges, size and shapes)","Each"]
[null,"ITEM 24.4","NEW ","Pocket foldable/ non foldable magnifiers (different power ranges)","Each"]
[null,"ITEM 24.5","NEW ","Dome magnifier  (different power ranges and sizes)","Each"]
[null,"ITEM 24.6","NEW ","Adjustable Max Tv magnifier","Each"]
[null,"ITEM 24.7","NEW ","Bar magnifier ","Each"]
[null,"ITEM 25",null,"TELESCOPES DISTANCE AND NEAR"]
[null,"25.1","NEW","Monocular telescopes (Handheld different power ranges) ","Each"]
[null,"25.2","NEW","Binocular telescopes (Handheld different power ranges)","Each"]
[null,"25.3","NEW","Clip- on monocular telescope (different power ranges)","Each"]
[null,"25.4","NEW","Clip- on binocular telescope (different power ranges)","Each"]
[null,"25.5",116991,"Ultraviolet Shields- UV  filters which fit over prescription spectacles- absorbs ultra violet radiation to 400 nm","Each"]
[null,"25.6","NEW","Ultraviolet Shields- UV  filters goggles with different shades of colours- absorbs ultra violet radiation to 400 nm","Each"]
{"$rows_empty":7}
[null,"Name of the Bidder"]
[]
[]
[]
[null,"Name of Bidder's representative"]
[]
[]
[]
[null,"Position of Bidder's representative"]
[]
[]
[]
[null,"Signature"]