## Sheet1
Fetal Heart Rate Simulator
1 | DESCRIPTION
1.1 | Fetal simulator mimics fetal and maternal heartbeats (ECG), along with uterine activity during labor to accurately test and troubleshoot fetal electronic monitors.
2 | TECHNICAL SPECIFICATION
2.1 | The fetal monitor simulator being tendered for must be reliable, user friendly, comprise the latest technology, provide reliable simulations to the fetal monitors and IT MUST NOT BE A PROPRIETARY UNIT for any one specific make and model of fetal monitors but instead be compatible for use with all commonly available makes and models of fetal monitors
2.2 | The bidder must state all the makes and models of fetal monitors that this SIMULATOR is compatible for use with. Tenderers must note that the SIMULATOR that is compatible with the most various makes and models of fetal monitors may be given preference
2.3 | The unit offered must be supplied with TOCO and ULTRASOUND simulator cables to connect the simulator to the Fetal Monitors and the cost of these must be included in the final tender price
2.4 | All other available cables for other makes and models of fetal monitors must be listed on the separate schedule as OPTIONAL items and the description, catalogue number and price inclusive of V.A.T. must be stated
2.5 | The unit being tendered for must provide TOCO SIMULATION. Bidder must list the simulation feature available.
2.6 | The unit offered must provide ULTRASOUND simulation with provision of a mechanical interface to the ultrasound transducer
2.7 | The unit offered must provide selectable maternal ECG simulations in a minimum range of 60 to 160 beats per minute
2.8 | The unit offered must provide selectable fetal ECG simulations in a minimum range of 30 to 240 beats per minute
2.9 | The unit offered must be compact, lightweight and it must be robust
2.1 | The unit offered must provide easy, user friendly operation
2.11 | The Simulator must have a reasonable size display for display of test values in the English Language and this display must be clearly visible under all lighting conditions.
2.12 | The unit offered must operate of an internal battery. The bidder to state type of battery, its size, voltage and capacity.
2.13 | The Simulator offered must be supplied with a complete set of accessories as part of the unit, at no extra cost, in order that the Simulator may be put to immediate use. All those accessories that will be supplied as part and parcel of the Simulator must be specified. The unit must come in a carry case.
2.14 | Must be provided with a manual guide preferably in the English language.