## Sheet1
24-Week Preterm Neonate
1 | DESCRIPTION
1.1 | Realistic preterm manikin
2 | TECHNICAL SPECIFICATION
2.1 | General:
2.1.1 | Age: 24 - 30 Weeks preterm neonate
2.2 | Airway:
2.2.1 | Lifelike, anatomically accurate oral cavity and airway
2.2.2 | Lifelike gums and appropriately sized tongue
2.2.3 | Endotracheal intubation
2.3.4 | Sellick manoeuvre
2.3.5 | Nose and oral cavity suction
2.3 | Breathing:
2.3.1 | True-to-life lung compliance
2.3.2 | Visible chest rise following recommended flow, PIP, and PEEP values
2.3.3 | Supports standard positive pressure ventilation devices including BVM, CPAP, and mechanical ventilators
2.4 | Cardiac:
2.4.1 | Pulses (manual)
2.4.2 | Brachial
2.4.3 | Femoral
2.4.4 | Umbilical
2.4.5 | Fontanelle
2.4.6 | Realistic chest recoil during CPR
2.5 | Vascular Access:
2.5.1 | IV cannulation
2.5.2 | Hand
2.5.3 | Scalp
2.5.4 | UVC/UAC infusion and sampling
2.5.5 | PICC line placement
2.5.6 | Navel insert
2.6 | Gastrointestinal:
2.6.1 | Gastric distention
2.6.2 | Patent oesophagus
2.6.3 | Naso-Gastric (NG)/Oro-Gastric (OG) intubation
2.6.4 | Gastric suction and feeding
2.7 | Must come with a product user guide
2.8 | Must come in a protective case