## Sheet1
Abdominal Palpation Model
1 | DESCRIPTION
1.1 | Abdominal obstetric palpation model
2 | TECHNICAL SPECIFICATION
2.1 | Complete Abdominal Palpation Model with the following:
2.1.1 | abdominal skin
2.2 | Three dimensional models to palpate lie position and presentation of the fetus in utero.
2.2.1 | To allow for Abdominal Palpation Manoeuvres.
2.2.2 | Removable Abdominal overlay to allow for visualisation of fetus, on removal.
2.2.3 | Includes a foetus with a weighted body, movable arms, legs, and head.
2.2.4 | Foetal model must have head, with palpable anterior and posterior fontanelles, and cranial sutures.
2.3 | Must come with a product user guide
2.4 | Must come in a protective case
Abdominal Palpation Model - Accessories and Consumables
1 | abdominal skin