## Sheet1
Breast Self Examination (BSE) Model
1 | DESCRIPTION
1.1 | A lifelike teaching form made from synthetic tissue similar to prosthesis, embedded with different types of common lumps and tumours.
2 | TECHNICAL SPECIFICATION
2.1 | Complete Breast Self Examination (BSE) Model with the following:
2.1.1 | Display stand
2.1.2 | Talcum powder
2.2 | Model to consist of Three single Breasts, on Base
2.3 | Natural casting of three (3) different female breasts in small, medium, and large cup sizes.
2.4 | One (1) to demonstrate a healthy Breast for comparison.
2.5 | Other breasts to feature/demonstrate lumps in different stages of development
2.6 | Breast Self Examination information chart
2.7 | Must come with a product user guide
2.8 | Must come in a protective case
Breast Self Examination (BSE) Model - Accessories and Consumables
1 | Display stand
2 | Talcum powder