## Sheet1
Central Line Access Trainer
1 | DESCRIPTION
1.1 | Adult central line task training system for subclavian, internal jugular and femoral vein access
1.2 | Compatible with ultrasound probe-guided needle insertion
2 | TECHNICAL SPECIFICATION
2.1 | Complete Central Line Access Trainer with the following:
2.1.1 | Simulated blood for vein & arteries
2.1.2 | Alternative pads for anatomical variation
2.1.3 | Neck and femoral pads / inserts with component parts
2.1.4 | Alternative pads for anatomical variation
2.2 | Anatomy and Features:
2.2.1 | Must include the sternocleidomastoid muscle, anterior and middle scalene muscle, interscalene groove and clavicle as anatomical landmarks (neck region)
2.2.2 | Must include the inguinal crease, inguinal ligament, anterior superior iliac spine, pubic tubercle and femoral pulse as anatomical landmarks (femoral region)
2.2.3 | Must have the internal jugular, carotid and femoral artery which is pulsatile
2.2.4 | Ultrasound must render anatomically accurate imagery of the central veins and arteries with relevant behaviour such as pulsing and compression
2.2.5 | Veins must be compressible
2.2.6 | Must provide anatomical variations such as obesity that affect insertion site choice and technique
2.2.7 | Must be able to position the simulator in the appropriate position for central line access
2.3 | Central line access procedures:
2.3.1 | Must be able to cannulate the subclavian, internal jugular and femoral vein as a blind procedure and with ultrasound guidance
2.3.2 | Must be able to distinguish between venous and inadvertent arterial cannulation
2.3.3 | Must be able to visualise the needle and guidewire entering the vein using ultrasound
2.4 | Must come with a product user guide
2.5 | Must come in a protective case
Central Line Access Trainer - Accessories and Consumables
1 | Simulated blood for vein & arteries
2 | Alternative pads for anatomical variation
3 | Neck and femoral pads / inserts with component parts
4 | Alternative pads for anatomical variation
5 | Articulating head (must be able to tilt)
6 | Pump assemblies (pulse generation)