## Sheet1
Child Basic Life Support Cardiopulmonary Resuscitation (CPR) Trainer
1 | DESCRIPTION
1.1 | Full-body child manikin simulator system for individual and team training in Basic Life Support (BLS) cardiopulmonary resuscitation (CPR)
1.2 | Provide immediate feedback during CPR for learning while doing
2 | TECHNICAL SPECIFICATION
2.1 | Complete Child BLS CPR Trainer with the following:
2.1.1 | Operating system for immediate CPR performance feedback to person doing CPR - CPR metronome (Rate, depth, rhythm)
2.1.2 | Simulator system providing student performance monitoring by instructor and detail CPR metrics data capture
2.1.3 | Face skins
2.1.4 | Lungs
2.1.5 | Manikin clothing
2.1.6 | Basic tools for assembly
2.1.7 | Battery / power pack
2.1.8 | Charge cable
2.2 | Must demonstrate the following Airway Features:
2.2.1 | Anatomical airway obstruction if airway not properly opened
2.3 | Must support the following Airway Procedures:
2.3.1 | Head-tilt-chin lift
2.3.2 | Jaw thrust
2.4 | Must support the following Respiratory Support Procedures:
2.4.1 | Bag-valve-mask ventilation with chest rise
2.5 | Must demonstrate the following Anatomical Features:
2.5.1 | Sternal notch and xiphoid process for determining correct hand placement for chest compressions
2.5.2 | Palpable carotid pulse
2.5.3 | Realistic chest compliance on chest compression
2.6 | Must provide the following CPR performance feedback:
2.6.1 | Graphic and numerical visual feedback on current evidence-based CPR performance parameters: hand position, compression-ventilation ratio, depth of compression, chest recoil, hands-off time and tidal volume delivery
2.6.2 | Detailed analysis of average CPR performance over the total time over which CPR was performed (individual and team)
2.6.3 | Immediate CPR performance graphic and numerical visual feedback for learning while doing
2.6.4 | Both learner feedback system and instructor feedback with data capture system must function simultaneously
2.7 | Must come with a product user guide
2.8 | Must come in a protective case
Child BLS CPR Trainer- Accessories and Consumables
1 | Lubricant for airway procedures
2 | Training AED defibrillation pads
3 | Device for immediate CPR performance feedback to person doing CPR
4 | Simulator system providing student performance monitoring by instructor and detail CPR metrics data capture
5 | Single training AED that integrates with CPR performance data capture
6 | Chest skin
7 | Lung-bladder replacement kit
8 | Manikin clothing
9 | Battery / power pack
1o | Charge cable