## Sheet1
Full-Body High-Fidelity Adult Manikin Simulator System
1 | DESCRIPTION
1.1 | A life-sized, high-fidelity adult manikin with interactive patient-like features that accurately reflects a broad spectrum of clinical conditions and emergencies relevant to anaesthesia with cross-over application to other specialist medical disciplines
1.2 | An operating system that controls manikin features and integrates with the patient monitor
1.3 | An interactive, life-like patient monitor that integrates with manikin functionality and reflects parameters essential for anaesthesia
2 | TECHNICAL SPECIFICATION
2.1 | Complete Full-Body High-Fidelity Adult Manikin Simulator System with the following:
2.1.1 | Lubricant for airway procedures
2.1.2 | Surgical airway skin and membrane
2.1.3 | Dentures
2.1.4 | Needle decompression bladders
2.1.5 | Intraosseous replacement pads
2.1.6 | Lateral chest-drain pads
2.1.7 | Manual defibrillation plates / pads
2.1.8 | Connectors for pacing / defibrillation cables
2.1.9 | Pacing / defibrillation cable that integrates live pacing / defibrillation
2.1.10 | Pulse oximeter probe for manikin
2.1.11 | BP cuff for manikin
2.1.12 | Manikin clothing
2.1.13 | Basic tools for assembly
2.1.14 | Portable battery pack
2.1.15 | Charge cable
2.2 | Applicable culturally-sensitive skin tones
2.3 | Interchangeable genitalia (male / female) with catheterisation capability
2.4 | Airway Features:
2.4.1 | Realistic airway anatomy to the level of the primary bronchi
2.4.2 | Presents with the following airway complications:
2.4.3 | Trismus
2.4.4 | Tongue oedema
2.4.5 | Pharyngeal oedema
2.4.6 | Laryngospasm
2.4.7 | Decreased range of cervical spine motion
2.4.8 | Difficult airway configuration
2.4.9 | Right mainstem bronchus intubation
2.4.10 | Stomach distension with oesophageal intubation / aggressive Bag-valve-mask ventilation
2.5 | Airway Procedures:
2.5.1 | Basic airway manoeuvres
2.5.2 | Head-tilt-chin lift
2.5.3 | Jaw thrust
2.5.4 | Oral and nasal suctioning (wet or dry)
2.5.5 | Basic airway adjuncts: OPA and NPA
2.5.6 | Oro- and nasotracheal intubation
2.5.7 | Supraglottic airway device insertion: LMA ¦ LTA
2.5.8 | Specialised techniques: Bougie / light-wand, video laryngoscopy and fibreoptic assisted intubation
2.5.9 | Needle cricothyroidotomy
2.5.10 | Surgical cricothyroidotomy
2.6 | Respiratory Features:
2.6.1 | Settings for lung resistance
2.6.2 | Anterior and posterior auscultation of lung sounds over anatomically correct lung fields
2.6.3 | Independently programmable lung sounds for all lobes of the lung
2.6.4 | Spontaneous breathing with options for unilateral and bilateral chest-wall movement
2.6.5 | Displays central cyanosis
2.7 | Respiratory Support Procedures:
2.7.1 | Use of a wide range of oxygen delivery devices
2.7.2 | Bag-valve-mask ventilation with chest rise
2.7.3 | Translaryngeal jet-insufflation
2.7.4 | Bilateral needle thoracentesis
2.7.5 | Bilateral formal chest drain insertion
2.7.6 | Support basic to advanced ventilation management or can integrate a breathing simulator for this purpose
2.8 | Circulatory Features:
2.8.1 | Bilateral palpable pulses: carotid, brachial, radial, femoral, popliteal, dorsalis pedis
2.8.2 | Extensive ECG library with interactive programmable features (morphology, rate, artefact, ectopic presence and frequency)
2.8.3 | Pulses synchronised with ECG and BP (pulse volume/strength)
2.8.4 | Auscultation of heart sounds over 4 anatomically correct positions with extensive library of heart sound options (normal and pathological)
2.8.5 | Measurement of BP: manual and NIBP
2.9 | Circulatory support procedures:
2.9.1 | IV access with real-time drug and fluid administration capability
2.9.2 | IO access (humoral and tibial) with appropriate IO access method supporting real-time drug and fluid administration
2.9.3 | CPR capable, providing feedback on evidence-based CPR metrics: compression-ventilation ratio, depth of compression, chest recoil, hands-off time
2.9.4 | Clinical evidence of effective CPR: ECG compression artefact and palpable carotid pulses
2.9.5 | Live defibrillation and synchronised cardioversion with paddles or pads (real or training) at full energy levels
2.9.6 | Live transcutaneous pacing with delivery of full energy via real or training pads with programmable threshold capture and achievement of electrical and mechanical capture
2.9.7 | Glucose (optional)
2.1 | Pharmacology:
2.10.1 | Manual drug-recognition system with programmable drug-responses
2.10.2 | Comprehensive and programmable drug formulary
2.11 | Additional required features:
2.11.1 | Programmable eyelid blinking
2.11.2 | Alteration of pupil size
2.11.3 | Patient vocal sounds associated with condition / response such as vomiting sounds, coughing and moaning
2.11.4 | Capable of communicating as the voice of patient
2.12 | Virtual Patient Monitor features:
2.12.1 | The patient monitor must integrate with the manikin operating system
2.12.2 | Select and arrange physiological parameters to display on the patient monitor
2.12.3 | Touch-screen interaction with patient monitor settings and parameters
2.12.4 | Variable monitor options: AED, monitor with interactive pacing and defibrillation, advanced monitor
2.12.5 | The advanced monitor must display a selection of the following programmable parameters:
2.12.5.1 | 3-Lead ECG (Lead I, II or III)
2.12.5.2 | Generation of real-time 12-Lead ECG (on-screen and printable version)
2.12.5.3 | SpO2 – numerical and plethysmograph display
2.12.5.4 | ETCO2 with variable waveform morphology
2.12.5.5 | NIBP with manual and automatic cycling with cycle time-interval selection
2.12.5.6 | Cardiac output
2.12.5.7 | Arterial BP
2.12.5.8 | TOF
2.12.5.9 | Temperature (peripheral and core)
2.12.6 | Display the following anaesthetic agents and gases:
2.12.6.1 | Oxygen (inO2 and etO2)
2.12.6.2 | Nitrous Oxide (inN2O and etN2O)
2.12.6.3 | Sevoflurane (inSEV and etSEV)
2.12.6.4 | Desflurane (inDES and etDES)
2.12.6.5 | Isoflurane (inISO and etISO)
2.13 | Software and Operating System requirements:
2.13.1 | The manikin operating system and virtual patient monitor must be supported by the Microsoft Windows operating system
2.13.2 | Touch-screen monitor for interaction with monitor parameters
2.13.3 | Operating software must remain active without the need for ongoing software licences fees
2.13.4 | Operating software must be supported with ongoing updates which are free of charge.
2.14 | System Integration requirements:
2.14.1 | Must be able to integrate real or virtual ultrasound into manikin functionality where ultrasound functions within the manikin operating system for ease of control
2.14.2 | Must be able to integrate with a breathing simulator enabling basic to advanced real-time ventilator management of the manikin across all modes of ventilation and PEEP settings while generating real tidal volume
2.14.3 | Must integrate with a simulation data capturing system enabling data collection for debriefing, record keeping, reporting and research
2.15 | Must come with a product user guide
2.16 | Must come in a protective case
Full-body high-fidelity adult manikin simulator system - Accessories and Consumables
1 | Simulated SpO2 probe
2 | Virtual patient monitor system
3 | Simulator operating system
4 | Compressor for spontaneous breathing
5 | Chest skin
6 | Airway system
7 | Lung bladders
8 | Manikin clothing
9 | Battery / power pack
10 | Charge cable
11 | Lubricant for airway procedures
12 | Replacement neck skins and membrane
13 | Replacement bladders for needle decompression
14 | Replacement parts for formal chest drain
15 | Replacement parts for Intraosseous (humoral or tibial)
16 | Replacement skin and veins for IV access
17 | IO inserts
18 | IO skins
19 | artificial blood
20 | artificial urine