## Sheet1
Full Domed Convex Observation Mirror
Description
An equipment used to monitor patients movements
Specification
Tamperproof and durable full dome observation mirror, mounted on the roof of rooms for safety and security.
Virtually indestructible and unbreakable, mirror quality polycarbonate face.
Pure reflective coating.
Powder coated steel frame for enhanced long life and appearance.
Mounted with Stainless Steel Tamperproof Torx Head screws.
Distortion free reflective coating for excellent 360° viewing quality.
Recessed, tamper proof fixings increases security and reduces ligature risk.
The frame must have Counter-bore holes designed to take security head fasteners.
Foam insert to fill cavity and enhance strength.
Upon installation, the mirror shall be sealed to the roof with a tamper and pick resistant silicone based sealant.
Dimensions
Mirror Size 600mm diameter