## Sheet1
Portable Hearing Aid verification unit
Description
Portable hearing aid fitting instrument allowing for verification of hearing aid fitting.
Technical Specifications
Portable hearing aid instrument allowing for verification of hearing aid fitting.
Should have NAL-NL1, NAL-NL2, and DSL-5 prescription targets.
Stored equalisation allowing for verification of open fittings.
Must have speech mapping facility, real ear to coupler difference (RECD) and test box verification option.
Must be supplied with:
probe
RECD cable
couplers
test box speaker
2 packets of REM tubes
1 packet of insert earphones (large)
1 packet of insert earphones (small)
protective carry case
Should be NOAH compatible
Accessories:
probe
RECD cable
couplers
test box speaker
2 packets of REM tubes
1 packet of insert earphones (large)
1 packet of insert earphones (small)
protective carry case
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list