## Sheet1
Vestibular equipment: Frenzel lenses
Description
Hand-held, battery-operated light source used to disable patient's ability to visually fixate on an object while allowing the examiner to adequately visualise the eye.
Technical specifications
Must include lenses and bulbs which allow for a large viewing area.
Must be supplied with rechargeable batteries and battery charger
Accessories:
lenses
bulbs
rechargeable batteries
battery charger
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list