## Sheet1
Desktop mirror
Description
A therapy tool used for visual feedback during mirror therapy and functional rehabilitation
Technical Specification
The mirror size must be at least 40cmx40cm LxH excluding the frame
Free standing on a desk
Must come with protective case
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list