## Sheet1
Finger goniometer
Description
Instrument used to test grip strength and other components of hand function
Technical Specification
6’ stainless steel finger goniometer
Has 180 degrees scale marked in 1 degree increments that read in either direction.
Linear in inches and centimeters.
Must be able to measure hyperextension of the finger. (0 - 120° with hyperextension 0 - 30°)
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list