## Sheet1
Paediatric Electric Tilt Table
Description
Electrically operated tilt table has been designed to assist in the therapy of juvenile or adult clients who are unable to stand on their own.
Technical Specification
Tilt table, Child: Electrical, Variable height.
Minimum of 4 Straps to secure patient.
Overall tilt 0° -90°.
Must have tilt locking mechanism.
Comfortable foot rest with non-slip surface.
All accessories included (work surface, side handles.)
With manual override back up option in case of emergency
Load capacity: Minimum 60kg
Optional Wheel raising mechanism for easy movement of the bed or minimum 4 wheels each with brakes.
Overall Height High Position ±65
Overall Length: not less than ±135cm
Overall Width: not less than ±45cm.
FOAM DENSITY: Standard: 38 Kg/m3 and 4-6cm thick.
Upholstered surface with room for both patient and therapist imitation leather upholstery contains no phthalates and is flame retardant.
Material must be water resistant and disinfectable
Accessories:
Minimum of 3 straps
work surface
side handles
Optional accessories:
Rechargeable back-up battery
Battery charger
Minimum 3 metre electrical cord.
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list