## Sheet1
Sensory Evaluator Hand Kit
Description
A set of instrument used to test grip strength and other components of hand function
Technical Specification
5 piece sensory evaluator kit
Each evaluator is individually calibrated within a 5% standard deviation of a predetermined level of force
The sensory evaluator handles are marked with the corresponding color-coded pressure level
The following colour coded pressure levels must be included: 2.83, 3.61, 4.31, 4.56, 6.65
A small carry case muse be included for storage
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list