## Sheet1
Suspension frame (with bed)
Description
A therapeutic device used to suspend weakened limbs in gravity eliminated plane with the aim to strengthen the limb.
Technical Specifications
Heavy duty, mobile tubular steel suspension frame with bed.
The frame must fit treatment bed
Treatment bed/couch to be included to ensure correct fit, should be smaller than frame.
Tubular steel construction, overall approximate sizes 210cm long x 110cm wide at the base, 50cm wide at the top and 190cm high.
All welded steel rod mesh at the top for complete suspension with slings and ropes.
Mesh facilitates suspension at any desired point in relation to the patient and as required in each individual case.
Accessories:
Suspension Gear comprising 7 canvas slings (4 limb, 2 trunk & 1 head)
4 single hook ropes, 2 double pulley & 2 single pulley ropes with necessary hooks and cleats
8 graduated springs of different tension
4 'S' hooks & 2 ankle straps
Frame