## Sheet1
Suspension frame (without bed)
Description
A therapeutic device used to suspend weakened limbs in gravity eliminated plane with the aim to strengthen the limb.
Technical Specifications
Heavy duty, Mobile tubular steel suspension frame without bed.
The frame must fit treatment bed
Tubular steel construction, overall approximate sizes 210cm long x 110cm wide at the base, 50cm wide at the top and 190cm high.
All welded steel rod mesh at the top for complete suspension with slings and ropes.
Mesh facilitates suspension at any desired point in relation to the patient and as required in each individual case.
Accessories:
Suspension Gear comprising 7 canvas slings (4 limb, 2 trunk & 1 head)
4 single hook ropes, 2 double pulley & 2 single pulley ropes with necessary hooks and cleats
8 graduated springs of different tension
4 'S' hooks & 2 ankle straps
Frame
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list