## Sheet1
Therapy Foam rollers
Description
Therapeutic tool used for functional physical rehabilitation
Technical Specification
High density foam rollers: in various sizes (long & round), multiple colours.
Cleanable quality leather or flame retardant vinyl.
Rollers are made of Polystyrene, covered with chip foam and cover.
Approximate dimensions:
a. 90cm length and 50cm diameter
b· 90cm length and 40cm diameter
c·90cm length and 30cm diameter
d·90cm length and 20cm diameter
e·90cm length and 15cm diameter
f· 60cm length and 40cm diameter
g· 60cm length and 30cm diameter
h·60cm length and 20cm diameter
i· 60cm length and 15cm diameter
j· 45cm length and 20 cm diameter
k·45cm length and 15cm diameter
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list