## Sheet1
Therapy Wedges
Item Description
Therapeutic tool used for functional physical rehabilitation
Technical Specification
Therapy wedges: in various sizes (triangular), multiple colours.
Wedges are made of Polystyrene, covered with foam and cover.
Upholstered surface made with imitation leather upholstery or vinyl, contains no phthalates and is flame retardant.
Easy to clean.
Durable and light weight.
Tumble form coating.
At least one angle must be 90 degree
Fluid resistant (medical grade water resistant)
To include the following approximate sizes:
a. Small
b. Medium
c. Large
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list