## Sheet1
Atlas Walker (chrome plated steel frame)
Description
A mobility Rehabilitation device used to assist patients with gait
Technical Specification
The unit shall be a height adjustable atlas walking frame
The unit shall have a chrome plated steel frame
The unit shall be easy to clean
The unit shall have a padded rest pad that is shaped to fit the human body
Padded rest pad for the upper limbs to rest on, ergonomically shaped, to disperse weight between upper body and legs
Padded rest pad to be covered in durable vinyl, which is easily disinfected and flame retardant
The unit shall have 4 heavy duty swivel castors, 2 in front and 2 in the rear for easy manoeuvrability
Rear castors will have brakes
Quality requirements: Product shall be free of burrs, sharp edges, oil, grease and/or any foreign matter prior to packaging
The unit shall have 2 adjustable handgrips
Specifications:
Maximum user weight: 160kg
Height adjustment from approximately 98cm – 145cm
Overall width approximately 63cm
Overall depth approximately 75cm
Dimension: height adjustable 93-142cm; overall width 63cm. Overall depth: 76cm
Weight of unit 8-10kg
Bidder shall supply document/certificate from supplier along with samples for testing, to certify type of aluminium alloy and strength used.
Accessories
Castors
The unit shall be FDS or CE approved (Attach certification)
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list