## Sheet1
A Set of 5 Therapy Mats
Description
A mat used for rehabilitation
Technical Specification
The unit shall be available in the following approximate sizes:
A: 15mm x 60cm x 180cm
B: 15mm x 100cm x 180cm
C: 15mm x 100cm x 185cm
D: 15mm x 100cm x 200cm
E: 10mm x 180cm x 60cm
Each mat shall be individually priced
Different sizes mats can be procured separately as single units
The unit shall be manufactured from a dense closed cell foam that is antibacterial and water impermeable
The unit shall be hard-wearing with a long life span
The unit shall be comfortable to use - soft, supple, yielding and supportive
The unit shall have a slip-proof surface
Flat placement to reduce risk of tripping
The unit shall conform to CE- high quality materials, strict quality controls
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list