## Sheet1
Magnifying lamp
Description
Technical Specification
Magnifying lamp, medical, ring with 3-D joint.
The unit structure should be made of non-corrosive material
Included in delivery: clamp mounting suitable for all tables.
Mounting for attachment to mobile support column.
The unit must have 5 castors with at list 2 breaks
Arm length: 35cm.
Electrical supply: 230 V/AC, 50-60 Hz. 22 watt.
Magnification: 2.5 dioptres.
Lens diameter: 110mm.
Magnifying head diameter: 230mm.
Maximum reach: 110mm.
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list