## Sheet1
Nail File
Description
Instrument used for treatment of toe nails by gently filling and cleaning nail debris along the edge of the nail
Technical Specifications
1. stainless steel, single small head, fine cut, 13.75cm
2. stainless steel, double small head, fine cut, 13.75cm
3. stainless steel, single medium head, course cut, 13.75cm
4. stainless steel, double medium head, course cut, 13.75cm
5. stainless steel, single small head, course cut, 13.75cm
6. stainless steel, double small head, course cut, 13.75cm
7. stainless steel, single medium head, fine cut, 13.75cm
8. stainless steel, double medium head, fine cut, 13.75cm
9. stainless steel, single small head, standard cut, 13.75cm
10. stainless steel, double small head, standard cut, 13.75cm
11. stainless steel, single medium head, standard cut, 13.75cm
12. stainless steel, double medium head, standard cut, 13.75cm
13. titanium, single small head, fine cut, 13.75cm
14. titanium, double small head, fine cut, 13.75cm
15. titanium, single small head, course cut, 13.75cm
16. titanium, double small head, course cut, 13.75cm
17. titanium, single medium head, fine cut, 13.75cm
18. titanium, double medium head, fine cut, 13.75cm
19. titanium, single medium head, course cut, 13.75cm
20. titanium, double medium head, course cut, 13.75cm
21. titanium, single small head, standard cut, 13.75cm
22. titanium, double small head, standard cut, 13.75cm
23. titanium, single medium head, standard cut, 13.75cm
24. titanium, double medium head, standard cut, 13.75cm
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list