## Sheet1
Podiatric Drill with a Dust Collection Unit
Description
Technical Specifications
Drill, brushless motor, high torque, variable speed of 2000 up to 40000rpm, 3 memory setting, 230 Voltage, max 405 watt power input.
Rotate clockwise and anti-clockwise, large digital display.
Built in aspiration and filter system, vacuum motor and suction hose with slim, brushless hand piece connection.
Drill dust bag, micro bacterial filter bag, inserted vacuum motor and suction hose of the drill.
Accessories:
dust bag
hand piece (brushless)
vacuum motor
suction hose
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list