## Sheet1
Precision Medical Fiber
Description
Is a device used for testing of peripheral neuropathy in diabetic patients
Technical Specification
nylon, retractable, 10g
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list