## Sheet1
Scalpel Handle
Description
Is a small and extremely sharp bladed instrument used for surgery, anatomical dissection and podiatry. Re-usable scalpels can have single-use blades.
Technical Specifications
Autoclable, ISO900101 & ISO13485
1. stainless steel, high grade, rust free, size no 3.
2. stainless steel, high grade, rust free, size no 4.
3. stainless steel, high grade, rust free, size no 9.
4. titanium , high grade, rust free, size no 3.
5. titanium, high grade, rust free, size no 4.
6. titanium, high grade, rust free, size no 9.
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list