## Sheet1
Spatula
Description
Technical Specifications
Non slippery handle, corrugated or equivalent design
Autoclavable
1. stainless steel, single head, straight flat, round head, small, 10cm-12cm
2. stainless steel, single head, straight flat, round head, medium, 12.5cm-14cm
3. stainless steel, single head, straight flat, round head, large, 14.5cm-16cm
4. stainless steel, double head, straight flat, round head, small, 10cm-12cm
5. stainless steel, double head, straight flat, round head, medium, 12.5cm-14cm
6. stainless steel, double head, straight flat, round head, large, 14.5cm-16cm
7. stainless steel, single head, swan neck, narrow head, small, 10cm-12cm
8. stainless steel, single head, swan neck, narrow head, medium, 12.5cm-14cm
9. stainless steel, single head, swan neck, narrow head, large, 14.5cm-16cm
10. stainless steel, double head, swan neck, narrow head, small, 10cm-12cm
11. stainless steel, double head, swan neck, narrow head, medium, 12.5cm-14cm
12. stainless steel, double head, swan neck, narrow head, large, 14.5cm-16cm
13. stainless steel, single head, straight blunt head, small, 10cm-12cm
14. stainless steel, single head, straight blunt head, medium, 12.5cm-14cm
15. stainless steel, single head, straight blunt head, large, 14.5cm-16cm
16. stainless steel, one end probe, one end spatula, straight, small, 10cm-12cm
17. stainless steel, one end probe, one end spatula, straight, medium, 12.5cm-14cm
18. stainless steel, one end probe, one end spatula, straight, large, 14.5cm-16cm
19. titanium, swan neck, narrow head, small, 10cm-12cm
20. titanium, swan neck, narrow head, medium, 12.5cm-14cm
21. titanium, swan neck, narrow head, large, 14.5cm-16cm
22. titanium, straight flat, round head, small, 10cm-12cm
23. titanium, straight flat, round head, medium, 12.5cm-14cm
24. titanium, straight flat, round head, large, 14.5cm-16cm
25. titanium, straight pointed, round head, small, 10cm-12cm
26. titanium, straight pointed, round head, medium, 12.5cm-14cm
27. titanium, straight pointed, round head, large, 14.5cm-16cm
28. titanium, one end probe, one end spatula, straight, small, 10cm-12cm
29. titanium, one end probe, one end spatula, straight, medium, 12.5cm-14cm
30. titanium, one end probe, one end spatula, straight, large, 14.5cm-16cm
31. titanium, one end probe, one end spatula, straight, small, 10cm-12cm
32. titanium, one end probe, one end spatula, straight, medium, 12.5cm-14cm
33. titanium, one end probe, one end spatula, straight, large, 14.5cm-16cm
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list