## Sheet1
Baby Bottle Microwave Sterilizer
Description
Bottle steam sterilizer used to sterilize baby bottles
Technical Specification
Must hold minimum of 4 standard or wideneck bottles and teats (240ml)
Includes base, lid and internal bottle stabilizer/tray
Internal bottle stabilizer/tray removable for easy cleaning
Entire sterilizer fits inside a standard domestic microwave of a minimum 25L
Heat resistant handles and latches to help prevent burns
BPA free, made from non-toxic material which is safe for infants
Lightweight
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list