## Sheet1
Paediatric Basic Sequence Cards (3 steps)
Description
A game used for paediatrics with neurological impairments for communication therapy
Technical Specifications
Basic sequences cards: 3 step consisting of 45-50 cards
Images on cards must be colour photographs
Must reflect a variety of cultures and races
Cards must be laminated with rounded corners
Each set of cards must come in a sturdy box with a manual
Cards must be at least 15x15cm big
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list