## Sheet1
Plastic Blocks
Description
A therapeutic toys used for children's therapy
Technical Specification
Set of plastic blocks for toddlers and young children
Must consist of at least 10 blocks of different colours
Must be made of durable coloured plastic that will not chip or peel or fade
Must be washable and impervious to disinfectants
Must come in a durable storage container
Blocks must be too big for a toddler or child to swallow
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list
CONSUMABLES
List all the consumables required for full operation of the equipment, with prices