## Sheet1
Toy Activated by Pull-String
Description
A therapeutic toy used for children's therapy
Technical Specification
Toy must consist of a main body and a string connected to a wind-up mechanism , which retracts the string once it has been pulled
Retraction of the string must be accompanied by an action by the toy, e.g. movement, vibration, activation of lights or sound
Toy must be made of durable coloured plastic
Toy must be washable and/or impervious to disinfectant
Main body of toy must be at least 7.5cm x 7.5cm x 7.5cm
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list
CONSUMABLES
List all the consumables required for full operation of the equipment, with prices