## Sanitary Pad
Item Name: Sanitary Pad
Requirements
Sanitary towels shall be rectangular in shape with wings and shall consist of a filler (which may incorporate a non-absorbent layer) that is completely encased in a cover of a woven gauze or of a non-woven material or of a tubular knitted fabric (with or without a seam).
Sanitary towels shall have been made in accordance with sound manufacturing practice and shall be of an acceptable uniform make, shape and finish.
Must provide absorbency rate that will accommodate medium to heavy flow.
May be unscented.
All sanitary towels provided shall have wings to provide leak protection and help secure the pad in place.
All sanitary towels shall be free from lumps, oil spots, streaks of dirt and similar foreign matter that might affect their appearance.
The cover in all sanitary towels shall be so sealed or secured that it cannot unwrap from the filler during normal handling and use
If a sanitary towel has a non-absorbent face, this face shall be clearly indicated.
Sanitary towels must have odour control system, not sensitive to skin and be secure.
Packing and marking
Sanitary towels shall be supplied in suitable packages each containing 10 sanitary towels and shall be individually sterile packed.
The packages shall be packed so as to protect contents from moisture, soiling, damage and contamination during normal handling, transportation and storage.
Standard
The sanitary pad must comply with SANS 1043:2010