Eskom Holdings SOC Limited

Contract number 


	[image: image1.jpg]R Eskom




	


NEC3 Term Service
Short Contract (TSSC3)

	A contract between


	Eskom Holdings SOC Ltd (Reg. No. 2002/015527/30)

	and


	

	for


	The Provision of roof repairs and paintings at Grootvlei substations In Transmission North East Grid Mpumalanga.
Contents:

Part C1

Agreements & Contract Data

Part C2

Pricing Data

Part C3

Scope of Work

Enquiry

	Contents:
	Compiled in accordance with CIDB Standard for Uniformity in Construction Procurement (January 2009 amendments)
	Page No.

	Part C1
	Agreements & Contract Data
	

	
	C1.1 Form of Offer and Acceptance
	02

	
	C1.2 Contract Data provided by the Employer
	05

	
	C1.2 Contract Data provided by the Contractor
	13

	Part C2
	Pricing Data
	

	
	C2.1 Pricing assumptions
	14

	
	C2.2 Price List
	15

	Part C3
	Scope of Work
	

	.


	The Provision of Supervision, Labour, Equipment and Material required for general building maintenance at all substations In Transmission North East Grid Mpumalanga
	17

	
	Pro Forma Task Order
	

	
	
	

	Documentation prepared by: 
	Marks Mathelele 
	


C1 Agreements & Contract Data
C1.1 Form of Offer and Acceptance

 



Term Service Contract

The Employer, identified in the Acceptance page signature block on the next page, has solicited offers to enter into a contract for the procurement of:

The Provision of roof repairs and painting at Grootvlei substation in North East Grid Mpumalanga for a Period of 3 Months (once off)
The tenderer, identified in the signature block below, having examined the documents listed in the Tender Data and addenda thereto as listed in the Tender Schedules, and by submitting this Offer has accepted the Conditions of Tender.
By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the Contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

	The offered total of the Prices exclusive of VAT is 
	Rate base contract

	Value Added Tax @ 15% is
	Rate base contract

	The offered total of the Prices inclusive of VAT is
	Rate base contract

	(in words)      



This Offer may be accepted by the Employer by signing the form of Acceptance overleaf and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)
	
	
	

	Capacity


	
	
	

	For the tenderer:


	(Insert name and address of organisation)


	Name & signature of witness
	
	
	Date
	

	Tenderer’s CIDB registration number: 
	


Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an Agreement between the Employer and the tenderer upon the terms and conditions contained in this Agreement and in the Contract that is the subject of this Agreement.

The terms of the Contract, are contained in: 

Part 1
Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part 2
Pricing Data

Part 3
Scope of Work: Service Information
and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule, which must be signed by the duly authorised representative(s) for both parties.

The tenderer shall within one week of receiving a completed copy of this Agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this Agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this Agreement.

Notwithstanding anything contained herein, this Agreement comes into effect on the date when the tenderer receives one fully completed copy of this document, including the Schedule of Deviations (if any) together with all the terms of the contract as listed above. 

	Signature(s)


	
	
	

	Name(s)
	
	
	

	Capacity


	
	
	

	for the Employer


	(Insert name and address of organisation)


	Name & signature of witness
	
	
	Date
	


Note: 
If tenderer wishes to submit alternative tender offers, further copies of this document may be used for that purpose, duly endorsed, ‘Alternative Tender No. _____ ‘
Schedule of Deviations 

Note:

1.  To be completed by the Employer prior to award of contract.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.
2. The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

3. A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.
	No.
	Subject
	Details

	1
	     
	     

	2
	     
	     

	3
	     
	     

	4
	     
	     

	5
	     
	     

	6
	     
	     

	7
	     
	     

	
	
	


By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	For the tenderer:


	
	For the Employer



	Signature


	
	
	

	Name
	
	
	

	Capacity


	
	
	

	On behalf of
	(Insert name and address of organisation)


	
	(Insert name and address of organisation)



	Name & signature of witness
	
	
	

	Date
	
	
	


C1.2 Contract Data
Data provided by the Employer
	Clause
	Statement
	Data

	
	General
	

	10.1
	The Employer is (Name):
	Eskom Holdings SOC Limited (Reg. No: 2002/015527/30), a juristic person incorporated in terms of the company laws of the Republic of South Africa 

	
	Address
	Registered office at Eskom Park, Cnr of Jellicoe and Water Meyer Drive, Emalahleni, Mpumalanga

	
	Tel No.
	+27 13 693 4615

	
	Fax No.
	N/A

	
	E-mail address
	Mathelmp@eskom.co.za

	
	If the Employer appoints an Employer’s Agent , the Employer’s Agent  is:
	

	14.5
	Name
	Marks Mathelele

	
	Address
	Registered office at Eskom Park, Cnr of Jellicoe and Water Meyer Drive, Emalahleni, Mpumalanga

	
	Tel No.
	+27 13 693 4615

	
	Fax No.
	N/A

	
	E-mail address
	Mathelmp@eskom.co.za

	
	The authority of the Employer’s Agent  is
	

	11.2(5)
	The service is 
	The Provision of Roof repairs services and painting buildings at Grootvlei substation In Transmission North East Grid Mpumalanga for a Period of 3 Months on As and when required Basis.

	11.2(6)
	The Service Information is in
	The document called ‘Service Information’ in Part 3 of this contract.

	30.1
	The starting date is.
	01  February 2021

	30.1
	The service period is.
	3 Months once off

	13.2
	The period for reply is
	2 weeks

	50.1
	The assessment day is the
	N/A

	51.2
	The interest rate on late payment is 
	0.5% per complete week of delay.

	80.1
	The Contractor is not liable to the Employer for loss of or damage to the Employer’s property in excess of
	the amount of the deductibles relevant to the event described in the “Format TSSC3” insurance policy available on http://www.eskom.co.za/live/content.php?Item_ID=9248


	82.1
	The Employer provides this insurance
	as stated for “Format TSSC3” available on http://www.eskom.co.za/live/content.php?Item_ID=9248  

(See Annexure A for basic guidance)

	82.1


	The minimum amount of cover for the first insurance stated in the Insurance Table is: 
	the amount of the deductibles relevant to the event described in the “Format TSSC3” insurance policy available on http://www.eskom.co.za/live/content.php?Item_ID=9248

	82.1


	The minimum amount of cover for the third insurance stated in the Insurance Table is: 
	whatever the Contractor deems necessary in addition to that provided by the Employer.

	82.1


	The minimum amount of cover for the fourth insurance stated in the Insurance Table is: 
	As prescribed by the Compensation for Occupational Injuries and Diseases Act No. 130 of 1993 and the Contractor’s common law liability for people falling outside the scope of the Act with a limit of Indemnity of not less than R500 000 (Five hundred thousand Rands)

	
	Does the United Kingdom Housing Grants, Construction and Regeneration Act (1996) apply?
	No

	93.1
	The Adjudicator is (Name)
	Either state the name of the person selected & complete the contact details below, or include the following statement as an alternative:

the person selected from the Eskom Panel of Adjudicators listed in Annexure B to this Contract Data by the Party intending to refer a dispute to him.

	
	
	To be appointed when the need arise

	
	
	

	
	
	

	
	
	

	93.2(2)
	The Adjudicator nominating body is: 
	the Chairman of the Joint Civils Division of the South African Institution of Civil Engineering. (See www.jointcivils.co.za)

	93.4
	The tribunal is: 
	arbitration.

	
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	
	The place where arbitration is to be held is
	South Africa

	
	The person or organisation who will choose an arbitrator 

· if the Parties cannot agree a choice or
· if the arbitration procedure does not state who selects an arbitrator, is
	the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

	
	The conditions of contract are the NEC3 Term Service Short Contract (September 2008)
 and the following additional conditions Z1 to Z11 which always apply:

	
	

	Z1
	Cession delegation and assignment

	Z1.1
	The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer.

	Z1.2
	Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry and the Electricity Distribution Industry. 

	
	

	Z2
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z2.1
	Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change.

	Z2.2
	The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Employer within thirty days of the notification or as otherwise instructed by the Employer.

	Z2.3
	Where, as a result, the Contractor’s B-BBEE status has decreased since the starting date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Service.

	Z2.4
	Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are those stated in Clause 91.1 and the amount due on termination includes amounts listed in Clause 92.1 less a deduction of the forecast additional cost to the Employer of completing the service.

	
	

	Z3
	Ethics

	Z3.1
	Any offer, payment, consideration, or benefit of any kind made by the Contractor, which constitutes or could be construed either directly or indirectly as an illegal or corrupt practice, as an inducement or reward for the award or in execution of this contract constitutes grounds for terminating the Contractor’s obligation to Provide the Service or taking any other action as appropriate against the Contractor (including civil or criminal action).

	Z3.2
	The Employer may terminate the Contractor’s obligation to Provide the Service if the Contractor is found guilty by a competent court, administrative or regulatory body of participating in illegal or corrupt practices.   
Such practices include making of offers, payments, considerations, or benefits of any kind or otherwise, whether in connection with any procurement process or contract with the Employer or other people or organisations and including in circumstances where the Contractor or any such member is removed from the an approved vendor data base of the Employer as a consequence of such practice.

	Z3.3
	If the Employer terminates in terms of this clause, the procedures on termination are those stated in Clause 91.1 and the amount due on termination includes amounts listed in Clause 92.1 less a deduction of the forecast additional cost to the Employer of completing the service.

	
	

	Z4
	Confidentiality

	Z4.1
	The Contractor does not disclose or make any information arising from or in connection with this contract available to others except where required by this contract. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time).  Should the Contractor disclose information to others where required by this contract the Contractor ensures that the provisions of this clause are complied with by the recipient.

	Z4.2
	If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Employer.

	Z4.3
	In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z4.4
	The taking of images (whether photographs, video footage or otherwise) of the Employer’s property or any portion thereof, in the course of Providing the Service and after the end of the service period, requires the prior written consent of the Employer.  All rights in and to all such images vests exclusively in the Employer.  

	Z4.5
	The Contractor ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z5
	Waiver and estoppel: Add to clause 12.2:

	Z5.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties or their delegates or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.


	
	

	Z6
	Health, safety and the environment

	Z6.1
	The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the service. Without limitation the Contractor:

· warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of service; and

· undertakes, in and about the execution of the service, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	Z6.2
	The Contractor, in and about the execution of the service, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	
	

	Z7
	Provision of a Tax Invoice and interest.  Add to clause 50

	Z7.1
	The Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Service Information, showing the correctly assessed amount due for payment.

	Z7.2
	If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Employer in terms of clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z7.3
	The Contractor is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment.

	
	

	Z8
	Notifying compensation events

	Z8.1
	Delete from the last sentence in clause 61.1, “unless the event arises from an instruction of the Employer.”

	
	

	Z9
	Employer’s limitation of liability; Add to clause 80.2

	Z9.1
	The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand).

	
	

	Z10
	Termination: Add to clause 90.2, after the words "or its equivalent":  

	Z10.1
	   Or had a judicial management order granted against it.

	
	

	Z11
	Addition to Clause 50.4

	Z11.1
	If the amount due for the Contractor’s payment of delay damages reaches the limits stated in a Task Order (if any), the Employer may terminate the Contractor’s obligation to Provide the Service.

	Z11.2
	If the Employer terminates in terms of this clause, the procedures on termination are those stated in Clause 91.1 and the amount due on termination includes amounts listed in Clause 92.1 less a deduction of the forecast additional cost to the Employer of completing the service.


Annexure A:
Insurance provided by the Employer

These notes are provided as guidance to tendering contractors and the Contractor about the insurance provided by the Employer. Details of the insurance itself are available from the internet web link given below. 
1. Services provided in a TSSC3 contract could include some element of construction or refurbishment as well as a continuous maintenance or operational service activity.  If an event occurs which causes loss or damage, a claim could be made either against the Employer’s “works” policy which may be in place for the Employer’s portion of the property affected by the service or against the Employer’s “assets” policy which may be in place for the Employer’s portion of the property affected by the service, or both.

2. The cover provided and the deductibles under the works policy are different to those under the assets policy.   Each policy has a range of applicable deductibles depending on the location of the property affected by the service and the nature of the insurable event.   

3. The Contractor is required in terms of Contract Data for clause 82 to provide cover for the deductibles in the insurance provided by the Employer.  This can be provided from the Contractor’s own resources on a ‘self insured’ basis or obtained by him from his own insurers.   In order to assess the extent of this cover, tendering contractors and their brokers should consult the internet web link given below and scroll to ‘Format TSSC3’ to establish both the cover and the deductibles in relation to the service provided in terms of this contract.
4. Tendering contractors should note that cover provided by the Employer is only per the policies available on the internet web link listed below and may not be the cover required by the tendering contractor to cover his risks as intended by each of the listed insurances in the left hand column of the Insurance Table in clause 82.1.  In terms of clause 82.1 “the Contractor provides .... the insurances stated in the Insurance Table.  The Contractor does not provide an insurance which the Employer is to provide as stated in the Contract Data”.  Hence the Contractor provides insurance which the Employer does not provide and in cases where the Employer does provide insurance the Contractor insures for the difference between what the Insurance Table requires and what the Employer provides.

5. Part 2 of the contract will include a requirement for the tendering contractor to identify the cost of insurance which he has allowed for in his Prices, given the foregoing guidance, either as a separate priced item or 
6. Further information and full details of all Eskom provided policies and procedures may be obtained from: 
http://www.eskom.co.za/live/content.php?Item_ID=9248
Annexure B:
The Employer’s Panel of Adjudicators 

The following persons listed in alphabetical order of their surname have indicated their willingness to be included in the Eskom Panel of Adjudicators.  Their CV’s may be obtained by using the contact details provided.

	Name
	Location
	Contact details (phone & e mail)

	Nigel ANDREWS
	Gauteng
	+27 11 836-6760

nigela@quoin.net

	Andrew BAIRD
	Gauteng
	+27 11 803 3008

andrewbaird@ecsconsult.co.za

	Christopher BINNINGTON
	Gauteng
	+27 11 888-6141

cdb@bca.co.za

	Bruce LEECH
	Gauteng
	+27 11 290 4000

leech@counsel.co.za

	Nigel NILEN
	Gauteng
	+27 11 465 3601; nilences@global.co.za

	Peter THURLOW
	Gauteng
	+27 11 787 6226

info@thurlowassoc.com 


Information about the Panel and appointment of the selected Adjudicator is available from Eskom Supply Chain Operations management, by contacting Leighton Itholeng on (+27 (0)11 800 4031 or (+27 (0) 86 668 0419; E-mail: Leighton.Itholeng@eskom.co.za  
Data provided by the Contractor (the Contractor’s Offer)
The tendering contractor is advised to read both the NEC3 Term Service Short Contract (September 2008) and the relevant parts of its Guidance Notes (TSSC3-GN)
 in order to understand the implications of this Data which the tenderer is required to complete.  An example of the completed Data is provided on page 22 of the TSSC3 Guidance Notes.

Completion of the data in full is essential to create a complete contract.

	10.1
	The Contractor is (Name):
	

	
	Address
	

	
	Tel No.
	

	
	Fax No.
	

	
	E-mail address
	

	63.2
	The percentage for overheads and profit added to the Defined Cost for people is
	

	63.2
	The percentage for overheads and profit added to other Defined Cost is
	

	11.2(4)
	The Price List is in
	the document called ‘Price List’ in Part 2 of this contract.

	11.2(4)
	The offered total of the Prices for part of the service in Part 1 of the Price List is 
[Enter the total of the Prices from the Price List]:
	R………………………………excluding VAT

	11.2(4)
	The offered total of the Prices for part of the service in Part 2 of the Price List is 
[Enter the total of the Prices from the Price List]:
	R………………………………excluding VAT


Part 2: Pricing Data

TSC3 Option A

	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions: Option A
	2

	C2.2
	The price list 
	4


C2.1 pricing assumptions: Option A

The conditions of contract 

How work is priced and assessed for payment

Clause 11 in NEC3 Term Service Contract, June 2005 (TSC3) core clauses and Option A states:

	Identified and defined terms
	11

11.2

	(12) The Price List is the price list unless later changed in accordance with this contract.



	
	
	(17) The Price for Services Provided to Date is the total of 

· the Price for each lump sum item in the Price List which the Contractor has completed and

· Where a quantity is stated for an item in the Price List, an amount calculated by multiplying the quantity which the Contractor has completed by the rate.



	
	
	(19) The Prices are the amounts stated in the Price column of the Price List. Where a quantity is stated for an item in the Price List, the Price is calculated by multiplying the quantity by the rate.




This confirms that Option A is a priced contract where the Prices are derived from a list of items of service which can be priced as lump sums or as expected quantities of service multiplied by a rate or a mix of both.

Function of the Price List

Clause 54.1 in Option A states: “Information in the Price List is not Service Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price List but in the Service Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Service in accordance with the Service Information”. Hence the Contractor does not provide the Service in accordance with the Price List.   The Price List is only a pricing document.  

Link to the Contractor’s plan

Clause 21.4 states “The Contractor provides information which shows how each item description on the Price List relates to the operations on each plan which he submits for acceptance”.  Hence when compiling the price list, the tendering contractor needs to develop his first clause 21.2 plan in such a way that operations shown on it can be priced in the price list  and result in a satisfactory cash flow in terms of clause 11.2(17). 

Preparing the price list
It will be assumed that the tendering contractor has read Pages 14, 15 and 73 of the TSC3 Guidance Notes before preparing the price list.  Items in the price list may have been inserted by the Employer and the tendering contractor should insert any additional items which he considers necessary.  Whichever party provides the items in the price list the total of the Prices is assumed to be fully inclusive of everything necessary to provide the Service as described at the time of entering into this contract. 

1 As the Contractor has an obligation to correct Defects (core clause 42.1) and there is no compensation event for this unless the Defect was due to an Employer’s risk, the lump sum Prices and rates must also include for the correction of Defects.

2 If the Contractor has decided not to identify a particular item in the price list at the time of tender the cost to the Contractor of doing the work must be included in, or spread across, the other Prices and rates in the price list in order to fulfil the obligation to complete the service for the tendered total of the Prices.  

3 There is no adjustment to lump sum prices in the price list if the amount, or quantity, of work within that lump sum item of service later turns out to be different to that which the Contractor estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event. See Clause 60.1.

4 Hence the Prices and rates tendered by the Contractor in the price list are inclusive of everything necessary and incidental to Providing the Service in accordance with the Service Information, as it was at the time of tender, as well as correct any Defects not caused by an Employer’s risk. 
5 The Contractor does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.  It should be noted that the list of compensation events includes those arising as a result of an Employer's risk event listed in core clause 80.1.

Format of the price list
(From page  of the TSC3 Guidance Notes)

Entries in the first four columns in the price list in section C2.2 are made either by the Employer or the tendering contractor. 

If the Contractor is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering contractor enters the amount in the Price column only, the Unit, Expected Quantity and Rate columns being left blank.

If the Contractor is to be paid an amount for an item of work which is the rate for the work multiplied by the quantity completed, the tendering contractor enters the rate which is then multiplied by the Expected Quantity to produce the Price, which is also entered.

If the Contractor is to be paid a Price for an item proportional to the length of time for which a service is provided, a unit of time is stated in the Unit column and the expected length of time (as a quantity of the stated units of time) is stated in the Expected Quantity column.

C2.2 The price list
The Price List is as follows 

	Item no.
	Description
	Unit
	Expected quantity
	Rate
	Price

	1.0
	Storeroom 1
	
	
	
	

	1.1
	Fabricate and supply roof trusses to replace the damaged, trusses complete with bracing, purlins, bantering and hurricane clips
	sum
	1
	
	

	1.2
	Delivery of roof materials to site
	sum
	1
	
	

	1.3
	Erection of roof trusses complete
	sum
	1
	
	

	1.4
	Extra-over siltation 420 insulation sheet
	m²
	125
	
	

	1.5
	Supply and instal IBR Chromadec roof sheet
	m²
	125
	
	

	1.6
	Supply and install 4mm Nutec board ceilings complete with metal joint strips
	m²
	105
	
	

	1.7
	Extraover 600x600mm trap door
	No
	1
	
	

	1.8
	upply and install cornice m 42
	m
	42
	
	

	1.9
	Provisional amount for refurbishment of wiring for lighting 
	sum
	1
	
	

	1.10
	Allow for re-instatement of 1500mm long fluroscent lightfittings
	No
	6
	
	

	1.11
	Provisional amount for replacement of 1500mm longfluorescent light fittings
	No
	1
	
	

	1.12
	Apply plaster primer and two coats of acrylic satin paint onceilings and cornices
	m²
	111
	
	

	1.13
	Clean walls internally and apply two coats of acrylic satin paint to match existing
	m²
	167
	
	

	1.14
	Supply and instal double timber door 
	No
	1
	
	

	1.15
	Extra over bolt mechanism
	No
	1
	
	

	1.16
	Extraover Dorma mortice lock 
	No
	1
	
	

	1.17
	Extraover floor level door stoppers 
	No
	2
	
	

	1.18
	Clean surfaces and apply two coats of wood varnish on timber door
	m²
	4
	
	

	1.19
	Supply and install barge boards complete with jointers
	m
	18
	
	

	1.20
	Supply and install 225x10mm fascia boards complete with jointers
	m
	26
	
	

	1.21
	Supply and install 75x100mm galvanised sheet gutter
	m
	26
	
	

	1.22
	Extra over outlets from the gutter 
	No
	4
	
	

	1.23
	Extra over gutter stop ends
	No
	4
	
	

	1.24
	Allow for the connection of existing down pipes to the gutter 
	No
	4
	
	

	1.25
	Apply plaster primer and two coats of acrylic satin paint on barge and fascia boards
	m²
	6
	
	

	1.26
	Apply plaster primer and two coats of acrylic satin paint on barge and fascia boards
	m²
	9
	
	

	1.27
	Prepare surfaces and apply two coats of acrylic satin paint on downpipes
	m²
	16
	
	

	
	 Storeroom 1 total of the Prices is (excluding VAT):
	

	2.0
	Battery Room
	
	
	
	

	2.1
	Clean roof by removing all flacky paint, dust and debris and prepare for painting
	m²
	84
	
	

	2.2
	Seal side laps and roof screws with fibre-reinforced acrylic water proofing in accordance with manufacturer ‘instructions
	m²
	84
	
	

	2.3
	Apply two coats of acrylic roof paint
	m²
	84
	
	

	2.4
	Install hurricane clips to truss/purlins 
	No
	120
	
	

	2.5
	Supply and install trap doo
	No
	1
	
	

	2.6
	Repair and secure fascia boards
	m
	18
	
	

	2.7
	Repair and secure barge boards 
	m
	18
	
	

	2.8
	Repair and secure external eaves ceiling
	m²
	12.5
	
	

	2.8.1
	Spot prime and apply two coats of acrylic satin on:
	 
	 
	
	

	2.8.2
	Fascia boards
	m²
	4.5
	
	

	2.8.3
	Barge boards
	m²
	4.5
	
	

	2.9
	External eaves ceiling
	m²
	9.5
	
	

	2.10
	Prepare surfaces and apply two coats of lowsheen eggshell paint on metal door
	m²
	10
	
	

	
	Battery Room total of the Prices is (excluding VAT):
	

	3.0
	Control room
	
	
	
	

	3.1
	Clean roof by removing all flacky paint, dust and debris and prepare for painting
	m²
	288
	
	

	3.2
	Seal side laps and roof screws with fibre-reinforced acrylic waterproofing in accordance with manufacturer'instructions
	m²
	288
	
	

	3.3
	 Apply two coats of acrylic roof pain
	m²
	288
	
	

	3.4
	Apply two coats of white enamel paint onto exposed steel truss chords
	m²
	8
	
	

	3.5
	Remove corroded gutters and dispose off-site
	m
	22
	
	

	3.6
	Remove corroded downpipes and dispose of debris offsite
	m
	8
	
	

	3.7
	Remove corroded downpipes and dispose of debris offsite
	m
	22
	
	

	3.8
	Supply and install galvanised sheet downpipes to match existing
	m
	8
	
	

	3.9
	Cleaning internal surfaces of existing gutters and downpipes
	m²
	8
	
	

	3.10
	Painting of internal gutter surfaces with antirust and bitumen emulsion followed by two coats of reflectivealuminium paint
	m²
	8
	
	

	3.11
	Apply galvanise primer and two coats of acrylic satin
	 
	 
	
	

	3.11.1
	On gutters
	m²
	22
	
	

	3.11.2
	On downpipe
	m²
	8
	
	

	3.12
	Clean painted wall surfaces to receive new paint
	m²
	85.5
	
	

	3.13
	Apply two coats of acrylic paint on previously painted surfaces
	m²
	85.5
	
	

	
	Control Room total of the Prices is (excluding VAT):
	

	4.0
	Storeroom 2
	
	
	
	

	4.1
	Remove existing roof sheets ad stockpile for later use
	m²
	41
	
	

	4.2
	Remove existing/damaged roof trussees, includingbrandering, purlins and store on site as directed by the Client
	m²
	41
	
	

	4.3
	Fabricate and supply roof trusses to replace the damaged trusses complete with bracing, purlins, brandering andhurricane clips
	sum
	1
	
	

	4.4
	Installation of roof trsuuses and sundry timber elements
	sum
	1
	
	

	4.5
	Extra over installation of hurricane clips to purlins
	0
	0
	
	

	4.6
	Extra over installation of hurricane clips to purlins
	No
	45
	
	

	4.7
	Extra over sisalation 420 insulation sheet
	m²
	41
	
	

	4.8
	Re-install roof sheets onto new roof structure to match existing
	0
	0
	
	

	4.9
	Re-install roof sheets onto new roof structure to match existing
	m²
	41
	
	

	4.10
	Supply and install 4mm Nutec board ceilings complete withmetal joint strips
	m²
	31
	
	

	4.11
	Supply and install cornic
	m
	16
	
	

	4.12
	Provisional amount for refurbishment of wiring for lighting
	sum
	1
	
	

	4.13
	Allow for re-instatement of 1500mm long fluroscent lightfittings
	No
	2
	
	

	4.14
	Supply and install barge boards complete with jointers
	m
	5
	
	

	4.15
	Apply plaster primer followed by two coats of acrylic satinfittings
	m²
	31
	
	

	4.16
	Clean surfaces by removing flaking paint and grime in preparation for new paint, spot prime and apply two coats of acrylic satin paint:
	 
	 
	
	

	4.16.1
	Facia boards
	m²
	6
	
	

	4.16.2
	Barge boards
	m²
	7
	
	

	4.16.3
	Gutters
	m²
	7
	
	

	4.16.4
	Downpipes
	m²
	6.5
	
	

	4.17
	Clean wall surfaces and apply two coats of acrylic satin paint to match existing on walls
	m²
	112.5
	
	

	
	Storeroom 2 total of the Prices is (excluding VAT):
	

	5.0
	400V Relay Room
	
	
	
	

	5.1
	Supply and install barricades around the Relay Room 400V from the rest of the sub-station
	sum
	 
	
	

	5.2
	 Remove corroded gutters and dispose off-site
	m
	28
	
	

	5.3
	Supply and instal new galvanised gutters
	m
	28
	
	

	5.4
	 Extra over gutter stop ends 
	No
	4
	
	

	5.5
	Remove damaged downpipes and dispose of debris offsite
	m
	16
	
	

	5.6
	Supply and install new downpipes including connection to gutters and disposal shoes
	m
	16
	
	

	5.7
	Extra over downpipes goose-necks 
	No
	4
	
	

	5.8
	Supply and install fibre-cement barge boards
	m
	21.5
	
	

	5.9
	Supply and fix hurricane clips to connect purlins to trusses in accordance with the manufacturer's recommendations
	No
	180
	
	

	5.10
	Clean roof by removing all flacky paint, dust and debris and prepare for painting
	m²
	150.5
	
	

	5.11
	Treat rusted surfaces by mechanically removing rust and applying a coat of rust inhibitor
	m²
	150.5
	
	

	5.12
	Seal side laps and roof screws with fibre-reinforced acrylic waterproofing in accordance with manufacturer ‘instructions
	m²
	150.5
	
	

	5.13
	Apply two coats of acrylic roof paint, allowing the first coat to dry before applying the second one
	m²
	150.5
	
	

	
	400V Relay Room total of the Prices is (excluding VAT):
	

	6.0
	88kV Control Room and Offices
	
	
	
	

	6.1
	Secure existing ridge flashing using tek screws to fix it to the roof sheets
	m
	26.5
	
	

	6.2
	Remove rust by mechanical means and apply rust inhibitor on fascia boards
	m²
	13.5
	
	

	6.3
	Remove corroded gutters and dispose of debris off-site
	m
	53
	
	

	6.4
	Supply and install 0.58mm thick gutters
	m
	53
	
	

	6.5
	Extra over stop ends
	No
	4
	
	

	6.6
	Remove damaged downpipes and dispose of debris offsite
	m
	28
	
	

	6.7
	Supply and install 0.58mm thick downpipes complete with discharge shooes
	m
	28
	
	

	6.8
	Extra over supply and connection of goose-necks
	No
	4
	
	

	6.9
	Apply galvanised primer followed by two coats lowsheen eggshell paint on metal surfaces:
	 
	 
	
	

	6.9.1
	Gutters 
	m²
	21
	
	

	6.9.2
	Downpipes
	m²
	12
	
	

	 
	Preparation of roof
	 
	 
	
	

	6.10
	Treat rusted surfaces by mechanically removing rust and applying a coat of rust inhibitor
	m²
	328
	
	

	6.11
	Seal side laps and roof screws with fibre-reinforced acrylic waterproofing in accordance with manufacturer'instructions
	m²
	328
	
	

	6.12
	Apply two coats of white acrylic paint on previously painted surfaces in the stair area to dry before applying the second one
	 
	 
	
	

	6.12.1
	On roof 
	m²
	328
	
	

	6.12.2
	On fascias
	m²
	12
	
	

	6.12.3
	On barge boards
	m²
	25
	
	

	 
	Painting of plastered surfaces
	 
	 
	
	

	6.13
	Clean and prepare surfaces to receive paint on previously painted plastered surfaces in the stair area
	m²
	24.5
	
	

	6.14
	Apply two coats of white acrylic paint on previously painted surfaces in the stair area to dry before applying the second one
	m²
	24.5
	
	

	6.15
	Clean previously painted metal surfaces and apply two coats of white enamel paint
	m²
	6.5
	
	

	
	88kV Control Room and Offices total of the Prices is (excluding VAT):
	

	
	The total of the Prices is (excluding VAT):
	


C3:  Scope of Work

C3.1 The Scope

1. Purpose of the services 
The works includes ‘Roof repairs, painting and replacement of rusted gutters. 
1.1.
SCOPE OF WORK TO BE PERFORMED BY THE CONTRACTOR FOR THE WORKS

The contractor is required to perform the following scope of work per substation Building Maintenance but not limited to:
1.2
  The works includes ‘Roof repairs, painting and replacement of rusted gutters.
2.  Description of the services 

The Roof repairs, painting and replacement of rusted gutters.
3. Existing information
N/A

4. Specifications and standards

	Title 
	Date or revision
	Tick if publicly available

	General Specifications:
	
	

	Health and Safety requirements
	
	

	Environmental requirements
	
	

	Site regulations and access control
	
	

	Covid 19 preparedness plan
	
	

	Technical specifications:
	
	

	Transmission Grids Scope of work 
	
	

	
	
	

	
	
	

	
	
	


5. Constraints on how the Consultant is to Provide the Services
5.1 Sequence, timing, method and conduct of work

To be agreed upon at the kick off meeting

5.2 Quality management

5.2.1 System requirement

 The Consultant shall at all times comply with the Quality Management requirements contained in within the Eskom Quality management for North East Grid
5.2.1 Information in the quality plan

The Consultant shall provide all information, material and records as requested to comply with the Eskom Quality management system and such further information, material and records as may be requested by the Employer from time to time

5.3 Resolution of disputes by adjudication

If a dispute cannot be settled between the Client and the Consultant within 30 days of notification by either Party to the other, then either Party may refer the dispute for decision by an Adjudicator before any reference of the matter to the tribunal in terms of this contract.

The Adjudicator is chosen by the Party wishing to refer a matter to him from the ICE-SA List of NEC Adjudicators
.  The Parties conclude a NEC3 Adjudicator’s Contract (April 2013) with the chosen Adjudicator within 7 days of the selection. 

The matter is then referred and decided by the chosen Adjudicator as though the matter had been referred to him in accordance with Option W1 Dispute Resolution procedures in the NEC3 Professional Services Contract, April 2013, (PSC3).  The chosen Adjudicator acts in the role of the Adjudicator in PSC3 and the Parties in this contract act as though they were the Employer and the Consultant respectively in Option W1 of the PSC3 (April 2013). 

5.4 Meetings
Kick-off meeting to take place a week prior to commencing of the work

Regular meetings of a general nature may be convened and chaired by the Project Manager on a weekly with the Consultant and relevant Supervisors to provide progress and for the employer to provide resource

5.5 Use of standard forms

Programme;

Resource Schedule;

Health & Safety Plan;

Quality Assurance Plan & QITP’s 

Forecast Rate of Invoicing;

Progress report;

Workers register;

Risk assessments;

Minutes of toolbox talks;

And any other report/record that may be required; and

All contractual communication to be addressed to the Project Manager.

Safe work procedure

5.6 Invoicing and payment

In terms of core clause 50.1 the Consultant assesses the amount due and applies to the Client for payment.  The Consultant applies for payment with a tax invoice addressed to the Client as follows: 

______________________________________________________________________ 

The Consultant includes the following information on each tax invoice:

· Name and address of the Consultant 

· The contract number and title;

· Consultant’s VAT registration number;

· The Client’s VAT registration number ;

· The total Price for services provided to date which the Consultant has completed;

· Other amounts to be paid to the Consultant;

· Less amounts to be paid by or retained from the Consultant;

· The change in the amount due since the previous payment being the invoiced amount - excluding VAT, the VAT and including VAT;

· (add other as required)

The Consultant attaches the detail assessment of the amount due to each tax invoice showing the Price for services provided to date for each item in the Price List for work which he has completed. 

Details on how to submit invoices and additional information:

· Ensure that the Eskom order number is clearly indicated on your invoice together with the line number on the order you are billing for.

· All Electronic invoices must be sent in PDF format only. Each PDF file should contain one invoice; or one debit note; or one credit note only as Eskom’s SAP system does not support more than one PDF being linked into workflow at a time.

· Your e-mail may contain more than one PDF file (e.g. 2 invoices on 2 separate PDF files in one e-mail)

Send all invoices in PDF to TX North East Grid: mathelmp@eskom.co.za

Tax Requirement

· A PDF file that was created directly from a system meets the definition of original document and is allowed (including saving documents from excel to PDF, word to PDF etc.)

· An Invoice that was printed and then scanned to PDF by the Vendor is not acceptable as this is not an original tax invoice by SARS definition but a copy.

· The following wording needs to appear on the invoice: “Your invoice is encrypted in order to comply with SARS requirements that invoices and statements sent electronically are tamperproof.”

· If there is Cost Price Adjustment (CPA) on your invoice we recommend that you issue a separate invoice for CPA so that if there are any issues on the CPA the rest of the invoice can be paid while resolving the CPA issues.

· Introduction of electronic invoicing does not guarantee payment but will ensure visibility of all invoices and ensure that no invoices get lost. If the goods receipt is not done the invoice will be parked and the system will automatically send an e-mail to the end user to do the goods receipt. This is also tracked by Eskom through the park invoice report.

· Your company can request a park invoice report from the Finance Shared Services (FSS) contact center which can then be followed up and corrected. You are welcome to forward the details of invoices corrected to the FSS contact center.

· Email addresses for invoice submission: sikhonT@eskom.co.za

5.7 BBBEE and referencing scheme

N/A

5.8   Facilities to be provided by the Consultant
N/A

5.9 Cataloguing Requirements by the Consultant
N/A

6.  Requirements for the programme 

A comprehensive & fully detailed programme shall be submitted in accordance with NEC ECSC3 core clauses. The programme shall be submitted within two weeks of the starting date. The programme shall be submitted to the Project Manager only for acceptance. If changes do take place which affects the completion date, a revised programme shall be submitted within one week, and only by instructions from the Project Manager. Updated programmes must be available at all the weekly meetings reflecting progress to date

7. Information and other things provided by the Client 

	Item
	Date by which it will be provided

	
	

	
	

	
	

	
	

	
	

	
	


C4:  Site Information

C4.1: Information about the site at time of tender which may affect the work in this contract

1. Access limitations 
GPS Coordinates
� State whether attached as a ‘PDF’ file in terms of Eskom’s licence, or to be obtained from either Engineering Contract Strategies Tel 011 803 3008, Fax 011 803 3009 or SAICE.


� Available from Engineering Contract Strategies Tel 011 803 3008, Fax 011 803 3009.





� ICE-SA is a joint Division of SAICE and the ICE (London). See � HYPERLINK "http://www.ice-sa.org.za" �www.ice-sa.org.za� for the List of NEC Adjudicators. 









DOCUMENT No. _______
PAGE 2



