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1. CONTROL PLANT LABEL REQUISITION
The following is a list of labels for costing purposes only. The supplier of the scheme will issue a list of labels that are required. These will be made by Eskom in house and free issued to the supplier to install.

	Type
	Qty
	INSCRIPTION

	Panel
	2
	CAPACITOR BANK 1 22kV

	Panel
	2
	CAPACITOR BANK 2 22kV

	Cable Tag
	2
	AC-28

	Cable Tag
	2
	AC-29

	Cable Tag
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	AC-30

	Cable Tag
	2
	AC-31

	Cable Tag
	2
	DC-17

	Cable Tag
	2
	DC-18

	Cable Tag
	2
	DC-19

	Cable Tag
	2
	DC-20

	Cable Tag
	2
	CB1-01

	Cable Tag
	2
	CB1-02

	Cable Tag
	2
	CB1-03

	Cable Tag
	2
	CB1-04

	Cable Tag
	2
	CB1-05

	Cable Tag
	2
	CB1-06

	Cable Tag
	2
	CB1-07

	Cable Tag
	2
	CB1-08

	Cable Tag
	2
	CB1-09

	Cable Tag
	2
	CB1-10

	Cable Tag
	2
	CB1-11

	Cable Tag
	2
	CB1-12

	Cable Tag
	2
	CB1-13

	Cable Tag
	2
	CB1-14

	Cable Tag
	2
	CB1-15

	Cable Tag
	2
	CB1-16

	Cable Tag
	2
	CB1-S1

	Cable Tag
	2
	CB1-S2

	Cable Tag
	2
	MB-R1

	Cable Tag
	2
	MB-R2

	Cable Tag
	2
	MB-B1

	Cable Tag
	2
	MB-B2

	Cable Tag
	2
	CTJB3-01

	Cable Tag
	2
	CTJB3-02

	Cable Tag
	2
	CTJB3-03

	Cable Tag
	2
	CTJB4-01

	Cable Tag
	2
	CTJB4-02

	Cable Tag
	2
	CTJB4-03

	Cable Tag
	2
	CTJB5-01

	Cable Tag
	2
	CTJB5-02

	Cable Tag
	2
	CTJB5-03

	Cable Tag
	2
	CTJB6-01

	Cable Tag
	2
	CTJB6-02

	Cable Tag
	2
	CB2-01

	Cable Tag
	2
	CB2-02

	Cable Tag
	2
	CB2-03

	Cable Tag
	2
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	Cable Tag
	2
	CB2-05

	Cable Tag
	2
	CB2-06

	Cable Tag
	2
	CB2-07

	Cable Tag
	2
	CB2-08

	Cable Tag
	2
	CB2-09

	Cable Tag
	2
	CB2-10

	Cable Tag
	2
	CB2-11

	Cable Tag
	2
	CB2-12

	Cable Tag
	2
	CB2-13

	Cable Tag
	2
	CB2-14

	Cable Tag
	2
	CB2-15

	Cable Tag
	2
	CB2-16

	Cable Tag
	2
	CB2-S1

	Cable Tag
	2
	CB2-S2

	Cable Tag
	2
	MB-R1

	Cable Tag
	2
	MB-R2

	Cable Tag
	2
	MB-B1

	Cable Tag
	2
	MB-B2

	Cable Tag
	2
	CTJB7-01

	Cable Tag
	2
	CTJB7-02

	Cable Tag
	2
	CTJB7-03

	Cable Tag
	2
	CTJB8-01

	Cable Tag
	2
	CTJB8-02

	Cable Tag
	2
	CTJB8-03

	Cable Tag
	2
	CTJB9-01

	Cable Tag
	2
	CTJB9-02

	Cable Tag
	2
	CTJB9-03

	Cable Tag
	2
	CTJB10-01

	Cable Tag
	2
	CTJB10-02

	Cable Tag
	2
	CTJB12-01
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