Guidelines on Specification for Procuring Product

1. Guideline for Terms of reference

TENDERS ARE INVITED FOR THE UPGRADING OF WATER INFRASTRUCTURE IN PHOMOLONG.

SCOPE OF WORK This Employer’s objective is to replace all old AC pipelines within the Phomolong residential area, thereby addressing the issues relating to excessive water losses and low water pressure problems within the existing water network. The total extent of the project is provided below. The works comprise the supply and construction of Reticulation Pipelines comprising: - 250mm PVC-U Class 9 x 837m - 160 mm PVC-U Class 9 x 3919m - 110mVC-U Class 9 x 6496m - 90 mm PVC-U Class 9 x 5578m - 75mm PVC-U Class 9x 3160m Replacement of valves, hydrants, and associated pipe fittings etc. Construction of inline booster pump station, associated mechanical and electrical works

- 2. CIDB Grading

Provide an estimated total cost of all procurements in this project. Example: R1,567,000 and vote number to be used together with funds available

CIDB Grading 5CE and higher

- 3. Preferential Points System

Indicate whether the tender will be evaluated in terms of 80/20 below system for requirements up to R50 million and 90/10 system for requirements above R50 million.

80/20

- 4. Duration of the Contract

State how long the contract will take

12 months

- 5. Functional or Technical Evaluation Criteria (If Applicable)

See examples of Functional Evaluation Criteria below in Annexure A

ANNEXURE ‘’A’’

Technical or Functional Evaluation Criteria and Functional Evaluation Report Guideline

This section outlines the processes followed when the technical evaluation will be conducted.  If a panel of evaluators will be used, it must be indicated in this section as well as the names of the members of the technical evaluation panel.  The evaluation criteria to be used must be indicated and the weighting thereof.  If there are any qualifying thresholds they must also be indicated in this section.  Where an external provider (consultant) will be used to evaluate tenders, the report of the consultant will serve as an annexure to this report.  This section must then summarise what the consultant will do

Only those tenderers who score a minimum of 70 points in respect of the following criteria are eligible for further evaluation.

| Criteria | Weight | Points allocated | Documents to be submitted as proof to score points |
| --- | --- | --- | --- |
| Number of similar type of projects successfully completed by the contractor. 0 projects 1 R6m or above project 2 R6m or above projects 3 R6m or above projects 4 R6m or above projects 5 R6m or above projects and above | 0 1 2 3 4 5 | 20 | Provide signed appointment and completion letters of similar projects (water pipelines) completed with contact details for references that can be contacted by the Municipality to confirm that project was done. |
| Personnel references Contract manager: Graduate with N. Diploma or Btech in Civil Engineering or Degree or B-tech in Construction Management with at least 5 R6m or more in Earthworks/Civil Project and construction projects. 0 projects 1 projects 2 projects 3 projects 4 projects 5 projects and above | 0 1 2 3 4 5 | 20 | Provide the names of your key personnel (Contract Manager) with list of similar projects of R6m or more they have completed and their certified qualifications. |
| Personnel references Site Agent Site Agent with a minimum experience of 5 R6m projects or more as a Site Agent, NQF level 4 or Higher Certificate qualification. 0 projects 1 projects 2 projects 3 projects 4 projects 5 projects and above | 0 1 2 3 4 5 | 25 | Provide the names of your key personnel (Site Agent) with list of similar projects of R6m or more they have completed and their certified qualifications. |
| Construction plant and resources required: 0 of 5 plant TLB 1 of 5 plant Excavator 2 of 5 plant Walk behind Roller 3 of 5 plant Water pump 4 of 5 plant Tipper Trucks 5 projects and above | 0 1 2 3 4 5 | 28 | Submit proof of ownership or valid within tender duration a signed letter of intent to hire from supplier/plant owner and list the plant to be hired. |
| Locality Outside Free State Within Free State Within FDD Within Moqhaka | 0 1 3 5 | 7 |  |
| TOTAL MAX. POINTS |  | 100 |  |