NEC3 Term Service Contract (TSC3)

| Between | ESKOM HOLDINGS SOC Ltd (Reg No. 2002/015527/30) |  |
| --- | --- | --- |
| and | [Insert at award stage] (Reg No. ___________ ) |  |
| for | Maintenance Services For Main Security Gate Access Control System and Supply of Spares at Majuba Power Station for 60 months Insert title of the service |  |
| Contents: |  | No of pages |
| Part C1 | Agreements & Contract Data | [●] |
| Part C2 | Pricing Data | [●] |
| Part C3 | Scope of Work | [●] |
| Enquiry No. | E1157GXMPMAJ |  |

PART C1:	AGREEMENTS & CONTRACT DATA

| Contents: |  | No of pages |
| --- | --- | --- |
| C1.1 | Form of Offer and Acceptance [to be inserted from Returnable Documents at award stage] | [●] |
| C1.2a | Contract Data provided by the Employer | [●] |
| C1.2b | Contract Data provided by the Contractor [to be inserted from Returnable Documents at award stage] | [●] |

C1.1 Form of Offer & Acceptance

## Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

Maintenance Services For Main Security Gate Access Control System and Supply of Spares at Majuba Power Station for 60 months

The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data.

Delete the row for the Options which do not apply

| Options A | The offered total of the Prices exclusive of VAT is | R |
| --- | --- | --- |
|  | Value Added Tax @ 15% is | R |
|  | The offered total of the amount due inclusive of VAT is | R |
|  | (in words) |  |

This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| For the tenderer: |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |
| Tenderer’s CIDB registration number: |  |  |  |  |

## Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in:

Part C1		Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2		Pricing Data

Part C3		Scope of Work: Service Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).

| Signature(s) |  |  |  |  |
| --- | --- | --- | --- | --- |
| Name(s) |  |  |  |  |
| Capacity |  |  |  |  |
| for the Employer |  |  |  |  |
| Name & signature of witness | (Insert name and address of organisation) |  | Date |  |

Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

## Schedule of Deviations to be completed by the Employer prior to contract award

Note:

- This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.

- The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

- A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

| No. | Subject | Details |
| --- | --- | --- |
| 1 | [●] | [●] |
| 2 | [●] | [●] |
| 3 | [●] | [●] |
| 4 | [●] | [●] |
| 5 | [●] | [●] |
| 6 | [●] | [●] |
| 7 | [●] | [●] |

By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement.

|  | #### For the tenderer: |  | #### For the Employer |
| --- | --- | --- | --- |
| Signature |  |  |  |
| Name |  |  |  |
| Capacity |  |  |  |
| On behalf of | (Insert name and address of organisation) |  | (Insert name and address of organisation) |
| Name & signature of witness |  |  |  |
| Date |  |  |  |

C1.2 TSC3 Contract Data

# Part one - Data provided by the Employer

[Instructions to the contract compiler:  (delete these two notes in the final draft of a contract)

- Please read the relevant clauses in the conditions of contract before you enter data.  The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data.

- Some TSC3 options are always selected by Eskom Holdings SOC Ltd.   The remaining TSC3 options are identified by shading in the left hand column.  In the event that the option is not required select and delete the whole row.  Where the following symbol is used “[●]” - data is required to be inserted relevant to the specific option selected.]

Completion of this data in full, according to the Options chosen, is essential to create a complete contract.

| Clause |  | ## Statement | ## Data |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1 |  | ## General |  |  |  |  |
|  |  | The conditions of contract are the core clauses and the clauses for main Option: |  |  |  |  |
|  |  |  | A: Priced contract with price list |  |  |  |
|  |  | dispute resolution Option | W1: Dispute resolution procedure |  |  |  |
|  |  | and secondary Options |  |  |  |  |
|  |  |  | X1: Price adjustment for inflation |  |  |  |
|  |  |  | X2 Changes in the law |  |  |  |
|  |  |  | X17: Low service damages |  |  |  |
|  |  |  | X18: Limitation of liability |  |  |  |
|  |  |  | X19: Task Order |  |  |  |
|  |  |  | Z: Additional conditions of contract |  |  |  |
|  |  | of the NEC3 Term Service Contract April 2013 (TSC3) | If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data |  |  |  |
| 10.1 |  | The Employer is (name): | Eskom Holdings SOC Ltd (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa |  |  |  |
|  |  | Address | Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg |  |  |  |
|  |  | Tel No. | [●] |  |  |  |
|  |  | Fax No. | [●] |  |  |  |
| 10.1 |  | The Service Manager is (name): | Nomusa Mkhize |  |  |  |
|  |  | Address | Eskom Holdings SOC Limited Majuba Power Station Private Bag X9001 Volksrust 2470 |  |  |  |
|  |  | Tel | 017 799 3755 |  |  |  |
|  |  | Fax | n/a |  |  |  |
|  |  | e-mail | sibiyain@eskom.co.za |  |  |  |
| 11.2(2) |  | The Affected Property is | Majuba Power Station |  |  |  |
| 11.2(13) |  | The service is | Maintenance Services For Main Security Gate Access Control System and Supply of Spares at Majuba Power Station for 60 months |  |  |  |
| 11.2(14) |  | The following matters will be included in the Risk Register | A Risk Register is to be maintained throughout the contract period |  |  |  |
| 11.2(15) |  | The Service Information is in | Part 3: Scope of Work and all documents and drawings to which it makes reference. |  |  |  |
| 12.2 |  | The law of the contract is the law of | the Republic of South Africa |  |  |  |
| 13.1 |  | The language of this contract is | English |  |  |  |
| 13.3 |  | The period for reply is | 1 week |  |  |  |
| ## 2 |  | ## The Contractor’s main responsibilities | Data required by this section of the core clauses is also provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data |  |  |  |
| 21.1 |  | The Contractor submits a first plan for acceptance within | 1 weeks of the Contract Date |  |  |  |
| ## 3 |  | ## Time |  |  |  |  |
| 30.1 |  | The starting date is. | 2025-06-01 (Estimated start date) |  |  |  |
| 30.1 |  | The service period is | 60 months |  |  |  |
| ## 4 |  | ## Testing and defects | ## There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data |  |  |  |
| ## 5 |  | ## Payment |  |  |  |  |
| 50.1 |  | The assessment interval is | between the 20 and 25th day of each successive month. |  |  |  |
| 51.1 |  | The currency of this contract is the | South African Rand |  |  |  |
| 51.2 |  | The period within which payments are made is | 4 weeks. |  |  |  |
| 51.4 |  | The interest rate is | the publicly quoted prime rate of interest (calculated on a 365 day year) charged by from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and (ii) the LIBOR rate applicable at the time for amounts due in other currencies. LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter (and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove. |  |  |  |
| ## 6 |  | ## Compensation events | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data |  |  |  |
| ## 7 |  | ## Use of Equipment Plant and Materials | ## There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data |  |  |  |
| ## 8 |  | ## Risks and insurance |  |  |  |  |
| 80.1 |  | These are additional Employer's risks | 1. Risks identified in a risk register |  |  |  |
| 83.1 |  | The Employer provides these insurances from the Insurance Table | as stated for “Format TSC3” available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_ From_1_April_2014_To_31_March_2015.aspx (See Annexure A for basic guidance). |  |  |  |
| 83.1 |  | The Employer provides these additional insurances | as stated for “Format TSC3” available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_ From_1_April_2014_To_31_March_2015.aspx (See Annexure A for basic guidance) |  |  |  |
| 83.1 |  | The Contractor provides these additional insurances: | [●] |  |  |  |
| 83.1 |  | The minimum amount of cover for insurance against loss and damage caused by the Contractor to the Employer’s property is | the amount of the deductibles relevant to the event described in the “Format TSC3” insurance policy available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_ From_1_April_2014_To_31_March_2015.aspx |  |  |  |
| 83.1 |  | The insurance against loss of or damage to the works, Plant and Materials is to include cover for Plant and Materials provided by the Employer for an amount of | [●] |  |  |  |
| 83.1 |  | The minimum amount of cover for insurance in respect of loss of or damage to property (except the Employer’s property, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) arising from or in connection with the Contractor’s Providing the Service for any one event is: | whatever the Contractor deems necessary in addition to that provided by the Employer. |  |  |  |
| 83.1 |  | The minimum limit of indemnity for insurance in respect of death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract for any one event is: | As prescribed by the Compensation for Occupational Injuries and Diseases Act No. 130 of 1993 and the Contractor’s common law liability for people falling outside the scope of the Act with a limit of Indemnity of not less than R500 000 (Five hundred thousand Rands).. |  |  |  |
| ## 9 |  | ## Termination | There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data. |  |  |  |
| ## 10 |  | ## Data for main Option clause |  |  |  |  |
| A |  | Priced contract with price list |  |  |  |  |
| 20.5 |  | The Contractor prepares forecasts of the final total of the Prices for the whole of the service at intervals no longer than | 4 weeks. |  |  |  |
| ## 11 |  | ## Data for Option W1 |  |  |  |  |
| W1.1 |  | The Adjudicator | the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him. (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA). |  |  |  |
|  |  | Address | [●] To be appointed when required |  |  |  |
|  |  | Tel No. | [●] |  |  |  |
|  |  | Fax No. | [●] |  |  |  |
|  |  | e-mail | [●] |  |  |  |
| W1.2(3) |  | The Adjudicator nominating body is: | the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the Institution of Civil Engineers (London) (see www.ice-sa.org.za ) or its successor body. |  |  |  |
| W1.4(2) |  | The tribunal is: | Arbitration |  |  |  |
| W1.4(5) |  | The arbitration procedure is | the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |
|  |  | The place where arbitration is to be held is | [●] South Africa |  |  |  |
|  |  | The person or organisation who will choose an arbitrator - if the Parties cannot agree a choice or - if the arbitration procedure does not state who selects an arbitrator, is | the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body. |  |  |  |
| ## 12 |  | ## Data for secondary Option clauses |  |  |  |  |
| X1 |  | Price adjustment for inflation |  |  |  |  |
| X1.1 |  | The base date for indices is | Base date is a month prior start date |  |  |  |
|  |  | The proportions used to calculate the Price Adjustment Factor are: | proportion | linked to index for | Index prepared by |  |
|  |  |  | 0.20 | Electrical Engineering - SEIFSA Table G-1 - Engineering input price indices | SEIFSA |  |
|  |  |  | 0.55 | Labour - Seifsa Table C3(A) Actual labour cost (field force) wheresubstance allowance is paid | SEIFSA |  |
|  |  |  | 0.10 | Road Freight - Seifsa Table L1(A) | SEIFSA |  |
|  |  |  | 0.15 | Non-adjustable (minimum) |  |  |
|  |  |  | 1.00 |  |  |  |
| X2 |  | Changes in the law | There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data. |  |  |  |
| X17 |  | Low service damages |  |  |  |  |
| X17.1 |  | The service level table is in | Please to Annexure B |  |  |  |
| X18 |  | Limitation of liability |  |  |  |  |
| X18.1 |  | The Contractor’s liability to the Employer for indirect or consequential loss is limited to | R0.0 (zero Rand) |  |  |  |
| X18.2 |  | For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to | the amount of the deductibles relevant to the event described in the “Format TSC3” insurance policy available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_ From_1_April_2014_To_31_March_2015.aspx |  |  |  |
| X18.3 |  | The Contractor’s liability for Defects due to his design of an item of Equipment is limited to | The greater of - the total of the Prices at the Contract Date and - the amounts excluded and unrecoverable from the Employer’s insurance (other than the resulting physical damage to the Employer’s property which is not excluded) plus the applicable deductibles in the Employer’s assets and works / maintenance policies available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_ - From_1_April_2014_To_31_March_2015.aspx |  |  |  |
| X18.4 |  | The Contractor’s total liability to the Employer, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to | the total of the Prices other than for the additional excluded matters. The Contractor’s total liability for the additional excluded matters is not limited. The additional excluded matters are amounts for which the Contractor is liable under this contract for - Defects due to his design, plan and specification, - Defects due to manufacture and fabrication outside the Affected Property, - loss of or damage to property (other than the Employer’s property, Plant and Materials), - death of or injury to a person and - infringement of an intellectual property right. |  |  |  |
| X18.5 |  | The end of liability date is | 6 months after the end of the service period. |  |  |  |
| X19 |  | Task Order |  |  |  |  |
| X19.5 |  | The Contractor submits a Task Order programme to the Service Manager within | 5 days of receiving the Task Order |  |  |  |
| Z |  | The additional conditions of contract are | Z1 to Z11 always apply. |  |  |  |
| Z1 | Cession delegation and assignment |  |  |  |  |  |
| Z1.1 | The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer. |  |  |  |  |  |
| Z1.2 | Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. |  |  |  |  |  |
| Z2 | Joint ventures |  |  |  |  |  |
| Z2.1 | If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract. |  |  |  |  |  |
| Z2.2 | Unless already notified to the Employer, the persons or organisations notify the Service Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf. |  |  |  |  |  |
| Z2.3 | The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing. |  |  |  |  |  |
| Z3 |  | Change of Broad Based Black Economic Empowerment (B-BBEE) status |  |  |  |  |
| Z3.1 |  | Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change. |  |  |  |  |
| Z3.2 |  | The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Service Manager within thirty days of the notification or as otherwise instructed by the Service Manager. |  |  |  |  |
| Z3.3 |  | Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Service. |  |  |  |  |
| Z3.4 |  | Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P4 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93. |  |  |  |  |
| Z4 | Confidentiality |  |  |  |  |  |
| Z4.1 | The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time). Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient. |  |  |  |  |  |
| Z4.2 | If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Service Manager. |  |  |  |  |  |
| Z4.3 | In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure. In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed. |  |  |  |  |  |
| Z4.4 | The taking of images (whether photographs, video footage or otherwise) of the Affected Property or any portion thereof, in the course of Providing the Service and after the end of the service period, requires the prior written consent of the Service Manager. All rights in and to all such images vests exclusively in the Employer. |  |  |  |  |  |
| Z4.5 | The Contractor ensures that all his subcontractors abide by the undertakings in this clause. |  |  |  |  |  |
| Z5 | Waiver and estoppel: Add to core clause 12.3: |  |  |  |  |  |
| Z5.1 | Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Service Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing. |  |  |  |  |  |
| Z6 |  | Health, safety and the environment: Add to core clause 27.4 |  |  |  |  |
| Z6.1 |  | The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the service. Without limitation the Contractor: - accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Affected Property; - warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of the service; and - undertakes, in and about the execution of the service, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |
| Z6.2 |  | The Contractor, in and about the execution of the service, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing. |  |  |  |  |
| Z7 | Provision of a Tax Invoice and interest. Add to core clause 51 |  |  |  |  |  |
| Z7.1 | Within one week of receiving a payment certificate from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Service Information, showing the amount due for payment equal to that stated in the payment certificate. |  |  |  |  |  |
| Z7.2 | If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice. Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made. |  |  |  |  |  |
| Z7.3 | The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment. |  |  |  |  |  |
| Z8 | Notifying compensation events |  |  |  |  |  |
| Z8.1 | Delete the last paragraph of core clause 61.3 and replace with: If the Contractor does not notify a compensation event within eight weeks of becoming aware of the event, he is not entitled to a change in the Prices. |  |  |  |  |  |
| Z9 | Employer’s limitation of liability |  |  |  |  |  |
| Z9.1 | The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand) |  |  |  |  |  |
| Z9.2 | The Contractor’s entitlement under the indemnity in 82.1 is provided for in 60.1(12) and the Employer’s liability under the indemnity is limited to compensation as provided for in core clause 63 and X19.11 if Option X19 Task Order applies to this contract. |  |  |  |  |  |
| Z10 | Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it": |  |  |  |  |  |
| Z10.1 | or had a business rescue order granted against it. |  |  |  |  |  |
| Z11 | Ethics |  |  |  |  |  |

For the purposes of this Z-clause, the following definitions apply:

Affected Party	means, as the context requires, any party, irrespective of whether it is the Contractor or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends,

Coercive Action	means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally,

Collusive Action	means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally,

Committing Party	means, as the context requires, the Contractor, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees,

Corrupt Action	means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party,

Fraudulent Action	means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation,

Obstructive Action	means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action and

Prohibited Action	means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action.

Z 11.1 	A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof.

Z 11.2 	The Employer may terminate the Contractor’s obligation to Provide the Service if a Committing Party has taken such Prohibited Action and the Contractor did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Employer has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Employer can terminate the Contractor’s obligation to Provide the Service for this reason.

Z 11.3 	If the Employer terminates the Contractor’s obligation to Provide the Service for this reason, the procedures and amounts due on termination are respectively P1, P2, P3 and P4, and A1 and A3.

Z 11.4 	A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Employer does not have a contractual bond with the Committing Party, the Contractor ensures that the Committing Party co-operates fully with an investigation.

Z12		Insurance

Z _12_.1	Replace core clause 83 with the following:

| Insurance cover | 83 |  |
| --- | --- | --- |
|  | 83.1 | When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. |
|  | 83.2 | The Contractor provides the insurances stated in the Insurance Table A from the starting date until the earlier of Completion and the date of the termination certificate. INSURANCE TABLE A Insurance against; Minimum amount of cover or minimum limit of indemnity. Loss of or damage caused by the Contractor to the Employer’s property; The replacement cost where not covered by the Employer’s insurance. The Employer’s policy deductible as at Contract Date, where covered by the Employer’s insurance.. Loss of or damage to Plant and Materials; The replacement cost where not covered by the Employer’s insurance. The Employer’s policy deductible as at Contract Date, where covered by the Employer’s insurance.. Loss of or damage to Equipment; The replacement cost where not covered by the Employer’s insurance. The Employer’s policy deductible as at Contract Date, where covered by the Employer’s insurance.. The Contractor’s liability for loss of or damage to property (except the Employer’s property, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) arising from or in connection with the Contractor’s Providing the Service; Loss of or damage to property The replacement cost Bodily injury to or death of a person The amount required by the applicable law.. Liability for death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract; The amount required by the applicable law.. |

Z __12.2	Replace core clause 86 with the following:

| Insurance by the Employer | 86 |  |
| --- | --- | --- |
|  | 86.1 | The Employer provides the insurances stated in the Insurance Table B |
|  |  | INSURANCE TABLE B Insurance against or name of policy; Minimum amount of cover or minimum limit of indemnity. Assets All Risk; Per the insurance policy document. Contract Works insurance; Per the insurance policy document. Environmental Liability; Per the insurance policy document. General and Public Liability; Per the insurance policy document. Transportation (Marine); Per the insurance policy document. Motor Fleet and Mobile Plant; Per the insurance policy document. Terrorism; Per the insurance policy document. Cyber Liability; Per the insurance policy document. Nuclear Material Damage and Business Interruption; Per the insurance policy document. Nuclear Material Damage Terrorism; Per the insurance policy document. |

| Z13 | Nuclear Liability |  |
| --- | --- | --- |
| Z13.1 | The Employer is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS. |  |
| Z13.2 | The Employer is solely responsible for and indemnifies the Contractor or any other person against any and all liabilities which the Contractor or any person may incur arising out of or resulting from nuclear damage, as defined in Act 44 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Contractor or any other person or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer. |  |
| Z13.3 | Subject to clause Z13.4 below, the Employer waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Contractor or any other person, or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer. |  |
| Z13.4 | The Employer does not waive its rights provided for in section 30 (7) of Act 44 of 1999, or any replacement section dealing with the same subject matter. |  |
| Z13.5 | The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned. |  |
| Z14 | Asbestos |  |
| For the purposes of this Z-clause, the following definitions apply: |  |  |
| AAIA |  | means approved asbestos inspection authority. |
| ACM |  | means asbestos containing materials. |
| AL |  | means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL. |
| Ambient Air |  | means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet. |
| Compliance Monitoring |  | means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |
| OEL |  | means occupational exposure limit. |
| Parallel Measurements |  | means measurements performed in parallel, yet separately, to existing measurements to verify validity of results. |
| Safe Levels |  | means airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles. |
| Standard |  | means the Employer’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles. |
| SANAS |  | means the South African National Accreditation System. |
| TWA |  | means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA. |
| Z14.1 | The Employer ensures that the Ambient Air in the area where the Contractor will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM. |  |
| Z14.2 | Upon written request by the Contractor, the Employer certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Contractor may perform Parallel Measurements and related control measures at the Contractor’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z14.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan. |  |
| Z14.3 | The Employer manages asbestos and ACM according to the Standard. |  |
| Z14.4 | In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe. |  |
| Z14.5 | The Contractor’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable. |  |
| Z14.6 | The Contractor continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations, 2001. |  |
| Z14.7 | Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Employer at the Employer’s expense, and conducted in line with South African legislation. |  |

# Annexure A:	Insurance provided by the Employer

These notes are provided as guidance to tendering contractors and the Contractor about the insurance provided by the Employer. The Contractor must obtain its own advice. Details of the insurance itself are available from the internet web link given below.

- Services provided in a TSC3 contract could include some element of construction or refurbishment as well as a continuous maintenance or operational service activity.  If an event occurs which causes loss or damage, a claim could be made either against the Employer’s “works” type policy which may be in place for the Employer’s portion of the Affected Property concerned or against the Employer’s assets policy which may be in place for the Employer’s portion of the Affected Property concerned, or both.

- The cover provided and the deductibles under the works policy are different to those under the assets policy.   Each policy has a range of applicable deductibles depending on the location of the Affected Property and the nature of the insurable event.

- The Contractor is required in terms of Contract Data for clause 83 to provide cover for the deductibles in the insurance provided by the Employer.  This can be provided from his own resources on a ‘self insured’ basis or obtained by him from his own insurers.   In order to assess the extent of this cover, tendering contractors and their brokers should consult the internet web link given below and scroll to ‘Format TSC3’ to establish both the cover and the deductibles in relation to the service provided in terms of this contract.

- Tendering contractors should note that cover provided by the Employer is only per the policies available on the internet web link listed below and may not be the cover required by the tendering contractor or as intended by each of the listed insurances in the left hand column of the Insurance Table in clause 83.2.  In terms of clause 83.1 “the Contractor provides the insurances stated in the Insurance Table except any insurance which the Employer is to provide”.  Hence the Contractor provides insurance which the Employer does not provide and in cases where the Employer does provide insurance the Contractor insures for the difference between what the Insurance Table requires and what the Employer provides.

- If Marine Insurance is required the Contractor needs to obtain a copy of the latest edition of Eskom’s Marine Policies Procedures found at internet website given below.

- Further information and full details of all Eskom provided policies and procedures may be obtained from:

http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx

C1.2 Contract Data

# Part two - Data provided by the Contractor

[Instructions to the contract compiler:  (delete this notes before issue to tenderers with an enquiry)

Whenever a cell is shaded in the left hand column it denotes this data is optional and would be required in relation to the option selected.  In the event that the option is not required select and delete the whole row.]

Notes to a tendering contractor:

- Please read both the both the NEC3 Term Service Contract April 2013 and the relevant parts of its Guidance Notes (TSC3-GN) in order to understand the implications of this Data which the tenderer is required to complete.

- The number of the clause which requires the data is shown in the left hand column for each statement however other clauses may also use the same data.

- Where a form field like this [     ] appears, data is required to be inserted relevant to the option selected. Click on the form field once and type in the data.  Otherwise complete by hand and in ink.

Completion of the data in full, according to Options chosen, is essential to create a complete contract.

| ## Clause | ## Statement | ## Data |
| --- | --- | --- |
| 10.1 | The Contractor is (Name): |  |
|  | Address |  |
|  | Tel No. |  |
|  | Fax No. |  |
| 11.2(8) | The direct fee percentage is | % |
|  | The subcontracted fee percentage is | % |
| 11.2(14) | The following matters will be included in the Risk Register |  |
| 11.2(15) | The Service Information for the Contractor’s plan is in: |  |
| 21.1 | The plan identified in the Contract Data is contained in: |  |
| 24.1 | The key people are: |  |
|  | 1 Name: |  |
|  | Job: |  |
|  | Responsibilities: |  |
|  | Qualifications: |  |
|  | Experience: |  |
|  | 2 Name: |  |
|  | Job |  |
|  | Responsibilities: |  |
|  | Qualifications: |  |
|  | Experience: |  |
|  |  | CV's (and further key person's data including CVs) are in . |
| A | Priced contract with price list |  |
| 11.2(12) | The price list is in |  |
| 11.2(19) | The tendered total of the Prices is | R |
| C | Target contract with price list |  |
| 11.2(12) | The price list is in |  |
| 11.2(20) | The tendered total of the Prices is | R |
| E | Cost reimbursable contract |  |
| 11.2(12) | The price list is in |  |

Part 2: Pricing Data

TSC3 Option A

| Document reference | Title | No of pages |
| --- | --- | --- |
| C2.1 | Pricing assumptions: Option A | 2 |
| C2.2 | The price list | [●] |

C2.1 Pricing assumptions: Option A

# How work is priced and assessed for payment

Clause 11 in NEC3 Term Service Contract (TSC3) core clauses and Option A states:

| Identified and defined terms | 11 11.2 | (12) The Price List is the price list unless later changed in accordance with this contract. |
| --- | --- | --- |
|  |  | (17) The Price for Services Provided to Date is the total of - the Price for each lump sum item in the Price List which the Contractor has completed and - where a quantity is stated for an item in the Price List, an amount calculated by multiplying the quantity which the Contractor has completed by the rate. |
|  |  | (19) The Prices are the amounts stated in the Price column of the Price List. Where a quantity is stated for an item in the Price List, the Price is calculated by multiplying the quantity by the rate. |

This confirms that Option A is a priced contract where the Prices are derived from a list of items of service which can be priced as lump sums or as expected quantities of service multiplied by a rate or a mix of both.

# Function of the Price List

Clause 54.1 in Option A states: “Information in the Price List is not Service Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price List but in the Service Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Service in accordance with the Service Information”. Hence the Contractor does not Provide the Service in accordance with the Price List.   The Price List is only a pricing document.

# Link to the Contractor’s plan

Clause 21.4 states “The Contractor provides information which shows how each item description on the Price List relates to the operations on each plan which he submits for acceptance”.  Hence when compiling the price list, the tendering contractor needs to develop his first clause 21.2 plan in such a way that operations shown on it can be priced in the price list  and result in a satisfactory cash flow in terms of clause 11.2(17).

# Preparing the price list

Before preparing the price list, both the Employer and tendering contractors should read the TSC3 Guidance Notes pages 14 and 15.  In an Option A contract, either Party may have entered items into the price list either as a process of offer and acceptance (tendering) or by negotiation depending on the nature of the service to be provided.  Alternatively the Employer, in his Instructions to Tenderers or in a Tender Schedule, may have listed some items that he requires the Contractor to include in the price list to be prepared and priced by him.

It is assumed that in preparing or finalising the price list the Contractor:

- Has taken account of the guidance given in the TSC3 Guidance Notes relevant to Option A;

- Understands the function of the Price List and how work is priced and paid for;

- Is aware of the need to link operations shown in his plan to items shown in the Price List;

- Has listed and priced items in the price list which are inclusive of everything necessary and incidental to Providing the Service in accordance with the Service Information, as it was at the time of tender, as well as correct any Defects not caused by an Employer’s risk;

- Has priced work he decides not to show as a separate item within the Prices or rates of other listed items in order to fulfil the obligation to complete the service for the tendered total of the Prices.

- Understands there is no adjustment to items priced as lump sums if the amount, or quantity, of work within that item later turns out to be different to that which the Contractor estimated at time of tender. The only basis for a change to the (lump sum) Prices is as a result of a compensation event.

## Format of the price list

(From the example given in an Appendix within the TSC3 Guidance Notes)

Entries in the first four columns in the price list in section C2.2 are made either by the Employer or the tendering contractor.

If the Contractor is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering contractor enters the amount in the Price column only, the Unit, Expected Quantity and Rate columns being left blank.

If the Contractor is to be paid an amount for an item of work which is the rate for the work multiplied by the quantity completed, the tendering contractor enters the rate which is then multiplied by the Expected Quantity to produce the Price, which is also entered.

If the Contractor is to be paid a Price for an item proportional to the length of time for which a service is provided, a unit of time is stated in the Unit column and the expected length of time (as a quantity of the stated units of time) is stated in the Expected Quantity column.

C2.2 the price list

| Item nr | Description | Unit | Expected Quantity | Rate | Price |
| --- | --- | --- | --- | --- | --- |
| 3000012666 | Contractual Requirements/ PAY FEE:ADMIN;NT;ONCE OFF | EA | 5 |  |  |
| 3000012141 | Provision of Facilities on Site Facilities required by Contractor/ ESTB SITE:MOBILISATION | EA | 5 |  |  |
| 3000020467 | PAY FEE:ADMIN LEVY / General Responsibilities and Other Fixed-charge Obligations | EA | 5 |  |  |
| 3000020526 | Safety File/ CREATE DOC:SHEQ FILE | EA | 5 |  |  |
| 3000013790 | PPE/ PAY FEE:PPE ANNUAL COST;VARIOUS | EA | 5 |  |  |
| 3000036209 | Medicals (Entry and/ or Exit) - [2No Employees]/ PRVD MED SERV:OCCUPATIONAL HEALTH | EA | 5 |  |  |
| 3000025735 | SAPS Vetting and /or Finger Print Check for All Employees/ PRVD RECRUIT SERV:INTEGRITY ASSESSMENT | EA | 5 |  |  |
| 3000026948 | Removal of Site Establishment/ CLEAR, SITE:CONTRACTORS | EA | 5 |  |  |
| 3000043358 | Contractual Requirements/ ESTB SITE:CONTRACTUAL REQUIREMENTS;NONE | EA | 60 |  |  |
| 3000021609 | Facilities required by Contractor/ PRVD FAC MGMT SERV:CONTRACTOR PLANT | EA | 60 |  |  |
| 3000011473 | General Responsibilities and Other Fixed-charge Obligations/ SERV:PRELIMINARY; GENERAL | EA | 60 |  |  |
| 3000017339 | MONTHLY SITE VISITS: 2x Technicians [2No Technicians x 8hr/day x 8days/mnth x 12No mnth = hrs]/ HIRE LABR:TECHNICIAN;TECHNICIAN;DIPLOMA | EA | 7,680 |  |  |
| 3000017669 | MONTHLY SITE VISITS: Accommodation [2No Tech. x 3Nights/visit x 2No visits/mnth x 12No mnth = days]/ ACCOMDTN:RATE/DAY | day | 720 |  |  |
| 3000017918 | MONTHLY SITE VISITS: Travelling to and from Majuba PS/ TRVL:PER KM ASREQUIRED | KM | 3,000 |  |  |
| 3000050510 | Monthly Reports/ PREPARE REPORT:QCP;SOW SPECIFIC;HARDCOPY | EA | 60 |  |  |
| 3000017339 | CALL-OUT: 2x Technicians [2No Tech. x 8hr/day x 4days/yr = hrs]/ HIRE LABR:TECHNICIAN;TECHNICIAN;DIPLOMA | EA | 320 |  |  |
| 3000017918 | CALL-OUT: Travelling to and from Majuba PS/ TRVL:PER KM ASREQUIRED | KM | 4,000 |  |  |
| 0754998 | GATE:GENIUS TRAFFIC BARRIER;LG 3 X HT 1 | EA | 10 |  |  |
| 0746517 | Network cable Cat6/cat 5 | M | 500 |  |  |
|  | ZKteco inbio pro (460) | EA | 10 |  |  |
| 0688146 | Hikvision High precision cameras | EA | 100 |  |  |
| 0660239 | Hikvision 16 channel NVR | EA | 5 |  |  |
| 0660239 | Hikvision 32 channel NVR | EA | 5 |  |  |
| 0699674 | Ethernet switch POE , (4)xPoE+(2)x10/100 Base-T (Utepo NW100 4 Port PoE Switch with 2 Uplink Ports). | EA | 10 |  |  |
| 0756210 | Hikvision Ethernet Switch ,model:DS-3E1105P-EI, I/P 48V≈1.35A | EA | 10 |  |  |
| 0756215 | Turnstile controller - iMAT Turnstile Controller MATPCB008 | EA | 5 |  |  |

| The total of the Prices |  |
| --- | --- |

Part 3: Scope of Work

| Document reference | Title | No of pages |
| --- | --- | --- |
|  | This cover page |  |
| C3.1 | Employer’s Service Information |  |
| C3.2 | Contractor’s Service Information (insert at award stage or delete if not applicable) |  |
|  | Total number of pages | 26 |

C3.1: Employer’s service Information

Contents

Part 3: Scope of Work	1

C3.1: Employer’s service Information	2

1.	Description of the service	4

1.2.1.	General description of the services:	4

1.2.2.	Access control system details	4

1.3.	Management strategy and start up.	8

1.3.1.	Compulsory Meetings	8

1.3.2.	Management meetings	8

1.3.3.	Contractor’s management, supervision and key people	10

1.3.4.	Police clearance	10

1.4.	Documentation control	11

1.6.	Things provided at the end of the service period for the Employer’s use	11

1.6.1.	Information and other things	11

1.7.	Management of work done	12

1.7.1.	Requirements	12

1.7.2.	Contractor unable to supply resources	12

1.7.3.	Emergency service	12

2.	Health and safety, the environment and quality assurance	12

2.1.	Health and safety risk management	12

2.1.1.	General	12

2.1.2.	Eskom Life Saving Rules	13

2.1.3.	Plant Safety Regulations	13

2.1.4.	Fire Precautions	13

2.1.5.	Reporting of incidents	14

2.1.6.	Vehicle Safety	14

2.1.7.	Health and Safety Arrangements	15

2.1.8.	Company Branding	16

2.1.9.	Special requirements	16

2.1.10.	Exposure to Silica	16

2.2.	Environmental constraints and management	16

2.2.1.	Work carried out in terms of:	16

2.2.2.	New Environmental Legislation	16

2.2.3.	Existing Environmental Legislation	17

2.2.4.	Liability	17

2.2.5.	Hazardous substances	17

2.3.	Quality assurance requirements	17

2.3.1.	Quality Requirements	17

2.3.2.	Contract Quality Plan	17

2.3.3.	Quality Control Documents	17

3.	Procurement	18

3.1.	People	18

3.1.1.	Minimum requirements of people employed	18

3.1.2.	Supplier Development and Localisation Plan	18

3.2.	Subcontracting	19

3.2.1.	Preferred subcontractors	19

3.2.2.	Subcontract documentation, and assessment of subcontract tenders	19

3.3.	Plant and Materials	19

3.3.1.	Specifications	19

3.3.2.	Correction of defects	19

3.3.3.	Contractor’s procurement of Plant and Materials	19

3.3.4.	Tests and inspections before delivery	19

3.3.5.	Plant & Materials provided “free issue” by the Employer	19

4.	Working on the Affected Property	20

4.7.	Equipment provided by the Employer	21

4.8.	Site services and facilities	21

4.8.1.	Provided by the Employer	21

4.8.2.	Contractor’s yard	21

4.8.3.	Provided by the Contractor	21

4.9.	Control of noise, dust, water and waste	21

4.9.1.	Waste Disposal	21

4.9.2.	Noise	21

4.10.	Tests and inspections	21

4.10.1.	Description of tests and inspections	22

4.10.2.	Materials facilities and samples for tests and inspections	22

5.	List of drawings	22

5.1.	Drawings issued by the Employer	22

6.	Relevant Documents	22

Interpretation and terminology	25

# Description of the service

- Executive overview

Majuba power station is a National key point, for business to ensure proper continuity of business and compliance to national key point standards, it is imperative to establish, implement and maintain access control system at Majuba Power Station for. The purpose of this contract is to provide Eskom Majuba the 24hours full time access control system at Majuba power station main entrance as described in 1.2 below. It is therefore imperative that this system be maintained on a monthly basis and defects attended on as and required basis for a duration of 5 years.  The contract outlines the service provider’s responsibilities to maintain and update key access control systems such as turnstiles, boom gates, alarm systems, and video surveillance systems. The contract will Perform scheduled maintenance Monthly, attend breakdowns and supply spares needed to ensure availability and reliability of Majuba access control system which includes the following:

- 4 booms

- 2 spike Barriers

- 2 single full height turnstiles , bi-directional

- 9 biometric readers

- Switch port POE

- Network switch

- Network point

- Enrolment Fingerprint BioID USB

- Wiring (cables)

- Surveillance system software (ZK teco )

- 9 Cameras and screen

- Employer’s requirements for the service

### General description of the services:

The Power Station Main Entrance Access Control System maintenance entails the following activities.

- Visual inspections

- System performance analysis

- Battery power supply checks

- Main power supply inspection

- Cleaning of control components (booms compartment, cameras, spikes , network switches etc)

- Checking functionality of all system components (keypads, readers, cameras, spikes, Booms) and recording any variations

- Checking network connection between controllers

- Bringing to customer’s attention any damage or components that are likely to fail.

- Logging test results

- Checking data logs

- Loop checking

- Periodic system function testing(all access points)

### Access control system details

#### Test Security Sensors

An access control system is only as effective as its sensors. These devices should be checked to ensure that they are in working order.

#### Physically Inspect and Clean Devices

Inspect and clean all of the system’s devices and components of any dust or debris. the provider should be notified if an inspection turns up damage to a device or if a device is not functioning properly.

#### Test Alarm Systems

Modern access control systems are based on computer software, in any inspection should also focus on the functioning of the software system. Tests should be made to ensure software is properly communicating with security devices. Computer systems should also be tested to make sure they can properly communicate with first responders and a third-party security provider. Any alerts to outside parties should be correct and performed quickly.

An access control maintenance checklist should also include testing the connection to the fire alarm systems, as these systems can be somewhat interconnected. Obviously, the local fire department should have full knowledge of any fire alarm tests before they are conducted.

#### Check for Software Updates

Ensure software Out-of-date software can be a critical flaw in any access control system. If software is obsolete, it can significantly affect the system's ability to detect and report unauthorized access. Access control software should also be able to properly communicate with outside parties.

While most access control systems present notifications for software updates and many systems update automatically, an access control maintenance checklist should still include the update status of any software.

#### Check the Power Supply Output

● Begin by ensuring that the power supply to your system is consistent and within specified limits.

● Use a multimeter to measure the output. If it is different from the recommended range, consider servicing the supply unit or installing a replacement.

#### Check the Battery Output

● Access control systems typically have backup batteries of varying voltages dependent on system draw.

● Using a multimeter, measure the battery's output. Ensure it aligns with the manufacturer’s specifications.

#### Validate Battery Performance

● To check if the battery can support the system during power failures:

● Turn off the main power supply.

● Monitor the system's operations to confirm the battery provides adequate support. If it doesn’t, it will need to be replaced with a new unit with the correct voltage and amperage.

#### Secure Network Sockets and Contacts

● Inspect network sockets and contacts for any loose connections.

● Ensure all connections are securely in place and in good condition. Replace any damaged components.

#### Assess the Voltage Supply at the Electric Locking Device

● Use a multimeter to check the voltage supply at the electric locking device.

● Ensure the reading is within the specified range for optimal operation.

In our video, you will see an overhead surface mounted maglock is being checked by the maintenance contractor.

#### Verify Voltage at Activation Devices

● measure the voltage at all activation devices, ensuring they're getting the appropriate power for smooth operation.

#### Test Activation Devices

Check the functionality of:

- Push to exit buttons or touch-free exit buttons.

- Card readers

- Access control keypads

- Booms and its internals

Make sure each device operates without glitches, registering inputs correctly.

#### Clean for Optimal Performance

● Regularly clean products, especially maglock contact plates and armature surfaces.

● This prevents dirt accumulation, ensuring devices work effectively. A visual inspection may not be sufficient as even small particles of dirt can influence the magnetic contact.

#### Document Observations and Recommendations

● After your inspections and tests, collate all findings.

● Provide a detailed report to the client, outlining:

● Observations made

● Potential risks identified

● Recommendations for improved security

#### MAINTENANCE SCHEDULE

Step 1: Do a visual inspection.

- See if there is any physical damage to the Boom Arm.

- See if Housing has moved from original installed position.

The above will give an indication of any damage to the unit.

Step 2: Mechanical Inspection

- Open Access Door to Housing.

- Remove lid by unscrewing 2 x lid studs left back on right front corner.

- Do a visual inspection on mechanism. See if any movement has occurred in boom adaptor or linkages. Re-adjust if necessary.

- Tighten all bolts, nuts and grub screws on mechanism.

- Grease 2 x pillar block bearings and 2 x rose bearings once every 3 months.

- Check condition of rubber stops. If any wear is noticeable, replace to same settings.

Take Note:

The rubber stops needs to be in good condition as worn or no rubber stops can cause the motor shaft to break. Rubber stops must be checked every 60 days.

Step 3: Mechanical Lock

The mechanical lock, what this means is, when the boom is switched on and is in the down position, you can’t manually lift the boom arm up if the mechanical lock is set correctly. The motor crank arm is linked to the link rod. In the down position these 2 arms must be in a straight line. This is achieved by turning the rubber stops in or out.

If it is turned in too much and you break the straight line, the boom won’t lift on power failure and in some cases with the power on, it won’t lift. If the rubber stop is turned too far out, the boom arm won’t lock in the down position with the power switched on.

The Test

To test the mechanical lock, with power on, lower the boom arm using the control logic with the mode button switched to the down position. Switch power off at circuit breaker. Boom must lift slowly to fully open position without any help.

Before adjusting your spring tension to lift the boom arm, check the rubber stop position. First switch the power on and take the boom arm to the

down position if crank arm and link rod is in a straight line. Then, you can look at adding more tension to the barrier spring. If more than one spring is in the boom, adjust all the springs, not just one spring.

Caution

Repeat the test.

Remember the boom arm must lift up slowly, do not over tension the springs, this will slow the boom arm down when it is closing.

Step 4: Electrical Inspection

- Switch off main supply to barrier.

- Check all electrical connections to panel.

- Switch power back on.

- Check settings on detector, see if it is still the same as when barrier was commissioned.

- Check for any physical damage to detector.

- Look for any physical damage to Logic.

- Check settings on Barrier Logic - compare settings to commissioning settings.

NB. Ensure that the barrier is always locked to prevent unwanted personnel to have access to the barrier.

#### Resources required.

| SKILL | GRADE AND RELATED EXPERIENCE | MINIMUM QUALIFICATION |
| --- | --- | --- |
| 1 x Technician | T11 and minimum of 3 years of relevant Technical experience | N6 diploma/ National Diploma, Millwright or Electro mechanical |
| 1 x semi skill | None trade, Related technical experience will be an added advantage | Matric with Maths & Science |

#### Spares required.

- IMAT Turnstile Controller MATSD008

- 2 x Hikvision Ethernet Switch, model:DS-3E1105P-EI, I/P 48V≈1.35A

- 2 X Ethernet switch POE , (4) x PoE+(2)x10/100 Base-T  (Utepo NW100 4 Port PoE Switch with 2 Uplink Ports).

- Hikvision 16 channel NVR

- Hikvision 32 channel NVR

- 2 x ZKteco inbio pro (460)

- 2 x Boom gates system - Genius Traffic Barrier

- 100 Hikvision High precision cameras

- 500 m Network cable Cat6/cat 5

## Management strategy and start up.

### Compulsory Meetings

The Contractor will attend all the relevant technical and quality related meetings. (Venue, time and date will be confirmed).  With prior notification, the services of the Contractor can also be required at other meetings.

The Contractor will be represented by at least the supervisor for all relevant meetings i.e. should additional personnel be required, they are to accompany the supervisor.

### Management meetings

The Service Manager shall arrange a monthly meeting at a time to suit attendance by both Service Manager and the Contractor for every month throughout the service period. The meetings shall be chaired by the Service Manager as and when required. All meetings shall be recorded using the Employer’s attendance register and minutes taken.  Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

In the meeting the Service Manager and the Contractor shall review the previous month’s actions and responsibilities in terms of the contract, decide what corrective actions are to be taken (if any), and by whom the contract requires them to be taken and by what time; review, agree and sign a summary listing of work carried out during the month under review which shall contain as a minimum:

- safety incidents for the month,

- authorisation of personnel,

- a schedule of any major incidents or unplanned work,

- outstanding invoices to the Contractor,

- any substantial disagreements between the Service Manager and the Contractor and any disputes notified in terms of the contract,

- the Contractor’s general comments on the work done during the month under review,

- the Service Manager general comments on the work done during the month under review,

- any notable achievements,

- any contractual or commercial issues,

- Defect notifications raised during month,

- Low service damages during the course of the month;

- review future work and add items to the Accepted Plan for any future non routine work;

- review relationships between representatives of both Parties and attempt to address any adverse issues through the action plan; and

- Review any opportunities that can be explored to capitalise on value arising from this contract.

- Review attendance registers and overtimes where applicable.

The Service Manager shall prepare a monthly report in the form of minutes of the above referenced meeting, ensure that both he/she and the Contractor have agreed and signed the minutes of the meeting as proof of acceptance.

The Site Service Manager will chair and schedule the site meetings. The meeting schedule is as follow:

| Name | Frequency | Attendance by relevant Employer’s personnel: | Attendance by relevant Contractor’s personnel: |
| --- | --- | --- | --- |
| Contract Kick-off | Once off | Site Service Manager, Plant area supervisor/manager and/or other necessary representatives. | Contractor, Core crew complement and/or other necessary representatives. |
| Early Warning | As and when notified by either party | Site Service Manager, Plant area supervisor/manager and other relevant personnel. | Contractor and other relevant personnel. |
| Technical and/or non- conformance | At least once every 3 months | Site Service Manager, Plant area supervisor/manager, Plant Engineer and other relevant personnel. | Contractor and other relevant personnel. |
| Safety Incidents | For each occurrence | Safety Representative, Site Service Manager, Plant area supervisor/manager and other relevant personnel involved. | Contractor Safety Representative, Contractor and other relevant personnel. |
| Contractor Monthly Safety Meeting | Monthly | Proof of meeting to be submitted to the Site Service Manager. | Contractor Safety Representative, Contractor and other relevant personnel. |
| Monthly Employer Safety Meeting | Monthly | Meeting chaired by Employer | Contractor |
| Assessment meeting | Between 20 – 25th of each successive month | Majuba Power Station, Specific conference room TBA | Site Manager, Outage coordinator, Service manager |

Meetings of a specialist nature may be convened as specified elsewhere in this Service Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the service.  Records of these meetings shall be submitted to the Service Manager by the person convening the meeting within five days of the meeting.

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.

### Contractor’s management, supervision and key people

The Contractor shall appoint a trained Site Supervisor who shall manage all contract and technical related issues. Proof of experience and qualifications of the Contractor site Supervisor must be submitted within one week of the contract start date. Change to this key person shall be communicated in writing within one Month of such change to the Service Supervisor.

The Contractor site Supervisor to be available after hours telephonically. Where the Contractor site Supervisor is not available due to excessive hours worked, leave or Illness a suitably qualified alternate must be made available.

The Contractor site Supervisor must be able to communicate satisfactorily in English and have formal education as per Eskom Job description requirements.  If at any time, it is found that the Contractor site Supervisor ability to either supervise the workers, practice good communication skills (verbal or written) or exercise competency is lacking, the Service Supervisor may give instruction for the removal of such person from site.

The Contractor Quality Control Technicians shall be trained and meet all requirements as per attached Job Profile Appendix A.  Proof of qualifications and experience of the Quality Control Technicians must be submitted before the contract start date.

The Contractor shall ensure that all his personnel become authorized as Authorised Supervisor/s (AS), in terms of the Eskom Plant Safety Regulations (PSR) within 4 months of the contract start date.  This authorisation is obtained by attending a course which includes written evaluations (allow 10 days duration) and undergoing a verbal evaluation (1 to 2 hours) within three months after course results indicate that the candidate has passed. As authorisations are valid for two years only, the Contractor must ensure that their personnel are re-authorised before the authorisation lapses. The necessary training and evaluations will be provided by Majuba free of charge and the Contractor employees must be available to attend, when the course is scheduled.

All key people undertaking work shall be appropriately trained, Qualified, Skilled and competent to perform such work and proof thereof must be submitted.  Incidence of poor quality work and non-adherence to site regulations and procedures will prompt the Employer to request the immediate and permanent removal of such person from all site activities.

Qualification and Qualified, are to be interpreted according to the minimum requirement as per the Occupational Health and Safety Act firstly and then Eskom’s “job profile” for positions within the Contractor’s organizational structure and be supported by Eskom’s “Recruitment and selection procedure” Unique Identifier: 32-1023.

### Police clearance

- All Contractor personnel to undertake Police clearance

- Certificates to be provided to the Service Manager at least 2 weeks before commencement of work

- The Service Manager reserves the right to refuse entry to all persons whose criminal records indicate that their presence on site might create an unsafe and insecure environment to Majuba Power Station.

- The following website can be used to guide the process.  http://www.saps.gov.za/services/applying_clearence_certificate.php

## Documentation control

Correspondences are in writing. Formal correspondence to be on the letterhead of the organisation and addressed to the relevant person.

Each Task Order, Assessment and Defect Notification have a unique number for ease of identification.

All Communications will be filed and kept on site at all times as it is crucial to have the correct communication structures. These communication documents should at all times adhere to the NEC 3 Term Service Contract communication requirements.

- Invoicing and payment

Within one week of receiving a payment certificate (contract assessment) from the Service Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Service Manager’s payment certificate.

The Contractor shall address the tax invoice as per issued Task Order and shall include on each invoice the following information:

- Name and address of the Contractor and the Service Manager;

- The contract number and title;

- Contractor’s VAT registration number;

- The Employer’s VAT registration number 4740101508;

- Description of service provided for each item invoiced based on the Price List;

- Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

- (add other as required)

The Contractor only invoice in accordance to the amount due on the signed off assessment. Invoices are to be forwarded directly to invoiceseskomlocal@eskom.co.za in PDF format, who will perform three-way matching between the SAP 45-document, the service entry and the invoice (SAP 51-document) before payment is made. The invoice cannot be processed for payment unless all three these documents are in agreement. (Note that matching can only be done once the service entry has been approved).

If there is Cost Price Adjustment (CPA) applicable to the contract, the Contractor must issue a separate invoice for CPA so that if there are any issues on the CPA the rest of the invoice can be paid while resolving the CPA issues. The CPA tables must be attached to the service entry by the Eskom Service Manager.

## Things provided at the end of the service period for the Employer’s use

### Information and other things

All documents, procedures and systems developed to improve Quality Management at Majuba, to be handed over to the Employer at the end of the contract period.

## Management of work done

### Requirements

### Contractor unable to supply resources

If the Contractor becomes unable to supply the resources required to provide a service at a Date, he shall immediately notify the matter to the Service Manager as an early warning. The notification shall include recommendations as to how the service w can be completed

### Emergency service

Emergency service is required when normal administration cannot be achieved and permits the Contractor to provide a service  on a verbal instruction. The Service Manager may at any time instruct the Contractor orally, followed up in writing, to provide a service  which is of an emergency nature, including work which the Contractor may require a subcontractor to undertake. The Contractor puts the work into effect.

Where there is emergency work, whether it is a Task Order or compensation event driven emergency, the following process to be managed by the Service Manager and Contractor within 24 hours

- A Task Order is put in place to allow work to start immediately, and to continue for long enough to get the final SOW, quality requirements and programme in place.

- An identified team is to agree to a timetable for finalising the final SOW, quality requirements, and Programme.

- This team is also to be immediately tasked to ensure a preliminary SOW, quality requirements and Programme.

In the case of a sudden equipment failure, the Contractor shall immediately conduct a preliminary investigation including a damage report with recommendations for repair and submit it to the Service Manager.

For all planned work, the Contractor must request approval from the Service Manager before work commence. A planned work application form (Appendix C) needs to be completed and approved by all relevant parties before commencement. Failure to comply will result in non-payment.

A Call out / Emergency overtime form (Appendix C) must be complete and signed by all relevant parties if the Contractor personnel gets call out afterhours for emergencies.

For overtime during outages, an application for Outage Overtime sheet (Appendix C) to be completed and approved before the start of the Outage activity.

# Health and safety, the environment and quality assurance

## Health and safety risk management

The Contractor shall comply with the health and safety requirements that follow:

### General

- To ensure compliance, a monthly audit will be conducted on the Contractor Safety file.

- The Contractor must report to the Service Manager the total man hour’s work on the last day of each consecutive month.

### Eskom Life Saving Rules

Five Life Saving Rules have been developed that will apply to all Eskom employees, agents, consultants and Contractors.

Rule 1:	Open, Isolate, Test, Earth, Bond, And/or Insulate before touch - that is any plant operating above 1000 V.

Rule 2:	Hook up at heights - no person may work at height where there is a risk of falling.

Rule 3:	Buckle up – no person may drive any vehicle on Eskom business and/or on Eskom premises: unless the driver and all passengers are wearing seat belts.

Eskom takes a "ZERO TOLERANCE" attitude to drivers and passengers who do not wear safety belts when driving in any vehicle on Eskom Business and/or on Eskom premises.  The violation of this very important safety rule as well as any safety rule while performing work for or on behalf of Eskom may result in Eskom terminating your obligation to perform work in terms of your contract with Eskom.

All occupants must wear their safety belts properly, and must never put the shoulder belt under their arm or behind their backs.  Drivers and all passengers must buckle-up at all times for the sake of themselves and their families.

Rule 4:	Be sober -no person is allowed to work under the influence of drugs and alcohol.

Rule 5:	Use a permit to work – where an authorization limitation exists, no person shall work without the required permit to work.

### Plant Safety Regulations

- The Contractor site Supervisor and Technicians must be authorised according to the Eskom Plant Safety Regulations (PSR) as an Authorised Supervisor (AS). Such authorisation shall be obtained within 6 months of starting at Majuba, and maintained thereafter. Training will be supplied by the Employer with no additional cost to the Contractor. Failure on first attempt, the Contractor employee will be allowed to rewrite for a second attempt. Failure after the second attempt will be at the cost of the Contractor.

- The Contractor must supply all their technicians, where the requirement is to enter substations to witness work with Category 2 Arc flash suits. These are to be supplied at the Contractors cost.

### Fire Precautions

- Any tampering with the Employer’s fire equipment is strictly forbidden.

- All exit doors, fire escape routes, walkways, stairways and stair landings and access to electrical distribution boards must be kept free of obstruction and is not be used for work or storage at any time. Firefighting equipment must remain accessible at all times.

- In case of fire, report the location and extent of the fire to Electrical Operating Desk at 017 799 3803 and it is expected that the Contractor shall take the necessary action to safeguard the work area in order to prevent injury and spreading of fire.

- All Hot Work on site must be done as per the Hot Work Procedure, SERV/FIRE02

### Reporting of incidents

a)	The Employer follows an incident prevention policy which includes the investigation of all incidents involving personnel and property.  This is done with the intention of introducing control measures to prevent a recurrence of the same incident.  The Contractor is expected to co-operate fully to achieve this objective and have his own incident reporting system which is compatible to the site system.  The Service Manger must be informed immediately of all safety incidents including fatalities, medicals, first aids and near misses. Any damage to property or equipment must be reported to the Service Manger as soon as reasonably practicable but not later than 4 hours after the incident.  A Summary of the Incident is to be submitted to the Service Manger within 4 hours of the Incident.

b)	NOTE: The above-mentioned reporting does not relieve the Contractor of his legal obligation to report incidents to the Department of Labour, or to keep records in terms of the Occupational Health and Safety Act, and Compensation for Occupational Injuries and Diseases Act and to perform investigations of all incidents.

c)	The Contractor must provide the Safety Risk Officer with a monthly safety statistics report by the first working day of every month, even if no incidents have occurred.

### Vehicle Safety

  - Drivers, passengers and pedestrians must obey safety requirements in terms of the National Road Traffic Act, No 93 of 1996, as amended, including other relevant provincial or local requirements.

  - All drivers must possess a valid, national driver’s licence of the correct category/class, must not be under the influence of alcohol or other drugs which will impair the senses and must be authorised by the Contractor to drive the company vehicle.

  - All vehicles must be roadworthy and vehicle specifications must include at least front airbags for the driver and the front passenger and an anti-lock braking system (ABS).

  - All vehicles must be driven with due consideration for personnel and property. A maximum speed limit of 40 km/hour will be adhered to on the premises at all times.

  - Transportation of passengers on the back of open or closed light delivery vehicles (LDVs), trailers, trucks or any other form of transportation is not allowed.  It is a legal requirement for all Employers to provide safe transportation of all employees both on and off site.

  - No person may be transported in the back of vehicles closed by means of canopies, unless provided with factory-fitted or manufactured-approved, proper seating and safety belts, i.e. crew cabs.

  - Drivers and others entering Majuba Power Station will be subjected breathalyser testing.

  - The driver/s must ensure that their passengers are seated and wear seatbelts at all times.

  - Tools and equipment in vehicles must always be properly secured.

### Health and Safety Arrangements

a)	The Contractor shall comply with the guidelines set out in the Majuba Standard BIA/RM/STD/01 titled “Safety, Health and Environmental specification to be met by Contractors”

b)	The Contractor must ensure that all his personnel attend a Health and Safety Induction Course prior to starting with the works.  A one hour course will be provided free of charge by the Employer and will be valid for the duration of one year.  It is the Contractor’s responsibility to make an appointment for the induction and ensure that re-induction is done timeously.

c)	Safety Risk Management has the right and authority to visit and inspect the Contractor’s workplace or site establishment to ensure that tools, machinery and equipment comply with the minimum safety requirements.

d)	The Service Manager shall be entitled to instruct the Contractor to stop work, without penalty to the Employer, where the Contractor’s personnel fail to conform to safety standards or contravene health and safety regulations.  The Employer's Representative is entitled to instruct the Contractor to discipline his employees, to enforce disciplinary action and to submit a report to the Employer's Representative.  The Contractor shall implement additional health and safety precautions wherever necessary.

e)	The following Health & Safety requirements should be complied with:

- The Contractor is required to supply a Certificate of Competency for his/her employees if the work will be done under the following conditions:

- Confined Spaces

- Heights

- Heat stresses

- Cold stresses

- The Contractor to provide the Employer with a signed register as proof of free issue of adequate Personal Protective Equipment (PPE) to be used by his/her employees (preferably SABS approved).  Additionally, the Contractor shall provide overalls for his staff with clearly identifying motifs depicting the company name.

- Sub-contractors - the principal contractor must request approval for the use of any sub-contractor.  Proof must be given to Eskom that the sub-contractor/s have the necessary competence and resources to carry out the work safely and to ensure that due care of the environment will be exercised.

- Medical certificate of fitness shall be issued by a Registered Occupational Health Medical Practitioner only.

f)	The Contractor appoints a person, qualified in accordance with the SHE Requirements, as the liaison with the Eskom Safety Officer for all matters related to health and safety and this person shall be contactable telephonically 24 hours a day.

g)	The Contractor confirms that it has been provided with sufficient written information regarding the health and safety arrangements and procedures applicable to the Services to ensure compliance with it and all employees, agents, Subcontractors or mandatories with the SHE Requirements while providing the Works in terms of this contract.  As such, the Contractor confirms that this contract and the relevant Eskom Regulations referred to in this contract constitute written arrangements and procedures between the Contractor and the Employer regarding health and safety for the purposes of section 37(2) of the OHSA.

### Company Branding

- The Contractor shall provide all overalls (when needed) for his staff with clearly identifying motifs depicting the company name.

### Special requirements

- The Work area includes the coal stuck yard and tippler, The Site Rule is that all persons entering the Coal stock yard and Tippler area will wear reflective vests or jackets. Reflective Strips on the over although innovative are not sufficient.  Any person discovered not wearing appropriate reflective clothing will be requested to leave Site.

### Exposure to Silica

- The Risk of exposure to Silica is high. The Contractor is responsible for ensuring that ALL employees working on the Coal plant wear appropriate SABS approved dust mask and that they are used correctly.

- The Contractor is to ensure that Lung X-rays are performed on an annual basis and that the reports are issued by a Medical Doctor Qualified to recognise Silica related dust Lung ailments or Diseases for all their personnel that are doing work on the Coal plant.

- The above reports must be submitted to the Employees Medical Centre for verification.

## Environmental constraints and management

All Legislative, Eskom and Majuba environmental policies are to be adhered to:

### Work carried out in terms of:

The Contractor will be required to ensure that all works are carried out as per the ISO 14001 standard and Majuba’s Environmental Policy, BIA/ENV/04 and Waste management Policy, BIA/ENV/01. The following environmental requirements are complied with at all times:

- Zero liquid effluent discharge.

- No chemicals will be dumped into the station drains or on the premises.

- No oil or waste will be dumped in an unauthorised area or unlicensed waste site.

- Asbestos will be handled and stored according to Act 15 of 1973 (Hazardous Substances Act).

- No materials or waste will be burnt on site.  Hazardous substances shall be handled and stored according to the hazardous substances Act no 15 of 1973.  No effluent shall be discharged into the public streams.

- Contractors activities/services shall be carried out as per the above procedures and QM58

### New Environmental Legislation

The Contractor will be responsible for complying with any new environmental requirements, relevant to the Services Information that may come into effect as part of Majuba Power Station’s Environmental Management System (EMS) during the duration of this contract.

### Existing Environmental Legislation

In order to protect Eskom's environmental interests whenever a product or service is provided by a Contractor, the Contractor complies with all relevant and appropriate environmental legal requirements contained in governmental notices, laws and regulations promulgated by the central and provincial governments.

### Liability

The Contractor accepts all responsibilities, accountabilities and liabilities associated with such legal requirements, unless specifically excluded from a contract by a mutually acceptable written agreement.

### Hazardous substances

If a product is classified as a hazardous substance, a material safety data sheets (MSDS) must accompany delivery/use. In accordance with the Occupational Health and Safety Act (OHSA), Act 85 of 1993 section 10 and 11.  If any hazard is identified by the Contractor, he must immediately inform the Employer.

## Quality assurance requirements

The Contractor must possess an accredited Quality Management System.  A pre-approved Quality Control Plan (QCP) is to be used for the tasks at hand.

### Quality Requirements

The Contractor will additionally comply with the Employer’s Quality Requirements as specified in Standard BIA/QA/STD/01.  This includes the Contractor’s ISO 9001 Registration Certification of Compliance.

### Contract Quality Plan

The Contractor prepares a Contract Quality Plan, for acceptance by the Employer.  Any changes to the accepted Document shall be submitted as a proposed revision for acceptance.

The Contractor prepares an index of Quality Control Plans as per scope of work.  The Quality Control Plans to be submitted to the Service Manager, who will in consultation with Engineering-, Quality Department and Authority review, insert intervention Points and approve.  Work may not commence until the plans are approved.  Any Quality Control Plan that’s been revised due to change of operation to be re-submitted for approval by all parties.

### Quality Control Documents

All quality control documentation must be submitted to the Project Manager/ Employer's Representative/ Employer's Agent within two weeks after contract award for written approval.

# Procurement

## People

### Minimum requirements of people employed

Proof of the Contractor’s personnel competency in terms of Regulation 18 (5 and 6) of the OHS Act is required by the Employer (Refer to Appendix A for requirements).

All Artisans are qualified and in possession of a valid trade test certificate.

The Contractor will provide trained personnel for the implementation of all work.

The Contractor remunerates his employees at not less than the proclaimed statutory wage (Minimum Wages Act). Failure in this regard will result in non-performance and therefore immediate termination of the contract.

In order to fully evaluate a tender, the Contractor is to submit an organogram, which is to include the relevant skills levels.

According to the SKILLS DEVELOPMENT ACT 97 OF 1998, the following definition for artisans and trades are emphasised:

- Artisan means a person that has been certified as competent to perform a listed trade in accordance with this Act.  (Definition of “artisan” inserted by section 1(a) of Act 37 of 2008)

- Trade means an occupation for which an artisan qualification is required in terms of section 26B.  (section 1(i) of Act 37 of 2008)

Section 26C section 2 (a) states the following – “No person, whether employed or self-employed, may hold themselves out to be qualified as an artisan in a listed trade unless that person is registered as an artisan in terms of subsection (1)”

With reference to the Act, all personnel are adequately qualified for the task to be performed.  Qualifications of all staff to be submitted to the Service Manger two weeks prior to commencement of work and approval of qualifications of staff to be granted within one week of receipt of qualifications.

The Contractor submits requests to change any pre-approved staff together with proof of qualifications for approval prior to changing the staff.

### Supplier Development and Localisation Plan

“Local to site “means all areas that fall within the Dr Pixley Ka Seme Municipal area.

The Contractor is required:

- To provide a high level Supplier Development & Localisation implementation plan which stretches for the duration of the contract within one month after contract award.

- To provide an explanation and action plan for deviation from the proposed plan

- The Contractor is also required to submit its Human Resource Plans indicating the number of new jobs that would be created or retained due to this project.

- The Contractor is required to procure general labour from Dr Pixley Ka Seme. Only skilled and professionals would be procured from outside of Dr Pixley Ka Seme Municipality Area.

- The Candidates for Skills Development would be sourced from Dr Pixley Ka Seme first, then Mpumalanga, before the rest of RSA.

- The candidates may be developed directly by the supplier, through the suppliers’ own supply network or through the SETA accredited training providers.

- Candidates are to be currently unemployed graduates from FET (Further Education and Training) colleges, universities or matriculates. These candidates shall also be representative of the population demographics of Mpumalanga province

- The Contractor submits proposals to the Employer for acceptance on how he will employ and train local labour in the following positions:

Refer to SDL Matrix Annexure H

## Subcontracting

### Preferred subcontractors

All subcontractors need to be approved by the Service Manager before the subcontractor gets to site.

### Subcontract documentation, and assessment of subcontract tenders

The Contractor prepares subcontract documentation. The use of the NEC system is recommended on how subcontract tenders are to be issued, received, assessed and awarded.

## Plant and Materials

### Specifications

None

### Correction of defects

Audit findings and Non Compliance Report findings to be completed and closed within 7 working

### Contractor’s procurement of Plant and Materials

All equipment used to supply the Service is supplied by the Contractor.

### Tests and inspections before delivery

It’s a requirement from the Employer for the Contractor to do off site inspections. Pre-approval from the Service Manager to obtained before inspection date.

### Plant & Materials provided “free issue” by the Employer

- All spares will be supplied by the Employer unless requested otherwise; it will become a compensation event to the Contractor.

- Scaffolding, lagging removal and replacement of lagging will be provided by the Employer.

# Working on the Affected Property

- Employer’s site entry and security control, permits, and site regulations

The Entry to site is only approved once the following is adhered to:

- The Contractors Safety file is to be approved by the Employer’s Safety department.

- All personnel must undergo screening for Criminal records and outstanding warrants

- Site-specific induction is to be done by all personnel.

- Refer to the General Works information

- People restrictions, hours of work, conduct and records

.N/A

- Health and safety facilities on the Affected Property

There is a medical station on site and a fire and rescue service for assistance with serious incidents and treatment of all serious injuries during normal working hours. Emergency services are available during normal working hours by dialling 9222 from any site phone or else 017 799 2138 (medical centre) 017 799 3192 (fire and rescue) and also available after hours by dialling 9222 from any site phone or else contacting the Electrical Operating Desk (EOD) at 017 799 3803 (all hours).  However, the Contractor is expected to handle all minor incidents in-house by providing a first aider and a first aid kit.

- Environmental controls, fauna & flora

All Legislative, Eskom and Majuba environmental policies are to be adhered to.

- Work carried out in terms of:

The Contractor will be required to ensure that the Service is carried out as per the ISO 14001 standard and Majuba’s Environmental Policy, BIA/ENV/04 and Waste management Policy, BIA/ENV/01.  The following environmental requirements are complied with at all times:

- Zero liquid effluent discharge.

- No chemicals will be dumped into the station drains or on the premises.

- No oil or waste will be dumped in an unauthorised area or unlicensed waste site.

- Asbestos will be handled and stored according to Act 15 of 1973 (Hazardous Substances Act).

- No materials or waste will be burnt on site.  Hazardous substances shall be handled and stored according to the hazardous substances Act no 15 of 1973.  No effluent shall be discharged into the public streams.

- Contractors’ activities/ services shall be carried out as per the above procedures and QM58

- Records of Contractor’s Equipment

The Contractor will bring a typed list of all his equipment and tools (with serial numbers, wherever possible).  This list needs to be approved by the Security office before the items are taken onto site on each occasion. Equipment that is not listed on a tool/equipment list cannot be removed from site.  Equipment and vehicles left on site is done so at the Contractor’s own risk.

## Equipment provided by the Employer

- Overhead cranes

- The Employer is entitled to withdraw use of the said Equipment, should proper care not be ensured.

## Site services and facilities

### Provided by the Employer

Sanitary services, water, compressed air and electricity shall be provided by Eskom at fixed points on the plant. There is also a site kitchen which serves lunch only and meal tickets may be purchased at the Petty Cash Office in the Finance Building. Furthermore there is also a tuck-shop on site but both of these operate only on week days and are for the Contractor’s own cost.

### Contractor’s yard

The Contractor is to establish a Site yard in the location indicated by the Employer. Permission will be granted once the Contractor provides an accepted layout plan. Expected site yard size 40 by 40 meters.

The Contractor will be responsible for supplying all the required buildings including separate venues for eating ablution and office work.

The Contractor will ensure that all the required services are connected and that the relevant building codes and by laws are adhered to.

Site Establishment will only be assessed for payment once a Certificate of Compliance issued by a duly Authorised person is provided to the Service Manager.

### Provided by the Contractor

The Contractor is to supply all the personal protective equipment, transport, accommodation, tools, special tools, equipment and consumables to perform all the required tasks on site.

## Control of noise, dust, water and waste

### Waste Disposal

Waste is to be disposed of in bins supplied by Eskom – yellow bins for general waste and red bins for hazardous waste.

### Noise

Noisy equipment and tools emitting noise more than 105dB (A) may not be supplied/utilised by the supplier.

## Tests and inspections

### Description of tests and inspections

It’s the requirement that the Contractor do all tests and Inspections as per Service Information.

### Materials facilities and samples for tests and inspections

As per Service Information

# List of drawings

## Drawings issued by the Employer

Drawings will be issued by the Employer where necessary to execute the scope.

# Relevant Documents

The following Employer documents are relevant for this contract.

| 1 | QM-58 | Supplier Contract Quality Requirements |
| --- | --- | --- |
| 2 | RSR0001 | Safety, Health and Environment Requirements for Contractors at Majuba P/S |
| 3 | 32-727 | Safety, Health, Environmental and Quality Policy |
| 4 | 37(2) | SHE Agreement |
| 5 | OPR 3305 (rev 3) | Eskom plant safety regulation |
| 6 | RER 0221 | Environmental Management System: Waste Management Procedure |
| 7 | OPS 3450/17-2 | Standard Specification for Quality Assurance, Quality Control and Inspection Requirement |
| 8 | RER 0207 | Environmental Management System Manual |
| 9 | RER 0093 | Environmental Management System: Competency, Training & Awareness |
| 10 | RER 0221 | Environmental Management System: Waste Management Procedure |
| 11 | OPS 3450/17-2 | Standard Specification for Quality Assurance, Quality Control and Inspection Requirement |
| 12 | RER 0207 | Environmental Management System Manual |
| 13 | RER 0223 | Oil Spillage Response Procedure |
| 14 | RER 0093 | Environmental Management System: Competence, Training & Awareness |
| 15 | 32-727 | SHEQ Policy |
| 16 | 32-1034 | Eskom procurement and supply management procedure |
| 17 | 23-726 | SHE requirements for Eskom commercial process |
| 18 | 32-136 | Contractor Health and Safety Requirements |
| 19 | 32-296 | Integrated SHE organisation, roles and responsibilities and statutory appointments |
| 20 | 240-62196227 | LIFE-SAVING RULES |
| 21 | 32-418 | Working at Heights |
| 22 | SANS 10141 | South African National Standard (Part 1) |
| 23 | SANS 10142 | South African National Standard (Part 2) |

| Title |  | Revision or date |  | Tick if publicly available |
| --- | --- | --- | --- | --- |
| Occupation, Health and Safety |  | Act no 85 of 1993 |  | √ |
| Site Regulations of Majuba Power Station |  |  |  | √ |
| Safety, Health and Environmental Requirements to be met by Consultant |  | QM58 |  | √ |
| Occurrence Management Procedure |  | 36-220 Rev 0 |  | √ |
| Cardinal Rules Directive |  | 32-421 |  | √ |
| Management of Cardinal Rules Directive |  | BIAIMT2 |  | √ |
| Supplier Contract Quality Requirement Specification (QM58) |  | 240-105658000 |  | √ |

The Contractor complies with the Occupational Health and Safety Act, and all Safety procedures issued by the Employer.  The Contractor must furthermore comply with the Employer’s Safety, Health and Environmental requirements for Contractors, QM58, which is available from the Majuba Documentation Centre.

The Contractor provides all personal safety equipment.

- ANNEXURE A

- Low Service Damages

- ANNEXURE A

- Low Service Damages

|  | Description | Employer’s Requirement | Damages payable by Contractor |
| --- | --- | --- | --- |
| 1 | Approval of safety file | Approved before contractor starts to work |  |
| 2 | Approval of Quality Management System | Approved before contractor starts to work | R500.00 per day without approved quality file. |
| 3 | Arrival on site for call-out | Within 24 hours of call-out. | R5000.00 per hour of delay or part thereof. |
| 4 | Non Attendance of meetings | Every listed meeting to be attended | R500.00 per incident. |
| 5 | Exceeding Task Duration | Within the time specified by Contractor’s plan as approved By the Employers Representative. | R500.00 per hour of extended Duration or 10% of the monthly contract value whichever value is lower |
| 6 | Scheduled Compliance | More than 95% | 1% of monthly contract value |
| 7 | PM compliance | More than 98% | 1% of monthly contract value |
| 8 | P1 work order not closed within 24 hours | Less than 1 outstanding | R1000 for each one per month |
| 9 | P2 work order not closed within 48 hours | Less than 3 outstanding | R1000 for each one per month |
| 10 | Work order back log | No more than 60 outstanding | R100 for each outstanding |
| 11 | Major break downs not identified and actioned | All failure that put the plant or redundant plant at risk must be prevented | 1% of monthly contract value |
| 12 | Planning information not submitted as required | Planning requirements to be met. | 1% of monthly contract value |
| 13 | Failure to deliver the required spare | Spares to be always available | R1000 per incident |
| 14 | Incorrect spare delivered | Supplied spares to be according to the specification | R1000 per incident |
| 15 | Non-availability of staff to provide service | Service has to be given on a continuous basis on the commencement of a contract | 5% of the total repair cost per occurrence. |
| 16 | 3 x Defect notifications raised against Contractor within 6 weeks due to non-compliance of Service Contract (Non Conformance Report (NCR)) given 3 times in 6 weeks | Contractor to deliver the service as per the contract scope | 5% of the total repair cost per occurrence. |

ANNEXURE B

Supplier Development & Localisation

Supplier Development and Localisation, as a poverty alleviation and job creation initiative, has identified Government spending on infrastructure- such as Power Station construction- as a key area of intervention, and Eskom, as a State Owned Enterprise, is required to set Local Content, black economic Empowerment (LBS, BWO and SBE) and Skills Development targets and minimums as key evaluation criteria in tenders/contracts it awards.

| Skill type / Occupation | Eskom target | Entry Level | Output | Tenderers Proposal |
| --- | --- | --- | --- | --- |
| Millwright | 3 | N3 / Grade 12 or Equivalent | Trade Test |  |
| Electro-Mechanical | 3 | N3 / Grade 12 or Equivalent | On a job training |  |

The above evaluation score card will be applied.

SD&L retention – 2%.

ANNEXURE C

## Interpretation and terminology

Technician - a person who is trained or skilled in the technicalities of the job and whose job relates to the practical use of machines or science in industry, someone who has obtained a National Diploma or Degree and has mastered the basic techniques or skills of a job in the workplace..

Non-Conformance Report: A non-conformance report is a documents that give details of a non-conformance identified in a quality audit or other process review. The objective of the report is to make an unambiguous, defensible, clear and concise definition of the problem so that corrective action can and will be initiated by management

This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.

Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902 www.ecs.co.za

Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 5391902 or www.ecs.co.za