Employer’s Name

Contract number _____________
DESIGN AND CONSTRUCTION OF DRAINAGE, ACCESS AND TERRACING AT ASH DUMP WORKSHOP, sUBSTATION AND SOUROUNDINGS


Part 4: Site Information
	Document reference
	Title
	No of pages

	
	This cover page
	1

	C4
	Site Information
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	


Part 4: Site Information
Core clause 11.2(16) states 
“Site Information is information which
· describes the Site and its surroundings and

· is in the documents which the Contract Data states it is in.”
In Contract Data, reference has been made to this Part 4 of the contract for the location of Site Information.


1. General description

The Medupi Power Station Project in Lephalale is a green-fields coal –fired power plant comprising of six units providing a total of 4800MW on full capacity. The Power Station is situated approximately 20km from the town of Lephalale (Ellisras).It is situated along the Steenbokpan Road. The works takes place in and around the boundaries of Medupi Power Station.

Medupi Power Station is located Y: 56334.69 X: 2622791.55 WGS84.

Medupi Power Station is declared as National Key Point. Access to site shall be in line with the Medupi Power Station’s access procedure. The Contractor shall be required to make an application to enter site for the duration of the contract, including the warranty and defect period. A permit shall only be issued once the Contractor and his or her employees have attended the safety induction and has undergone medical checks. 

The Contractor shall have no claim against the Employer in respect of delay at the security main gate. 

Note that the speed limit on the site is 40 Km/h. The vehicle permits of any persons contravening any traffic act on site shall be cancelled. 

The Contractor complies with the Medupi Power Site Regulations, a copy of which is available for perusal at the Project Manager’s offices. 


[image: image1]
Ash Dump Existing building 


[image: image2]
Shape of the surrounding buildings

1. Other reports and publicly available information


[image: image3]
Direction of flooding water and low points


Part C4: Site Information
PAGE 3
C4 ecc3 Site Information

[image: image4.png]


[image: image5.png]


[image: image6.png]


