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RIVERWALK ACCESS CONTROL AND CCTV MONITORING 
BILL OF QUANTITIES

OEM: Hikvision
Infrastructure: The system is stand-alone on each building block
		: The system is hosted and governed by the National Treasury network. 
Door panels: Each panel controls a maximum of 4 doors
Security readers: Dual readers, fingerprint and proximity cards. 

BLOCK A
Access control:
	FLOOR
	DOORS
	READERS
	EMERGENCY
	PANELS

	Ground
	12
	24
	3
	4

	1st 
	6
	12
	3
	2

	2nd
	6
	12
	3
	2

	3rd
	6
	12
	3
	1

	Basement 1
	4
	8
	2
	3

	Basement 2
	1
	2
	2
	0

	Basement 3
	2
	4
	2
	2

	Drop-arm barriers (Grnd)
	8
	8
	0
	2

	Vehicle boom poles (B1)
	2
	2
	0
	0

	Total
	47
	84
	18
	16



CCTV Monitoring
	FLOOR
	CAMERA

	1st
	5

	2nd
	6

	3rd
	6

	Ground
	21

	Basement 1
	17

	Basement 2
	13

	Basement 3
	12

	Total
	80



CONTROL ROOM/SERVER
	ITEM
	QUANTITY
	Comments

	Hikcentral server
	1
	

	CCTV recorders
	3
	

	Monitors
	3
	




BLOCK C
Access control:
	FLOOR
	DOORS
	READERS
	EMERGENCY
	PANELS

	Ground
	6
	12
	2
	1

	1st
	5
	10
	1
	1

	2nd
	5
	10
	1
	2

	3rd
	5
	10
	1
	1

	Basement 1
	0
	0
	4
	0

	Basement 2
	2
	4
	3
	2

	Basement 3
	0
	0
	3
	0

	Drop-arm barriers (Grnd)
	5
	5
	0
	0

	Vehicle boom poles (B1)
	2
	2
	0
	0

	Total
	30
	53
	15
	7



CCTV Monitoring
	FLOOR
	CAMERA

	1st
	5

	2nd
	5

	3rd
	5

	Ground
	10

	Basement 1
	10

	Basement 2
	6

	Basement 3
	9

	Total
	50



CONTROL ROOM/SERVER
	ITEM
	QUANTITY
	Comments

	Hikcentral server
	1
	

	CCTV recorders
	3
	

	Monitors
	3
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