NTCSA soc ltd.

Contract number ______________

THE NTCSA OPERATIONAL TECHNOLOGY (OT) ENDPOINT DETECTION & RESPONSE (EDR) SOLUTION – SUPPLY, DELIVERY, OFF-LOADING, INSTALLATION, CONFIGURATION, TESTING, COMMISSIONING, DECOMMISSIONING AND TRAINING.

	[image: image1.jpg]® Eskom

National Transmission
Company South Africa ™






NEC3 Engineering & Construction Contract
	Between


	NTCSA SOC Ltd 

(Reg No. 2021/539129/30)

	and


	[Insert at award stage]
(Reg No. ___________)

	for


	THE NTCSA OPERATIONAL TECHNOLOGY (OT) ENDPOINT DETECTION & RESPONSE (EDR) SOLUTION – SUPPLY, DELIVERY, OFF-LOADING, INSTALLATION, CONFIGURATION, TESTING, COMMISSIONING, DECOMMISSIONING AND TRAINING.



	
	

	Contents:


	
	No of pages

	Part C1
	Agreements & Contract Data
	26

	Part C2
	Pricing Data
	4

	Part C3
	Scope of Work
	31

	Part C4
	Site Information
	2

	
	
	

	CONTRACT No.
	[Insert at award stage]

	
	

	
	

	
	


Part C1: Agreements & Contract Data
	Contents:


	
	No of pages

	C1.1
	Form of Offer and Acceptance 
	3

	C1.2a
	Contract Data provided by the Employer
	13

	C1.2b
	Contract Data provided by the Contractor
	3

	C1.3
	Proforma Guarantees
	9

	CONTRACT No.
	[Insert at award stage]




C1.1 Form of Offer & Acceptance

Offer

The Employer, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:
THE NTCSA OPERATIONAL TECHNOLOGY (OT) ENDPOINT DETECTION & RESPONSE (EDR) SOLUTION – SUPPLY, DELIVERY, OFF-LOADING, INSTALLATION, CONFIGURATION, TESTING, COMMISSIONING, DECOMMISSIONING AND TRAINING.

 Insert title of the works
The tenderer, identified in the Offer signature block, has examined the documents listed in the Tender Data and addenda thereto and by submitting this Offer has accepted the Conditions of Tender.

By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Contractor under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

Delete the Options which do not apply

	Options B
	The offered total of the Prices exclusive of VAT is 
	R 

	
	Sub total
	R 

	
	Value Added Tax @ 15% is
	R 

	
	The offered total of the amount due inclusive of VAT is

	R 

	
	(in words) 



This Offer may be accepted by the Employer by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Contractor in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)


	
	
	

	Capacity


	
	
	

	For the tenderer:

	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	

	Tenderer’s CIDB registration number (if applicable) 
	


Acceptance

By signing this part of this Form of Offer and Acceptance, the Employer identified below accepts the tenderer’s Offer.  In consideration thereof, the Employer shall pay the Contractor the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Employer and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1

Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2

Pricing Data

Part C3

Scope of Work: Works Information

Part C4

Site Information

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Employer during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Employer’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed original copy signed between them of this document, including the Schedule of Deviations (if any).  

Unless the tenderer (now Contractor) within five working days of the date of such receipt notifies the Employer in writing of any reason why he cannot accept the contents of this agreement, this agreement shall constitute a binding contract between the Parties.

	Signature(s)


	
	
	

	Name(s)
	
	
	

	Capacity


	
	
	

	for the Employer


	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	


Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

Schedule of Deviations to be completed by the Employer prior to contract award

Note:

1.  This part of the Offer & Acceptance would not be required if the contract has been developed by negotiation between the Parties and is not the result of a process of competitive tendering.
2. The extent of deviations from the tender documents issued by the Employer prior to the tender closing date is limited to those permitted in terms of the Conditions of Tender.

3. A tenderer’s covering letter must not be included in the final contract document.  Should any matter in such letter, which constitutes a deviation as aforesaid be the subject of agreement reached during the process of Offer and Acceptance, the outcome of such agreement shall be recorded here and the final draft of the contract documents shall be revised to incorporate the effect of it.

	No.
	Subject
	Details

	1
	
	

	2
	
	

	3
	
	

	4
	
	

	5
	
	

	6
	
	

	7
	
	

	
	
	


By the duly authorised representatives signing this Schedule of Deviations below, the Employer and the tenderer agree to and accept this Schedule of Deviations as the only deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Tender Schedules, as well as any confirmation, clarification or changes to the terms of the Offer agreed by the tenderer and the Employer during this process of Offer and Acceptance.  

It is expressly agreed that no other matter whether in writing, oral communication or implied during the period between the issue of the tender documents and the receipt by the tenderer of a completed signed copy of this Form shall have any meaning or effect in the contract between the parties arising from this Agreement. 

	
	For the tenderer:


	
	For the Employer



	Signature


	
	
	

	Name
	
	
	

	Capacity


	
	
	

	On behalf of
	(Insert name and address of organisation)


	
	(Insert name and address of organisation)



	Name & signature of witness
	
	
	

	Date
	
	
	


C1.2 ECC3 Contract Data

Part one - Data provided by the Employer
Completion of the data in full, according to the Options chosen, is essential to create a complete contract.

	Clause
	Statement
	Data

	1
	General
	

	
	The conditions of contract are the core clauses and the clauses for main Option 
	

	
	
	B:

Priced contract with bill of quantities

	
	dispute resolution Option
	W1:
Dispute resolution procedure

	
	
	X1:

Price adjustment for inflation

	
	
	X2

Changes in the law

	
	
	X7:

Delay damages

	
	
	X15:
Limitation of Contractor’s liability for design to reasonable skill and care

	
	
	X16:
Retention

	
	
	X18:
Limitation of liability 

	
	
	Z:

Additional conditions of contract

	
	of the NEC3 Engineering and Construction Contract, April 2013 (ECC3)
	If 2005 Edition is to be used delete “April 2013” and replace with “June 2005 with amendments June 2006”. Always delete this note before finalising this Data

	10.1
	The Employer is (Name):
	NTCSA SOC Ltd (reg no: 2021/539129/30), a state-owned company incorporated in terms of the company laws of the Republic of South Africa

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	10.1
	The Project Manager is: (Name)
	To be advised

	
	Address
	To be advised

	
	Tel
	To be advised

	
	Fax
	To be advised

	
	e-mail
	To be advised

	10.1
	The Supervisor is: (Name)
	To be advised

	
	Address
	To be advised

	
	Tel No.
	To be advised

	
	Fax No.
	To be advised

	
	e-mail
	To be advised

	11.2(13)
	The works are 
	The works is described in the Works Information document, and it covers:

· Supply, delivery, off-loading, installation, configuration, testing, commissioning, decommissioning and training for the NTCSA Endpoint Detection & Response (EDR) solution.

	11.2(14)
	The following matters will be included in the Risk Register
	As per the Risk Register

1. Threats to operational continuity
2. Compromised data integrity
3. Weakened cybersecurity posture
4. Theft. 
5. Labour issues, Industrial actions
6. Works in brown field (existing equipment and building).

	11.2(15)
	The boundaries of the site are 
	NTCSA Operational Technology business areas

	11.2(16)
	The Site Information is in 
	Part 4: Site Information

	11.2(19)
	The Works Information is in  
	Part 3: Scope of Work and all documents and drawings to which it makes reference.

	12.2
	The law of the contract is the law of 
	the Republic of South Africa

	13.1
	The language of this contract is 
	English

	13.3
	The period for reply is
	One (1) week

	2
	The Contractor's main responsibilities
	Data required by this section of the core clauses is provided by the Contractor in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data. 

	3
	Time
	

	11.2(3)
	The completion date for the whole of the works is
	01 April 2028

	11.2(9)
	The key dates and the conditions to be met are:
	Condition to be met
	key date

	
	
	1
	ORHVS authorisation application and approval
	To be confirmed

	
	
	2
	SHEQS File approval
	To be confirmed

	
	
	3
	Site Induction and Establishment
	To be confirmed

	
	
	4
	Supply, Delivery and off-loading of material like but not limited to hardware, software and licensing
	To be confirmed

	
	
	5
	Decommissioning of old systems including cabling.
	To be confirmed

	
	
	6
	Installation, configuration, testing of the new solution including earthing, cabling.
	To be confirmed

	
	
	7
	Commissioning and training of the whole Works and make neat
	To be confirmed

	30.1
	The access dates are:
	Part of the Site
	Date

	
	
	1
	The supplier shall request access to the Employer’ sites, from the Project Manager at least two weeks prior access being required.
	To be confirmed

	31.1
	The Contractor is to submit a first programme for acceptance within 
	Two (2) weeks of the Contract Date.

	31.2
	The starting date is
	01 April 2026

(NB: the contract is on an ‘as and when required’ basis.)

	32.2
	The Contractor submits revised programmes at intervals no longer than 
	Four (4) weeks.

	35.1
	The Employer is not willing to take over the works before the Completion Date.
	

	4
	Testing and Defects
	

	42.2
	The defects date is 
	Fifty-two (52) weeks after Completion of the whole of the works.

	43.2
	The defect correction period is 
	Two (2) weeks



	
	except that the defect correction period for 
	Defects which the Supervisor notifies and requires urgent attention is 48 (forty-eight) hours starting immediately after notification of the Defect.

	5
	Payment
	

	50.1
	The assessment interval is 
	the 25th day of each successive month.

	51.1
	The currency of this contract is the 
	South African Rand.

	51.2
	The period within which payments are made is 
	Thirty (30) days after the receipt of a valid Tax Invoice.

	51.4
	The interest rate is 
	the publicly quoted prime rate of interest (calculated on a 365-day year) charged from time to time by the Standard Bank of South Africa Limited (as certified, in the event of any dispute, by any manager of such bank, whose appointment it shall not be necessary to prove) for amounts due in Rands and 

(ii) the LIBOR rate applicable at the time for amounts due in other currencies.  LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited, whose appointment it shall not be necessary to prove.

	6
	Compensation events
	

	60.1(13)
	The place where weather is to be recorded is:
	NTCSA Operational Technology business areas where the works is executed. (Primarily in Gauteng Province)

	7
	Title
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	8
	Risks and insurance
	

	80.1
	These are additional Employer's risks  
	1. Not Applicable

	9
	Termination
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	10
	Data for main Option clause
	

	B
	Priced contract with bill of quantities
	

	60.6
	The method of measurement is 
	In accordance with the Standard System of Measurements for Civil works and SANS 1200 published by Association of South African Quantity Surveyors and amended as stated in Part C2.1, Pricing Assumptions.

	11
	Data for Option W1
	

	W1.1
	The Adjudicator is 
	the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him.  (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA).

	
	Address
	1st Floor

Maisels Chambers

4 Protea Place

Sandton

	
	Tel No.
	(011) 320 0600

	
	Fax No.
	(011) 320 0533

	
	e-mail
	info@arbitration.co.za 

	W1.2(3)
	The Adjudicator nominating body is:
	the Chairman of ICE-SA a joint Division of the South African Institution of Civil Engineering and the London Institution of Civil Engineers. (See www.ice-sa.org.za ) or its successor body.

	W1.4(2)
	The tribunal is: 
	arbitration.

	W1.4(5)
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	
	The place where arbitration is to be held is
	Johannesburg, South Africa

	
	The person or organisation who will choose an arbitrator. 

· if the Parties cannot agree a choice or
· if the arbitration procedure does not state who selects an arbitrator, is
	the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

	12
	Data for secondary Option clauses
	

	X1
	Price adjustment for inflation
	

	X1.1(a)
	The base date for indices is 
	[●].

	X1.1(c)
	The proportions used to calculate the Price Adjustment Factor are:
	proportion
	linked to index for
	Index prepared by

	
	
	0. [●]
	[●]
	[●]

	
	
	0. [●]
	[●]
	[●]

	
	
	0. [●]
	[●]
	[●]

	
	
	0. [●]
	[●]
	[●]

	
	
	0. [●]
	[●]
	[●]

	
	
	[●]
	non-adjustable
	

	
	Total
	1.00


	
	

	X2
	Changes in the law
	There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data.

	X7
	Delay damages (but not if Option X5 is also used)
	

	X7.1
	Delay damages for Completion of the whole of the works are
	0.1% per day up to a limit of 10% of Contract value.

	X15X15
	Limitation of the Contractor’s liability for his design to reasonable skill & care
	There is no reference to Contract Data in this Option and terms in italics are identified elsewhere in this Contract Data.

	X16
	Retention (not used with Option F)
	

	X16.1
	The retention free amount is 
	R 0.00.

	
	The retention percentage is
	7.5% of the total of the Price.

	
	The SDL&I percentage is
	2.5% per invoice. This will be released upon submission and verification of SDL&I contract commitments proof

	X18
	Limitation of liability
	

	X18.1
	The Contractor’s liability to the Employer for indirect or consequential loss is limited to:
	R0.0 (zero Rand)

	X18.2
	For any one event, the Contractor’s liability to the Employer for loss of or damage to the Employer’s property is limited to:
	the amount of the deductibles relevant to the event 



	X18.3
	The Contractor’s liability for Defects due to his design which are not listed on the Defects Certificate is limited to
	The greater of 

· the total of the Prices at the Contract Date 

and 

· the amounts excluded and unrecoverable from the Employer’s assets policy for correcting the Defect (other than the resulting physical damage which is not excluded) plus the applicable deductible as at contract date.

	X18.4
	The Contractor’s total liability to the Employer for all matters arising under or in connection with this contract, other than excluded matters, is limited to:
	the total of the Prices other than for the additional excluded matters.
The Contractor’s total liability for the additional excluded matters is not limited. 

The additional excluded matters are amounts for which the Contractor is liable under this contract for

· Defects due to his design which arise before the Defects Certificate is issued,

· Defects due to manufacture and fabrication outside the Site,

· loss of or damage to property (other than the works, Plant and Materials),

· death of or injury to a person and 

· infringement of an intellectual property right.

	X18.5
	The end of liability date is 
	(i) Seven (7) years after the defects date for latent Defects and 
(ii) the date on which the liability in question prescribes in accordance with the Prescription Act No. 68 of 1969 (as amended or in terms of any replacement legislation) for any other matter.

A latent Defect is a Defect which would not have been discovered on reasonable inspection by the Employer or the Supervisor before the defects date, without requiring any inspection not ordinarily carried out by the Employer or the Supervisor during that period. 

If the Employer or the Supervisor do undertake any inspection over and above the reasonable inspection, this does not place a greater responsibility on the Employer or the Supervisor to have discovered the Defect.

	Z
	The Additional conditions of contract are
	Z1 to Z15 always apply.

	
	

	Z1
	Cession delegation and assignment

	Z1.1
	The Contractor does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Employer.

	Z1.2
	Notwithstanding the above, the Employer may on written notice to the Contractor cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. 

	
	

	Z2
	Joint ventures

	Z2.1
	If the Contractor constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Employer for the performance of this contract.

	Z2.2
	Unless already notified to the Employer, the persons or organisations notify the Project Manager within two weeks of the Contract Date of the key person who has the authority to bind the Contractor on their behalf.

	Z2.3
	The Contractor does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Employer having been given to the Contractor in writing.

	
	

	Z3
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z3.1
	Where a change in the Contractor’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Contractor’s B-BBEE status, the Contractor notifies the Employer within seven days of the change.

	Z3.2
	The Contractor is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Project Manager within thirty days of the notification or as otherwise instructed by the Project Manager.

	Z3.3
	Where, as a result, the Contractor’s B-BBEE status has decreased since the Contract Date the Employer may either re-negotiate this contract or alternatively, terminate the Contractor’s obligation to Provide the Works.

	Z3.4
	Failure by the Contractor to notify the Employer of a change in its B-BBEE status may constitute a reason for termination. If the Employer terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93.

	
	

	Z4
	Confidentiality

	Z4.1
	The Contractor does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Contractor, enters the public domain or to information which was already in the possession of the Contractor at the time of disclosure (evidenced by written records in existence at that time).  Should the Contractor disclose information to Others in terms of clause 25.1, the Contractor ensures that the provisions of this clause are complied with by the recipient.

	Z4.2
	If the Contractor is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Project Manager.

	Z4.3
	In the event that the Contractor is, at any time, required by law to disclose any such information which is required to be kept confidential, the Contractor, to the extent permitted by law prior to disclosure, notifies the Employer so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Contractor may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z4.4
	The taking of images (whether photographs, video footage or otherwise) of the works or any portion thereof, in the course of Providing the Works and after Completion, requires the prior written consent of the Project Manager.  All rights in and to all such images vests exclusively in the Employer.  

	Z4.5
	The Contractor ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z5
	Waiver and estoppel: Add to core clause 12.3:

	Z5.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Project Manager, the Supervisor, or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.

	
	

	Z6
	Health, safety and the environment:  Add to core clause 27.4

	Z6.1
	The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the execution of the works. Without limitation the Contractor:

· accepts that the Employer may appoint him as the “Principal Contractor” (as defined and provided for under the Construction Regulations 2014 (promulgated under the Occupational Health & Safety Act 85 of 1993) (“the Construction Regulations”) for the Site;

· warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with the Construction Regulations, all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of works; and

· undertakes, in and about the execution of the works, to comply with the Construction Regulations and with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	Z6.2
	The Contractor, in and about the execution of the works, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Contractor’s direction and control, likewise observe and comply with the foregoing.

	
	

	Z7
	Provision of a Tax Invoice and interest.  Add to core clause 51

	Z7.1
	Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice in accordance with the Employer's procedures stated in the Works Information, showing the amount due for payment equal to that stated in the payment certificate.

	Z7.2
	If the Contractor does not provide a tax invoice in the form and by the time required by this contract, the time by when the Employer is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Employer in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z7.3
	The Contractor (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Employer’s VAT number 4740101508 on each invoice he submits for payment.

	
	

	Z8
	Notifying compensation events

	Z8.1
	Delete from the last sentence in core clause 61.3, “unless the Project Manager should have notified the event to the Contractor but did not”.

	
	

	Z9
	Employer’s limitation of liability

	Z9.1
	The Employer’s liability to the Contractor for the Contractor’s indirect or consequential loss is limited to R0.00 (zero Rand)

	Z9.2
	The Contractor’s entitlement under the indemnity in 83.1 is provided for in 60.1(14) and the Employer’s liability under the indemnity is limited.

	
	

	Z10
	Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it":  

	Z10.1
	   or had a business rescue order granted against it.

	
	

	Z11
	Addition to secondary Option X7 Delay damages (if applicable in this contract)

	Z11.1
	If the amount due for the Contractor’s payment of delay damages reaches the limits stated in this Contract Data for Option X7 or Options X5 and X7 used together, the Employer may terminate the Contractor’s obligation to Provide the Works using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table.


	Z12
	Ethics

	For the purposes of this Z-clause, the following definitions apply:

	Affected Party
	means, as the context requires, any party, irrespective of whether it is the Contractor or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends,

	Coercive Action
	means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally,

	Collusive Action
	means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally,

	Committing Party
	means, as the context requires, the Contractor, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractor or the Subcontractor’s employees,

	Corrupt Action
	means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party,

	Fraudulent Action
	means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation,

	Obstructive Action
	means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and

	Prohibited Action
	means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action.

	Z12.1
	A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof.

	Z12.2
	The Employer may terminate the Contractor’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Contractor did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Employer has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Employer can terminate the Contractor’s obligation to Provide the Services for this reason.

	Z12.3
	If the Employer terminates the Contractor’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2.

	Z12.4
	A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Employer does not have a contractual bond with the Committing Party, the Contractor ensures that the Committing Party co-operates fully with an investigation.


	Z13
	Insurance

	Z 13.1
	Replace core clause 84 with the following:

	Insurance cover
	84
	

	
	84.1
	When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force.

	
	
	

	
	84.2
	The Contractor provides the insurances stated in the Insurance Table A.

	
	
	

	
	84.3
	The insurances provide cover for events which are at the Contractor’s risk from the starting date until the earlier of Completion and the date of the termination certificate.

	
	
	INSURANCE TABLE A
Insurance against
Minimum amount of cover or minimum limit of indemnity
Loss of or damage to the works, Plant and Materials
The replacement cost where not 
covered by the Employer’s insurance.
The Employer’s policy deductible, as at 

Contract Date, where covered by the 
Employer’s insurance
Loss of or damage to Equipment
The replacement cost
Liability for loss of or damage to property (except the works, Plant and Materials and Equipment) and liability for bodily injury to or death of a person (not an employee of the Contractor) caused by activity in connection with this contract
Loss of or damage to property

Employer’s property

The replacement cost where not covered by the Employer’s insurance
The Employer’s policy deductible, as at

Contract Date, where covered by the 
Employer’s insurance
Other property

The replacement cost

Bodily injury to or death of a person 

The amount required by applicable law
Liability for death of or bodily injury to employees of the Contractor arising out of and in the course of their employment in connection with this contract
The amount required by the applicable

law


	
	
	

	Z 13.2
	
	Replace core clause 87 with the following:
The Employer provides the insurances stated in the Insurance Table B.

	
	
	INSURANCE TABLE B
Insurance against or name of policy
Minimum amount of cover or minimum limit of indemnity

Assets All Risk

Per the insurance policy document

Contract Works insurance

Per the insurance policy document

Environmental Liability

Per the insurance policy document
General and Public Liability

Per the insurance policy document
Transportation (Marine)

Per the insurance policy document
Motor Fleet and Mobile Plant

Per the insurance policy document
Terrorism

Per the insurance policy document
Cyber Liability

Per the insurance policy document

Nuclear Material Damage and Business Interruption
Per the insurance policy document
Nuclear Material Damage Terrorism
Per the insurance policy document


	Z14
	Nuclear Liability

	Z14.1
	The Employer is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS.

	Z14.2
	The Employer is solely responsible for and indemnifies the Contractor or any other person against any and all liabilities which the Contractor or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Contractor or any other person or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer.

	Z14.3
	Subject to clause Z14.4 below, the Employer waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Contractor or any other person, or the presence of the Contractor or that person or any property of the Contractor or such person at or in the KNPS or on the KNPS site, without the permission of the Employer or of a person acting on behalf of the Employer.

	Z14.4
	The Employer does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter.

	Z14.5
	The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned.

	Z15
	Asbestos

	For the purposes of this Z-clause, the following definitions apply:

	AAIA
	means approved asbestos inspection authority.

	ACM
	means asbestos containing materials.

	AL
	means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL.

	Ambient Air
	means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet.

	Compliance Monitoring
	means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	OEL
	means occupational exposure limit.

	Parallel Measurements
	means measurements performed in parallel, yet separately, to existing measurements to verify validity of results.

	Safe Levels
	means airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	Standard
	means the Employer’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles.

	SANAS
	means the South African National Accreditation System.

	TWA
	means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4-hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA.

	Z15.1
	The Employer ensures that the Ambient Air in the area where the Contractor will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short-term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM.

	Z15.2
	Upon written request by the Contractor, the Employer certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited, and Department of Employment and Labour approved AAIA. The Contractor may perform Parallel Measurements and related control measures at the Contractor’s expense. For the purposes of compliance, the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan.

	Z15.3
	The Employer manages asbestos and ACM according to the Standard.

	Z15.4
	In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe.

	Z15.5
	The Contractor’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable.

	Z15.6
	The Contractor continues to Provide the Services, without additional control measures presented on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations, 2001.

	Z15.7
	Any removal and disposal of asbestos, asbestos containing materials and waste, is done by a registered asbestos contractor, instructed by the Employer at the Employer’s expense, and conducted in line with South African legislation.



C1.2 Contract Data

Part two - Data provided by the Contractor

Notes to a tendering contractor:

1. Please read both the NEC3 Engineering and Construction Contract (April 2013) and the relevant parts of its Guidance Notes (ECC3-GN)
 in order to understand the implications of this Data which the tenderer is required to complete.  An example of the completed Data is provided on pages 156 to 158 of the ECC3 (April 2013) Guidance Notes.

2. The number of the clause which requires the data is shown in the left-hand column for each statement however other clauses may also use the same data.

3. Where a form field like this [
Completion of the data in full, according to Options chosen, is essential to create a complete contract.

	Clause
	Statement
	Data

	10.1
	The Contractor is (Name):
	     

	
	Address
	     

	
	Tel No.
	     

	
	Fax No.
	     

	11.2(8)
	The direct fee percentage is
	     %

	
	The subcontracted fee percentage is
	     %

	11.2(18)
	The working areas are the Site and
	     

	24.1
	The Contractor's key persons are:
	

	
	1
Name:
	     

	
	
Job:
	     

	
	
Responsibilities:
	     

	
	
Qualifications:
	     

	
	
Experience:
	     

	
	2
Name:
	     

	
	
Job
	     

	
	
Responsibilities:
	     

	
	
Qualifications:
	     

	
	
Experience:
	     

	
	
	CV's (and further key persons data including CVs) are appended to Tender Schedule entitled     .

	11.2(3)
	The completion date for the whole of the works is
	     

	11.2(14)
	The following matters will be included in the Risk Register
	     

	11.2(19)
	The Works Information for the Contractor’s design is in:
	     

	31.1
	The programme identified in the Contract Data is
	     

	B
	Priced contract with bill of quantities
	

	11.2(21)
	The bill of quantities is in
	     

	11.2(31) 
	The tendered total of the Prices is 
	      (in figures) 

      (in words), excluding VAT 

	
	Data for Schedules of Cost Components
	Note “SCC” means Schedule of Cost Components starting on page 60, and “SSCC” means Shorter Schedule of Cost Components starting on page 63 of ECC3 (April 2013).

	B
	Priced contract with bill of quantities
	Data for the Shorter Schedule of Cost Components

	41 in SSCC
	The percentage for people overheads is:
	     %

	21 in SSCC
	The published list of Equipment is the last edition of the list published by
	     

	
	The percentage for adjustment for Equipment in the published list is
	Minus      %

	22 in SSCC
	The rates of other Equipment are:
	Equipment
	Size or capacity
	Rate

	
	
	     
	     
	     

	
	
	     
	     
	     

	
	
	     
	     
	     

	
	
	     
	     
	     

	61 in SSCC
	The hourly rates for Defined Cost of design outside the Working Areas are
	Category of employee
	Hourly rate

	
	Note:  Hourly rates are estimated ‘cost to company of the employee’ and not selling rates.  
	     
	     

	
	Please insert another schedule if foreign resources may also be used
	     
	     

	
	
	     
	     

	
	
	     
	     

	62 in SSCC
	The percentage for design overheads is
	     %

	63 in SSCC
	The categories of design employees whose travelling expenses to and from the Working Areas are included in Defined Cost are:
	     

	
	
	


C1.3 Forms of Securities 

Pro formas for Bonds & Guarantees

For use with the NEC3 Engineering & Construction Contract 

The conditions of contract stated in the Contract Data Part 1 include the following Secondary Options:

Option X16:
Retention (not used with Option F)

The Contractor may provide a Retention Money Guarantee in the form stated here.  When the Employer receives and accepts a Retention Money Guarantee exactly in the form stated he will instruct the Project Manager not to assess any amount be retained in terms of secondary Option X16.
The organisation providing the bond / guarantee does so by copying the pro forma document onto his letterhead without any change to the text or format and completing the required details.  The completed document is then given to the Employer within the time stated in the contract.  

Pro forma Retention Money Guarantee (may be used when Option X16 applies)

(to be reproduced exactly as shown below on the letterhead of the Bank providing the Guarantee)
	NTCSA SOC Ltd

Megawatt Park

Maxwell Drive

Sandton

Johannesburg 
	Date:
	


Dear Sirs

Reference No. [●] [Drafting Note: Bank reference number to be inserted]
Retention Money Guarantee: [Drafting Note: Name of Contractor to be inserted]
Project [  ] : Contract Reference:  [Drafting Note: Contractor contract reference number to be inserted]
In this Guarantee the following words and expressions shall have the following meanings:-

“Bank” - means [●], [●] Branch, (Registration No. [●]); [Drafting Note: Name of Bank to be inserted]

“Bank’s Address” - means [●]; [Drafting Note: Bank’s physical address to be inserted]

“Contract” – means the written agreement relating to the Project, entered into between Eskom and the Contractor, on or about the [●] day of [●] 200[●] (Contract Reference No. ………. as amended, varied, restated, novated or substituted from time to time; [Drafting Note: Signature Date and Contract reference number to be inserted]

“Contractor” – means [●] a company registered in accordance with the laws of [●] under Registration Number [●]. [Drafting Note: Name and details of Contractor to be inserted]

“Eskom” - means Eskom Holdings SOC Limited, a company registered in accordance with the laws of the Republic of South Africa under Registration Number 2002/015527/30

“Expiry Date” - means the date on which the Defects Certificate is issued in terms of the Contract.

“Guaranteed Sum” - means the sum of R [●] ([●] Rand); [Drafting Note: Insert amount of Retention Money Guarantee.].

“Project” - means the…………………………………..

At the instance of the Contractor, we the undersigned ______________ and ______________, in our respective capacities as _____________ and ___________ of the Bank, and duly authorized thereto, confirm that we hold the Guaranteed Sum at the disposal of Eskom, as security for the proper performance by the Contractor of all of its obligations in terms of and arising from the Contract and hereby undertake to pay to Eskom, on written demand from Eskom received prior to the Expiry Date, any sum or sums not exceeding in total the Guaranteed Sum.

A demand for payment under this guarantee shall be made in writing at the Bank’s address and shall:

be signed on behalf of Eskom by a director of Eskom or his authorised delegate.

state the amount claimed (“the Demand Amount’);

state that the Contractor has failed to carry out his obligation(s) to rectify certain defect(s) for which he is responsible under the Contract (and the nature of such defect(s)) alternatively that the Demand Amount is payable to Eskom in the circumstances contemplated in the Contract.

Notwithstanding the reference herein to the Contract the liability of the Bank in terms hereof is as principal and not as surety and the Bank’s obligation/s to make payment:

is and shall be absolute provided demand is made in terms of this bond in all circumstances; and

is not, and shall not be construed to be, accessory or collateral on any basis whatsoever. 

The Bank’s obligations in terms of this Guarantee:

shall be restricted to the payment of money only and shall be limited to the maximum of the Guaranteed Sum; and

shall not be discharged and compliance with any demand for payment received by the Bank in terms hereof shall not be delayed by the fact that a dispute may exist between Eskom and the Contractor.

Eskom shall be entitled to arrange its affairs with the Contractor in any manner which it sees fit, without advising us and without affecting our liability under this Guarantee. This includes, without limitation, any extensions, indulgences, release or compromise granted to the Contractor or any variation under or to the Contract. 

Should Eskom cede its rights against the Contractor to a third party where such cession is permitted under the Contract, then Eskom shall be entitled to cede to such third party the rights of Eskom under this Guarantee on written notification to the Bank of such cession.

This Guarantee:

shall expire on the Expiry Date until which time it is irrevocable;

is, save as provided for in 7 above, personal to Eskom and is neither negotiable nor transferable;

shall be returned to the Bank upon the earlier of payment of the full Guaranteed Sum or expiry hereof;

shall be regarded as a liquid document for the purpose of obtaining a court order; and

shall be governed by and construed in accordance with the law of the Republic of South Africa and shall be subject to the jurisdiction of the Courts of the Republic of South Africa.

Any claim which arises or demand for payment received after expiry date will be invalid and unenforceable.

The Bank chooses domicilium citandi et executandi for all purposes in connection with this Guarantee at the Bank’s Address.

Signed at _____________________

Date ____________  Bank’s seal or stamp

For and behalf of the Bank

Bank Signatory: ___________________

Bank Signatory: ___________________

Witness: ________________________

Witness: _________________________
Part 2: Pricing Data

ECC3 Option B

	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions: Option B
	3

	C2.2
	The bill of quantities
	


C2.1 Pricing assumptions: Option B

How work is priced and assessed for payment

Clause 11 in NEC3 Engineering and Construction Contract (ECC3) Option B states:

	Identified and defined terms
	11

11.2
	(21) The Bill of Quantities is the bill of quantities as changed in accordance with this contract to accommodate implemented compensation events and for accepted quotations for acceleration.

	
	
	(28) The Price for Work Done to Date is the total of 

· the quantity of the work which the Contractor has completed for each item in the Bill of Quantities multiplied by the rate and

· a proportion of each lump sum which is the proportion of the work covered by the item which the Contractor has completed.

Completed work is work without Defects which would either delay or be covered by immediately following work.

	
	
	(31) The Prices are the lump sums and the amounts obtained by multiplying the rates by the quantities for the items in the Bill of Quantities.


This confirms that Option B is a re-measurement contract and the bill comprises only items measured using quantities and rates or stated as lump sums.  Value related items are not used.  Time related items are items measured using rates where the rate is a unit of time.

Function of the Bill of Quantities

Clause 55.1 in Option B states, “Information in the Bill of Quantities is not Works Information or Site Information”.  This confirms that specifications and descriptions of the work or any constraints on how it is to be done are not included in the Bill, but in the Works Information.  This is further confirmed by Clause 20.1 which states, “The Contractor Provides the Works in accordance with the Works Information”. Hence the Contractor does not Provide the Works in accordance with the Bill of Quantities.  The Bill of Quantities is only a pricing document.  

Guidance before pricing and measuring

Employers preparing tenders or contract documents, and tendering contractors are advised to consult the sections dealing with the bill of quantities in the NEC3 Engineering and Construction Contract Guidance Notes before preparing the bill of quantities or before entering rates and lump sums into the bill. 

There is no general provision in Option B for payment for materials on Site before incorporation into the works.  If secondary Option X14 Advanced payment has not been used then the tendering contractor may obtain the same effect by inserting appropriate items in the method related charges where the method of measurement allows, or alternatively making allowance in the rates of the bill of quantities for the financing of Plant and Materials until they are incorporated in the works.
When compensation events arise, the default position is that the Bill of Quantities is not used to calculate the cost effect of the event.  Defined Cost and the resulting Fee is used and Defined Cost includes all components of cost which the Contractor is likely to incur, including so called P & G items.  Rates and lump sums from the Bill of Quantities, or from any other source, may be used instead of Defined Cost and the Fee only if the Contractor and Project Manager agree.  If they are unable to agree, then Defined Cost plus Fee is used.   

Measurement and payment
Symbols

The units of measurement described in the Bill of Quantities are metric units abbreviated as follows:
[add or delete as required] 
	Abbreviation
	Unit

	%
	percent

	h
	hour

	ha
	hectare

	kg
	kilogram

	kl
	kilolitre

	km
	kilometre

	km-pass
	kilometre-pass

	kPa
	kilopascal

	kW
	kilowatt

	l
	litre

	m
	metre

	mm
	millimetre

	m2
	square metre

	m2-pass
	square metre pass

	m3
	cubic metre

	m3-km
	cubic metre-kilometre

	MN
	meganewton

	MN.m
	meganewton-metre

	MPa
	megapascal

	No.
	number

	sum
	Lump sum

	t
	tonne (1000kg)


4.2.
General assumptions

4.2.1.
Unless otherwise stated, items are measured net in accordance with the drawings, and no allowance has been made in the quantities for waste.

4.2.2.
The Prices and rates stated for each item in the Bill of Quantities shall be treated as being fully inclusive of all work, risks, liabilities, obligations, overheads, profit and everything necessary as incurred or required by the Contractor in carrying out or providing that item.    

4.2.3.
An item against which no Price is entered will be treated as covered by other Prices or rates in the bill of quantities.  

4.2.4.
The quantities contained in the Bill of Quantities may not be final and do not necessarily represent the actual amount of work to be done.  The quantities of work assessed and certified for payment by the Project Manager at each assessment date will be used for determining payments due.

4.2.5.
The short descriptions of the items of payment given in the bill of quantities are only for the purposes of identifying the items.  Detail regarding the extent of the work entailed under each item is provided in the Works Information.

4.3
Departures from the method of measurement
4.3.1.


4.4.
Amplification of or assumptions about measurement items
The following is provided to assist in the interpretation of descriptions given in the method of measurement.  In the event of any ambiguity or inconsistency between the statements in the method of measurement and this section, the interpretation given in this section shall be used.
C2.2 the bill of quantities
Use this page as a summary page or as a cover page to the bill of quantities.  

Part 3: Scope of Work

	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Employer’s Works Information
	30

	C3.2
	Contractor’s Works Information

(insert at award stage or delete if not applicable)
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	31


C3.1: Employer’s works Information

Contents

1Part 3: Scope of Work

C3.1: Employer’s works Information
2
1
Description of the works
5
1.1
Executive overview
5
1.2
Employer’s objectives and purpose of the works
5
1.3
Interpretation and terminology
5
2
Management and start up.
5
2.1
Management meetings
5
2.2
Documentation control
6
2.3
Health and safety risk management
6
2.4
Environmental constraints and management
7
2.5
Quality assurance requirements
7
2.6
Programming constraints
7
2.7
Contractor’s management, supervision and key people
7
2.8
Invoicing and payment
7
2.9
Insurance provided by the Employer
8
2.10
Contract change management
8
2.11
Provision of bonds and guarantees
8
2.12
Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor
8
2.13
Training workshops and technology transfer
8
3
Engineering and the Contractor’s design
9
3.1
Employer’s design
9
3.2
Parts of the works which the Contractor is to design
9
3.3
Procedure for submission and acceptance of Contractor’s design
9
3.4
Other requirements of the Contractor’s design
9
3.5
Use of Contractor’s design
9
3.6
Design of Equipment
9
3.7
Equipment required to be included in the works
10
3.8
As-built drawings, operating manuals and maintenance schedules
10
4
Procurement
11
4.1
People
11
4.1.1
Minimum requirements of people employed on the Site
11
4.1.2
BBBEE and preferencing scheme
11
4.1.3
Accelerated Shared Growth Initiative – South Africa (ASGI-SA)
11
4.2
Subcontracting
11
4.2.1
Preferred subcontractors
11
4.2.2
Subcontract documentation, and assessment of subcontract tenders
11
4.2.3
Limitations on subcontracting
12
4.2.4
Attendance on subcontractors
12
4.3
Plant and Materials
12
4.3.1
Quality
12
4.3.2
Plant & Materials provided “free issue” by the Employer
12
4.3.3
Contractor’s procurement of Plant and Materials
12
4.3.4
Spares and consumables
12
4.4
Tests and inspections before delivery
13
4.5
Marking Plant and Materials outside the Working Areas
13
4.6
Contractor’s Equipment (including temporary works).
13
4.7
Cataloguing requirements
13
5
Construction
14
5.1
Temporary works, Site services & construction constraints
14
5.1.1
Employer’s Site entry and security control, permits, and Site regulations
14
5.1.2
Restrictions to access on Site, roads, walkways and barricades
14
5.1.3
People restrictions on Site; hours of work, conduct and records
14
5.1.4
Health and safety facilities on Site
14
5.1.5
Environmental controls, fauna & flora, dealing with objects of historical interest
14
5.1.6
Title to materials from demolition and excavation
14
5.1.7
Cooperating with and obtaining acceptance of Others
15
5.1.8
Publicity and progress photographs
15
5.1.9
Contractor’s Equipment
15
5.1.10
Equipment provided by the Employer
15
5.1.11
Site services and facilities
15
5.1.12
Facilities provided by the Contractor
15
5.1.13
Existing premises, inspection of adjoining properties and checking work of Others
15
5.1.14
Survey control and setting out of the works
16
5.1.15
Excavations and associated water control
16
5.1.16
Underground services, other existing services, cable and pipe trenches and covers
16
5.1.17
Control of noise, dust, water and waste
16
5.1.18
Sequences of construction or installation
16
5.1.19
Giving notice of work to be covered up
16
5.1.20
Hook ups to existing works
16
5.2
Completion, testing, commissioning and correction of Defects
17
5.2.1
Work to be done by the Completion Date
17
5.2.2
Use of the works before Completion has been certified
17
5.2.3
Materials facilities and samples for tests and inspections
17
5.2.4
Commissioning
17
5.2.5
Start-up procedures required to put the works into operation
17
5.2.6
Take over procedures
18
5.2.7
Access given by the Employer for correction of Defects
18
5.2.8
Performance tests after Completion
18
5.2.9
Training and technology transfer
18
5.2.10
Operational maintenance after Completion
18
6
Plant and Materials standards and workmanship
19
6.1
Investigation, survey and Site clearance
19
6.2
Building works
19
6.3
Civil engineering and structural works
19
6.4
Electrical & mechanical engineering works
20
6.5
Process control and IT works
20
6.6
Other [as required]
20
7
List of drawings
21
7.1
Drawings issued by the Employer
21
C3.2
Contractor’s Works Information
22


1. Description of the works
1.1 Executive overview 

The Operational Technology (OT) intends to enhance its cybersecurity posture by acquiring an Endpoint Detection & Response (EDR) solution. This project involves supply, delivery, off-loading, installation, configuration, testing, commissioning, decommissioning and training for the NTCSA OT EDR solution. The aim of the project is to provide the necessary cybersecurity controls to enable monitoring and surveillance of operating technology critical systems and provide alerts, triage and reporting when suspicious activity or unknown threats are detected and to comply with OHS act, cybersecurity and other NTCSA policies and standards. 
The scope entails the supply, delivery, off-loading, installation, configuration, testing, commissioning, decommissioning and training for the NTCSA Operating Technology (OT) Endpoint Detection & Response (EDR) solution Standard: Network Intrusion Detection and Endpoint Detection & Response Systems requirements for NTCSA’s OT Systems 240-170000847 Rev2 details the requirements for the NIDS and the Scope of Work document details additional information for the NIDS and EDR solution. All documents are annexed and should always be considered in conjunction with the Work Information.

NB: The Works is extremely confidential.
1.2 Employer’s objectives and purpose of the works
The objective is for the supply, delivery, installation, configuration, testing, commissioning and training for the NTCSA OT EDR solution in the business operating area. The required solution comprises EDR for the duration of two years with an option to extend, and the Employer reserves the right to not award and/or extend the contract. The required solution will provide the necessary cybersecurity controls to enable monitoring, threat detection and analysis (known and unknown, incident response, management and malware defence for the OT systems. The works for each package shall include the following: -

1. supply, delivery of hardware, software and associated licensing

2. Deployment of services for installation, configuration, testing, commissioning and training.

The works shall go through the phases in which forms part of three (3) business processes at the NTCSA Projects Delivery:

· The planning role, which focuses on the supply, delivery of material like but not limited to hardware, software and associated licensing commitment in such a manner that the supply meets the demand, client, and stakeholder requirements.

· The executing role which including Installation, configuration, testing of the new solution including earthing, cabling. 

· The last role that includes Acceptance Test Procedure (ATP), Quality checks, commissioning and training of the new system of the whole Works (System) and decommissioning of the old system, make operating areas neat and handover. There might be a need to decommission some old system and cables first before other activities like installation, construction, and commissioning or after. 
NB: Refer to the annexed documents, that is, Standard: Network Intrusion Detection and Endpoint Detection & Response Systems requirements for NTCSA’s OT Systems 240-170000847 Rev2 and the Scope of Work document. These documents include scope of work information and forms part of the Works Information of the contract. It is important to note that the contract will be on an “as and when required” basis. Services shall be provided by the OEM or its appointed Distributor)

1.3 Interpretation and terminology

The following abbreviations are used in this Works Information:

	Abbreviation
	Meaning given to the abbreviation

	AC 
	Alternating Current 

	AFC
	Approved for construction

	AI
	Artificial Intelligence

	BoQ
	Bill of Quantities

	CFT
	Cross Functional Team

	CM
	Construction Manager

	CoE
	Centre of Excellence

	DC 
	Direct Current 

	DES
	Desktop Evaluation Score

	EA
	Engineering Assistant

	EDR
	Endpoint Detection Response

	EMPr
	Environmental Management Programme

	FAT 
	Factory Acceptance Test 

	FRI
	Forecasted Rate of Invoicing

	HV
	High Voltage 

	kV 
	kilo Volts 

	ML
	Machine Learning

	MTS
	Main Transmission Substation

	MWP
	Megawatt Park

	NEC
	New Engineering Contract

	NIDS
	Network Intrusion Detection System 

	NTCSA
	National Transmission Company South Africa

	OBL
	Outside battery limits

	ORHVS
	Operating Regulations for High Voltage Systems

	OT
	Operating Technology

	PD
	Projects Delivery

	PM
	Project Manager

	PRES
	Product Risk Evaluation Score

	PVC 
	Polyvinyl chloride 

	QM58
	Contractor Quality Management: Specification

	RP
	Responsible Person

	SANS
	South African National Standard

	SAT 
	Site Acceptance Test 

	SHEQ
	Safety, Healthy, Environment and Quality

	SIEM
	Security Information and Event Management

	SLDB
	Security Lighting Distribution Board

	SOAR
	Security Orchestration and Response

	SOC
	State Owned Company

	SOE 
	Sequence Of Event 

	SS
	Site Supervisor

	TEMSE
	Transmission Energy Management System Evolution

	TER
	Technical Evaluation Report

	TES
	Technical Evaluation Score

	TET
	Technical Evaluation Team

	V 
	Voltage

	VAT 
	Value Added Tax 

	VM
	Virtual Machine

	VT 
	Voltage Transformer

	ZAR 
	South African Rand 


Terminology
	Terminology
	Description

	Endpoint Detection and response system
	A solution deployed on an endpoint device to prevent file-based malware attacks, detect malicious activity and provide the investigation and remediation capabilities needed to respond to dynamic security incidents and alerts

	Intrusion Detection system
	A device or software application that monitors network or system activities and sends alerts to systems administrators on possible intrusions.

	Network Intrusion Detection system
	Placed at a certain point of the network and detects threats on all traffic to and from the devices on the network

	Contractor
	In the following documents, the Contractor is referred to as a Tenderer:

	‘’shall”
	Requirements that are defined by the word “shall” must be considered as definite requirements or constraints on the proposal.

	High Security fencing
	A fencing system with a higher level of security than a welded mesh fence. It is still possible to breach the fence by cutting or grinding methods, but it is more difficult (un-official definition).

	Working Day
	From 08h00 to 16h00 on any day during the Working Week

	Working Week
	Monday to Friday, excluding official public holidays of the Republic of South Africa.


2 Management and start up.

2.1 Management meetings

The intention of NEC contracts is that the Parties and their agents use the techniques of partnering to manage the contract by holding meetings designed to pro-actively and jointly manage the administration of the contract with the objective of minimising the adverse effects of risks and surprises for both Parties as well as any delays. 
It is therefore beneficial for the Project Manager to schedule a project meeting or Either the Project Manager or the Contractor may instruct the other to attend an early warning meeting. Each may instruct other people to attend if the other agrees. (Clause 16.2) to discuss safety, compensation events, subcontracting, overall co-ordination and other matters of a general nature.
Meetings of a specialist nature may be convened as specified elsewhere in this Works Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the works.  Records of these meetings shall be submitted to the Project Manager by the person convening the meeting within five days of the meeting.  All meetings shall be recorded using minutes, MsTeams recording, a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.  It is the Employer ‘s specific intention that the Parties and their agents use the techniques of partnering to manage the contract by holding meetings designed to pro-actively and jointly manage the administration of the contract with the objective of minimizing the adverse effects of risks and surprises for both Parties.
The Contractor attends management meetings at the Project Manager‘s request. These meetings are to be held fortnightly or as regularly as maybe determined by the Project Manager. At these meetings the Contractor presents all relevant data including safety, health and environmental issues, progress, quality plans, Sub-Contractor management, as may be required. Site Inaugural meeting will be held on site two (2) weeks prior to commencement of site activities, and the Contractor shall avail safety file for auditing purposes. Project progress meetings will be held once every fortnight on site in order to track work progress, safety, environmental and other issues. A Contractor must avail themselves to these meetings.  

Regular meetings of a general nature may be convened and chaired by the Project Manager as follows:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Inaugural/Induction meeting
	Before or after safety and environmental files have been assessed and approved and contractor authorised
	Site or office/ to be confirmed
	PM, QS, Site Supervisor, EA, Grid safety and environmental representatives, Contractor

	Toolbox talk, Pre-Task Planning and risk assessment
	Daily before works begins
	Site or office/ to be confirmed
	Contractor, Supervisor, EA

	Project and Contract progress and feedback
	As and when required or per Programme
	Site or office/ to be confirmed
	Project Team Members

	Risk registers and compensation events
	Weekly/ per Early Warning or as and when necessary
	Site or office/ to be confirmed
	Project Team Members

	Compensation clarification meeting
	As and when required 
	Site or office/ to be confirmed
	Project Team Members

	Monthly progress meeting
	Monthly
	Site or office/ to be confirmed
	Project Team Members

	Emergency Meetings
	As and when required or per Programme
	Site or office/ to be confirmed
	Project Team Members

	Audits
	Periodically as determined by Eskom NTCSA
	Site or office/ to be confirmed
	Project Team Members


2.2 Documentation control

All correspondence is to be addressed to the Project Manager with a sequential numbering system, as defined below, in the form of ECC templates.

Documentation shall be identified using the code: [Contract Number] [Sender] [Receiver] (where E = Employer, C = Contractor) yyyy-mm-dd-[index].  Contractual communications will be in the form of properly compiled letters or forms attached to e mails and not as a message in the email itself. The documentation supplied by the Contractor shall be in both hard copy and electronic form. A minimum of three hard copies will be provided. Each document shall include, at a minimum, the following information: 

•
Title

•
Status

•
Revision

•
References

•
Purpose

•
Description

Documentation shall be exchanged freely between the relevant parties e.g., core project team except that all correspondence relating to or affecting contract pricing and project schedules/ Programme shall be routed through the Project Manager.
2.3 Health and safety risk management

The Contractor shall comply with the health and safety requirements contained in Annexure SHE Acknowledgement Form and C1: High Risk Evaluation to this Works Information.

The Contractor undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the provision of goods and execution of services. The Contractor shall:
· Comply with the Employer’s lifesaving rules.

· Comply with the Employer’s Health and Safety Specification 
· Acknowledge the Employer’s rules and requirements including the requirements of Annexure B.
· Provide and maintain a current Health and Safety file.
· After the site readiness health and safety file have been approved, the Contractor shall undergo the Employer’s site induction before site access is granted.
· Ensure that there is always valid letter of good standing in the file.
· Ensure that Police clearances are obtained for all their employees on the project.

· Ensure that all the COVID-19, MPox and any other diseases requirements are complied with as per the Health and Safety requirement specification.

· Comply with the Pre-Task Planning Checklist
The Contractor shall at all times comply with the health and safety requirements prescribed by law as they may apply to the works. In addition to the requirements of the laws governing health and safety, the Contractor shall at all times comply with the health and safety requirements prescribed by law as they may apply to the Works. The Contractor shall comply with the health and safety requirements and control his/her activities and processes in accordance with the Occupational Health and Safety Act No.85 of1993 and with the following documents:

1. SHEQ policy – 32 727

2. Eskom Procurement and supply chain management procedure – 32-1034

3. SHE Requirements for the Eskom Commercial process – 32- 726

4. SHE Policy 32-727

5. Contractor health and safety requirements – 32-136

6. Integrated SHE organisation: roles and responsibilities and statutory appointments – 32-296

7. Life-saving rules – 240-62196227

8. Working at heights – 32-418

9. Eskom Vehicle safety specification – 32-345 

10. Employer’s Health and Safety requirements - TST32-136 and other

11. SHE Specification

The Employer’s list of standards applicable to this scope of work as well as the Baseline Risk Assessment (BRA) for the project shall be provided, it is the responsibility of the Contractor to source the national and international standards. The authorization procedure for a permit to work shall be followed by the Contractor before commencing work on site. It is the Contractor responsibility to ensure that a permit to work is obtained before access to the work can be given. It is the Contractor’s responsibility to also ensure that the SHEQS file has been audited by the SHEQS Representatives before establishing site.

The Contractor must be in possession of current first aid certificate. The Contractor’s trucks must have a valid and current crane test certificate with the truck driver and crane operator’s certificate. All tools must have valid and current test certificates, which must be produced two weeks before site establishment. The Contractor will only leave site once a written site instruction has been issued by an Eskom NTCSA site representative. Working hours will be from 08h00 to 16h00 during weekdays (as per outages), weekend work to be carried out only on request and approval by Eskom NTCSA.

The Contractor is to have an Eskom NTCSA certified and authorized person available in each area where work is being performed at all times in accordance with Eskom transmission standard TST32-136 Contractor safety in a high voltage environment. A complete safety and risk assessment must be done BEFORE the Contractor starts works on site. The Site Supervisor will be monitoring the works continuously to ensure strict adherence to Safety rules. If needed, the Contractor is to visit the site at the Contractor’s cost before work commences to familiarize with the scope of works and to assess any safety issues.

Before any excavation is commenced, it will be the responsibility of the Contractor to ascertain from the Site Supervisor the position of any existing services on site.  Once these are indicated to the Contractor they shall be deemed “known”.  Any costs incurred for repairs to any “known” services shall be for the Contractor’s account. The Contractor shall allow safe access for other Contractors and Eskom NTCSA personnel when required. The Contractor shall establish a refuse control system.  All waste is to be collected and disposed of as required by Eskom NTCSA and the local authority. The Contractor shall make his own arrangements for the provision of accommodation for his employees. The Contractor attends management meetings at the Project Manager ‘s request with the scheduled meetings as listed above. At these meetings the Contractor presents all relevant data including safety, health and environmental issues, progress, quality plans, Sub-Contractor management, as may be required.

Below is the list of standards applicable to this scope of work. The Employer provides only for the Employer’s standards; it is the responsibility of the Contractor to source the national and international standards.

	Drawing / Document number
	Revision
	Title

	240-62196227
	
	Lifesaving Rules

	32-727
	
	Safety, Health, Environmental and Quality policy (SHEQ) policy

	Act 102 of 1980
	
	National Key Points Act 

	ISO 9001
	
	Quality Management Systems – Requirements


Baseline Risk Assessment (BRA) for the project is contained in document identifier 240-70044602.
The authorization procedure for a permit to work shall be followed by the Contractor before commencing work on site. It is the Contractor responsibility to ensure that a permit to work is obtained before access to the work can be given. It is the Contractor’s responsibility to also ensure that the safety file has been audited by the Health and Safety Representatives before establishing site.

The Contractor must be in possession of current first aid certificate. The Contractor’s trucks must have a valid and current crane test certificate with the truck driver and crane operator’s certificate. All tools must have valid and current test certificates, which must be produced two weeks before site establishment.

The Contractor will only leave site once a written site instruction has been issued by an Eskom NTCSA site representative. Working hours will be from 07h30 to 16h30 during weekdays (as per outages), weekend work to be carried out only on request by Eskom NTCSA.

The Contractor is to have an Eskom NTCSA certified and authorized person available in each area where work is being performed at all times in accordance with Eskom transmission standard TST32-136 Contractor safety in a high voltage environment.

A complete safety and risk assessment must be done BEFORE the Contractor starts works on site. The Site Supervisor will be monitoring the works continuously to ensure strict adherence to Safety rules. If needed, the Contractor is to visit the site at the Contractor’s cost before work commences to familiarize with the scope of works and to assess any safety issues.

Before any excavation is commenced, it will be the responsibility of the Contractor to ascertain from the Site Supervisor the position of any existing services on site.  Once these are indicated to the Contractor they shall be deemed “known”.  Any costs incurred for repairs to any “known” services shall be for the Contractor’s account.

The Contractor shall allow safe access for other Contractors, Eskom NTCSA personnel as well as Labour stability in accordance with approved stakeholder management processes when required.

The Contractor shall establish a refuse control system.  All waste is to be collected and disposed of as required by Eskom NTCSA and the local authority.

The Contractor shall make his own arrangements for the provision of accommodation for his employees and shall consider the province community landscape.

The Contractor attends management meetings at the Project Manager‘s request with the scheduled meetings as listed below. At these meetings the Contractor presents all relevant data including safety, health and environmental issues, progress, quality plans, Sub-Contractor management, as may be required.

The Contractor attends management meetings at the Project Manager‘s request with the scheduled meetings as listed below. At these meetings the Contractor presents all relevant data including safety, health and environmental issues, progress, quality plans, Sub-Contractor management, as may be required.
2.4 Environmental constraints and management

The Contractor shall comply with the environmental criteria and constraints stated in ESKOM TRANSMISSION INDUSTRY WASTE MANAGEMENT PLAN UPDATE 2023-2028 REVISION 5, Contractor Environmental Requirements Proforma, Environmental Requirements for Contractors and/or Suppliers, Tx Environmental Management Tender Returnable. The Contractor shall control his/her activities and processes in accordance with the Eskom NTCSA’s Environmental Requirements. The Contractor shall prepare a site specific EMP and inform the Supervisor and/or the Project Manager of any impact to the environment immediately after such an occurrence. Refer to the SHE Requirements 32-726 and SHEQ Policy 32-727

The Contractor is required to ensure that all goods, services or works supplied in terms of the tender/contract/order conform to all applicable environment legislation, Authorisations, EPC32-727: Eskom NTCSA SHEQ Policy, ST32-726: SHE Requirements for the Eskom Commercial Process (additional requirements) and Project Specific Environmental Management Plan (EMP). 

The Contractor shall control his activities and processes in accordance with Eskom NTCSA’s Environmental Policies: TST41-120 (rev 2). The Eskom NTCSA EMP provides the Aspects and Impacts that will require management and must be followed strictly.  

The Contractor shall prepare a separate mitigation plan for all environmental concerns raised through the EMP and in any other relevant forum. The Contractor must develop method statements based on the EMP. All developed method statements must be approved by the Employer.

Any changes to the approved EMP shall be reported and approved by (BUER) and Project Manager prior to the commencement of work and during construction. The supplier must ensure that all sub-Contractors’ environmental management programmes comply with the contract shall define the specific system elements applicable to the Sub-Contractor’s scope of work or supply.

· The containers in which waste is stored must be intact and not corroded or in any other way rendered unfit for the safe storage of waste.

· Adequate measures must be in place to prevent accidental spillage, or leakage, and in the case of an incident, adequate mitigation measures are in place to mitigate, and to prevent re-occurrence of the incident.

· Skips/bins must be closed to prevent the waste from being blown away, or rain entering and increasing volume of waste.

· Hazardous waste must be stored in covered containers and only open when waste is added or emptied.

· Nuisances such as odour, visual impacts and breeding of vectors must be prevented from arising.

· Pollution of the environment and harm to health must be prevented by not disposing waste or permit waste to be disposed of on (any land, waterbody or at any facility);

· Throwing, dropping, depositing, spilling or in any other way discarding any litter into or onto any public place, land, vacant erf, stream, watercourse, street or road, or on any place to which the general public has access, except in a container or a place specifically provided for such disposal.

· Disposing of waste in a manner that is likely to cause pollution of the environment or harm to health and well-being (e.g., the burning or burying of waste).

· Disposing of unclassified waste and

· Using unlicensed/unpermitted waste disposal facilities for Eskom NTCSA waste.

· Ensure that Safe Disposal Certificates are retained for hazardous wastes that has been disposed of

Environmental meetings between Eskom NTCSA and the Contractor may be held regularly and copies of the minutes may be submitted to Eskom NTCSA on request. The Contractor is to send a flash report for any environmental incidences that has occurred on site as soon as possible or within 24 hours to the SS /Grid Environmental and PM clearly stating any impact to the environment.

Contractor must now sign-off TRM-FM-0038 Contractor environmental compliance Proformas.

If waste is generated during project, it must be disposed at a registered site and Contractor shall retain records of disposal. 

The Contractor shall conform to requirements from the following documents: 

· Eskom SHEQ Policy (EPC 32-727)

· Eskom Environmental Management plan

· TST41-120 rev 2 (Environmental Requirements for the Procurement of Assets, Goods and Services

· Please attach ST32-726 for additional SHE requirements 

· TRM-FM 0081 – Environmental Tender evaluation form

· TRM-FM 0038 – Contractor Environmental Compliance and other

The Contractor shall comply with the environmental criteria and constraints stated in the Eskom NTCSA Environmental Management plan. Returnable shall include:

· Proper suppression of dust
· End of life cycle of equipment (disposal method). 

•
Specification for the equipment and inform Eskom NTCSA of any hazardous components/substances 

•
Refer to   TRM-FM 0081 – Environmental Tender evaluation form for other tender returnable

The contractor is to comply with a site specific EMP and to inform the site supervisor and PM of any impact to the environment immediately after such an occurrence.

Health and safety facilities on Site

The Contractor is to provide his own toilet facilities on site and ensure that these facilities are kept in a clean condition to Eskom NTCSA’s satisfaction. No work on site will be allowed to commence before the toilet facilities are available on site.

Contractor shall ensure that the Portable Toilet Hiring Company is registered with the relevant Municipality and a copy of the permit to be obtained. Contractor to ensure that proof of disposal from portable toilet waste is obtained from the Permitted Portable Toilet Hiring Company. Environmental controls, fauna & flora, dealing with objects of historical interest. The ILLEGAL transporting, handling, purchasing, and selling, poaching and killing of fauna and flora will NOT be tolerated.

· Offenders will be prosecuted.

· All fauna kills as a result of the activities of the contractor must be reported.

· NO protected or endangered plants and trees may be removed or damaged in any way.

· The necessary permission to be obtained should it be necessary to cut or removed any desired, protected, or endangered plant or tree.

· It is essential that construction staff be educated in endangered plants and trees.

· Sites and areas of archaeological and cultural significance should be identified on sites and demarcated prior to commencing work.

· Graves are not to be interfered with in any way.

· Supervisors to ensure that the location of these sites are communicated to their employees.

Site services and facilities

A site for the Contractor’s yard will be provided adjacent to the site of the works where possible. The Contractor shall not occupy any area on site other than what’s allocated to them. The Contractor shall supply all plant and materials to complete the works. Electricity is available on site. 

The Contractor shall provide all connections, extensions and additional supply points necessary for the works. Any measures, which the Contractor may require to maintain continuity and quality of supply, shall be arranged by him at his own expense. Adequate and/or continuous supply is not guaranteed and no claims for delay or standing time as a result of insufficiencies or failures will be considered. Any measures which the contractor may require to maintain continuity and quality of supply shall be arranged by him at his own expense.

Water is not available on site. The contractor shall supply and test all water brought to site for construction and drinking purposes. The testing is for the Contractors own account. Ensure no water pollution due to your activities taking place. Water usage on site to be verified with the site responsible person, the Project leader/Business Unit Environmental advisor to ensure compliance with legislation.

Control of noise, dust, water and waste

The Contractor to ensure no nuisance is caused to the landowner, his land occupants and / or his facilities. Contractor shall monitor dust and noise caused by mobile & other equipment during construction according to environmental legislation. Mitigation measures to be implemented as required/agreed upon with the project leader/environmental Advisor.

Take over procedures.

The Contractor is to arrange an inspection at least 1 week before completion to inspect and identify any outstanding or incorrect items. No project to be signed off before the Business Unit has assured that no environmental liabilities exist. The responsible person, project leader or Business Unit Environmental advisor to carry out a physical inspection before acceptance of work done is made. No invoice to be processed before any acceptance is made. All environmental documentation / file compiled during the project / contract to be handed over to the Grid Environmental Advisor.

2.5 Quality assurance requirements

The Contractor shall control his / her activities and processes in accordance with QM 58 Supplier Quality Management: Specification. ISO9001:2015 compliance is a condition and shall be applied.
The Supplier shall ensure that they comply with ISO 9001:2008 Quality Management System (QMS) and Eskom NTCSA QM 58 requirements.

The Draft Contract Quality Plan (CQP) and Inspection and Test Plan (ITP) shall be approved by Eskom NTCSA representative prior to commencement or signing of the contract. All the QITPs must be kept in a quality file on site to be prepared by the contractor before work commence.

The Notification period for Eskom NTCSA attendance to Witness & Hold points is 4 days. The Witness & Hold points must be clearly indicated in the work programme submitted at the commencement of the work or after every progress or review meeting. The Site Supervisor will be responsible for the verification and signature of the Quality Inspection and Test Plans (ITPs) which must be maintained by the Contractor and presented for signing promptly and regularly.

The following standards contain provisions that, through reference in this text, constitute provisions of this specification. At the time of publication, the revisions indicated were valid. All standards are subject to review, and parties entering into service agreements based on this specification are encouraged to investigate the possibility of applying the most recent revisions of the standards listed below. Information on currently valid national and international standards may be obtained from the Information Centre at Megawatt Park and Technology Standardisation Department.

The Contractor shall control his/her activities and processes in accordance with the Eskom NTCSA’s Quality Requirements, QM 58. In the event of conflict between documents invoked here and the contents of this specification, the contents of this specification shall be considered to have preference. Such conflict shall be pointed out to the Employer for confirmation.

· Eskom NTCSA NWS 1674 - “Standard Specification for approval of drawings submitted by Employer and Contractors.”

· Project Quality plan

The Employer requires that the Contractor operate a quality management system as stated in the Scope.  

The Employer requires that the Contractor provide a quality policy statement and quality plan which complies with requirements stated in the Scope. The Contractor submits his Quality Management System documents to the Project Manager as part of his programme under ECC3 Clause 31.2 to include details of:

· Quality Plan for the Contract 

· Quality Policy

· Index of Procedures to be used and

· A schedule of internal and external audits during the Contract

The Contractor develops and maintains a comprehensive register of documents that will be generated throughout the Contract including all quality related documents as part of its Quality Plan.

2.6 Programming constraints 

The programming system will be Microsoft Project and Primavera. A comprehensive and fully detailed programme shall indicate all milestones and critical dates. This programme must first be approved by the Project Manager and must be updated monthly or as requested by the Project Manager.
The following dates shall be clearly reflected on the programme:

· Starting and completion dates for all activities as well as relevant key dates for hold or witness points. 

· All relevant significant activities shall be shown in order to monitor the progress. 

· The programme shall also reflect stages as defined in the Scope Document. 

NB: Updated programmes must be available at all meetings reflecting progress to date. A high-level Construction Program indicating the various durations of the Scope of Work is to be submitted by the Contractor with the Tender documents. This must clearly show that the contractor can execute this work by the end date.

A fully detailed comprehensive Programme shall be submitted within Seven (7) days after Contract Award and shall be in Ms Word Project format, indicating all Milestones, critical path, dates, float, time risk allowances, health and safety requirements and the procedures set out in this contract. The Programme shall be submitted to the Employer for acceptance.

The Programme shall be first be approved by the Project Manager and must be updated every second week or as requested by the Project Manager to reflect current progress.

Amongst other dates, the following dates shall be clearly reflected on the Programme,

1. Start and Completion dates for all activities,

2. Relevant key dates for hold and /witness points.

3. Inspection dates

All relevant significant activities shall be shown in order to monitor the progress on site. The Contractor shall include all stages including deliverables per stage in the Programme. 

2.7 Contractor’s management, supervision and key people

The Contractor shall submit an organogram showing all key people involved in the contract seven (7) days after contract award. All key personnel must be appointed in writing, must be current for the specific site and area of work and must be kept on file.

The following conditions will apply to supplier during the contract period:

· The supplier must submit the community skills development and employee skills transfer opportunities, name of the company that has been selected for incubation and indicate the activities together with the percentage of incubation on prescribed template provided by SD&L.

· The province is composed of construction mafia and business forums that have indicated that they want to be engaged in preparation of the execution of Eskom NTCSA project within the area.
· There is a demand of fulfilling the expectations of various Business Forums in the province with a demand that business opportunities should be availed of 30% of the project budget.
· A strategy in consultation of the impacted municipality should be developed to mitigate the above risk.
· The supplier must submit the Implementation Schedule, which must indicate how the supplier intends to meet the SD&L commitments, within 30 days of signing the contract. 

· The completed Implementation Schedule should be forwarded to SD&L via the Project Manager. The template for the schedule is attached as Annexure 1.

· The supplier shall submit SD&L quarterly reports to the Project Manager on a prescribed template provided by Eskom NTCSA.

· Non-compliance with regard to submission of SD&L Quarterly reports by suppliers will result in Eskom NTCSA withholding 2.5% of the invoice submitted for that month.

· A total of 2.5% of the contract value will be retained to ensure compliance to SD&L obligations. 

· In an event of non-compliance at the end of the contract, the supplier will forfeit this amount.
2.8 Invoicing and payment
The Z clauses make reference to invoicing procedures stated here in this Service Information. Also include a list of information which is to be shown on an invoice.
Within one week of receiving a payment certificate from the Project Manager in terms of core clause 51.1, the Contractor provides the Employer with a tax invoice showing the amount due for payment equal to that stated in the Project Manager’s payment certificate.  

The Contractor shall address the tax invoice to NTCSA SOC Ltd and include on each invoice the following information:

· Name and address of the Contractor and the Project Manager; 

· The contract number and title;

· Contractor’s VAT registration number;

· The Employer’s VAT registration number 4710303126;

· Description of service provided for each item invoiced based on the Price List;

· Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

· (add other as required)

Procedures for invoice submission and payment (e. g. electronic payment instructions)

The Contractor shall address the tax invoice to 

NTCSA SOC Ltd 

P O Box 1091

Johannesburg

2000
An original invoice must be sent to the Accounts Payable Department and a copy to the Project Manager.

The Contractor must submit a Forecasted Rate of Invoicing (FRI) within 4 weeks of contract award.

Details on how to submit invoices and additional information: 

The Contractor must ensure that the Eskom NTCSA order number is clearly indicated on the invoice together with the line number on the order they are billing for. 

All electronic invoices must be sent in PDF format only. 

Each PDF file should contain one invoice; or one debit note; or one credit note only as Eskom’s SAP system does not support more than one PDF being linked into workflow at a time. 

The Contractor’s E-mail may contain more than one PDF file (e.g., 2 invoices on 2 separate PDF files in one e-mail) 

All invoices are to be sent in PDF format to the following email addresses:

1. For local invoices: invoiceseskomlocal@eskom.co.za
2. For foreign invoices:  Invoicesgrpcapital@eskom.co.za
The Contractor can request a parked invoice from the Finance Shared Services (FSS) contact centre which can then be followed up and corrected. The Contractor is welcome to forward the details of invoices to the FSS contact centre.

All queries and follow ups on local invoice payments should be made by contacting the FSS contact centre.
Tel: 011 800 5060, e-mail: fss@eskom.co.za
FOREIGN INVOICES

The foreign invoice should be sent together with relevant shipping documents and the Contractor shall ensure that the commercial invoice has not been used previously and therefore funds are not exhausted. The shipping documentation is as follows:

1. Tax invoice

2. Commercial invoice

3. SARS Release notification

4. SAD 500

5. Custom worksheet

6. Bill of lading.

If the Contractor does not furnish the supporting documents, the payment cannot be made, and the Contractor will be charged the cost of moving the Forward Exchange Cover (FEC) that Eskom NTCSA has incurred in managing the risk of currency movement.

Tax Requirement 

A PDF file that was created directly from a system meets the definition of original document and is allowed (including saving documents from excel to PDF, word to PDF etc.) 

An Invoice that was printed and then scanned to PDF by the Vendor is not acceptable as this is not an original tax invoice by SARS definition but a copy. 

The following wording needs to appear on the invoice: “Your invoice is encrypted in order to comply with SARS requirements that invoices, and statements sent electronically are tamperproof.” 

If there is Contract Price Adjustment (CPA) on the invoice it is recommended that the Contractor issue a separate invoice for CPA so that if there are any issues on the CPA the rest of the invoice can be paid while resolving the CPA issues. 

Introduction of electronic invoicing does not guarantee payment but will ensure visibility of all invoices and ensure that no invoices get lost. If the goods receipt is not done the invoice will be parked and the system will automatically send an e-mail to the end user to do the goods receipt. This is also tracked by Eskom NTCSA through the parked invoice report. 

The Contractor can request a parked invoice report from the Finance Shared Services (FSS) contact center which can then be followed up and corrected. The Contractor is welcome to forward the details of invoices corrected to the FSS contact center. 

Email addresses for invoice submission: 

NTCSA Projects Delivery (TPD): invoiceseskomlocal@eskom.co.za
PROCEDURE FOR INVOICE PAYMENT:

· Once work / activity is complete, both parties are to agree

· A payment certificate will be created to certify the work done – both parties to sign

· Employer’s end user to use payment certificate to do Service Entry and Goods Receipt

· Payment certificate to have amount due, service entry number, goods receipt number and order number

· Copy of the payment certificate is to be issued to the Contractor
· Contractor to create invoice in terms of the payment certificate

· Invoice to have order number, goods receipt number and service entry number displayed

· Contractor to attach copy of signed payment certificate to invoice and send it electronically to invoiceseskomlocal@eskom.co.za  
· Procedure for retention payments is the same
· For first retention release a completion certificate is required)
2.9 Insurance provided by the Employer
Refer to Clause Z13 under Data by Employer  
2.10 Contract change management. 
Refer to NEC3 ECC Clause 6 Compensation Events for core clauses for handling of compensation events in this contract. Change management shall always be in writing by either Party i.e Contractor and Project Manager.
2.11 Provision of bonds and guarantees.

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Contractor is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.  

The Employer may withhold payment of amounts due to the Contractor until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Contractor by the Project Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Contractor does not affect the Employer’s right to termination stated in this contract. 

2.12 Records of Defined Cost, payments & assessments of compensation events to be kept by the Contractor.
The Contractor shall keep records of all costs until the final account has been settled. Defined costs are actual costs incurred by the Contractor. These costs should not include profit or company overheads. All compensation events will only be paid on defined costs. Compensation events will be assessed and approved by the project manager in agreement with the Eskom NTCSA QS and if the claim deemed legitimate. Contractor cannot use compensation events as the means or tool to make profit however is only applicable to conditions where unforeseen circumstances and element of scope not covered. 

In an event of labour costs, the Contractor is required to provide pay slips of the employees used. The labour mark-up indicated in this contract will be added to these actual costs to form the final value of the compensation event.

In the event that the Contractor is required to supply anything other than people, the Contractor is required to provide a copy of his Contractor’s invoice. The profit and overhead mark-up indicated in this contract will be added to these actual costs to form the final value of the compensation event.

Copies of payslips and Contractor’s invoices are to accompany the requests for compensation events. The Contractor shall under no circumstances refuse additional work on the basis of costs as defined above.
2.13 Training workshops and technology transfer

Any on the job training workshops, as well as any technology transfer shall be completed as part of the contract on Completion of the works. The Contractor shall present the plan upon commencement of the works. 

3. Engineering and the Contractor’s design
ECC provides for design by either Party in any proportion, of which proportion done by the Contractor shall be stated in writing to the Contractor.

3.1 Employer’s design
The Employer’s operating philosophy / user requirement specification (URS) / performance specification to which the Contractor is to comply when he is required to design the works can be made available upon request. The Contractor shall comply with the requirements as specified and documented in Rev1, Standard: Network Intrusion Detection and Endpoint Detection & Response Systems requirements for NTCSA’s OT Systems 240-170000847 Rev2 and the Scope of Work document annexed. 

The Contractor shall be responsible for the supply, delivery and off-loading of material like but not limited to hardware, software and licensing. deployment of services for installation, configuration, testing of the new solution including earthing, cabling. Decommissioning and training of the whole works (system).
NB: Refer to Scope of Work document annexed.

3.2 Parts of the works which the Contractor is to design

None

3.3 Procedure for submission and acceptance of Contractor’s design

Not applicable

3.4 Other requirements of the Contractor’s design
Not applicable

3.5 Use of Contractor’s design

Not applicable

3.6 Design of Equipment

All temporary works and the design thereof, if required, shall be the Contractor’s responsibility, at no additional cost to the Employer and the liability for such design and use of the Equipment remains with the Contractor.  Reference to Clause 23.1 is always available in this contract. The Project Manager shall be informed of all temporary works and the design thereof, not necessarily for acceptance but as an assurance that the equipment will be able to allow the Contractor to provide the works efficiently and without delay.

3.7 Equipment required to be included in the works
The Contractor shall comply with the equipment requirements as specified for the NTCSA Operating Technology (OT) Endpoint Detection Response (EDR) & Network Intrusion Detection System (NIDS) solution in documents supplied by the Employer.
3.8 As-built drawings, operating manuals and maintenance schedules

The Contractor shall deliver all the as-built drawings, operating manuals, and maintenance, training schedules, licenses to the Employer at completion of the works. The Contractor shall provide NTCSA with the detailed “As-Built” records where deviations from the original have been within fourteen (14) days after Completion Date. These are up-to-date approved drawings at the completion of the contract. Tenderers shall allow in their price for submitting to the Engineer a CD disk containing each of the up-to-date general arrangement drawings, and shop drawings, operating diagrams, licenses, training manuals.

Submission of Contractor's drawings: Drawings shall be submitted to the Project Manager in orderly fashion commencing within the following time limits or as determined by the main contract programme (where applicable):

	Contractor work drawings
	:
	Within 2 weeks of tender acceptance.

	General layout drawings
	:
	Within 4 weeks of tender acceptance.

	Shop drawings
	:
	Within 6 weeks of tender acceptance.

	As-built drawings
	:
	At completion before first hand-over.


By submitting drawings, the Contractor represents that he has determined and verified all site measurements, site instruction criteria, materials, catalogue numbers and similar data, or will do so, and that he has checked and co-ordinated each of his drawings with the requirements of the works and the contract documents, taking into account drawings from the Engineer. At the time of submission, the Contractor shall inform the Engineer in writing of any deviation in the Contractor's drawings from the requirements of the contract documents.

The Engineer will review and approve drawings with reasonable promptness (so as not to cause a delay) only for conformance with the design concept and the contract requirements. The Engineer may, at his discretion and depending on the number of discrepancies, require amendment and resubmission prior to approval. Drawings shall be resubmitted until approved prior to any portion of the works related to the drawings being commenced.

Should the Contractor during drawing amendment, alter any portion of his drawings not specifically required by the Engineer; he shall point this out in writing when resubmitting the drawing. Approval of the Contractor's drawings in no way indemnifies him from being responsible for the correctness of the drawings and satisfactory operation of the installation.
4. Procurement
Procurement of any material shall be made in accordance to procurement procedures.  

4.1 People

4.1.1 Minimum requirements of people employed on the Site
The Contractor shall comply with the Employer’s site requirements in the use of labour for the works. All people employed on the site by the Contractor shall have Police Clearance and be vetted through the Grid Security Manager’s office according to the Grid code before accessing site and before work on site commence. The Contractor shall comply with the all-site entry requirements established by the Employer, particularly those outlined in the Critical Infrastructure Protection Act 8 of 2019. The Contractor/Supplier shall provide objective evidence of documented, but not limited to:

1. Proof of criminal records/clearance results of employees shall be valid at the time of submission and/or site readiness.

2. Certified not older than 90days ID Copies.  

3. Police Clearance Certificates issued by the South African Police Service Criminal Record Centre, or the criminal record certificates, are issued by a service provider (E.g., MIE) accredited by the South African Police Service.

4. STA is part of the technical specifications or included as a component of the EPC enquiry package.

5. Returnable: Fully signed document

The Contractor shall submit a fully signed returnable an undertaking. The Contractor’s employees shall be sober on site and may be subjected to random breathalyser tests. The Contractors shall have an Eskom NTCSA Authorised employee and safety file assessed and approved by Eskom NTCSA Safety personnel. All workers will be subject to ad hoc breathalyser tests at any time when on duty. All workers must wear seat belts at all times when travelling in their vehicles while on Eskom NTCSA business.

4.1.2 BBBEE and preferencing scheme

The Contractor shall comply with the Employers’ Broad Based Black Economic Empowerment (B-BBEE) or preferencing scheme measures.

4.1.3 Accelerated Shared Growth Initiative – South Africa (ASGI-SA): Not Applicable

The Contractor complies with and fulfils the Contractor’s obligations in respect of the Accelerated and Shared Growth Initiative - South Africa in accordance with and as provided for in the Contractor’s ASGI-SA Compliance Schedule stated below. [Insert the agreed ASGI-SA Compliance Schedule here]. The Contractor shall keep accurate records and provide the Project Manager with reports on the Contractor’s actual delivery against the above stated ASGI-SA criteria.   [Elaborate on access to and format of records and frequency of submission etc.] The Contractor’s failure to comply with his ASGI-SA obligations constitutes substantial failure on the part of the Contractor to comply with his obligations under this contract.

4.1.4 Supplier Development Localisation and Industrialisation (SDL&I) 

The Contractor complies with and fulfils the Contractor’s obligations in respect of the SDL&I in accordance with SDL&I Matrix stated below

The works will be 100% local to South Africa as per the applicable SDL&I Matrix. 

SDL&I Matrix or Undertaking
Tenderer to further propose any possible Job creation / Job retained in this project.
The Contractor shall keep accurate records and provide the Project Manager with reports on the Contractor’s actual delivery against the above stated SDL&I criteria.   

NB: A retention of 2.5% per invoice will apply and will be released upon verifying SDL&I commitments contract and will be released upon submission of full compliance-proof.
The retention will be released if the promised SDL&I, commitments were achieved. However, in the event that the Contractor failed to fulfil its SDL&I, obligations, the portion not made would be quantified and withheld from the final payment. 

Monitoring and Reporting
· The suppliers shall on a monthly/quarterly basis submit a report to Eskom NTCSA in accordance with Data Collection Template on their compliance with the SDL&I obligations described above.
· Eskom NTCSA shall review the SDL&I reports submitted by the suppliers within 60 (sixty) days of receipt of the reports and notify the suppliers in writing if their SDL&I obligations have not been met.

· Upon notification by Eskom NTCSA that the suppliers have not met their SDL&I obligations, the suppliers shall be required to implement corrective measures to meet those SDL&I obligations before the commencement of the following report, failing which Retention clauses shall be invoked.
· Every contract shall be accompanied by the SDL&I Implementation Schedule which must be completed by the suppliers and returned to SDL&I representative for acceptance 28 days after contract award.

SDL&I Progress Reports
The Contractor shall submit monthly SDL&I progress reports to the Project Manager.  SDL&I progress reports shall be submitted by the 7th (seventh) day of the month following the months to which the report relates. An electronic copy and two hard copies of each SDL&I progress report shall be submitted to the Project Manager.

4.2 Subcontracting
4.2.1 Preferred subcontractors

The Employer reserves the right to approve all sub-Contractors that the Contractor intends to enter into subcontracts within order to make sure that the sub-Contractor complies with operational standards. The Contractor shall not subcontract more than twenty five percent (25%) of the whole of the contract. Principal Contractor will assess Subcontractor and shall submit proof of assessment to the Employer. Principal Contractor to ensure that any Subcontractor that will be appointed by Principal Contractor, are in compliant with the OHS Act, Construction Regulations for the scope of work and submit proof of compliant to Client, par of Principal Contractor safety file contents under sub-contracting.

4.2.2 Subcontract documentation, and assessment of subcontract tenders

The NEC system is compulsory for all subcontract documentation. The Principal Contractor shall submit the subcontractor’s documents to the Project Manager.
4.2.3 Limitations on subcontracting

The Contractor shall not subcontract more than 25% of the contract scope. No work may be subcontracted unless permission has been granted by the Employer. Principal Contractor shall execute the Works as though there is no subcontractor.
4.2.4 Attendance on subcontractors

The Contractor is responsible for providing all the Works as if he/she had not subcontracted.

4.3 Plant and Materials
4.3.1 Quality

The service portal shall be available for incidents and shall have embedded procedures to ensure that the Contractor can be reached in a timely manner to resolve the incident.  The embedded procedures shall include an escalation process should a higher level of technical support be required from the Contractor. All incidents shall be reported either through the Project Manager, Project Supervisor, Quality Advisor or Safety Officer or the service portal.  All incidents shall be logged and tracked in the service portal. After a Defect has been notified, NEC process shall be followed. All solutions proposed shall be communicated to the Project Manager and the Supervisor for implementation.
The Contractor shall remain responsible for the quality of all the plant used and materials supplied. If the Contractor is used for the manufacturing and erection of any steel work the Contractor must ensure that the quality is in line with Eskom NTCSA’s requirements. Any non-conformance must be corrected before installation, construction, commissioning and handing over. The Contractor shall control his activities and processes in accordance with Eskom NTCSA’s Quality Requirements for Procurement of Assets, Goods services.
4.3.2 Plant & Materials provided “free issue” by the Employer
All Plant and Materials that are to be provided by the Contractor and other that are arranged for collection by Contractor or delivery by others on behalf of the Employer shall follow safe off loading, inspection, storage, care custody and control by the Contractor. All unused free-issue material shall be done by Contractor. The Contractor shall provide any samples needed by the Employer on the date Accepted by the Employer and not delaying the project, the samples shall be delivered at the project sites, and this is to the effect that all other Plant and Materials are to be provided by the Contractor.
4.3.3 Contractor’s procurement of Plant and Materials

All the Plant and Materials that the Contractor is to order, codify, expedite, freight, import, transport to Site/delivery and storage before installation shall follow safe and quality requirements and processes of the Employer and shall be ordered on time to avoid any delays of the work site. The Employer requires warranties from Contractor to be in favour of the Employer and not just to the Contractor during the life of the contract. The Employer requires the Contractor’s details from which the warranties are sourced. The Contractor shall submit the vendor data which the Employer may need after Completion of the whole of the works. Security personnel are to be advised at least five days before any delivering of material take place on site. Failure to do so may result in delays that will be on the Contractors account and recovery plan from the Contractor shall be submitted. All Plant and Materials that the Contractor will use for execution of the Works, Also include requirements for vendor data which the Employer may need after Completion of the whole of the works. Security personnel are to be advised at least 24hours before any delivering of material take place on site. 
4.3.4 Spares and consumables
The Contractor is requested to make provision to supply some minimum cables, terminals, lugs, transport or other consumables which the may need at or just after take over and that it is best the Contractor provide these initially as part of his Providing the Works. The Contractor shall control his activities and processes in accordance with Eskom’s Quality Requirements for Procurement of Assets, Goods & Services TST41-168, as amended.
4.4 Tests and inspections before delivery

Each product shall be subject to testing as deemed necessary by the Contractor to ensure the correct operation of the equipment. Such tests shall be witnessed by the Employer’s representatives, if deemed necessary by the Employer. 
The Contractor shall send notice of inspection or of testing to the Project Manager and the Supervisor two weeks prior the activity taking place. Each notifies the other of each of his tests and inspections before it starts and afterwards notifies the other of its results. Both Parties shall make reference to Core Clauses 40 and 41 to the Works Information regarding tests and inspections. 
4.5 Marking Plant and Materials outside the Working Areas

The Contractor shall mark all Equipment, Plant and Material which is outside of the working area destined for the works. Core clauses 70.1 and 71.1 require the Works Information to state how the Contractor is to “mark” Plant and Materials which is outside the Working Areas if they are to be paid for before delivery to the Working Areas.   
4.6 Contractor’s Equipment (including temporary works).

The Contractor shall provide all temporary works required for the completion of the works, and such will include witness and hold points during manufacture, assembly, or delivery of such Equipment however, this is not to imply that the Employer or the Project Manager take on any liability as a result. The Contractor keeps daily records of his Equipment used on Site and the Working Areas (distinguishing between owned and hired Equipment) with access to such daily records available for inspection by the Project Manager at all reasonable times. No Equipment will be provided by the Employer.

4.7 Cataloguing requirements by the Contractor
The Contractor shall provide the Employer with the required information to enable the Employer to catalogue all items.
5. Construction
5.1 Temporary works, Site services & construction constraints

5.1.1 Employer’s Site entry and security control, permits, and Site regulations
The Employer’s operating sites are National Key points with strict entrance requirements application. The Contractor will have to adhere to the security arrangements for all substations, offices and operating areas which include security vetting. Sufficient time should be allowed in the programme. Security Clearance forms and declaration forms need to be filled in by all personnel that will be working on site and submitted to the Project Manager within two weeks from the Contract Date. Safety file approval and induction are mandatory.

The Contractor shall comply to the rules and new regulations introduced as part of Critical Infrastructure Protection Act 8 of 2019 as communicated by the Project Manager. Entry to the site is governed by the Grid’s Engineering Assistant and the Contractor shall adhere to all regulations given. All employees are to sign the Workers declaration on entering and leaving the working area. The Contractor must have an Eskom 

NTCSA Certified and Authorized ORHVS person (Valid as always requested by ESKOM) available on site in accordance with Eskom NTCSA Authorisation Standard in terms of Regulations for High-Voltage Systems 240-70413865 (34-146).

The authorization procedure for a permit to work shall be done before the Contractor commences work on site. The Contractor’s Responsible Person has to be interviewed and authorised by the East Grid High Voltage Plant personnel before any work can commence on site. Copies of the valid Eskom ORHVS Certificates are to be submitted before any construction work commence on site.

It is the Contractor’s responsibility to ensure that the authorization procedure for a permit to work is obtained,

before access to the work can be given. The Contractor is to supply Eskom NTCSA with Police clearance for all the employees on site before Work commences. All clearances must be sent to Central Grid Authorisations personnel and SHEQS team prior to accessing the site. Care should be taken to avoid inconsistency or ambiguity between this part of the Works Information and standard specifications incorporated by reference.  

5.1.2 Restrictions to access on Site, roads, walkways and barricades

The Contractor shall receive Site Access Permit to the working areas or premises. 
The Contractor shall submit the construction programme showing the timelines prior to commencement of the works for approval by the Employer. 
The Contractor shall ensure that all their employees that will be involved have gone through the Police clearances before the safety file audit.
The Contractor shall submit the Safety file for the approval to the Employer. 
The Employer will arrange the Induction for the Contractor prior commencement of works. 
The Contractor shall ensure that all the required Personal Protective Equipment (PPE) is available prior any activities to be performed. Access on site is restricted to the area in which the Contractor is working, and which has to be barricaded. Strictly no movement outside the barricaded working area unless escorted by authorized HV Plant personnel. The majority of the work is to be performed in the live HV Yard and control room, the Contractor shall take all necessary precautions and work in conjunction with Eskom NTCSA personnel. Every excavation, which is accessible to the public, including other Contractor's or Eskom NTCSA personnel, or which is adjacent to public roads or thoroughfares, or whereby the safety of persons may be endangered shall be: protected by a barricading fence consisting of not less than two ropes or wires stretched at heights of 600 mm and 1200 mm between poles or standards, of strength adequate to safely contain pedestrians and as close to the excavation as is practicable. No walking on trench covers at any time. The maximum speed limit on site is 20km/h.
5.1.3 People restrictions on Site; hours of work, conduct and records

The Employer will control the physical access to its facilities and will reserve the right to grant access to the works. The Employer’s Working Day is from 8h00 to 16h00 on any day during the Working Week. The Working Week is Monday to Friday, excluding public holidays of the Republic of South Africa. Work outside these times will only be allowed if the Contractor has made arrangements with the Employer atleast a week prior to that work being done. The Contractor to have records of weekly manpower numbers and manhours worked without any incidents and submit weekly to the Employer. It is very important that the Contractor keeps records of his people on Site, including those of his Subcontractors which the Project Manager or Supervisor have access to at any time.  These records may be needed when assessing compensation events.
5.1.4 Health and safety facilities on Site 
Reference to Section 2.3 that deals with contractual H & S requirements in addition to those of the OHSA Act shall be made. The cross reference from Clause 27.4 applies. Refer to in paragraph 2.3 above. The Contractor is to provide his own toilet facilities on site and ensure that these facilities are kept in a clean condition to Eskom NTCSA’s satisfaction, policies, process and procedures. No work on site will be allowed to commence before the toilet facilities are available on site. Contractor shall ensure that the Portable Toilet Hiring Company is registered with the relevant Municipality and a copy of the permit to be obtained. Contractor to ensure that proof of disposal from portable toilet waste is obtained from the Permitted Portable Toilet Hiring Company. The Contractor shall have First Aid facilities on site including any other emergency arrangements.
5.1.5 Environmental controls, fauna & flora, dealing with objects of historical interest 

Reference to Section 4 that deals with contractual H & S requirements in addition to those of the OHSA Act shall be made. The Contractor shall at all times, comply with the Employer’s environmental requirements as advised. The ILLEGAL transporting, handling, purchasing and selling, poaching and killing of fauna and flora will NOT be tolerated.

· Offenders will be prosecuted.

· All fauna kills as a result of the activities of the Contractor must be reported.

· NO protected or endangered plants and trees may be removed or damaged in any way.

· The necessary permission to be obtained should it be necessary to cut or removed any desired, protected, or endangered plant or tree.

· It is essential that construction staff be educated in endangered plants and trees.

· Sites and areas of archaeological and cultural significance should be identified on sites and demarcated prior to commencing work.

· Graves are not to be interfered with in any way.

· Supervisors to ensure that the location of these sites is communicated to their employees.

5.1.6 Title to materials from demolition and excavation

All the materials from excavation and demolition must be disposed of by the Contractor except where stated by the Project Manager or Supervisor or the relevant staff from the Grid. All rubble and other materials must be classified, weighed, and transported to a registered waste disposal site. The disposal certificate must be submitted to the Employer. The Contractor has no title to materials from excavation and demolition.

5.1.7 Cooperating with and obtaining acceptance of Others

The Contractor shall co-operate with Others in obtaining and providing information which they need in connection with the works. He shall share the Working Areas with Others as needed and required. If need be, the Contractor shall arrange to have a liaison officer acceptance from statutory authorities or landowners.
5.1.8 Publicity and progress photographs 

No photographs are to be taken without the permission of the Project Manager, Supervisor, Engineering Assistant. All other sharing of information shall require permission from the Project Manager. Warning signs and notices must be clearly displayed at all sites where work is taking place. It is the responsibility of the Contractor to ensure that all its workers and visitors adhere to all signs.
5.1.9 Contractor’s Equipment

All equipment must be registered in the tools and equipment register and as per 32-136 and state if it is hired or owned. The Contractor is responsible for his own insurance of his equipment and tools. The Contractor is to take stock of his material and equipment on a regular basis and any shortage to be reported to the Supervisor or Project Manager immediately.
The Contractor shall keep daily records of his equipment used on Site and the Working Areas (distinguishing between owned and hired equipment) with access to such daily records available for inspection by the relevant parties including Supervisor and Project Manager at all reasonable times.

5.1.10 Equipment provided by the Employer
Not applicable 

5.1.11 Site services and facilities
The Employer shall provide, at the substation site of delivery, off-loading and erection/installation of the goods, a point of electrical power for hand tools, and fire extinguishers but not at site that is not a substation. The Contractor shall provide everything else necessary for providing the Works.

A site for the Contractor’s yard will be provided in the site of the works where possible. The Contractor shall not occupy any area on site other than that which is allocated to them. The Contractor shall supply all plant and materials to complete the works. The Contractor shall provide all connections, extensions and additional supply points necessary for the works. Any measures which the Contractor may require to maintain continuity and quality of supply shall be arranged by him at his own expense.

Adequate and/or continuous supply is not guaranteed and no claims for delay or standing time as a result of insufficiencies or failures will be considered. Any measures which the Contractor may require to maintain continuity and quality of supply shall be arranged by him at his own expense. Water is not available on site. The Contractor shall supply and test all water brought to site for construction and drinking purposes. The testing is for the Contractor’s own account. The Contractor shall ensure that there is no water pollution due to their activities taking place. Water usage on site to be verified to ensure compliance with legislation. The Contractor shall provide everything else necessary for Providing the Works.
5.1.12 Facilities provided by the Contractor
The Contractor shall supply all plant and materials required for providing executing and completing the works. There are no telephone facilities available on site. The Employer will provide security for the site but will not provide any additional security specific to the Contractor providing the works. The Contractor shall provide security for the duration of the works to secure their plant, material and works.
The Contractor shall provide accommodation, transportation, laboratories, storage, vehicles, office and office equipment etc of his/her employees. The Contractor shall make his own arrangements to house his employees and transports them to site in a closed vehicle specifically designed for passenger transport (bus or similar) which is in a roadworthy condition. All safety precautions shall be taken into consideration.

All the water necessary for construction and drinking purposes must be provided for by the Contractor. It is the Contractor’s responsibility to test any water before being used. The Contractor is to submit a Test Certificate for the water brought and used on site. The Contractor is to provide his own toilet facilities on site and ensure that these facilities are kept in a clean condition to Eskom’s satisfaction. No work on site will be allowed to commence before the toilet facilities are available on site. The Contractor shall provide everything else necessary for providing the Works.

Upon completion of works, and within one month of the date of site handover, the Contractor shall completely remove from site all his equipment, storage facility or any other asset belonging to him and leave the site and working areas in a tidy condition to the satisfaction of the Project Manager. Demolition or erection of all temporary structures surfaces etc. shall be first approved by the Employer’s representative prior to the work being carried out.

5.1.13 Existing premises, inspection of adjoining properties and checking work of Others

The Works is to be carried out within existing site, substation control room, HV yard and the Contractor is to take note of the surroundings, foundations, equipment and buildings and underground cables and services at all times.
5.1.14 Survey control and setting out of the works
The Contractor shall comply with requirements for all designs e.g., the foundation designs and other designs. The Contractor is responsible for setting out the works as shown on the drawings and raise any challenges found in the drawings with the Project Manager and Supervisor.
5.1.15 Excavations and associated water control

Refer to the SHE specification, EMPr and any other statutory requirements. All necessary precautions shall be taken to ensure that deep excavations are safe and that the sides are stable, if not they shall be battered. All excavations are to be properly barricaded at all times.

5.1.16 Underground services, other existing services, cable and pipe trenches and covers

The Contractor shall inform the Site Supervisor should there be any underground services that may require relocation. Before any excavation commences, it is the responsibility of the Contractor to ascertain from the “Engineering Assistant” the position of any existing services on site. Once these are indicated to the Contractor they shall be deemed “known”. Any costs incurred for repairs to any “known” services shall be for

the Contractor’s account. Any damage of known pipes, cables or other services must be reported to the site supervisor, and the damaged service must be restored at the cost of the Contractor under the supervision of either the EA or SS. The existing oil drainage pipe shown in drawings provided, is to be blocked off by sealing the manholes with concrete.

5.1.17 Control of noise, dust, water and waste 

The Contractor shall comply with the Occupational Health and Safety Act 85 of 1993 and National Environmental Management: Waste Act, 2008 (Act No. 59 of 2008) (NEMWA). The contractor to ensure no nuisance is caused to the landowner, his land occupants and / or his facilities. Contractor shall monitor dust and noise caused by mobile & other equipment during construction according to environmental legislation. Mitigation measures to be implemented as required/agreed upon with the project leader/environmental advisor.

5.1.18 Sequences of construction or installation

Refer to Section 3 on the Data by Employer

5.1.19 Giving notice of work to be covered up
The Contractor shall inform the Supervisor in writing should there be any work that will require the rehabilitation of any damage caused to the environment. The Contractor is to give the Site Supervisor at least 2 days’ notice before covering up the work. All damages shall be reported to the Employer at all times.
5.1.20 Hook ups to existing works

The works is on the existing site, Contractor shall apply caution and safety standards when executing the works.

All personnel working at heights shall be certified medically fit to work at heights.
The Contractor shall have a valid certificate for working at heights and with live apparatus and must have been appointed in writing. 

The Contractor shall ensure that all the FAS (fall arrest system), ORHVS are inspected prior to use.
The Contractor shall ensure the appointed work at heights rescuers have the appropriate rescue kits.
The Contractor shall ensure that all the mechanisms and equipment that will be used for working at heights are inspected including all the necessary supporting documents e.g. the use of skyjacks, stepladder, scaffoldings etc.  

5.2 Completion, testing, commissioning, and correction of Defects

5.2.1 Work to be done by the Completion Date

All work including commissioning and decommissioning is to be done by the Completion Date. On or before the Completion Date the Contractor shall have done everything required to Provide the Works except for the work listed below which may be done after the Completion Date but in any case, before the dates stated.  The Project Manager cannot certify Completion until all the work except that listed below has been done and is also free of Defects which would have, in his opinion, prevented the Employer from using the works and Others from doing their work.

	
	Item of work
	To be completed by

	
	As built drawings of the actual works to be submitted.  
	Within 15 days after Completion

	
	Performance testing of the works in use as specified in paragraph 5.2.8 of this Works Information.
	See performance testing requirements.


5.2.2 Use of the works before Completion has been certified

The Employer takes over the works not more than two weeks after Completion. The Contractor is to complete all works before the contractual end date.
5.2.3 Materials facilities and samples for tests and inspections 
The Contractor shall provide the facility where the testing shall be performed. If this is a third-party site, the Contractor shall arrange the site and pay the rent for the site (where applicable).
5.2.4 Commissioning
The Contractor does the work on the Site so that Completion is before the Completion Date. A detailed commissioning procedure shall be adhered to by the Contractor and all Parties involved. Commissioning is to be done before Completion date and is to be done by the Contractor after completion of site Installation, configuration, testing of the new solution including earthing, cabling of the system. All annexures and inspection sheet to be completed for the operating areas.

5.2.5 Start-up procedures required to put the works into operation

The Employer shall submit to the Contractor a detailed commissioning procedure for the Contractor’s adherence/compliance. The Contractor shall be part of the Commissioning process from the beginning to the end. The Contractor shall submit to the Employer the start-up procedures if any is required to put the works into operation for the Employer’s approval.
5.2.6 Take over procedures

The Employer will take over the works after successful completion of the commissioning of the works. The Contractor is to arrange an inspection at least 1 week before completion to inspect and identify any outstanding or incorrect items. No project to be signed off before the Business Unit has assured that no environmental liabilities exist. The responsible person, project leader or Business Unit Environmental advisor to carry out a physical inspection before acceptance of work done is made. No invoice to be processed before any acceptance is made. All environmental documentation / file compiled during the project / contract to be handed over to the Grid Environmental Advisor

5.2.7 Access given by the Employer for correction of Defects

The Project Manager arranges for the Employer to allow the Contractor access to rectify identified defects and to use part of the works which has been taken over, if required. The process and procedures for access to correct the defect will be the same as that for performing the works. The safety file needs to be approved prior to access being granted. The Contractor will be responsible for ensuring that the area to be worked in is barricaded before correcting any defects.

5.2.8 Performance tests after Completion

Site Acceptance Tests shall be conducted, on site, by the Contractor, after delivery and before commissioning, if deemed necessary. The Contractor is to demonstrate that the works can operate as guaranteed by the Contractor and specified by the Employer in this Works Information.  The Contractor to submit the procedure/s for carrying out such proving tests.  These details should link up with any performance levels stated in Contract Data if secondary Option X17 in ECC3 applies.
5.2.9 Training and technology transfer

The Contractor is required to provide training in the use and maintenance of the works or any associated transfer of technology from him to the Employer.

5.2.10 Operational maintenance after Completion

The Employer may require the Contractor before the defects date to perform certain duties after Completion and take over which relate to maintenance of the works (NB: This is not to be confused with Defect correction). Such a request shall be in writing to the Contractor.
6. Plant and Materials standards and workmanship

All Plant and Materials that are to be provided by the Contractor and other that are arranged for collection by Contractor or delivery by others on behalf of the Employer shall follow safe off loading, inspection, storage, care custody and control by the Contractor.
This section of the Works Information contains all the specifications for the work, which is left behind, the permanent works.  It is likely to be the largest section by far and may even be compiled in volumes, e. g. Section 6 Volume 1: Civil Engineering Works.  In design and construct contracts, it may be compiled in accordance with systems within the works; e. g. Section 6 Volume 4: Crushers.

Because practice varies widely between employers it is not practical in a general template such as this to deal with all arrangements.  Only the discipline-based section subheadings are provided below in the order the works are likely to be constructed together with some notes of a general nature.

6.1 Investigation, survey and Site clearance

The Contractor shall survey where the system will be implemented. The Contractor carries out the following investigations:

1. Operational Services which include but not limited to threat monitoring, investigations, analysis and augmented incidents response of the whole Works (System)
2. Conducts an investigation to determine all existing services on the site. 

3. Marks and records all these services.

4. The Contractor to investigate the proposed site access option as detailed in this works information.

5. Maintains a concise record of the conditions of all existing buildings, structures, and services.

The Contractor must provide suitable machinery to execute the works as per contractual agreement at their own cost.  Also, the Contractor is made aware of possibilities constraints on Site clearance especially in transmission grid servitudes and environmental issues. The Contractor is responsible for setting out the works as shown on the drawings. The Contractor is responsible for ascertaining the maintenance, support and training of the new system.

6.2 Building works
The Contractor to comply with SANS requirements and any specifications provided by the Employer for the works. Reference could be made to the latest Model Trade Preambles published by the Association of South African Quantity Surveyors.  

This subsection would typically comprise 

a) 
Particular specifications provided by the Employer 

b)
List of standardised specifications applicable to the works and

c)
Variations to the standardised specifications

6.3 Civil engineering and structural works
The Contractor shall comply with design requirements for all concrete and steelwork. The SANS 1200 Series of Specifications are applicable to all Civil Engineering and Structural works associated with this contract. The following Interpretations and meanings shall apply: In case of any conflict in interpretation, ambiguity, or discrepancy between any SANS 1200 Specification (whether standard or written as a particular project specification) contained in the Works Information and the conditions of contract, the conditions of contract take precedence within the ECC3 contract.  In case of any conflict in interpretation, ambiguity or discrepancy between any SANS 1200 Specification (whether standard or written as a particular project specification) contained In this paragraph 4.3 of the Employer‘s Works information and specific statements contained elsewhere in C3.1 Employer‘s Works Information, the specific statements contained elsewhere shall prevail, without prejudice to the Project Manager‘s express duty to resolve any ambiguity or inconsistency in the Works information under ECC3 Clause 17.1. 
Variations to the standardized specifications

Within SANS 1200 A: GENERAL the following amendments and Interpretations shall apply: 

Where the word or expression ― Employer is used, read ― Employer. Where the word or expression ― Contractor is used, read ― Contractor. Where the word or expression ― Engineer is used, read ― Project Manager or Supervisor as the context requires. Where the word or expression ― schedule of quantities‖ is used, this is deleted in entirely. 

Assessment and payment are in accordance with the conditions of contract (and the ECC3 main and secondary options stated therein); 

Within SANS 1200 A: GENERAL 2.3 DEFINITIONS, the following apply:

· Acceptable, approved (Approval) is interpreted as either a Project Manager or a Supervisor communication or Instruction In relation to Works information compliance, consistent with the conditions of contract as the context requires. 

· Adequate Is deleted. The Project Manager notifies the Contractor where the Contractor has not complied with the Works Information.

· Measurement and payment and the further definitions contained within 6.3 (c) are deleted. Assessment and payment are In accordance with the conditions of contract (and the ECC3 main and secondary options stated therein);

Within SANS 1200 A: GENERAL 2.6 APPROVAL, the following applies:

· Approval by either the Project Manager and/or the Supervisor is without prejudice to ECC3 Clause 14.1 and1 inter alia, ECC3 Clauses 13.1, 14.3, and 27.1.

· SANS 1200 A: GENERAL 2.8 ITEMS IN SCHEDULE OF QUANTITIES, is deleted in entirety.

· Assessment and payment is in accordance with the conditions of contract (and the ECC3 main and secondary options stated therein).

· SANS 1200 A: GENERAL 3.2 STRUCTURES AND NATURAL MATERIAL ON SITE, applies only to the extent that it is consistent with paragraph 3.1.4 of C3.1 Employer ‘s Works Information. or expression Plant Is used, read ― Equipment.
· SANS 1200 A: GENERAL 7.2 CONTRACTORS OFFICES, STORES AND SERVICES, applies but the Project Manager resolves any inconsistency with statements Included within paragraph 3.1.10 of C3.1 Employer ‘s Works Information. SANS 1200 A: GENERAL 3.1 SURVEY, applies only to the extent that it is consistent with paragraph 3.1.11 of C3.1 Employer ‘s Works Information. 
· Within SANS 1200 A: GENERAL 3.2 WATCHING, BARRICADING, LIGHTING AND TRAFFIC CROSSINGS, the following applies:

· Where the word or expression ―specification is used, read ―Works Information.
· SANS 1200 A: GENERAL 3.4 PROTECTION OF OVERHEAD AND UNDERGROUND

· SERVICES applies only to the extent that it is consistent with the specific statements made elsewhere in C3.1 Employer ‘s Works Information and in any case and at all times consistent with the conditions of contract. Within SANS 1200 A: GENERAL 5 TESTING, the following applies: Where the word or expression - Engineer is used, read ―Supervisor.

· SANS 1200 A: GENERAL 8 MEASUREMENT AND PAYMENT is deleted in entirety. Assessment and payment is In accordance with the conditions of contract (and the ECC3 main and secondary options stated therein).
The principles, meanings and interpretation stated and established within paragraphs 4.3.1 to

1. with respect to SANS 1200 series and to SANS 1200 A: GENERAL equally apply to the other SANS 1200 specification references used within this paragraph 4.3 of C3.1 Employer ‘s Works Information.
	Title
	Date or revision
	Tick if publicly available

	Eskom Standard Specifications
	
	

	Construction Safety, Health, and Environmental Management 32-136
	Latest Rev.
	(

	Eskom Cardinal Rules 32-421
	Latest Rev.
	(

	Safety, Health and Environmental (SHE) Policy 32-94
	Latest Rev.
	(

	Smoking Procedure 32-36
	Latest Rev.
	(

	Vehicle and Driver Safety Management 32-93
	Latest Rev.
	(

	Eskom Vehicle Safety 32-345
	Latest Rev.
	(

	Working at Heights 32-418
	Latest Rev.
	(

	TST41-120 Environmental Requirements for the Procurement of Assets, Goods and Services.
	Latest Rev.
	(

	TST0015 Training, assessment, and authorization of persons for the operation & maintenance of the Power System Contractor Safety in a High Voltage Environment
	Latest Rev.
	(

	TPC41-283 Non-Conformance Procedure
	Latest Rev.
	(

	Occupational Health and Safety Act No. 85 of 1993
	Latest Rev.
	(

	TST41-168 Quality Requirements for Procurement of Assets, Goods & Services.
	Latest Rev.
	(

	
	
	

	Eskom Particular Specifications
	
	

	EPS 1 Specification for Earthmat
	
	

	EPS 2 Specification for Stone Surfacing of Yard
	
	

	EPS 3 Variations and Additions to Standardised Specifications
	
	

	
	
	

	Standardised Specifications
	
	

	SABS 1200 Standardised Specification for Civil Engineering Construction
	
	(

	SANS 2001 CC1:2007 Construction Works Part CC1: Concrete Works (structural)
	
	(

	SANS 2001 CS1:2007 Construction Works Part CS1: Structural steelwork
	
	(

	SANS 121 Hot Dip Galvanized Coatings on Fabricated Iron and Steel Articles -–Specifications and Test Methods
	
	(


6.4 Electrical & mechanical engineering works

The Contractor shall comply with design requirements for all electrical works. Refer to the specification and standard provided. Engineers are available for consultation.
6.5 Process control and IT works
All project specific specifications are developed by the Employer to suit his operations and shall be made available should the need arise. 
6.6 Other [as required]

As other requirements pertaining to this contract shall be discussed by the parties involved.

7. List of drawings

7.1 Drawings issued by the Employer
This is the list of documents including drawings issued by the Employer at or before the Contract Date and which apply to this contract. Also refer to Report: Network Intrusion Detection System (NIDS) & Endpoint Detection Response (EDR) Solution for NTCSA OT Systems Project report 240-185000463 Rev1, Standard: Network Intrusion Detection and Endpoint Detection & Response Systems requirements for NTCSA’s OT Systems 240-170000847 Rev2 and the Scope of Work document annexed
Note:  Some drawings as well as the Engineering standard may contain both Works Information and Site Information.

	Drawing number
	Revision
	Title

	
	
	

	
	
	Reference drawings


C3.2
Contractor’s Works Information

This section of the Works Information will always be contract specific depending on the nature of the works.

It is most likely to be required for design and construct contracts where the tendering contractor will have proposed specifications and schedules for items of Plant and Materials and workmanship, which once accepted by the Employer prior to award of contract now become obligations of the Contractor per core clause 20.1.

Typical subheadings could be

a) 
Contractor’s design

b)
Plant and Materials specifications and schedules

c)
Other
This section could also be compiled as a separate file.



Part 4: Site Information
	Document reference
	Title
	No of pages

	
	This cover page
	1

	C4
	Site Information
	1

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	2


Part 4: Site Information

Core clause 11.2(16) states 

“Site Information is information which

· describes the Site and its surroundings and

· is in the documents which the Contract Data states it is in.”

In Contract Data, reference has been made to this Part 4 of the contract for the location of Site Information.

1. General description

The Sites are located primarily in Gauteng (Germiston, Simmerpan and Telecoms NMC) and are surrounded by other buildings, Contractor shall ensure minimum disruption, prevent damage or loss of production to Commercials and/or Farmers and the Contractor will be held liable for any damages. Any damage caused by negligence by a skilled Contractor shall be on the Contractor’s invoice. The Contractor shall make reference to some drawings showing the Site and its surroundings and the boundaries of the site.
2. Existing buildings, structures, and plant & machinery on the Site

The Works have interfaces or hook up points with existing facilities. As built drawings of the existing facilities can be provided (if found) as well as the necessary information. 
Necessary care is to be taken to protect the Employers’ current assets and to comply with all safe working procedures. Works shall be restricted to the perimeter of the area where work is to be carried out. Contractors are not allowed/ permitted to enter the other servitudes, corridor, or any other areas outside of the scope of works restricted areas.
3. Subsoil information

NTCSA Operational Technology business areas are old, and Contractor shall assess condition prior to prevent any construction incidents and accidents. The Contractor is to inspect the site in order to ascertain the conditions and extent of their risk, and all those risks must be factored into the Contractor’s schedule and risk register.
4. Hidden services 

The Contractor shall ensure cable detection is conducted to prevent cutting of live cables and other hidden services such as water and drainage pipes. Before any work is commenced, it is the responsibility of the Contractor to ascertain from the Engineering Assistant” the position of any existing services on site. Once these are indicated to the Contractor they shall be deemed as “known”. Any costs incurred for the repairs to any “known” services shall be for the Contractor’s account.

In the event that any services are found and/or struck or any damages to such service, the Contractor shall report/notify the Engineering Assistant, Supervisor and Project Manager immediately. 
5. Other reports and publicly available information

The site is prone to theft, and the Contractor shall put in place measures to minimise theft of their material during the project execution. It is important for the Contractor to take note of the security requirements.

� This total is required by the Employer for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.


� Available from Engineering Contract Strategies Tel 011 803 3008, Fax 011 803 3009 or see �HYPERLINK "http://www.ecs.co.za"��www.ecs.co.za� 







Part C2: Pricing Data
PAGE 28
C2.2 ecc3/b Bill of quantities


Part C2: Pricing Data
PAGE 1
C2 ecc3/b Cover

