REQUEST FOR QUOTATION FORM FOR GOODS

AND SERVICES

AGRICULTURAL RESEARCH COUNCIL (ARC)

RFQ No:		14253

Enquiries: 		Mr Riaan Muller

Tel:			058 307 3467

RFQ Closing Date: 03/10/2022 before 12:00

1.	You are kindly requested to submit a written quotation to Agricultural

Research Council as per below or attached terms of reference (TOR’s).

| Description | Quantity | UOM |
| --- | --- | --- |
| Repair 11 Kva line to Phahameng Location - Connect end pole at SGI site with 11kva line to existing line running to Phahameng location. - Do crossing over train tracks according to regulations - Assist with lea way required from Transnet - Extend line from end pole at Phahameng location to get closer to the sub station - Connect sub station to line using 95mm aluminum HT cable. Do all termination of cables. - Provide poles 11m crossarms and all hardware needed to complete the project | 1 | line |
| - Contractor must be Eskom accredited (please provide accreditation papers) - Must do work according to OHASA act - Local production threshold is 90% on electrical cables |  |  |
| Details for compulsory site briefing are as follows: Venue: ARC Small Grain Physical address: R76, Lindley Road, Blydskapweg, Bethlehem Date: 27/09/2022 Time: 11:00 Tel no for directions: 058 307 3400 |  |  |

2.	The above specified goods/services should be delivered/rendered to:

Name of Institute	: ARC Small Grain

Address		: R76, Lindley Road

Bethlehem

3.	The particulars of the guarantee that will apply to the goods quoted for,

with particular regard to the period and extent of the warranty must be

clearly stated. Where services are required, service providers must submit

documentation pertaining the relevant experience.

4.	Your written quotation must be emailed to: mahlabar@arc.agric.za

5.	All price quotations that have a rand value of R30,000-00 to R1 000 000.00

including VAT, will be evaluated by applying the 80/20 principle as

prescribed by the Preferential Procurement Policy Framework Act 5 of

2000 and its Regulations. The lowest acceptable price will score

80 points, the 20 BBBEE points will be allocated as follows:

| B-BBEE Status Level of Contributor | 80/20 |
| --- | --- |
| 1 | 20 |
| 2 | 18 |
| 3 | 16 |
| 4 | 12 |
| 5 | 8 |
| 6 | 6 |
| 7 | 4 |
| 8 | 2 |
| Non-compliant Contributor | 0 |

6.	Standard conditions:

6.1	The validity of the quotations must be indicated.

6.2	Prices quoted should be in South African Rand and inclusive of VAT costs

such as delivery, insurance, taxes, etc.

6.3	No price adjustments or amendment of the delivery particulars contained

in paragraph 2 will be considered by the ARC.

6.4	The supplier accepts full responsibility for the proper execution and fulfilment of the goods/services quoted for.

6.5	ARC reserves the right to accept or reject any special terms and

conditions that may qualify the goods/services to be provided.

6.6	Quotes should be submitted on an official letterhead and duly signed

6.7	Goods and services should be supplied/rendered upon receipt of a

purchase order from the ARC

6.8	The General Conditions of Contract issued by National Treasury are

applicable.

6.9	The ARC supply chain management code of conduct is applicable.

6.10	SBD 4 must be signed and returned together with the quotation, failure to comply will result to disqualification of your quotation.

6.11	Your quotation must indicate the delivery date.

6.12	The ARC reserve the right to do due diligence on the quotations.

6.13	The ARC reserve the right to benchmark prices quoted.

6.14	When submitting your quotation please attach the following documents

- CSD Report (printed on the day you prepare a quotation).

- SBD 4

- SARS pin doc

- BBBEE certificate

Quotation must please reflect RFQ number.

Thank you in anticipation.

Supply Chain Management:ARC

Date: 21/09/2022