Portable pH meter (multiparameter) specification

- HI9810-6 pH/EC/TDS/Temperature meter with HI1285-6 electrode with CAL check;

- pH range: 0.0 to 14.0

- EC range: 0 to 6000 μS/cm,

- TDS range: 0 to 3000 ppm (mg/L)

- Temperature Range: 0.0 to 70.0°C

- Other features: Water Resistant, Automatic Temperature Compensation, Low Battery Indicator

- HI70300L Electrode storage solution, 500 mL bottle

- HI7061L Cleaning Solution for General Purpose, 500 mL bottle