ARC INFRUITEC - NIETVOORBIJ

Private Bag/Private X5026, Stellenbosch, 7599, South Africa

Tel: (021) 809 3093. Fax: (021) 809 3400/3592

# Office of the Supply Chain Management

Description of service: Repair and test 3 laminar flow cabinets

##### SCOPE OF WORK AND CONDITIONS

| Item | Description of item | Comply with spec. Please indicate (Yes or No) |  |  |
| --- | --- | --- | --- | --- |
|  |  | Yes | No | If no please indicate the deviation |
| 1 | Replace HEPA filter of Afronix Horizontal Laminar Flow Cabinet Serial number: LAB 000004414 (128) |  |  |  |
| 1.1 | HEPA size: 1220 x 610 mm |  |  |  |
| 1.2 | Repair and test that laminar is SANS 12469-2002 compliant |  |  |  |
|  | Location: Pathology lab in the Cold Storage building, Infruitec Campus, Helshoogte Road, Stellenbosch, 7599 |  |  |  |
| 2 | Replace HEPA filter of Laminaire Horizontal Laminar Flow Cabinet Serial number: LAB 009004448 (228) |  |  |  |
|  | HEPA size: 1830 x 490 mm |  |  |  |
|  | Repair and test that laminar is SANS 12469-2002 compliant |  |  |  |
|  | Location: Pathology lab in the Cold Storage building, Infruitec Campus, Helshoogte Road, Stellenbosch, 7599 |  |  |  |
| 3 | Replace HEPA filter of Lamiaire Horizontal Laminar Flow Cabinet Serial number: LAB 000006735 |  |  |  |
| 3.1 | HEPA size: 1830 x 610 mm |  |  |  |
| 3.2 | Repair and test that laminar is SANS 12469-2002 compliant |  |  |  |
|  | Location: Microbiology lab, Nietvoorbij main building, Nietvoobij Campus, R44, Stellenbosch, 7599 |  |  |  |

PRICING SCHEDULE

| Item description | QTY | Unit price | Total Price |
| --- | --- | --- | --- |
| Supply and install HEPA filters | 3 |  |  |
| Repair and test laminar flow cabinets | 3 |  |  |
| Validation | 3 |  |  |
| Other, specify |  |  |  |
| SUBTOTAL |  |  |  |
| VAT |  |  |  |
| GRANDTOTAL |  |  |  |

Supplier’s Details:

Company Name:……………………………………………………………………………………………….

Contact person:………………………………………………………………………………………………..

Contact number:……………………………………………………………………………………………….

Date & Signature:………………………………………………………………………………………………