RFQ No. RFQ 003-2026-008-2 Request for a service provider to supply, deliver, install, commission, and handover one (1) 500kVA Three-Phase Diesel Generator for the Cape Town Unit.

- Written Quote Form26

RFQ NUMBER: RFQ 003-2026-008-2

ISSUING DATE:  08 April 2026

CLOSING DATE: 10 April 2026 @16h00 CAT

VALIDITY OF RFQ: 90 Days

CLARIFICATION QUESTIONS SHOULD BE DIRECTED TO:

Portia Ngema, portiangema@airchefs.co.za

RFQ RETURNABLE DOCUMENTS TO BE E-MAILED TO: Portia Ngema, portiangema@airchefs.co.za Dilale Munyai, dilalemunyai@airchefs.co.za

Bidder should ensure that quotations are returned before the closing date and time.

AirChefs requests your quotation on the goods and/or services listed on the attached form. Please furnish all information as requested and return your quote and all mandatory returnable documents on/before the date stipulated. Late and incomplete submissions may invalidate the quote submitted.

NAME OF VENDOR (SUPPLIER):

POSTAL ADDRESS:

TELEPHONE NO.:

CELL NO:

E MAIL ADDRESS:

CONTACT PERSON:

This RFQ will be evaluated on pricing and the specific goal (BBBEE).

Mandatory Returnable Documentation to be attached:

- Pricing Schedule (Detailed Quotation, VAT Inclusive)

- Valid BBBEE Certificate or Sworn Affidavit (EME/QSE affidavit where applicable)

- SARS Tax Compliance Status (Tax Pin)

- SBD 4 – Declaration of interest (completed and signed)

- SBD 6.1 (completed and signed)

- Lead Time – A formal confirmation letter must be attached, stipulating the agreed duration for delivery of the generator.

Bidders will be disqualified should they fail to submit all mandatory returnable documents.

CONDITIONS

- All goods or services purchased will be subject to Air Chefs General Conditions of Contract (C10&C11). A copy of said conditions is available from the local Procurement office.

- It is the responsibility of the Supplier to ensure that Air Chefs is in possession of a valid Tax Compliance confirmation from SARS. The onus therefore rests on the Supplier to ensure Air Chefs receives confirmation of Tax compliance in terms of a Tax Compliance Report in good standing at all times. An Original Tax Compliance Status report must be submitted with this RFQ. Failure to do so may invalidate the quote submitted in terms of the RFQ.

- All purchases will be made through an official purchase order. Therefore, no goods must be delivered or services rendered before an official order/contract has been received.

DECLARATION BY BIDDER

- I certify that I am duly authorized to submit this bid on behalf of the information supplied is correct and I have read and understand Air Chefs General Conditions of Contract and accept Air Chefs General Conditions of Contract.

- I further certify that all the required information has been furnished, and the relevant forms completed and are herewith submitted as part of the bid.

SIGNATURE OF SUPPLIER: _______________________

CAPACITY: ________________________

- Background

Air Chefs, a Schedule 2 public entity and airline caterer, operates at three sites: Johannesburg, Durban, and Cape Town. Air Chefs requires a service provider to supply, deliver, install, commission, and hand over one (1) 500kVA Three-Phase Diesel generator to the Cape Town unit.

- Scope of Work

The service provider shall supply, deliver, install, commission, and hand over one (1) 500kVA Three-Phase Diesel generator, together with transport, cranage (if required), electrical integration, and compliance certification, in accordance with the specifications and requirements set out below:

| Equipment required | Specification |
| --- | --- |
| 500kVA Three-Phase Diesel Generator | Model: BPD500S3-B (or equivalent approved model) |
|  | Prime Power: 500 kVA |
|  | Standby Power: 550 kVA |
|  | Voltage: 380V Three Phase |
|  | Engine: Baudouin Diesel Engine |
|  | Fuel Type: Diesel |
|  | Tank Capacity: ±950L |
|  | Dimensions: ±4150 x 1600 x 2300 mm |
|  | Weight: ±4 706 kg |
|  | Sound-attenuated canopy (silent type) |
|  | Automatic Transfer Switch (ATS) compatible |
|  | Control panel with digital monitoring |
|  | Weatherproof enclosure |
|  | Installation, cabling, integration to existing infrastructure |
|  | Testing & commissioning certificate |
|  | Warranty (minimum 12 months) |
|  | Service level agreement option |

2.1 Pricing schedule

| Items | Quantity | Unit Price | Total Cost |
| --- | --- | --- | --- |
| 500kVA Three-Phase Diesel generator | 1 | R | R |
| Installation and commissioning of the 500kVA Three-Phase Diesel generator | 1 | R | R |
| Transportation of the generator | 1 | R | R |
| Total excluding VAT |  | R | R |
| VAT @ standard rate of 15% |  | R | R |
| Total including VAT @ 15% |  | R | R |

- Briefing Session

A physical compulsory briefing session will be held at the Air Chefs Cape Town site. Bidders who fail to attend the session will not be permitted to proceed further in the evaluation process.

Date: 09 April 2026

Time: 11h00 – 12h00

Venue: Fox Trot 3, Thunder City, Cape Town International Airport, Cape Town

- RFQ Validity Period

The validity period is 90 days.

- The Evaluation Process

  - Mandatory Requirements

A bidder will be disqualified if they fail to meet the following Mandatory Requirements.

- Pricing Schedule (Detailed Quotation, VAT Inclusive)

- Valid BBBEE Certificate or Sworn Affidavit (EME/QSE affidavit where applicable)

- SARS Tax Compliance Status (Tax Pin)

- SBD 4 – Declaration of interest (completed and signed)

- SBD 6.1 (completed and signed)

- Lead Time – A formal confirmation letter must be attached, stipulating the agreed duration for delivery of the generator.

- Disclaimer

The contract shall be awarded at the sole and absolute discretion of Air Chefs, whereas Air Chefs reserves the right to retract this quotation at any time as from the date of issue, if justifiable. At the same time Air Chefs shall not be obliged to accept the lowest of any quotation, offer or proposal (where defensible).

  - Air Chefs retains the right to conduct due diligence on the bidder, and should it be discovered that the bidder, owner/shareholder and/or director has been charged, implicated or found to be involved in criminal activities, the bidder may be disqualified.

- Application of the applicable Preference Point System

The applicable preference point system for this quotation is the 80/20 preference point system as per par 4(1) of the 2022 Preferential Procurement Regulations.

The 80/20 preference point system will be applicable in this quotation. The lowest/ highest acceptable quotation will be used to determine the accurate system once quotations are received.

Points for this quotation shall be awarded for: (a) Price; and (b) Specific Goals.

The maximum points for this quotation are as follows:

7.1 POINTS AWARDED FOR PRICE

| CRITERIA | POINTS | SCORE |
| --- | --- | --- |
| Price | 80 |  |

7.2 POINTS AWARDED FOR SPECIFIC GOALS

In terms of Regulation 4(2) of the Preferential Procurement Regulations, preference points must be awarded for specific goals stated in the quotation. For this quotation the bidder will be allocated points based on the goals stated in table 1 below, as may be supported by proof/ documentation stated in the conditions of this tender:

| CRITERIA | POINTS | SCORE |
| --- | --- | --- |
| 50% Black Women owned - 0% - 49% = 0 points - 50% and above = 5 points | 5 |  |
| 50% Black Youth owned - 0% - 49% = 0 points - 50% and above = 5 points | 5 |  |
| EME or QSE 51% Black Owned - 0% - 50% = 0 points - 51% and above = 5 points | 5 |  |
| Disability - None = 0 points - Disability confirmed = 5 points | 5 |  |
| Total | 20 |  |

Bidders should be aware that preference points will be awarded to those who provide evidence according to the table below:

| Specific Goals | Acceptance Evidence |
| --- | --- |
| BBBEE | BBBEE Certificate/ Sworn-Affidavit/ BBBEE CIPC Certificate (in case of a JV, a consolidated scorecard will be accepted) as per DTIC guideline |
| EME or QSE that are 51% Black Owned | BBBEE Certificate/ Sworn-Affidavit/ CIPC Certificate |
| Black Woman Owned – 50% Black Woman Owned | CSD (Central Supplier Database) reports/ BBBEE |
| Black Youth Owned – 50% Black Youth Owned | CSD (Central Supplier Database) reports/ BBBEE |

- The Standard Conditions for Request for Quotation

Conditions:

  - All prices quoted must be inclusive of Value Added Tax (VAT).

  - All goods/services purchased will be subject to Air Chefs Conditions of Contract and Order, available when requested.

  - Although Air Chefs would prefer to award this contract to one service provider, it remains at Air Chefs discretion (where applicable) to award to more than one service provider to ensure flexibility in provision of the required goods or services.

  - Air Chefs is not obligated to award this quote to any Bidder- thus entitled to retract this quote at any time as from date of issue, without any refunds whatsoever. Air Chefs is also not obligated to award this quote to the bidder that quotes the lowest.

  - Service, pricing and availability will be taken into consideration.

  - Pricing should be given based on an individual component that would make up the solution based on technical and functional requirements.

Additional Requirements

In addition to the requirements of the Condition of Tender, offers will only be accepted if:

  - The Bidder or any of its directors is not listed on the Register of Tender Defaulters in terms of the Prevention and Combating of Corrupt Activities Act of 2004 as a person prohibited from doing business with the public sector.

  - The Bidder has not abused the Air Chefs’ supply chain management system; and

  - The Bidder has not failed to perform on any previous contract and has not been given written notice to this effect.