NATIONAL TRANSMISSION COMPANY SOUTH AFRICA SOC LIMITED (NTCSA)
Contract No. _________

RF CaBLES AND CONNECTORS




	[image: image1.png]® Eskom

National Transmission
Company South Africa ™






NEC3 Supply Contract (SC3)
	Between


	NATIONAL TRANSMISSION COMPANY SOUTH AFRICA SOC LIMITED (NTCSA)
(Reg No. 2002/015527/30)

	and


	

	for


	Supply and Delivery of RF Cables and Connectors on an as and when required basis for a period of five (5) years.

	
	

	Contents:


	
	No of pages

	Part C1
	Agreements & Contract Data
	[22]

	Part C2
	Pricing Data
	[3]

	Part C3
	Goods Information
	[10]

	
	
	

	CONTRACT No:
	__________________________

	
	

	
	

	
	


PART C1:
AGREEMENTS & CONTRACT DATA

	Contents:


	
	No of pages

	C1.1
	Form of Offer and Acceptance 
	[4]

	C1.2a
	Contract Data provided by the Purchaser
	[17]

	C1.2b
	Contract Data provided by the Supplier

	[1]

	
	
	


C1.1 Form of Offer & Acceptance

Offer

The Purchaser, identified in the Acceptance signature block, has solicited offers to enter into a contract for the procurement of:

Supply and Delivery of RF Cables and Connectors on an as and when required basis for a period of five (5) years.
The tenderer, identified in the Offer signature block, has

	either
	examined the documents listed in the Tender Data and addenda thereto as listed in the Returnable Schedules, and by submitting this Offer has accepted the Conditions of Tender.

	or
	examined the draft contract as listed in the Acceptance section and agreed to provide this Offer.


By the representative of the tenderer, deemed to be duly authorised, signing this part of this Form of Offer and Acceptance the tenderer offers to perform all of the obligations and liabilities of the Supplier under the contract including compliance with all its terms and conditions according to their true intent and meaning for an amount to be determined in accordance with the conditions of contract identified in the Contract Data. 

	
	The offered total of the Prices exclusive of VAT is 
	Not Applicable – as and when required basis 

	
	Value Added Tax @ 15% is
	Not Applicable – as and when required basis 

	
	The offered total of the amount due inclusive of VAT is

	Not Applicable – as and when required basis 

	
	(in words) Not Applicable – as and when required basis 


This Offer may be accepted by the Purchaser by signing the Acceptance part of this Form of Offer and Acceptance and returning one copy of this document including the Schedule of Deviations (if any) to the tenderer before the end of the period of validity stated in the Tender Data, or other period as agreed, whereupon the tenderer becomes the party named as the Supplier in the conditions of contract identified in the Contract Data.

	Signature(s)


	
	
	

	Name(s)


	
	
	

	Capacity


	
	
	

	For the tenderer:

	

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	

	
	


Acceptance

By signing this part of this Form of Offer and Acceptance, the Purchaser identified below accepts the tenderer’s Offer.  In consideration thereof, the Purchaser shall pay the Supplier the amount due in accordance with the conditions of contract identified in the Contract Data.  Acceptance of the tenderer’s Offer shall form an agreement between the Purchaser and the tenderer upon the terms and conditions contained in this agreement and in the contract that is the subject of this agreement.

The terms of the contract, are contained in: 

Part C1

Agreements and Contract Data, (which includes this Form of Offer and Acceptance)

Part C2

Pricing Data

Part C3

Scope of Work:  Goods Information including Supply Requirements

and drawings and documents (or parts thereof), which may be incorporated by reference into the above listed Parts.

Deviations from and amendments to the documents listed in the Tender Data and any addenda thereto listed in the Returnable Schedules as well as any changes to the terms of the Offer agreed by the tenderer and the Purchaser during this process of offer and acceptance, are contained in the Schedule of Deviations attached to and forming part of this Form of Offer and Acceptance.  No amendments to or deviations from said documents are valid unless contained in this Schedule.

The tenderer shall within two weeks of receiving a completed copy of this agreement, including the Schedule of Deviations (if any), contact the Purchaser’s agent (whose details are given in the Contract Data) to arrange the delivery of any securities, bonds, guarantees, proof of insurance and any other documentation to be provided in terms of the conditions of contract identified in the Contract Data at, or just after, the date this agreement comes into effect.  Failure to fulfil any of these obligations in accordance with those terms shall constitute a repudiation of this agreement.

Notwithstanding anything contained herein, this agreement comes into effect on the date when the tenderer receives one fully completed and signed original copy of this document, including the Schedule of Deviations (if any).  

	Signature(s)


	
	
	

	Name(s)
	Alison Maseko


	
	

	Capacity


	Senior Manager

Telecommunications
	
	

	for the Purchaser

	NTCSA, Megawatt Park, Maxwell Drive, Sandton, Johannesburg, 2199

	Name & signature of witness
	(Insert name and address of organisation)
	
	Date
	


Note: If a tenderer wishes to submit alternative tenders, use another copy of this Form of Offer and Acceptance.

C1.2 SC3 Contract Data
Part one - Data provided by the Purchaser
	Clause
	Statement
	Data

	1
	General
	

	
	The conditions of contract are the core clauses and the clauses for Options 
	X1        Price adjustment for inflation

	
	
	X2
      Changes in the law

	
	
	X3:

Multiple currencies

	
	
	X7:

Delay damages

	
	
	Z:

Additional conditions of contract

	
	of the NEC3 Supply Contract (April 2013) 

	(If the December 2009 edition is to be used delete April 2013 and replace by December 2013)

	10.1
	The Purchaser is (name):
	NTCSA (reg no: 2002/015527/30), a state owned company incorporated in terms of the company laws of the Republic of South Africa

	
	Address
	Registered office at Megawatt Park, Maxwell Drive, Sandton, Johannesburg

	10.1
	The Supply Manager is (name): 
	Thulani Mkhwanazi

	
	Address
	Cnr Power and Lake

Germiston 

1400

	
	Tel
	011 871 3587 / 082 828 5377

	
	e-mail
	thulani.mkhwanazi@ntcsa.co.za

	11.2(13)
	The goods are 
	Supply of the RF Cables and Connectors 

	11.2(13)
	The services are 
	Supply and Delivery of RF Cables and Connectors on an as and when required basis for a period of five (5) years.

	11.2(14)
	The following matters will be included in the Risk Register
	Not Applicable

	11.2(15)
	The Goods Information is in 
	Part 3: Scope of Work and all documents and drawings to which it makes reference.

	11.2(15)
	The Supply Requirements as part of the Goods Information is in 
	Annexure A to this Contract Data

	12.2
	The law of the contract is the law of 
	the Republic of South Africa

	13.1
	The language of this contract is 
	English

	13.3
	The period for reply is
	One (1) calendar week.

	2
	The Supplier’s main responsibilities
	Data required by this section of the core clauses is provided by the Supplier in Part 2 and terms in italics used in this section are identified elsewhere in this Contract Data.

	3
	Time
	

	30.1
	The starting date is.
	The date of signature of the last party to the contract

	30.1
	The delivery date of the goods and services is:
	Stated on each individual

Task Order in accordance

with the specified delivery lead

times 
	

	31.1
	The Supplier is to submit a first programme for acceptance within 
	Two (2) calendar weeks from receipt of a Task Order.

	
	The Supplier is to submit the following OHS documents within four (4) weeks after contract signature
	Refer to attached Contractor SHE Plan / SHE File Evaluation- doc No 240-130287942

	32.2
	The Supplier submits revised programmes at intervals no longer than 
	Four (4) calendar weeks.

	4
	Testing and defects
	

	42
	The defects date is 
	Fifty-two (52) weeks after Delivery.

	43.2
	The defect correction period is 
	

	5
	Payment
	

	51.1
	The currency of this contract is the 
	South African Rand. 



	51.2
	The period within which payments are made is
	Sixty (60) days for Orders placed for values above R50 Million and thirty (30) days for  Orders placed for values below R50 Million paid as follows:
100% Payment on completion of an activity as per the activity schedule


	51.4
	The interest rate is 


	(i)
For ZAR, it is the publicly quoted prime rate published by the South African Reserve Bank.

(ii)
For USD, it is the secured overnight financing rate (SOFR) administered by the Federal Reserve Bank of New York (or any other person which takes over the administration of that rate) published by the Federal Reserve Bank of New York (or any other person which takes over the publication of that rate), and depending on the period, the 30-day, 90-day or 180-day average SOFR (simple compounding convention) rates will apply and, for periods longer than 180 days, interest will be based on an extended 180-day period/s.

(iii)
For other currencies, it is the publicly quoted risk-free reference rate as published by the applicable Central Bank of the applicable currency,

or, if this is not available,

the LIBOR rate applicable at the time for amounts due in other currencies.  LIBOR is the 6 month London Interbank Offered Rate quoted under the caption “Money Rates” in The Wall Street Journal for the applicable currency or if no rate is quoted for the currency in question then the rate for United States Dollars, and if no such rate appears in The Wall Street Journal then the rate as quoted by the Reuters Monitor Money Rates Service (or such service as may replace the Reuters Monitor Money Rates Service) on the due date for the payment in question, adjusted mutatis mutandis every 6 months thereafter and as certified, in the event of any dispute, by any manager employed in the foreign exchange department of The Standard Bank of South Africa Limited/South African Reserve Bank, whose appointment it shall not be necessary to prove.

	6
	Compensation events
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	7
	Title
	There is no reference to Contract Data in this section of the core clauses and terms in italics used in this section are identified elsewhere in this Contract Data.

	8
	Risks, liabilities, indemnities and insurance
	

	88.1
	The Supplier’s liability to the Purchaser for indirect or consequential loss, including loss of profit, revenue and goodwill is limited to
	Total value of the contract

	88.2
	For any one event, the Supplier’s liability to the Purchaser for loss of or damage to the Purchaser’s property is limited to
	(1) for the Purchaser’s existing and surrounding property in the care, custody and control of the Supplier the amount of the deductible (first amount payable) relevant to the event described in the “Format A” insurance policy available on http://www.eskom.co.za/Tenders/InsurancePoliciesProcedures/Pages/EIMS_Policies_

From_1_April_2014_To_31_March_2015.aspx
and
(2) for all other existing Purchaser’s property the highest applicable deductible (first amount payable) namely:

· R15 million (fifteen million Rand) for Generation Division property;

· R7.5 million (seven million five hundred thousand Rand) for Transmission Division property and;

· R1 million (one million Rand) for Distribution Division and all other Purchaser’s property

See notes in Annexure B


	88.3
	The Supplier’s liability for Defects due to his design which are not notified before the last defects date is limited to:
	The total value spent on the contract.


	88.4
	The Supplier’s total liability to the Purchaser, for all matters arising under or in connection with this contract, other than the excluded matters, is limited to
	The total value spent on the contract.


	88.5
	The end of liability date is 
	One (1) year after Delivery of the whole of the  goods and services.

	9
	Termination and dispute resolution
	

	94.1
	The Adjudicator is 
	the person selected from the ICE-SA Division (or its successor body) of the South African Institution of Civil Engineering Panel of Adjudicators by the Party intending to refer a dispute to him.  (see www.ice-sa.org.za). If the Parties do not agree on an Adjudicator the Adjudicator will be appointed by the Arbitration Foundation of Southern Africa (AFSA).

	94.2(3)
	The Adjudicator nominating body is: 
	the Chairman of ICE-SA, a Division of the South African Institution of Civil Engineering, or its successor body (See www.ice-sa.org.za)

	94.4(2)
	The tribunal is: 
	Arbitration

	94.4(5)
	The arbitration procedure is 
	the latest edition of Rules for the Conduct of Arbitrations published by The Association of Arbitrators (Southern Africa) or its successor body.

	94.4(5)
	The place where arbitration is to be held is
	Gauteng South Africa

	
	The person or organisation who will choose an arbitrator 

· if the Parties cannot agree a choice or
· if the arbitration procedure does not state who selects an arbitrator, is
	the Chairman for the time being or his nominee of the Association of Arbitrators (Southern Africa) or its successor body.

	10
	Data for Option clauses
	

	X1
	The base date for indices is 
	One month before the closing date of the enquiry 

	
	The proportions used to calculate the Price Adjustment Factor are:
	proportion
	linked to index for
	Index prepared by

	
	Please refer to the attached excel Pricing Schedule – Annexure: K
	
	
	

	
	
	15%
	non-adjustable
	

	
	Please note that NTCSA requires a minimum fixed portion of 15%
	1.00
CPA will be applicable 12 months after contract start date. Contract price adjustments may be applicable from the anniversary of the contract. It is the supplier’s responsibility to submit valid CPA invoices with verified calculations and supporting documents

	X2
	Changes in the law
	

	X2.1
	A change in the law of 


	South Africa is a compensation event if it occurs after the starting date of the Contract.

	X3
	Multiple currencies
	Supplier to propose

	X3.1


	The Purchaser will pay for these items in the currencies stated
	Items

	Other currency

	Total maximum payment in the currency



	
	Please refer to the attached excel Pricing Schedule – Annexure: K
	[●]
	
	

	
	
	
	
	     

	
	
	[●]


	
	

	X3.1
	The exchange rates are those published in
	[●] on [●] (date)

	
	
	The items will be paid in the other currency 

- to a foreign Bank account nominated by the Supplier 

- to a valid SARB approved CFC account in South Africa

- in accordance with an alternative payment method agreed with the Purchaser before the Contract Date.



	X7
	Delay damages
	

	X7.1
	Delay damages for Delivery are
	Delivery of
	amount per day

	
	
	< R100 000.00
	R150.00 per day: Max penalty value of R6000.00

	
	
	> R100 000.00 < R250 000.00
	R250.00 per day: Max penalty value of R10 000.00

	
	
	> R250 000.00 < R500 000.00
	R500.00 per day: Max penalty value of R20 000.00

	
	
	> R500 000.00
	R1000.00 per day: Max penalty value of R50 000.00



	
	Delivery lead time
	[●]__________week(s) from receipt of an official task / SAP purchase order
	

	Z
	The additional conditions of contract are
	Z1 to Z15 always apply for NTCSA

	
	

	Z1
	Cession delegation and assignment

	Z1.1
	The Supplier does not cede, delegate or assign any of its rights or obligations to any person without the written consent of the Purchaser.

	Z1.2
	Notwithstanding the above, the Purchaser may on written notice to the Supplier cede and delegate its rights and obligations under this contract to any of its subsidiaries or any of its present divisions or operations which may be converted into separate legal entities as a result of the restructuring of the Electricity Supply Industry. 

	
	

	Z2
	Joint ventures

	Z2.1
	If the Supplier constitutes a joint venture, consortium or other unincorporated grouping of two or more persons or organisations then these persons or organisations are deemed to be jointly and severally liable to the Purchaser for the performance of this contract.

	Z2.2
	Unless already notified to the Purchaser, the persons or organisations notify the Supply Manager within two weeks of the Contract Date of the key person who has the authority to bind the Supplier on their behalf.

	Z2.3
	The Supplier does not alter the composition of the joint venture, consortium or other unincorporated grouping of two or more persons without the consent of the Purchaser having been given to the Supplier in writing.

	
	

	Z3
	Change of Broad Based Black Economic Empowerment (B-BBEE) status

	Z3.1
	Where a change in the Supplier’s legal status, ownership or any other change to his business composition or business dealings results in a change to the Supplier’s B-BBEE status, the Supplier notifies the Purchaser within seven days of the change.

	Z3.2
	The Supplier is required to submit an updated verification certificate and necessary supporting documentation confirming the change in his B-BBEE status to the Supply Manager within thirty days of the notification or as otherwise instructed by the Supply Manager.

	Z3.3
	Where, as a result, the Supplier’s B-BBEE status has decreased since the Contract Date the Purchaser may either re-negotiate this contract or alternatively, terminate the Supplier’s obligation to Provide the Goods and Services.

	Z3.4
	Failure by the Supplier to notify the Purchaser of a change in its B-BBEE status may constitute a reason for termination. If the Purchaser terminates in terms of this clause, the procedures on termination are P1, P2 and P3 as stated in clause 92, and the amount due is A1 and A3 as stated in clause 93.

	
	

	Z4
	Confidentiality

	Z4.1
	The Supplier does not disclose or make any information arising from or in connection with this contract available to Others. This undertaking does not, however, apply to information which at the time of disclosure or thereafter, without default on the part of the Supplier, enters the public domain or to information which was already in the possession of the Supplier at the time of disclosure (evidenced by written records in existence at that time).  Should the Supplier disclose information to Others in terms of clause 23.1, the Supplier ensures that the provisions of this clause are complied with by the recipient.

	Z4.2
	If the Supplier is uncertain about whether any such information is confidential, it is to be regarded as such until notified otherwise by the Supply Manager.

	Z4.3
	In the event that the Supplier is, at any time, required by law to disclose any such information which is required to be kept confidential, the Supplier, to the extent permitted by law prior to disclosure, notifies the Purchaser so that an appropriate protection order and/or any other action can be taken if possible, prior to any disclosure.  In the event that such protective order is not, or cannot, be obtained, then the Supplier may disclose that portion of the information which it is required to be disclosed by law and uses reasonable efforts to obtain assurances that confidential treatment will be afforded to the information so disclosed.

	Z4.4
	The taking of images (whether photographs, video footage or otherwise) of the goods or any portion thereof, in the course of Providing the Goods and Services and after Delivery, requires the prior written consent of the Supply Manager.  All rights in and to all such images vests exclusively in the Purchaser.  

	Z4.5
	The Supplier ensures that all his subcontractors abide by the undertakings in this clause.

	
	

	Z5
	Waiver and estoppel: Add to core clause 12.3:

	Z5.1
	Any extension, concession, waiver or relaxation of any action stated in this contract by the Parties, the Supply Manager or the Adjudicator does not constitute a waiver of rights, and does not give rise to an estoppel unless the Parties agree otherwise and confirm such agreement in writing.

	
	

	Z6
	Health, safety and the environment:  Add to core clause 25.4

	Z6.1
	The Supplier undertakes to take all reasonable precautions to maintain the health and safety of persons in and about the provision of the goods and execution of the services. 

Without limitation the Supplier:

· warrants that the total of the Prices as at the Contract Date includes a sufficient amount for proper compliance with all applicable health & safety laws and regulations and the health and safety rules, guidelines and procedures provided for in this contract and generally for the proper maintenance of health & safety in and about the execution of supply and

· undertakes, in and about the execution of the supply, to comply with all applicable health & safety laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing.

	Z6.2
	The Supplier, in and about the execution of the supply, complies with all applicable environmental laws and regulations and rules, guidelines and procedures otherwise provided for under this contract and ensures that his Subcontractors, employees and others under the Supplier’s direction and control, likewise observe and comply with the foregoing.

	
	

	Z7
	Provision of a Tax Invoice and interest.  Add to core clause 51

	Z7.1
	Within one week of receiving a payment certificate from the Supply Manager in terms of core clause 51.1, the Supplier provides the Purchaser with a tax invoice in accordance with the Purchaser's procedures stated in the Goods Information, showing the amount due for payment equal to that stated in the payment certificate.

	Z7.2
	If the Supplier does not provide a tax invoice in the form and by the time required by this contract, the time by when the Purchaser is to make a payment is extended by a period equal in time to the delayed submission of the correct tax invoice.  Interest due by the Purchaser in terms of core clause 51.2 is then calculated from the delayed date by when payment is to be made.

	Z7.3
	The Supplier (if registered in South Africa in terms of the companies Act) is required to comply with the requirements of the Value Added Tax Act, no 89 of 1991 (as amended) and to include the Purchaser’s VAT number 4740101508 on each invoice he submits for payment.

	
	

	Z8
	Notifying compensation events

	Z8.1
	Delete from the last sentence in core clause 61.3 the words, “unless the event arises from the Supply Manager giving an instruction, changing an earlier decision or correcting an assumption”.

	
	

	Z9
	Purchaser’s limitation of liability

	Z9.1
	The Purchaser’s liability to the Supplier for the Supplier’s indirect or consequential loss is limited to R0.00 (zero Rand)

	Z9.2
	The Supplier’s entitlement under the indemnity in 83.1 is provided for in 60.1(12) and the Purchaser’s liability under the indemnity is limited.

	
	

	Z10
	Termination: Add to core clause 91.1, at the second main bullet point, fourth sub-bullet point, after the words "against it":  

	Z10.1
	   or had a business rescue order granted against it.

	
	

	Z11
	Addition to secondary Option X7 Delay damages (if applicable in this contract)

	Z11.1
	If the amount due for the Supplier’s payment of delay damages reaches the limits stated in this Contract Data for Option X7, the Purchaser may terminate the Supplier’s obligation to Provide the Goods and Services using the same procedures and payment on termination as those applied for reasons R1 to R15 or R18 stated in the Termination Table.

	
	

	Z12
	Ethics

	For the purposes of this Z-clause, the following definitions apply:

	Affected Party
	means, as the context requires, any party, irrespective of whether it is the Supplier or a third party, such party’s employees, agents, or Subcontractors or Subcontractor’s employees, or any one or more of all of these parties’ relatives or friends,

	Coercive Action
	means to harm or threaten to harm, directly or indirectly, an Affected Party or the property of an Affected Party, or to otherwise influence or attempt to influence an Affected Party to act unlawfully or illegally,

	Collusive Action
	means where two or more parties co-operate to achieve an unlawful or illegal purpose, including to influence an Affected Party to act unlawfully or illegally,

	Committing Party
	means, as the context requires, the Supplier, or any member thereof in the case of a joint venture, or its employees, agents, or Subcontractors or the Subcontractor’s employees,

	Corrupt Action
	means the offering, giving, taking, or soliciting, directly or indirectly, of a good or service to unlawfully or illegally influence the actions of an Affected Party,

	Fraudulent Action
	means any unlawfully or illegally intentional act or omission that misleads, or attempts to mislead, an Affected Party, in order to obtain a financial or other benefit or to avoid an obligation or incurring an obligation,

	Obstructive Action
	means a Committing Party unlawfully or illegally destroying, falsifying, altering or concealing information or making false statements to materially impede an investigation into allegations of Prohibited Action, and

	Prohibited Action
	means any one or more of a Coercive Action, Collusive Action Corrupt Action, Fraudulent Action or Obstructive Action.

	Z12.1
	A Committing Party may not take any Prohibited Action during the course of the procurement of this contract or in execution thereof.

	Z12.2
	The Purchaser may terminate the Supplier’s obligation to Provide the Services if a Committing Party has taken such Prohibited Action and the Supplier did not take timely and appropriate action to prevent or remedy the situation, without limiting any other rights or remedies the Purchaser has. It is not required that the Committing Party had to have been found guilty, in court or in any other similar process, of such Prohibited Action before the Purchaser can terminate the Supplier’s obligation to Provide the Services for this reason.

	Z12.3
	If the Purchaser terminates the Supplier’s obligation to Provide the Services for this reason, the amounts due on termination are those intended in core clauses 92.1 and 92.2.

	Z12.4
	A Committing Party co-operates fully with any investigation pursuant to alleged Prohibited Action. Where the Purchaser does not have a contractual bond with the Committing Party, the Supplier ensures that the Committing Party co-operates fully with an investigation.


Z13
Insurance
Z __13.1
Replace core clause 84 with the following:
	Insurance cover
	84
	

	
	84.1
	When requested by a Party, the other Party provides certificates from his insurer or broker stating that the insurances required by this contract are in force. 

	
	84.2
	The Supplier provides the insurances stated in the Insurance Table A for events which are at the Supplier’s risk from the starting date until the last defects date or a termination certificate has been issued.

	
	
	


	INSURANCE TABLE A

	Insurance against

Minimum amount of cover or minimum limit of indemnity

Loss of or damage to the goods, plant and materials

The replacement cost where not covered by the Purchaser’s insurance.

The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.
Liability for loss of or damage to property (except the goods, plant and materials and equipment) and liability for bodily injury to or death of a person (not an employee of the Supplier) caused by activity in connection with this contract

Loss of or damage to property

Purchaser’s property

The replacement cost where not covered by the Purchaser’s insurance.

The Purchaser’s policy deductible as at Contract Date, where covered by the Purchaser’s insurance.
Other property

The replacement cost
Death of or bodily injury

The amount required by the applicable law.

Liability for death of or bodily injury to employees of the Supplier arising out of and in the course of their employment in connection with this contract

The amount required by the applicable law 




Z _13.2

Replace core clause 87 with the following:
	Insurance by the Purchaser
	
	87
	

	
	
	87.1
	The Purchaser provides the insurances stated in the Insurance Table B

	
	
	
	INSURANCE TABLE B
Insurance against or name of policy
Minimum amount of cover or minimum limit of indemnity

Assets All Risk

Per the insurance policy document

Contract Works insurance

Per the insurance policy document

Environmental Liability

Per the insurance policy document
General and Public Liability

Per the insurance policy document
Transportation (Marine)

Per the insurance policy document
Motor Fleet and Mobile Plant

Per the insurance policy document
Terrorism

Per the insurance policy document
Cyber Liability

Per the insurance policy document

Nuclear Material Damage and Business Interruption
Per the insurance policy document
Nuclear Material Damage Terrorism
Per the insurance policy document


	Z14
	Nuclear Liability

	Z14.1
	The Purchaser is the operator of the Koeberg Nuclear Power Station (KNPS), a nuclear installation, as designated by the National Nuclear Regulator of the Republic of South Africa, and is the holder of a nuclear licence in respect of the KNPS.

	Z14.2
	The Purchaser is solely responsible for and indemnifies the Supplier or any other person against any and all liabilities which the Supplier or any person may incur arising out of or resulting from nuclear damage, as defined in Act 47 of 1999, save to the extent that any liabilities are incurred due to the unlawful intent of the Supplier or any other person or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser.

	Z14.3
	Subject to clause Z14.4 below, the Purchaser waives all rights of recourse, arising from the aforesaid, save to the extent that any claims arise or liability is incurred due or attributable to the unlawful intent of the Supplier or any other person, or the presence of the Supplier or that person or any property of the Supplier or such person at or in the KNPS or on the KNPS site, without the permission of the Purchaser or of a person acting on behalf of the Purchaser.

	Z14.4
	The Purchaser does not waive its rights provided for in section 30 (7) of Act 47 of 1999, or any replacement section dealing with the same subject matter.

	Z14.5
	The protection afforded by the provisions hereof shall be in effect until the KNPS is decommissioned.

	
	

	Z15
	Asbestos

	For the purposes of this Z-clause, the following definitions apply:

	AAIA
	means approved asbestos inspection authority.

	ACM
	means asbestos containing materials.

	AL
	means action level, i.e. a level of 50% of the OEL, i.e. 0.1 regulated asbestos fibres per ml of air measured over a 4 hour period. The value at which proactive actions is required in order to control asbestos exposure to prevent exceeding the OEL.

	Ambient Air
	means breathable air in area of work with specific reference to breathing zone, which is defined to be a virtual area within a radius of approximately 30cm from the nose inlet.

	Compliance Monitoring
	means compliance sampling used to assess whether or not the personal exposure of workers to regulated asbestos fibres is in compliance with the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	OEL
	means occupational exposure limit.

	Parallel Measurements
	means measurements performed in parallel, yet separately, to existing measurements to verify validity of results.

	Safe Levels
	means  airborne asbestos exposure levels conforming to the Standard’s requirements for safe processing, handling, storing, disposal and phase-out of asbestos and asbestos containing material, equipment and articles.

	Standard
	means the Purchaser’s Asbestos Standard 32-303: Requirements for Safe Processing, Handling, Storing, Disposal and Phase-out of Asbestos and Asbestos Containing Material, Equipment and Articles.

	SANAS
	means the South African National Accreditation System.

	TWA
	means the average exposure, within a given workplace, to airborne asbestos fibres, normalised to the baseline of a 4 hour continuous period, also applicable to short term exposures, i.e. 10-minute TWA.

	Z15.1
	The Purchaser ensures that the Ambient Air in the area where the Supplier will Provide the Services conforms to the acceptable prescribed South African standard for asbestos, as per the regulations published in GNR 155 of 10 February 2002, under the Occupational Health and Safety Act, 1993 (Act 85 of 1993) (“Asbestos Regulations”). The OEL for asbestos is 0.2 regulated asbestos fibres per millilitre of air as a 4-hour TWA, averaged over any continuous period of four hours, and the short term exposure limit of 0.6 regulated asbestos fibres per millilitre of air as a 10-minute TWA, averaged over any 10 minutes, measured in accordance with HSG248 and monitored according to HSG173 and OESSM.

	Z15.2
	Upon written request by the Supplier, the Purchaser certifies that these conditions prevail. All measurements and reporting are effected by an independent, competent, and certified occupational hygiene inspection body, i.e. a SANAS accredited and Department of Employment and Labour approved AAIA. The Supplier may perform Parallel Measurements and related control measures at the Supplier’s expense. For the purposes of compliance the results generated from Parallel Measurements are evaluated only against South African statutory limits as detailed in clause Z15.1. Control measures conform to the requirements stipulated in the AAIA-approved asbestos work plan.

	Z15.3
	The Purchaser manages asbestos and ACM according to the Standard.

	Z15.4
	In the event that any asbestos is identified while Providing the Services, a risk assessment is conducted and if so required, with reference to possible exposure to an airborne concentration of above the AL for asbestos, immediate control measures are implemented and relevant air monitoring conducted in order to declare the area safe.

	Z15.5
	The Supplier’s personnel are entitled to stop working and leave the contaminated area forthwith until such time that the area of concern is declared safe by either Compliance Monitoring or an AAIA approved control measure intervention, for example, per the emergency asbestos work plan, if applicable.

	Z15.6
	The Supplier continues to Provide the Services, without additional control measures presented, on presentation of Safe Levels. The contractually agreed dates to Provide the Services, including the Completion Date, are adjusted accordingly. The contractually agreed dates are extended by the notification periods required by regulations 3 and 21 of the Asbestos Regulations.

	Z16
	Task Order

A Task Order under this contract is the Purchaser’s instruction to carry out a task in the Task Order. A Task Order includes:

· A detailed description of the work in the Task,

· A priced list of items of work in the Task in which items taken from the Task schedule are identified,

· The starting and completion date for the Task,

· The amount of delay damages for late completion of the Task and 

· The total of the prices for the Task

The Supplier considers, acknowledges and accepts a Task Order in writing, which acceptance 


Annexure A:
Supply Requirements
Annexure A:
Supply Requirements
The Supply Requirements for this contract are based on the use of INCOTERMS:

The Supplier supplies the goods in accordance with INCOTERMS 2010
 as follows:

	Group
	Category
	Term
	Delivery Place

	D
	arrival
	DDP
	Telecomms Warehouse – Germiston


The Parties obligations described in Incoterms for the category and term selected are now incorporated into this contract as part of the Supply Requirements and hence the Goods Information.  

The obligations of seller and buyer for the selected Incoterm determine each Party's costs, risks and insurance requirements incidental to the supply and transport of the goods from Supplier to Purchaser.

For each of the thirteen terms, Incoterms set out obligations of the seller (the Supplier) in ten paragraphs identified as A1 to A10 and the corresponding obligations of the buyer (the Purchaser) in paragraphs B1 to B10.  These obligations cover the following subjects:

	A
	The Supplier’s obligations
	B
	The Purchaser’s obligations

	A1
	Provision of goods in conformity with contract
	B1
	Payment of the price

	A2
	Licences, authorisations and formalities
	B2
	Licences, authorisations and formalities

	A3 
	Contracts of carriage and insurance
	B3
	Contracts of carriage and insurance

	A4
	Delivery
	B4
	Taking delivery

	A5
	Transfer of risks
	B5
	Transfer of risks

	A6 
	Division of costs
	B6
	Division of costs

	A7
	Notice to the buyer 
	B7
	Notice to the seller

	A8
	Proof of delivery, transport document or equivalent electronic message
	B8
	Proof of delivery, transport document or equivalent electronic message

	A9
	Checking - packing - marking
	B9
	Inspection of goods

	A10
	Other obligations
	B10
	Other obligations


All other information NOT pertinent to the above is given in the balance of the Goods Information
C1.2 Contract Data

	Clause
	Statement
	Data

	10.1
	The Supplier is (Name):
	

	
	Address
	

	
	Tel No.
	

	
	Fax No.
	N/A

	11.2(11)
	The tendered total of the Prices is
	 as and when required

	11.2(12)
	The price schedule is in:
	The Pricing Data

	11.2(14)
	The following matters will be included in the Risk Register
	None

	63.2
	The percentage for overheads and profit added to the Defined Cost is
	%


Part 2: Pricing Data

NEC3 Supply Contract

	Document reference
	Title
	No of pages

	C2.1
	Pricing assumptions
	2

	C2.2
	The price schedule 
	1


C2.1 Pricing assumptions

How goods and services are priced and assessed for payment

Clause 11 in NEC3 Supply Contract, (SC3) core clauses states:

	Identified and defined terms
	11

11.2
	(11) The Prices are the amounts stated in the price column of the Price Schedule.  Where a quantity is stated for an item in the Price Schedule, the Price is calculated by multiplying the quantity by the rate.



	
	
	(12) The Price Schedule is the price schedule unless later changed in accordance with this contract.



	Assessing the amount due
	50.2
	The amount due is

· the Price for each lump sum item in the Price Schedule which the Supplier has completed, 

· where a quantity is stated for an item in the Price Schedule, an amount calculated by multiplying the quantity which the Supplier has completed by the rate,

· plus other amounts to be paid to the Supplier,

· less amounts to be paid by or retained from the Supplier.

Any tax which the law requires the Purchaser to pay to the Supplier is included in the amount due.




This confirms that the Supply Contract is a priced contract where the Prices are derived from a list of items of goods and services which can be priced as lump sums or as expected quantities of goods and services multiplied by a rate, or a mix of both.

Function of the Price Schedule

Clause 53.1 states: “Information in the Price Schedule is not Goods Information”.  This confirms that instructions to do work or how it is to be done are not included in the Price Schedule but in the Goods Information.  This is further confirmed by Clause 20.1 which states, “The Supplier Provides the Goods and Services in accordance with the Goods Information”. Hence the Supplier does not Provide the Goods and Services in accordance with the Price Schedule.   The Price Schedule is only a pricing document.  

Preparing the price schedule
Items in the price schedule may have been inserted by the Purchaser and the tendering supplier should insert any additional items which he considers necessary.  Whichever party provides the items in the price schedule the total of the Prices is assumed to be fully inclusive of everything necessary to Provide the Goods and Services as described at the time of entering into this contract.

It will be assumed that the tendering supplier has 

· Read Pages 8, 11, 12 and Appendix 5 of the SC3 Guidance Notes before preparing the price schedule;
· Included in his Prices and rates for correction of Defects (core clause 43.1) as there is no compensation event for this unless the Defect is due to a Supplier’s risk;

· Spread the cost of doing work he chooses not to list as separate items in the price schedule across other Prices and rates in order to fulfil the obligation to Provide the Goods and Services for the tendered total of the Prices; 

· Understood that there is no adjustment to lump sum prices in the price schedule if the amount, or quantity, of work within that lump sum item later turns out to be different to that which the Supplier estimated at time of tender. The only basis for a change to the Prices is as a result of a compensation event per clause 60.1;

· Understood that the Supplier does not have to allow in his Prices and rates for matters that may arise as a result of a compensation event.

Format of the price schedule
Entries in the first four columns in the price schedule in section C2.2 are made either by the Purchaser or the tendering supplier. 

If the Supplier is to be paid an amount for the item which is not adjusted if the quantity of work in the item changes, the tendering supplier enters the amount in the Price column only, the Unit, Quantity and Rate columns being left blank.

If the Supplier is to be paid an amount for the item which is the rate for the item multiplied by the quantity completed, the tendering Supplier enters the rate which is then multiplied by the Quantity to produce the Price, which is also entered.

If the Supplier is to be paid an amount for an item proportional to the length of time for which the goods and services are provided, a unit of time is stated in the Unit column and the length of time (as a quantity of the stated units of time) is stated in the Quantity column.

C2.2 the price schedule
Please refer to the attached Excel Pricing Schedule, Annexure: K
Part 3: GOODS INFORMATION
	Document reference
	Title
	No of pages

	
	This cover page
	1

	C3.1
	Purchaser’s Goods Information
	9

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	Total number of pages
	10


C3.1: Purchaser’s Goods Information

Contents

1Part 3: Scope of Work


2C3.1: Purchaser’s Goods Information


41
Overview and purpose of the goods and services


42
Specification and description of the goods


42.1
Purchaser’s design


42.2
Procedure for submission and acceptance of Supplier’s design


42.3
Other requirements of the Supplier’s design


52.4
Use of Supplier’s design


52.5
Manufacture & fabrication


52.6
Factory acceptance testing (FAT)


52.7
Other tests and inspections and commissioning in place of use


52.8
Operating manuals and maintenance schedules


53
Supply Requirements


64
Specification of the services to be provided


65
Constraints on how the Supplier Provides the Goods


65.1
Programming constraints


65.2
Work to be done by the Delivery Date


65.3
Marking the goods


65.4
Constraints at the delivery place and place of use


65.5
Cooperating with Others


75.6
Services & other things to be provided by the Purchaser or Supplier


75.7
Management meetings


75.8
Documentation control


85.9
Health and safety risk management


85.10
Environmental constraints and management


85.11
Quality


85.12
Invoicing and payment


85.13
Insurance provided by the Purchaser


95.14
Contract change management


95.15
Provision of bonds and guarantees


95.16
Records of Defined Cost, payments & assessments of compensation events to be kept by the Supplier


96
Procurement


96.1
Subcontracting


96.1.1
Preferred subcontractors


96.1.2
Limitations on subcontracting


96.1.3
Spares and consumables


106.1.4
Other requirements related to procurement


106.1.5
Cataloguing requirements




Overview and purpose of the goods and services
Supply and Delivery of RF Cables and Connectors on an as and when required basis for a period of five (5) years.
Specification and description of the goods
The purpose of the contract is to establish a RF Cables and Connectors contract capable of fulfilling the Purchaser’s requirements specified in the following documents:

1.RF Cables and Connectors Specification
2. 240-135089195 Generic Technical Requirements For NTCSA Telecoms Contracts,

3. 240-86458714 generic requirements specification for a telecommunications network management solution

4.Safety and Health Specification

5. 240- 105658000 Supplier Quality Management Specification

6. 240-73418055 Environmental Specification.

7. 240-77471499 Annexure B : Acknowledgement form of NTCSA rules

8. 240-77471651 Annexure C1 SHE tender Evaluation template.

9. HIRA

10. 240-68099512 Form A 2018

11. 240-86458714 Rev3 Schedule of Compliance

12. 240-135089195 Schedule of Compliance

Purchaser’s design

The Purchaser shall provide the Supplier with all information required to complete network designs e.g. required performance specifications, underlying transmission medium performance, hop distances, etc.  

The Purchaser shall verify and accept the network designs prior to implementation thereof.  However, such inspection and acceptance of the designs shall not relieve the Supplier of their responsibility to meet all the network performance requirements, and it shall not prevent subsequent rejection of the design if it is found to perform below specification during commissioning and testing.  

For each task order and prior to installation, the Purchaser shall compile a site survey report providing details of the availability of site specific requirements for successful installations. However, the Purchaser may request the Supplier to perform this work.   

After the Supplier site visits and the site visit report has been issued to the Purchaser, the Purchaser shall provide any missing infrastructure and facilities not supplied with the equipment (e.g. DC supply) that are necessary for the completion of the site works as indicated in the Supplier’s site survey report.

The Purchaser shall organise access to all sites for the Supplier as per the agreed programme

Procedure for submission and acceptance of Supplier’s design

The design shall be submitted to the Purchaser for the relevant task order. The Purchaser shall evaluate the submitted design and approve/reject the submission. The Purchaser shall then notify the Supplier of acceptance or alternatively provide reasons for not accepting the design.

Other requirements of the Supplier’s design

The Supplier’s design must take into account existing and future network migration plans as advised by the Purchaser.

The Supplier shall provide a Station Handbook unique to each station in a project after installation, testing, commissioning and acceptance.  This handbook shall provide "as built" documentation, such as wiring interconnection tables or drawings, dimensioned sketches of equipment layouts, equipment configurations and similar information.  Commissioning test results shall also be placed in the Station Handbook.  An additional copy of these handbooks shall be supplied to the Purchaser’s Project Manager on the project
Use of Supplier’s design

The Supplier’s design may be used for other planning purposes (in other technology platforms) internal to the Purchaser
Manufacture & fabrication

N/A

Factory acceptance testing (FAT)

The Supplier shall demonstrate that the works can operate as guaranteed by the Supplier (in Supplier’s Goods Information) or specified by the Purchaser either here or elsewhere in this Goods Information. 

The Supplier shall provide the Purchaser with a full set of factory acceptance tests results for all equipment supplied on or before delivery.  These should indicate that the equipment meets its specification.  The equipment shall not be dispatched from the factory for delivery to the Purchaser until it has passed its Factory Acceptance Tests.  

The Purchaser shall appoint a representative to inspect and accept the equipment on delivery at the Supplier’s stores and/or at site prior to installation.  Such inspection shall not relieve the Supplier of their responsibility to meet all the requirements of the various specifications, and it shall not prevent subsequent rejection if equipment is later found to be defective when tested after installation.  

All equipment shall be shipped to the Supplier’s stores from the factory and there it shall be inspected by the Purchaser for completeness as per the order prior to delivery to site.  Such inspection shall not relieve the Supplier of their responsibility to meet all the requirements of the various specifications, and it shall not prevent subsequent rejection if equipment is later found to be defective when tested after installation.  The same inspection and acceptance shall be performed by the Purchaser’s appointed representative on site after equipment delivery and prior to installation.

The Purchaser’s requirements are as specified in the specifications referenced in Section 2 of this Part C3: Scope of Work

Other tests and inspections and commissioning in place of use

The Supplier shall supply equipment for the demonstration of the equipment capabilities prior to installation and commissioning. This equipment may also be used for training purposes.
The Purchaser may use any part of the works before Completion has been certified but if he does so, he takes over the part of the works except if the use is for a reason stated below:

•
If the Purchaser’s network stability or services are at risk
Operating manuals and maintenance schedules

The Supplier shall provide Operating Manuals for all the offered equipment.

The Supplier shall provide a Station Handbook unique to each station in a project after installation, testing, commissioning and acceptance.  This handbook shall provide "as built" documentation, such as wiring interconnection tables or drawings, dimensioned sketches of equipment layouts, equipment configurations and similar information.  Commissioning test results shall also be placed in the Station Handbook.  An additional copy of these handbooks shall be supplied to the Purchaser Project Manager on the project.
Supply Requirements

The Supply Requirements for this contract are in RF Cables and Connectors Specification provided by the Purchaser. 

Specification of the services to be provided

The services requirements for this contract are supply and delivery of RF Cables and Connectors as stated in 

a) 240-135089195 Generic Technical Requirements for NTCSA Telecoms Contracts, 

b)240-86458714 Generic Network Management Specification 

c)240-130816381 Scope of Work for Support of Telecommunications Network and Related Systems

Knowledge artefacts:
The Supplier shall ensure that all issues escalated (and resolved) are recorded and available in an online, searchable facility that is accessible to NTCSA Telecommunications NMC personnel. This body of knowledge shall be handed over to NTCSA at the end of the agreement/contract on memory stick storage.

Constraints on how the Supplier Provides the Goods

Programming constraints 

Not Applicable

Work to be done by the Delivery Date

The work to be done, on as and when required basis is stated in 

a) RF Cables and Connectors, 

b) 240-135089195 Generic Technical Requirements For NTCSA Telecoms Contracts, 

c) 240-86458714 Generic Network Management Specification 

d) 240-130816381 Scope of Work for Support of Telecommunications Network and Related Systems

Delivery of equipment constitutes supply of equipment and presentation of acceptable invoice at the Purchaser
1. Completion of a Final Acceptance Certificate (FAC) and Resolution of Snags List signed by the Purchaser’s representative
2. Submission of As Built Documentation accepted and by Purchaser’s representative
Marking the goods 

Not Applicable

Constraints at the delivery place and place of use

Not Applicable

Cooperating with Others

Not Applicable

Services & other things to be provided by the Purchaser or Supplier
Not Applicable

Management meetings

The Supplier shall have project progress meetings as/when required with the Purchaser. The Purchaser will be represented by project managers and engineers.

These meetings will be chaired by Purchaser and be held as follows:

Regular meetings of a general nature may be convened and chaired by the Supply Manager as follows:

	Title and purpose
	Approximate time & interval
	Location
	Attendance by:

	Project Progress Meeting

Address Delivery, installation scheduling, SHEQ and to address medium to high risk matters
	As and when required
	To be advised
	Supplier and Purchaser representatives (Project Managers and Engineers)

	Supplier Liaison Meeting

Overall contract progress and feedback, technical matters arising, procurement, SHEQ and general issues.
	Monthly 
	To be advised
	Supplier and Purchaser Representative

	Supplier Executive Meeting

Address Supplier relations

Address medium to high risk matters
	Quarterly
	Simmerpan
	Supplier and Purchaser representatives at Middle/Executive Management


Meetings of a specialist nature may be convened as specified elsewhere in this Service Information or if not so specified by persons and at times and locations to suit the Parties, the nature and the progress of the service.  Records of these meetings shall be submitted to the Service Manager by the person convening the meeting within five days of the meeting.  

All meetings shall be recorded using minutes or a register prepared and circulated by the person who convened the meeting.   Such minutes or register shall not be used for the purpose of confirming actions or instructions under the contract as these shall be done separately by the person identified in the conditions of contract to carry out such actions or instructions.

Documentation control

All contractual correspondence between Supplier and Purchaser shall be in the form of a properly compiled letter, dated and bearing the approved letterhead.

The Purchaser shall maintain a record of all contractual communications.

For all documentation the Supplier shall comply with Purchaser’s 32-4 Document Template for procedures, standards, work instructions, guidelines, etc. All documents that shall become the property of the Purchaser and shall comply with 32-4 Purchaser Telecommunications Documentation Template

Technology roadmaps including product lifecycle information for specific items, forms part of the contract and any changes shall be communicated and approved by both parties

Health and safety risk management

The Supplier shall comply with the health and safety requirements contained in 559-227262425 Rev1 OHS Specification for supply and delivery of RF cables and connectors and 32-136 contractor management safety requirements procedure to this Service Information.

The scope of works will involve sites which form part of the Purchaser’s substations, radio sites and where relevant power stations, these sites may impose additional requirements. The Supplier shall cater for these requirements which will include, but will not be limited to, site specific induction and SHE documents/file.

The Supplier shall submit to the Purchaser for approval a detailed SHE plan covering all aspects of the scope and compliant with the Purchaser’s SHE specification and Risk assessment before any work can be done at site during tendering and thereafter a detailed.

The SHE requirements, including on-site SHE files shall be maintained by the Supplier for the duration of the contract.

Environmental constraints and management

The Supplier shall comply with the environmental criteria and constraints specified in the Environmental specification 240 - 73418055

The Supplier shall comply with the environmental criteria and constraints stated in the SHE specification and Risk assessment to this Works Information. 

The Supplier shall comply with the Purchaser’s ZERO harm principle

The Supplier shall compile and manage an Environmental Aspects and Impacts register for the scope of works. This register shall address waste management including the safe disposal and maintenance of safe disposal certificates.

The Supplier shall specify any harmful material(s) contained in the equipment that may affect the environment when the equipment is disposed i.e. how this equipment must be disposed at the end of its life so that it does not affect the environment
Quality

The Supplier shall be ISO 9001 certified or have a documented quality management system As per QM 58 specification for NTCSA Supplier Quality.

The submitted draft CQP and ITP must be reviewed and approved within 30 days after contract award, and both documentations must be used during the execution of the contract.  

The Purchaser’s Quality Control process shall be based on the following stages (quality checks) of the contract:

•
Acceptance of Site Audits by the Purchaser or Purchaser’s representative.

•
Acceptance of detailed design documentation per site before installations.

•
Acceptance of Project Engineering design per site before installations.

•
Recovery of existing equipment – On site inventory versus inventory delivered to stores. Any additional decommissioning costs or scope will be on a quotation basis.

•
Delivery Quality Control – Delivery versus Order

•
Installation Quality Control – Installation versus Installation Standard

•
Commissioning Quality Control - Commissioning versus Commissioning Standard

•
In Service Quality Control - Service Delivery and Performance versus Service Standard

The Supplier shall manage Documentation and Records in accordance with ISO 9001 requirements

Invoicing and payment

The Supplier shall address the tax invoice to Purchaser and include on each invoice the following information:

The Supplier shall address the tax invoice to: 

Accounts Payable, NTCSA, and submit the tax invoice electronically via email through to invoiceseskomlocal@eskom.co.za but they must be sent in PDF format ONLY.
Each PDF file should contain only one invoice, however the email may contain more than one PDF file.

And include on each invoice the following information:

Name and address of the Supplier and the Supply Manager; 

The contract number and title;

Supplier’s VAT registration number;

The Purchaser’s VAT registration number.
Description of goods and services provided for each item invoiced based on the Price Schedule;

Total amount invoiced excluding VAT, the VAT and the invoiced amount including VAT;

(add other as required)

Provision of bonds and guarantees

The form in which a bond or guarantee required by the conditions of contract (if any) is to be provided by the Supplier is given in Part 1 Agreements and Contract Data, document C1.3, Sureties.  

The Purchaser may withhold payment of amounts due to the Supplier until the bond or guarantee required in terms of this contract has been received and accepted by the person notified to the Supplier by the Supply Manager to receive and accept such bond or guarantee.  Such withholding of payment due to the Supplier does not affect the Purchaser’s right to termination stated in this contract. 

Procurement

Subcontracting

The Purchaser may require that the Supplier subcontract certain specialised work, or that the Subcontract shall not subcontract more than a specified proportion of the whole of the contract

Spares and consumables

The Supplier shall keep a list and spares holding of the supplied equipment proportional to the Purchaser’s installed base 

The Supplier shall also advise the Purchaser of a minimum spares holding the Purchaser must retain in the Purchaser’s Warehouse, during and post the contract end date, proportional to the installed base. The spares holding at the Purchaser's warehouse shall be for the Purchaser's account.

Other requirements related to procurement

Not Applicable

Cataloguing requirements by the Supplier
The Supplier shall catalogue all of the offered equipment, with Supplier product codes or numbers, as required in the format of the Pricing Schedule. 

� This total is required by the Purchaser for budgeting purposes only.  Actual amounts due will be assessed in terms of the conditions of contract.


� Available from Engineering Contract Strategies Tel 011 803 3008 Fax 086 539 1902, www.ecs.co.za.


� International Chamber of Commerce, Incoterms 2010, Paris, January 2011







DOCUMENT C2.1
PAGE 2
PRICING DATA




Part C2: Pricing Data
PAGE 1
C2 SC3 Cover

