STATE INFORMATION TECHNOLOGY AGENCY (SOC) LTD

Registration number 1999/001899/30

BID SPECIFICATION

| RFB REF. NO: | RFB 2804-2023 |
| --- | --- |
| DESCRIPTION | Appointment Of Certified Plumbing And Related Trades Service Provider For A Period Of Three (3) Years At SITA Campuses: Centurion, Erasmuskloof, Beta And Numerus. For A Period Of Three (3) Years |
| BRIEFING SESSION | COMPULSORY VIRTUAL BRIEFING SESSION DATE: 29 September 2023 TIME: 10:00am PLACE: Microsoft Teams NOTE: THE COMPULSORY BRIEFING SESSION WILL BE DONE VIRTUALLY. Click here to join the meeting |
| CLOSING DATE FOR QUESTIONS / QUERIES | 06 October 2023 |
| RFB CLOSING DETAILS | DATE: 16 October 2023 TIME: 11:00 am (SOUTH AFRICAN TIME) PLACE: TENDER OFFICE, PONGOLA IN APOLLO, 459 TSITSA STREET, ERASMUSKLOOF, PRETORIA (HEAD OFFICE) |
| RFB VALIDITY PERIOD | 200 DAYS FROM THE CLOSING DATE |

PROSPECTIVE BIDDERS MUST REGISTER ON NATIONAL TREASURY’S CENTRAL SUPPLIER DATABASE PRIOR TO SUBMITTING BIDS.

Contents

ANNEX A:	INTRODUCTION	3

1.	PURPOSE AND BACKGROUND	3

1.1.	PURPOSE	3

1.2.	BACKGROUND	3

2.	SCOPE OF BID	3

2.1.	SCOPE OF WORK / TECHNICAL SPECIFICATION	3

2.1.1 The respective sites and building infrastructure is made up of the following	4

2.2.	DELIVERY ADDRESS	5

3.	TECHNICAL REQUIREMENT OVERVIEW	5

3.1.1.	SITA requires the following services:	5

4.	PROJECT AND SERVICES REQUIREMENTS	5

5.	BID EVALUATION STAGES	6

ANNEX A.1:	ADMINISTRATIVE PRE-QUALIFICATION	7

6.	ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS	7

6.1.	ADMINISTRATIVE PRE-QUALIFICATION VERIFICATION / REQUIREMENTS	7

6.2.	ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS	7

ANNEX A.2:	TECHNICAL MANDATORY REQUIREMENTS	8

7.	TECHNICAL MANDATORY REQUIREMENTS	8

7.1.	INSTRUCTION AND EVALUATION CRITERIA	8

7.2.	TECHNICAL MANDATORY REQUIREMENTS	8

7.3.	DECLARATION OF COMPLIANCE	10

ANNEX A.3:	SPECIAL CONDITIONS OF CONTRACT (SCC)	11

8.	SPECIAL CONDITIONS OF CONTRACT	11

8.1.	INSTRUCTION	11

8.2.	SPECIAL CONDITIONS OF CONTRACT	11

8.3.	DECLARATION OF ACCEPTANCE	23

ANNEX A.4:	COSTING AND PRICING	24

9.	COSTING AND PRICING	24

9.1.	COSTING AND PRICING EVALUATION	24

9.2.	COSTING AND PRICING CONDITIONS	24

9.3.	BID PRICING SCHEDULE	25

9.4.	DECLARATION OF ACCEPTANCE	25

10.	ABBREVIATIONS	31

ANNEX B: BIDDER SUBSTANTIATING EVIDENCE	32

11.	MANDATORY REQUIREMENT EVIDENCE	32

11.1	BIDDER CERTIFICATION / AFFILIATION REQUIREMENTS	32

11.2	CIDB REGISTRATION REQUIREMENT	32

11.3	BIDDER EXPERIENCE AND CAPABILITY REQUIREMENTS	32

11.4 LOCAL CONTENT	Error! Bookmark not defined.

ANNEX C: LOCAL CONTENT REQUIREMENTS	Error! Bookmark not defined.

12.	Mandatory Local Content Requirements:	Error! Bookmark not defined.

INTRODUCTION

# PURPOSE AND BACKGROUND

## PURPOSE

The purpose of this RFB is to invite Suppliers (hereinafter referred to as “bidders”) to submit bids for the “Provision of Plumbing and Related Trade Services for a 3 Year Period at the Centurion, Erasmuskloof, Beta and Numerus SITA Gauteng Buildings”.

## BACKGROUND

The Facilities Management (FM) Department are sourcing a reputable plumbing company to perform work on an ad hoc, project and emergency basis.

We need a reputable plumbing and related company to render services on a 36-month contract to SITA’s 4 buildings as stated below.

The extent of the occupied space and staff complement is estimated to be within the following measurement units which will be reassessed on an ongoing basis with the intake of disabled people:

- SITA Centurion – 29 000 m² for ± 1280 SITAzens and 140 visitors per day.

- SITA Erasmuskloof – 15 000m² for ± 1120 SITAzens and 120 visitors per day.

- SITA Beta – – 8 626m² for ± 126 SITAzens and 40 visitors per day.

- SITA Numerus – 10 988m² for ± 180 SITAzens and 40 visitors per day.

The requirement will be sourced based on the following sourcing and contracting principles:

- Ad Hoc ( As- and- when- required basis )  Services Contract (Three Years).

- Define terms and conditions on client and supplier(s) liabilities

- Define norms and service level standards (penalties).

- Define and monitor compliance with Preferential Procurement Goals

# SCOPE OF BID

## SCOPE OF WORK / TECHNICAL SPECIFICATION

The scope of this project includes but will not be limited to the following infrastructure outputs:

- All Restrooms.

- Industrial kitchens.

- Tea and Coffee stations installations.

- Service Shafts (quarterly cleaning)

- Waste Disposal Areas.

- Boulevards.

- Loading zones.

- Accommodation and domestic areas.

- Exterior terrain installations and equipment.

- All Drainage systems.

- Fire Equipment.

- Gutters and Down pipes.

- Related manholes.

- Main fire supplies

Considering that some of the fresh water and fire supply lines with a diameter of 100 to 150mm that have close off valves are situated up to 2m below the ground, this will require contractors to ensure the following: -

- Emergency and Standby turnaround time service standards.

- Access to specialized, pressure jetting, pipe cutting machines etc.

2.1.1 The respective sites and building infrastructure is made up of the following: -

| No. | Scope Description | Centurion | Erasmuskloof | Beta & Numerus |
| --- | --- | --- | --- | --- |
| 1. | Industrial Kitchen (Fresh Supply & Waste Water Drainage system i.e. Food Preparation. | ± 350 people served daily | ± 350 people served daily | Small /Domestics |
| 2. | Male & Female Toilet Bowls | 150 | 120 | 25 |
| 3. | Urinals | 56 | 40 | 15 |
| 4. | Hand wash basins | 136 | 100 | 10 |
| 5. | Constant Water Supply to Chillers, HVAC Plant Rooms (SITA Data Centres, Switching Centres and Domestics Area cooling system) | Entire scope | Plus, Cooling towers, radiators and Standby generators | Plus, DR Computer data, switching centre, mainframe and printing area |
| 6. | Primary Water Supply (Fire water hose reels, Hydrants, and Sprinklers) | Yes | Yes | Yes |
| 7. | Periodic Unblocking of Sewer and Waste Water Pipes | High Pressure water jetting method | High Pressure water jetting method | High Pressure water jetting method |

## DELIVERY ADDRESS

- The services must be provided at the following physical addresses

| No | Site Name | Physical Address |
| --- | --- | --- |
| 1 | Centurion Data Centre | John Vorster Drive, Centurion, Pretoria |
| 2 | Numerus Data Centre | 35 Hamilton Street, Pretoria |
| 3 | Beta Data Centre | 222 Johannes Ramokhoase, Pretoria |
| 4 | Erasmuskloof Head Office | 459 Tsitsa Street, Pretoria |

TECHNICAL REQUIREMENT OVERVIEW

### SITA requires the following services:

- Appoint Professionally Certified Plumbers and skilled personnel;

- All specification requirements must be to industry norms and standards (ISO/ TC);

- Fixed service contract (3 Years);

- Terms and conditions on Client (SITA) and Suppliers liabilities;

- Norms and service level standards (KPI and penalties for non-performance).

# PROJECT AND SERVICES REQUIREMENTS

As defined in the Technical Mandatory requirements.

# BID EVALUATION STAGES

- The bid evaluation process consists of several stages that are applicable according to the nature of the bid as defined in the table below.

- The bidder must qualify for each stage to be eligible to proceed to the next stage of the evaluation

| Stage | Description | Applicable for this bid |
| --- | --- | --- |
| Stage 1 | Administrative pre-qualification verification | YES |
| Stage 2 | Technical Mandatory requirement evaluation | YES |
| Stage 3 | Special Conditions of Contract verification | YES |
| Stage 4 | Costing and Preference evaluation | YES |

ADMINISTRATIVE PRE-QUALIFICATION

# ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS

## ADMINISTRATIVE PRE-QUALIFICATION VERIFICATION / REQUIREMENTS

- The bidder must comply with ALL of the bid pre-qualification requirements in order for the bid to be accepted for evaluation.

If the Bidder failed to comply with any of the administrative pre-qualification requirements, or if SITA is unable to verify whether the pre-qualification requirements are met, then SITA reserves the right to –

  - Reject the bid and not evaluate it, or

  - Accept the bid for evaluation, on condition that the Bidder must submit within 7 (seven) days any supplementary information to achieve full compliance, provided that the supplementary information is administrative and not substantive in nature.

## ADMINISTRATIVE PRE-QUALIFICATION REQUIREMENTS

- (1) 	Submission of bid response: The bidder has submitted a bid response documentation pack –

  - that was delivered at the correct physical or postal address and within the stipulated date and time as specified in the “Invitation to Bid” cover page, and;

  - in the correct format as one original document, one copy and two copies on memory stick / USB.

- (2) 	Attendance of briefing session: A Compulsory Virtual Briefing session will be held. The bidder has to sign the briefing session attendance register using the same information (bidder company name, bidder representative person name and contact details) as submitted in the bidder’s response document. The attendance of the briefing session is compulsory.

TECHNICAL MANDATORY REQUIREMENTS

# TECHNICAL MANDATORY REQUIREMENTS

## INSTRUCTION AND EVALUATION CRITERIA

- The bidder must comply with ALL the requirements as per section 7.2 below by providing substantiating evidence in the form of documentation or information, failing which it will be regarded as “NOT COMPLY”.

- The bidder must provide a unique reference number (e.g. binder/folio, chapter, section, page) to locate substantiating evidence in the bid response. During evaluation, SITA reserves the right to treat substantiation evidence that cannot be located in the bid response as “NOT COMPLY”.

- The bidder must complete the declaration of compliance as per section Error! Reference source not found. below by marking with an “X” either “COMPLY”, or “NOT COMPLY” with ALL of the technical mandatory requirements, failing which it will be regarded as “NOT COMPLY”.

- The bidder must comply with ALL the TECHNICAL MANDATORY REQUIREMENTS in order for the bid to proceed to the next stage of the evaluation.

- No URL references or links will be accepted as evidence.

## TECHNICAL MANDATORY REQUIREMENTS

| TECHNICAL MANDATORY REQUIREMENTS | Substantiating evidence of compliance (used to evaluate bid) | Evidence reference (to be completed by bidder) |
| --- | --- | --- |
| - BIDDER’S CERTIFICATION /AFFILIATION REQUIREMETNS The bidder must be accredited with any one of the following relevant plumbing authorities: - Plumbing Industry Registration Board (PIRB), - Institute of Plumbing South Africa (IOPSA). | Attach to ANNEX B a copy of valid documentation (certificate, license, or letter) from the following relevant plumbing authorities as evidence that the bidder is accredited: - Plumbing Industry Registration Board (PIRB), - Institute of Plumbing South Africa (IOPSA). NB: SITA reserves the right to verify the information provided. | <provide unique reference to locate substantiating evidence in the bid response – see Annex B, section 11.1> |
| - CIDB REGISTRATION REQUIREMENT The bidder must be registered with Construction Industry Development Board (CIDB) with a minimum, or higher rating of SO 4. | The Bidder needs to complete and sign ANNEX D as evidence that the bidder is registered with the CIDB rating with a minimum, or higher of SO 4. NB: SITA reserves the right to verify the information provided. | <provide unique reference to locate substantiating evidence in the bid response – see Annex B, section 11.2 |
| - BIDDERS EXPERIENCE AND CAPABILITIES The bidder must have provided plumbing services to at least one (1) commercial or industrial customer in the last five (5) years | Provide reference details for at least one (1) commercial or industrial customer to whom the plumbing service was delivered in the past five (5) years. NB: SITA reserves the right to verify information provided | <provide unique reference to locate substantiating evidence in the bid response – see Annex B, section 11.3, table 3> |

## DECLARATION OF COMPLIANCE

|  | Comply | Not Comply |
| --- | --- | --- |
| The bidder declares by indicating with an “X” in either the “COMPLY” or “NOT COMPLY” column that – - The bid complies with each and every TECHNICAL MANDATORY REQUIREMENT as specified in SECTION 7.2 above; AND - Each and every requirement specification is substantiated by evidence as proof of compliance. |  |  |

SPECIAL CONDITIONS OF CONTRACT (SCC)

# SPECIAL CONDITIONS OF CONTRACT

## INSTRUCTION

- The successful supplier will be bound by Government Procurement: General Conditions of Contract (GCC) as well as this Special Conditions of Contract (SCC), which will form part of the signed contract with the successful Supplier. However, SITA reserves the right to include or waive the condition in the signed contract.

- SITA reserves the right to –

  - Negotiate the conditions, or

  - Automatically disqualify a bidder for not accepting these conditions.

  - Award to multiple bidders.

- In the event that the bidder qualifies the proposal with own conditions, and does not specifically withdraw such own conditions when called upon to do so, SITA will invoke the rights reserved in accordance with subsection 2 above.

- The bidder must complete the declaration of acceptance as per section 8.3 by marking with an “X” either “ACCEPT ALL” or “DO NOT ACCEPT ALL”, failing which the declaration will be regarded as “DO NOT ACCEPT ALL” or the bid will be disqualified.

## SPECIAL CONDITIONS OF CONTRACT

- CONTRACTING CONDITIONS

  - Formal Contract. The Contractor must enter into a formal written Contract (Agreement) and Service Level Agreement (SLA) with SITA.

  - Right of Award. SITA reserves the right to award the contract for required goods or services to multiple Suppliers.

  - Right to Audit. SITA reserves the right, before entering into a contract, to conduct or commission an external service provider to conduct a financial audit or probity to ascertain whether a qualifying bidder has the financial wherewithal or technical capability to provide the services as required by this RFB.

  - Occupational Health and Safety

- The contractor should provide a complete safety file for each SITA building. The safety plan must be provided within two weeks of date of appointment. The file should remain on site at the relevant SITA supervisor or foreman’s office for the duration of the contract.

- The safety of SITA personnel and visitors at the applicable premises should be a priority at all times. Care should be taken not to disturb/disrupt the SITA daily operations during normal office hours.

- The contractor should adhere to the Occupational Health and Safety (OHS) Act and the applicable regulating institutions (National and Local Authority) laws/bylaws at all times and perform their service and maintenance tasks in accordance to the relevant guidelines/code of conduct.

- Identifiable safety signage/cones should be displayed at all times in areas where plumbing related or maintenance activities are performed inside and outside the buildings, which could impose an OHS risk to SITA personnel/clients/visitors, such as: close to walk ways, drive ways, parking lots, recreation areas and other applicable areas.

- It is compulsory for the staff members of the appointed contractor to wear identifiable protective clothing and safety gear, while performing their duties.

  - Personnel contract management

- The contractor should provide a detailed manpower plan/work schedule within two weeks after date of appointment of the supervisor; maintenance personnel and staff members allocated to each of the applicable SITA Pretoria buildings.

- Staff rotation/replacement/resign/new appointments, should at all times immediately be brought under the attention of the SITA contract manager, for security purposes such as, vetting, security clearance, activation and de-activation of access control cards, where applicable.

- Staff members of the appointed contractor are required to report to the relevant SITA supervisor/foreman on their arrival. The security registers at the main vehicle entrance gate, as well as at the main reception area, should always be completed on arrival and departure.

- Registration with Workman Compensation and Certification of Good Standing is compulsory

- The contractor should take out Public Liability Insurance Cover

- The contractor should provide adequate of employees Protective Wear

  - Service level requirements

- Plumbing maintenance activities which will cause a disturbance or damage the property of SITA and its personnel/clients/visitors during normal working hours should be conducted after hours.

- SITA equipment removal permits should be completed by the plumbing contractor and be approved by the relevant SITA project manager/supervisor, at all times, when contractor equipment/tools are removed from terrain /taken off from site., cafeterias, office accommodation areas and other applicable areas. (Note: Allowance to be made for after hour/weekend, work)

- All staff members of the appointed contractor, who render a service on SITA terrains, will be subject to security clearance and vetting within two weeks after being appointed.

- Only SABS approved materials should be used on SITA premises.

- DELIVERY ADDRESS

The contractor must deliver the required products or services at the physical locations as specified in section 2.2 Delivery Address

- SCOPE OF WORK AND DELIVERY SCHEDULE

- The Contractor is responsible to perform work as outlined in the Work Breakdown Structure (WBS) below:

- Overview of the works

The Contractor will be responsible for the servicing, maintenance, repairs, alterations, relocation and minor new installation of the Plumbing Infrastructure as and when required by SITA. The work will be done under the following maintenance types:

- Corrective Maintenance;

- Predictive maintenance or condition-based maintenance;

- Proactive maintenance or engineer out maintenance;

- Unplanned Maintenance-Breakdown Maintenance; and

- Approved Project related Maintenance work

- Procuring of plumbing materials only

- Proof of 3 Quotations obtained for materials

- Cheapest quote will be accepted

- All quotes and documents to be attached to invoicing

- Maintenance Types Defined:

- Corrective maintenance is defined as the activity following a maintenance inspection, test or condition assessment with the purpose of correcting a problem or restoring the condition before failure occurred.

- Predictive maintenance or condition-based maintenance (CBM), defined as the type of maintenance trying to predict the condition of the equipment and plan maintenance strategy accordingly. Once the condition is known a decision is taken to take the equipment out of service for repairs or to leave it in service for an extended period of time based on the condition of the equipment. This is a typical inspection task, vibration analysis task or oil analysis task in order to monitor condition.

- Proactive maintenance or engineer out maintenance (EOM), defined as maintenance or task performed to prevent maintenance as well as failure. It also involves the development of new facilities or changing of existing facilities. Updating or putting new procedures in place is also a form of EOM.

- Breakdown maintenance, defined as that maintenance which was unforeseen and is necessary to restore the serviceability of the physical asset.

- Project maintenance, defined as that maintenance which involves the development of new facilities or changing of existing facilities.

- High Level Scope and service level agreement

| Annex A: (1 – 20) – Scope and Service Level Agreement |  |  |
| --- | --- | --- |
| WBS | Statement of Work | Delivery Timeframe |
|  | Respond to a SITA emergency call outs and contain emergency / find an interim solution until permanent solution is in place | Within 90 minutes |
|  | Perform emergency standby services which includes after hours, weekends, public and statuary holidays | 24/7/365 |
|  | Provide dedicated resources to attend to emergency calls | 24/7/365 |
|  | Respond to SITA normal call outs, investigate and prepare a market related quotation with a maximum of 10% mark up on material. The contractor must attach their supplier’s quotation to their pricing document (quotation), at all times, with all transactions. Acceptance of any quotations are in the discretion of SITA. | 48 Hours |
|  | Repair, service, upgrade and replace equipment, fittings, fixtures inside rest rooms, kitchens, court yards, service duct/shafts, gardens, loading zone, parking lots, terrain, server’s in dining halls, communal areas and others not mentioned below: - Fresh water reticulation systems - Waste water and sewer systems - Hand Wash Basins - Closets - Urinals - Zink’s - Taps - Drainage systems (all) - Fire hose reels - Fire hydrants - Irrigation related systems - Gutters/down pipes - Terrain water systems - Related manholes - Gulley’s - Hydro boils - Geysers - Others | As per call out |

The Service Provider must also deliver the following additional services upon request from SITA

- Design and provide a Disaster Recovery Plan (Drought, Municipal Water Disruptions etc.) As when required

- Water Conservation Audit / Assessment and Project Management the implementation of Remedial Actions Plans

- Professional and Technical Assistance to Rehabilitate, Refurbish or Modernise current Infrastructure. As and when required

- SERVICES AND PERFORMANCE METRICS

  - The bidder is responsible to provide the following services as specified in the Service Breakdown Structure (SBS):

| SBS | Service Element | Service Grade | Service Level |
| --- | --- | --- | --- |
|  | Plumbing emergency and maintenance services | Normal | 24h x 7 days x 52weeks |
|  | Call out and response time, within 90 Minutes of call/instruction | Normal | 24h x 7 days x 52weeks |
|  | Occupational Health and Safety Compliance | Norman | 24h x 7 days x 52weeks |
| 4. | Disaster Recovery Plan | Normal | 24h x 7 days x 52weeks |

CERTIFICATION, EXPERTISE AND QUALIFICATION

The Contractor represents that,

    - it has the necessary expertise, skill, qualifications and ability to undertake the work required in terms of the Statement of Work and;

    - it is committed to provide the Products or Services; and

    - Perform all obligations detailed herein without any interruption to the Customer.

    - The bidder must provide quality and professional services in accordance with the industry practices, regulations and standards.

    - The bidder must perform the Services in the most cost-effective manner consistent with the level of quality and performance as defined in Technical Specification or Service Definition;

STAFF EXPERIENCE

- Any person working on Plumbing Infrastructure must be a qualified (trade-tested) plumber.

- It is illegal for an unqualified person to work on a plumbing installation.

- Plumber assistant must work under the supervision of a qualified plumber.

- Qualifications/Requirements of the staff will be as follows:

    - Qualified Supervisor:

  - Trade tested;

  - Supervisory experience;

  - Registered with PIRB or IOPSA.

    - Qualified Plumbers:

  - Trade tested;

  - Plumbing experience;

  - Registered with PIRB or IOPSA.

    - Plumber Assistants:

  - Registered with PIRB or IOPSA;

  - Be able to read and write English.

- LOGISTICAL CONDITIONS

  - Hours of work. In the event that SITA grants the Supplier permission to access SITA's Environment including hardware, software, internet facilities, data, telecommunication facilities and/or network facilities remotely, the Supplier must adhere to SITA's relevant policies and procedures (which policy and procedures are available to the Supplier on request) or in the absence of such policy and procedures, in terms of, best industry practice.

  - Tools of Trade. The Supplier must ensure that they have the necessary tools of trade

  - On-site and Remote Support. The Supplier must provide on-site and remote support conditions

  - Support and Help Desk. The Supplier must provide support/help desk for all items that he is responsible for.

- REGULATORY, QUALITY AND STANDARDS

  - The Supplier must for the duration of the contract ensure compliance with General Quality Standards, ISO9001

  - The Supplier must for the duration of the contract ensure compliance with Plumbing Manufacturing and Workmanship quality condition, ISO/TC 138: -

- ISO/TC 138/ SC 1 (Plastic pipes and fittings for soil, waste and drainage).

- ISO/TC 138/ SC 2 (Plastic pipes and fittings for water supplies).

- ISO/ TC 138/ SC 3 (Plastic pipes and fittings for industrial applications).

- ISO/TC 138 / SC 4 (Plastic pipes and fittings for the supply of gaseous fuels).

- ISO/TC 138/ SC 5 (General properties of pipes fittings and valves)

- ISO/TC 138/ SC 6 (Reinforced plastic pipes and fittings for all applications).

- ISO/ TC 138/ SC 7 (Valves and auxiliary equipment of plastic material).

- ISO/TC 138/ SC 8 (Rehabilitation of pipeline systems)

  - The Supplier must for the duration of the contract ensure compliance with Environmental conditions, ISO 14001

  - The Supplier must for the duration of the contract ensure compliance with any SITA policy regarding accommodation and services.

  - The Supplier must for the duration of the contract ensure compliance with Protection of Personal Information Act-(No 4 of 2013).

PLUMBING CERTIFICATE OF COMPLIANCE

- The plumbing Service Provider must ensure that they self-certify their plumbing work to ensure compliance to all regulatory installation requirements by issuing of the plumbing certificate of compliance to SITA

- A plumbing certificate will be issue for the following plumbing works:

- Where value of work, including materials, labour and VAT, is more than R5000.00 (material costs must be included);

- The installation, relocation or replacement of any Electric Water Heating System, regardless of the cost;

- For every separate installation on a site;

- The construction, installation or alteration of any above or below ground sanitary drain; regardless of the cost;

- The installation, relocation or replacement of any Hot Water Solar Water Heating System; and

- The installation, relocation or replacement of any Heat Pump Water Heating System.

- A Plumbing certificate of compliance shall be issued to the SITA within five (5) working days of the completion of the said plumbing works.

  - Plumbing Industry Registration Board (PIRB)-Independent Audits:

- All independent audits conducted by the PIRB for the work executed at KSIA that are random selected for which compliance certificate has been lodged with the PIRB shall be communicated to SIAT as soon as the service provider is notified by PIRB so that arrangement and access could be sort accordingly.

- Where work is found to be non-compliance; the service provider shall do the remedial work at their own cost and the audit failure will have negative impact on the service provider performance and repeated failure could results in termination of the service contract

SECURITY CLEARANCE REQUIREMENTS

  - Company security screening: The supplier may be required to undergo a company security screening conducted by the State Security Agency (SSA). Should the SSA find the supplier not suitable after the conduct of the security screening, the business relationship will be terminated. The following documentation will be required for the company security screening process to be conducted:

    - Copy of company registration documentation;

    - Copy(ies) of identity documentation of Director(s), Member(s) or Trustee(s);

    - Copy of valid tax clearance certificate.

  - Security suitability check for individuals: SITA may, at its own discretion and in line with its policies and procedures, require employees of the supplier to be subjected to a security suitability check before commencement of a project or delivering of a service. The security suitability check is conducted by SITA in order to ensure that individuals meet the minimum-security requirements and also to verify personal information. The supplier will be required to replace any employee(s) who is found to be not suitable after the conduct of the security screening. The following documentation will be required for the security suitability check:

        - Copy of identity document;

    - Copy(ies) of qualification(s) if SITA requires verification thereof;

    - Fingerprints – will be taken electronically;

    - Signed consent form for the conduct of background checks.

  - Security clearance: A security clearance, issued by either the SSA or Defence Intelligence (DI) is required if any employee of the supplier will have or may gain access to classified information throughout the duration of the project or in the process of delivering a service. The level of security clearance required – Confidential, Secret or Top Secret, will be determined at the sole discretion of SITA. The supplier will have to replace any employee who do not qualify for a security clearance or is found not suitable by the SSA or DI. The following documentation will be required for the security clearance process:

        - Completed Z204 or DD1057 security clearance application form;

    - Fingerprints;

    - Personal documentation of the applicant, including but not limited to, identity document, passport, marriage certificate (if applicable), divorce order (if applicable), qualifications, salary advice and bank statements.

- CONFIDENTIALITY AND NON-DISCLOSURE CONDITIONS

  - The Supplier, including its management and staff, must before commencement of the Contract, sign a non-disclosure agreement regarding Confidential Information.

  - Confidential Information means any information or data, irrespective of the form or medium in which it may be stored, which is not in the public domain and which becomes available or accessible to a Party as a consequence of this Contract, including information or data which is prohibited from disclosure by virtue of:

    - the Promotion of Access to Information Act, 2000 (Act no. 2 of 2000);

    - being clearly marked "Confidential" and which is provided by one Party to another Party in terms of this Contract;

    - being information or data, which one Party provides to another Party or to which a Party has access because of Services provided in terms of this Contract and in which a Party would have a reasonable expectation of confidentiality;

    - being information provided by one Party to another Party in the course of contractual or other negotiations, which could reasonably be expected to prejudice the right of the non-disclosing Party;

    - being information, the disclosure of which could reasonably be expected to endanger a life or physical security of a person;

    - being technical, scientific, commercial, financial and market-related information, know-how and trade secrets of a Party;

    - being financial, commercial, scientific or technical information, other than trade secrets, of a Party, the disclosure of which would be likely to cause harm to the commercial or financial interests of a non-disclosing Party; and

    - being information supplied by a Party in confidence, the disclosure of which could reasonably be expected either to put the Party at a disadvantage in contractual or other negotiations or to prejudice the Party in commercial competition; or

    - information or the disclosure of which would be likely to prejudice or impair the safety and security of a building, structure or system, including, but not limited to, a computer or communication system; a means of transport; or any other property; or a person; methods, systems, plans or procedures for the protection of an individual in accordance with a witness protection scheme; the safety of the public or any part of the public; or the security of property; information the disclosure of which could reasonably be expected to cause prejudice to the defence of the Republic; security of the Republic; or international relations of the Republic; or plans, designs, drawings, functional and technical requirements and specifications of a Party, but must not include information which has been made automatically available, in terms of the Promotion of Access to Information Act, 2000; and information which a Party has a statutory or common law duty to disclose or in respect of which there is no reasonable expectation of privacy or confidentiality;

  - Notwithstanding the provisions of this Contract, no Party is entitled to disclose Confidential Information, except where required to do so in terms of a law, without the prior written consent of any other Party having an interest in the disclosure;

  - Where a Party discloses Confidential Information which materially damages or could materially damage another Party, the disclosing Party must submit all facts related to the disclosure in writing to the other Party, who must submit information related to such actual or potential material damage to be resolved as a dispute;

  - Parties may not, except to the extent that a Party is legally required to make a public statement, make any public statement or issue a press release which could affect another Party, without first submitting a written copy of the proposed public statement or press release to the other Party and obtaining the other Party's prior written approval for such public statement or press release, which consent must not unreasonably be withheld.

- GUARANTEE AND WARRANTIES

The Supplier warrants that:

  - The warranty of goods supplied under this contract remains valid for sixty (60) months after the occupation, or any portion thereof as the case may be, accepted at the final destination indicated in the contract;

  - as at Commencement Date, it has the rights, title and interest in and to the Services delivered in terms of the Contract and that such rights are free from any encumbrances whatsoever;

  - the Service is in good working order, free from Defects in material and workmanship, and substantially conforms to the Specifications, for the duration of the Warranty period;

  - during the Warranty period any defective item or part component of the Product be repaired within 48 hours days after receiving a written notice from SITA;

  - the service is maintained during its Warranty Period at no expense to SITA;

  - the service possesses all material functions and features required for SITA’s Operational Requirements;

  - the Service is continued during the term of the Contract;

  - all third-party warranties that the Supplier receives in connection with the service / infrastructure / installations including the corresponding software and the benefits of all such warranties are ceded to SITA without reducing or limiting the Supplier’s obligations under the Contract;

  - no actions, suits, or proceedings, pending or threatened against it or any of its third-party suppliers or sub-contractors that have a material adverse effect on the Supplier’s ability to fulfil its obligations under the Contract exist;

  - SITA is notified immediately if it becomes aware of any action, suit, or proceeding, pending or threatened to have a material adverse effect on the Supplier’s ability to fulfil the obligations under the Contract;

  - any Service provided to SITA after the Commencement Date of the Contract remains free from any lien, pledge, encumbrance or security interest;

  - SITA’s use of the Service supplied in connection with the Contractors does, not infringe any Intellectual Property Rights of any third party;

  - the information disclosed to SITA does not contain any trade secrets of any third party, unless disclosure is permitted by such third party;

  - it is financially capable of fulfilling all requirements of the Contract and that the Supplier is a validly organized entity that has the authority to enter into the Contract;

  - it is not prohibited by any loan, contract, financing arrangement, trade covenant, or similar restriction from entering into the Contract;

  - the prices, charges and fees to SITA as contained in the Contract are at least as favourable as those offered by the Supplier to any of its other customers that are of the same or similar standing and situation as SITA; and

  - Any misrepresentation by the Supplier amounts to a breach of Contract.

- INTELLECTUAL PROPERTY RIGHTS

  - SITA retains all Intellectual Property Rights in and to SITA's Intellectual Property. As of the Effective Date, the Supplier is granted a non-exclusive license, for the continued duration of this Contract, to perform any lawful act including the right to use, copy, maintain, modify, enhance and create derivative works of SITA's Intellectual Property for the sole purpose of providing the Products or Services to SITA pursuant to this Contract; provided that the Supplier must not be permitted to use SITA's Intellectual Property for the benefit of any entities other than SITA without the written consent of SITA, which consent may be withheld in SITA's sole and absolute discretion. Except as otherwise requested or approved by SITA, which approval is in SITA's sole and absolute discretion, the Supplier must cease all use of SITA's Intellectual Property, at of the earliest of:

    - Termination or expiration date of this Contract;

    - The date of completion of the Services; and

    - The date of rendering of the last of the Deliverables.

  - If so required by SITA, the Supplier must certify in writing to SITA that it has either returned all SITA Intellectual Property to SITA or destroyed or deleted all other SITA Intellectual Property in its possession or under its control.

  - SITA, at all times, owns all Intellectual Property Rights in and to all Bespoke Intellectual Property.

- BUSINESS CONTINUITY AND DISASTER RECOVERY PLANS

The bidder confirms that they have written business continuity and disaster recovery plans that define the roles, responsibilities and procedures necessary to ensure that the required services under this bid specification is in place and will be maintained continuously in the event of a disruption to the bidder’s operations, regardless of the cause of the disruption.

- PREFERENCE GOAL REQUIREMENTS

  - The Bidder’s commitment for the Preference Goal Requirements in this tender will be legally binding and the Bidder needs to perform against their commitment for the duration of the contract which will form part of the Contractual Agreement.

  - The Bidder must sustain, or improve the company’s BBBEE Level for the duration of the contact which will form part of the Contractual Agreement.

  - Performance of Preference Goal Requirements will be determined annually. Bidders must submit their Preference status report to SITA indicating progress against the Bidder’s Preferential commitments within 30 days after each quarter from the commencement date of the contract.

  - Bidders need to keep auditable substantive records / evidence and upon request by SITA must be made available for audit and, or due diligence purposes.

  - SITA reserves the right to require from a Bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim with regards to preferences, in any manner required by SITA.

  - SITA reserves the right to verify information / evidence provided by the Bidder.

  - SITA reserves the right to introduce a penalty of 1% of the overall annual year spent by SITA for the prior year if the Bidder fails to comply to paragraphs (a), (b) and (c) above.

SUPPLIER DUE DILIGENCE

SITA reserves the right to conduct supplier due diligence prior to final award or at any time during the Contract period and this may include pre-announced/ non-announced site visits. During the due diligence process the information submitted by the bidder will be verified and any misrepresentation thereof may disqualify the bid or Contract in whole or parts thereof.

## DECLARATION OF ACCEPTANCE

|  | ACCEPT ALL | DO NOT ACCEPT ALL |
| --- | --- | --- |
| - The bidder declares to ACCEPT ALL the Special Condition of Contract as specified in section 8.2 above by indicating with an “X” in the “ACCEPT ALL” column, OR - The bidder declares to NOT ACCEPT ALL the Special Conditions of Contract as specified in section 8.2 above by - - Indicating with an “X” in the “DO NOT ACCEPT ALL” column, and; - Provide reason and proposal for each of the conditions that is not accepted. |  |  |
| Comments by bidder: Provide reason and proposal for each of the conditions not accepted as per the format: Condition Reference: Reason: Proposal: |  |  |

COSTING AND PREFERENCE

# COSTING AND PREFERENCE

## COSTING AND PREFERENCE EVALUATION

- In terms of the SITA Preferential Procurement Policy (PPP), the following preference point system is applicable to all Bids:

  - the 80/20 system (80 Price, 20 B-BBEE) for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); or

  - the 90/10 system (90 Price and 10 B-BBEE) for requirements with a Rand value above R50 000 000 (all applicable taxes included).

- The Applicable Preference Point system for this tender is the 80/20 preference point system.

- Points for this tender shall be awarded for:

  - Price; and

  - Preference points for specific goals.

- The maximum points for this tender will be allocated as follows, subject to par.2.

Table: Points allocation

| Description | Points |
| --- | --- |
| Price | 80 |
| Preference points for specific goals | 20 |
| Total points for Price and preference points for specific goals | 100 |

## COSTING CONDITIONS

- SOUTH AFRICAN PRICING

The total price must be VAT inclusive and be quoted in South African Rand (ZAR).

- TOTAL PRICE

  - Bidder will be bound by the following general costing and pricing conditions and SITA reserves the right to negotiate the conditions or automatically disqualify the bidder for not accepting these conditions:

  - All costs for equipment, labour and other expenses for the including delivery, on-site testing and commissioning of equipment shall be included in the tendered rates for testing and commissioning as set out in the measurement and payment clauses of each pieces of equipment and in the schedule of quantities. Any additional tests specified in the standard and detail specifications shall also be included in the tendered rates.

  - All quoted prices are the total price for the entire scope of required services and deliverables to be provided by the Supplier.

  - The cost of delivery, labour, S&T, overtime, etc. must be included in this bid.

  - All additional costs must be clearly specified.

  - SITA reserves the right to negotiate pricing with the successful bidder prior to the award as well as envisaged quantities

  - These conditions will form part of the Contract between SITA and the bidder. However, SITA reserves the right to include or waive the condition in the Contract.

  - The bidder must complete the declaration of acceptance as per section 9.3 below by marking with an “X” either “ACCEPT ALL”, or “DO NOT ACCEPT ALL”, failing which the declaration will be regarded as “DO NOT ACCEPT ALL” and the bid will be disqualified.

- BID PRICING SCHEDULE

  - Note: The Bidders will complete the bid pricing schedule in the Excel spreadsheet format provided and include this as part of their submission.

  - All the services will be on work order basis and actual quantities cannot be guaranteed.

  - The indicative unit rates will be used for payments of work done.

  - Note (1): Travel Costs will not exceed prescribed Rates and bidders must disclose travel distance between their business premises and all designated sites of SITA.

  - Note (2): Mark-up on Materials to be purchased may not exceed 10%.

## DECLARATION OF ACCEPTANCE

|  | ACCEPT ALL | DO NOT ACCEPT ALL |
| --- | --- | --- |
| - The bidder declares to ACCEPT ALL the Costing and Pricing conditions as specified in section 9.2 above by indicating with an “X” in the “ACCEPT ALL” column, or - The bidder declares to NOT ACCEPT ALL the Costing and Pricing Conditions as specified in section 9.2 above by - - Indicating with an “X” in the “DO NOT ACCEPT ALL” column, and; - Provide reason and proposal for each of the condition not accepted. |  |  |
| Comments by bidder: Provide the condition reference, the reasons for not accepting the condition. |  |  |

## PREFERENCE REQUIREMENTS

# 9.4.1	INSTRUCTION AND POINT ALLOCATION

- The bidder must complete in full all the PREFERENCE requirements.

- Allocation of points per requirements: The points allocation of bidders’ responses to the requirements will be determined by the completeness, relevance and accuracy of substantiating evidence.

- Points will be allocated for each PREFERENCE requirement as per the criteria set in each section in the table 1 below.

- The bidder must provide a unique reference number (e.g. binder/folio, chapter, section, page) to locate substantiating evidence in the bid response. During evaluation, SITA reserves the right to treat substantiation evidence that cannot be located in the bid response, as “NOT COMPLY”. The evidence needs to be attached to ANNEX B.

- Preference Goal Requirements:

  - The applicable Preference Point system for this tender and points claimed is 80/20.

  - The specific Preferential Goal Requirements for this tender is indicated in table 1 below.

  - The Bidder must complete 80/20 preference point system and submit proof or documentation required in terms of this tender.

  - The Bidder must indicate their commitment to claim points for each of the preference points by signing at  par 4.5 in the Invitation to Bid document.

  - Failure on the part of a bidder to submit proof or documentation required or to comply to paragraph (d) above  in terms of this tender to claim preference points for the Preference Goal Requirements for this tender, will be interpreted to mean that preference points are not claimed.

  - The Bidder’s commitment for the Preference Goal Requirements in this tender will be legally binding and the Bidder needs to perform against their commitment for the duration of the contract which will form part of the Contractual Agreement.

  - The Bidder must sustain, or improve the company’s BBBEE Level for the duration of the contact which will form part of the Contractual Agreement.

  - Performance of Preference Goal Requirements will be determined annually. Bidders must submit their Preference status report to SITA indicating progress against the Bidder’s Preferential commitments within 30 days after each quarter from the commencement date of the contract.

  - Bidders need to keep auditable substantive records / evidence and upon request by SITA must be made available for audit and, or due diligence purposes.

  - SITA reserves the right to require from a Bidder, either before a bid is adjudicated or at any time subsequently, to substantiate any claim with regards to preferences, in any manner required by SITA.

  - SITA reserves the right to verify information / evidence provided by the Bidder.

  - SITA reserves the right to introduce a penalty of 1% of the overall annual year spent by SITA for the prior year if the Bidder fails to comply to paragraphs (f), (g) and (h) above.

Table 1 : Preference Goal Requirements

| Preference Goal Requirement # | Preferential Goal Requirements | Preferential Goal Requirements for (80/20) system |  |  |
| --- | --- | --- | --- | --- |
|  | Preferential Goal Requirements allocated for this tender | Number of points allocated (80/20) system (To be completed by the organ of state) | Substantiating evidence and evidence reference to be completed by bidder. Evaluation per requirement: Each requirement indicated in the table below must be completed and points will be allocated based on the evidence required below for the (80/20) system | Evidence reference for the (80/20) system |
|  | BBBEE: | 10,0 |  |  |
|  | The allocation of points for bidders that meet a certain B-BBEE level as defined in the Broad-Based Black Economic Empowerment Act; | 10,0 | Evidence: The Bidder must provide a copy of relevant proof of B-BBEE status level of contributor level as defined in the Broad-Based Black Economic Empowerment Act. Points allocation: Points will be allocated in line with the BBBEE table 2 in section 9.4.1. | <provide unique reference to locate (80/20) system substantiating evidence in the bid response – Annex B, section 11.4> |
|  | Specific Goals: | 10,0 |  |  |
|  | The promotion of Local Products in line with the PPP. In line with the promotion of Local Products SITA will allocate Preference Points to Bidders whose products contain Local Content and production for “Plastic Pipes”, which prescribes the minimum thresholds for Local Content for Plastic Pipes (See Annexure C, designated table) | 10,0 | Evidence: Bidder must complete, sign and submit the Local Content Requirements as indicated in Annex C. Points allocation: 0 points = Zero % Local Content; 10 points = 100 % or greater Local Content. | <provide unique reference to locate (80/20) system substantiating evidence in the bid response – Annex B, section 11.4> |
|  | Total Point Allocation: | 20,0 |  |  |

Table 2: B-BBEE Points as part of the Preference Goal requirements

| B-BBEE Status | Number of Points |
| --- | --- |
|  | (80/20 system) |
| Max # Points allocated for BBBEE as part of Total Points allocated | 10 |
| Level 1 | 10,0 |
| Level 2 | 9,0 |
| Level 3 | 6,0 |
| Level 4 | 5,0 |
| Level 5 | 4,0 |
| Level 6 | 3,0 |
| Level 7 | 2,0 |
| Level 8 | 1,0 |
| Non-compliant | 0,0 |

TERMS AND DEFINITIONS

# ABBREVIATIONS

PIRB			Pluming Industry Registration Board

IOPSA		Institute of Plumbing South Africa

PPP			Preferential Procurement Policy

IOPSA		Institute of Plumbing South Africa (IOPSA).

B-BBEE 		Broad Based Black Economic Empowerment

EME 			Exempted Micro Enterprises

IA 			Internal Auditing

ICT 			Information and Communication Technology

IT 			Information Technology

KPI 			Key Performance Indicator

MIOS 		Minimum Interoperability Standards

MISS 			Minimum Information Security Standards

MISP			Management Information and Strategic Planning

POPIA		Protection of Personal Information Act

QSE 			Qualifying Small Enterprises

RAM 			Random Access Memory

RFB 			Request for Bid

SCC 			Special Conditions of Contract

SCM			Supply Chain Management

CIDB			Construction Industry Development Board

## ANNEX B: BIDDER SUBSTANTIATING EVIDENCE

# MANDATORY REQUIREMENT EVIDENCE

  - BIDDER CERTIFICATION / AFFILIATION REQUIREMENTS

Attach a copy of valid documentation (certificate, license, or letter) from the following relevant plumbing authorities as evidence that the bidder is accredited here:

- Plumbing Industry Registration Board (PIRB),

- Institute of Plumbing South Africa (IOPSA).

Note:

SITA reserves the right to verify the information provided.

  - CIDB REGISTRATION REQUIREMENT

The Bidder needs to complete and sign ANNEX D as evidence that the bidder is registered with the CIDB rating with a minimum, or higher of SO 4.

NB: SITA reserves the right to verify the information provided.

  - BIDDER EXPERIENCE AND CAPABILITY REQUIREMENTS

Complete table below, noting that:

- Provide reference details for at least one (1) customer to whom the plumbing service was delivered in the past five (5) years.

- Project end-date must be current not older than five (5) years from date this bid is advertised,

- Scope of work must be related.

- NB: SITA reserves the right to verify the information provided.

Table 3: References

| No | Company name | Reference Person Name, Tel and/or email | Project Scope of work | Project Start and End-date |
| --- | --- | --- | --- | --- |
| 1 | <Company name> | <Person Name> <Tel> <email> | < Provide scope details of a project for the delivery of plumbing service Commercial or Industrial) in the past five (5) years.> | Start Date: End Date: |

  - PREFERENTIAL GOAL REQUIREMENTS

The Bidder must:

  - Preference Goal Requirements: (80/20 system)

    - Provide a copy of relevant proof of B-BBEE status level of contributor as defined in the Broad-Based Black Economic Empowerment Act as set out in table 1 in section 9.4.1 and attach it here.

and,

    - Complete, sign and submit the Local Content Requirements as indicated in Annex C and attach it here.

and,

  - Indicate their commitment to claim points for each of the preference points by signing at par 4.5 in the Invitation to Bid document.

NOTE (1):

Failure on the part of a bidder to comply to paragraphs (a) and (b) above, will be interpreted to mean that preference points are not claimed.

- ANNEX C:		LOCAL CONTENT REQUIREMENTS

# Local Content Requirements:

11.1	The bidder must confirm compliance to the Local Content requirements.

11.2	The following documents are attached to guide guidance in completing the Local Content requirements:

- Document 01:	Guidance Document for the Calculation of Local Content.

- Document 02:	South African National Standard:  Local goods, services and work – 						Measurement and verification of local content.

11.3	The Bidder must complete, sign and submit the following documents at bid closure:

- Document 03:	Annexure C: Local Content Declaration.

11.4 The following Annexures should not be submitted by the bidder, however be kept by the by the bidder and be provide the documents upon request.

- Document 04: 	Annexure D: Imported Content Declaration.

- Document 05: 	Annexure E: Local Content Declaration.

Table: Designated sector Requirement

| Product Types | Stipulated minimum threshold local content |
| --- | --- |
| Polyvinyl chloride (PVC) pipes | 100% |
| High density polyethylene (HDPE) pipes | 100 % |
| Polypropylene (PP) pipes | 100% |
| Glass reinforced plastic (GRP) pipes | 100% |

- ANNEX D:	CIDB REGISTRATION REQUIREMENT

- The Bidder needs to complete and sign ANNEX D to confirm that the Bidder is registered with the Construction Industry Development Board (CIDB) with a minimum rating or higher of SO 4.

      - The Bidder needs to indicate their CIDB rating by ticking next to the relevant CIDB rating in the table below:

| Service and Support (Milestones) | CIDB Rating (minimum, or Higher) | Indicate the CIDB rating here by ticking next to the appropriate rating | Bidder to Indicate the Bidder’s CIDB rating here |
| --- | --- | --- | --- |
| CIDB Level | SO 4. |  |  |
|  | Higher |  |  |

- The Bidder needs to provide the Bidder’s CRS number in the space in the table below:

| Requirement | Bidder CRS Number |
| --- | --- |
| Bidder’s CRS number relating to the minimum, or higher rating of SO 4. |  |
| Bidder’s CRS number relating to the higher rating of SO 4. |  |

- The Bidder confirms and will ensure compliance to the CIDB Basic Guide General Conditions of Contract for Construction Works (GCC 2004) as referred to in Annex F for the Bid Specification Scope of work for the duration of the contract.

- I, the Supplier (Full names) …………………………………………………. representing (company name) ……………………………………………………………. hereby confirm that the Bidder is registered with Construction Industry Development Board (CIDB) and understand that it will form part of the contract and is legally binding.

- Thus done and signed at ……………………………………. On this………day of……………….20….

- __________________

- Signature								Designation: